## BoQ1
Government eProcurement System Created By: Sandeep Yadav Created Date/Time: 14-Sep-2020 03:56 PM Tender Title: Supply Installation Testing and Commissioning of 5 KVA, N plus 1 Modular UPS with Five years onsite warranty for new DVOR, ILS sites of Raja Bhoj Airport, Bhopal. Tender ID: 2020_AAI_43618_1
Tender Inviting Authority:
Name of Work: Supply Installation Testing & Commissioning of 5 KVA, N+1 Modular UPS with Five years onsite warranty for new DVOR & ILS sites of Raja Bhoj Airport, Bhopal
Contract No: BP/AAI/ CNS/Tec-05-06A/Modular UPS /2019-20/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | MAHAVIR SYS POWER PVT LTD(GSTN-NA) |  | Weartech Engineers Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Modular UPS with Accessories
1.01 | SITC Of 5 KVA, N+1 Modular UPS with SNMP and Glass coated VRLA type Batteries as per Tender.The UPS battery shall be of advanced glass mat valve regulated sealed lead acid battery construction (AGM or VRSLAB) in ABS flame retardant (UL94V-O) grade (UL 2436) spill containment casing to meet UL 62368-1/IEC 62133 or equivalent standards type. | 3.00 | Nos | 100.00 | 1070000.00 | 3210000.00 | 935000.00 | 2805000.00 | 2805000.00 | Weartech Engineers Pvt Ltd
| Total in Figures |  |  |  |  | 3210000.00 |  | 2805000.00
Lowest Amount Quoted BY: Weartech Engineers Pvt Ltd(2805000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply Installation Testing and Commissioning of 5 KVA, N plus 1 Modular UPS with Five years onsite warranty for new DVOR, ILS sites of Raja Bhoj Airport, Bhopal. Tender ID: 2020_AAI_43618_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Weartech Engineers Pvt Ltd | 2805000.00 | L1
| 2 | MAHAVIR SYS POWER PVT LTD | 3210000.00 | L2