## BoQ1
Government eProcurement System Created By: ROJI R Created Date/Time: 29-Apr-2020 11:25 AM Tender Title: Operation and Maintenance Contract of E and M installation for the period 2020 -22 Tender ID: 2020_AAI_43651_1
Tender Inviting Authority: <Asst.General Manager Engg(E)>
Name of Work: <R & M of Electrical works at NITB, Trivandrum International Airport. SH: Operation and Maintenance Contract of E &M installation for the period 2020 -22 >
Contract No: <2020_AAI_43651_1>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | DElite System Engineering (India) Pvt. Ltd.
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance of Power supply HT & LT installations, Standby DG Sets, Internal & External electrical and mechanical installations, Water supply pumps, Fire Hydrant & Sprinkler pumps, Sewerage Pumps, Escalators and Elevators etc., by deploying required qualified manpower as specified in the specifications for operation, monitoring, recording performance log books, carrying out preventive maintenance activies & maintaining records, attending breakdown complaints and minor repair works on round the clock basis i/c. Sundays and Holidays etc. complete as required. | 24.00 | Month | 100.00 | 944189.00 | 22660536.00 | 1183573.56 | 28405765.44 | 22660536.00 | CHENNAI ENGINEERING SERVICES
2.00 | Painting of Arrival & Departure conveyor systems as directed by Engineer incharge at International Terminal Building with two coats of polyurethane paint of approved make, colour, quality, shade including scrapping, cleaning the surface etc. complete as required. | 1800.00 | SqMtr | 100.00 | 309.00 | 556200.00 | 450.00 | 810000.00 | 556200.00 | CHENNAI ENGINEERING SERVICES
3.00 | Painting of octagonal Street Light poles of 12 Mtr height (Aproximate 3 Sq Mtr area) as directed by Engineer incharge at International Terminal Building with two coats of polyurethane paint and one coat of epoxy primer of approved make, colour, quality, shade including scrapping, cleaning the surface, arranging suitable scaffolding/ladder etc. complete as required. | 180.00 | Job | 10.00 | 1859.00 | 334620.00 | 7000.00 | 1260000.00 | 334620.00 | CHENNAI ENGINEERING SERVICES
4.00 | Painting of Passenger Boarding Bridges of (Surface area 415SqMtr) as directed by Engineer incharge at International Terminal Building with two coats of polyurethane paint of approved make, colour, quality, shade including scrapping, cleaning the surface, arranging suitable scaffolding/ladder etc. complete as required. | 4.00 | Job | 10.00 | 162999.00 | 651996.00 | 50000.00 | 200000.00 | 200000.00 | DElite System Engineering (India) Pvt. Ltd.
5.00 | Painting of HT Panels and LT panels such as APFC panels, MOCB panels, MBD/SMDB panels, AMF panels, battery charger panels, Distribution Boards, Outdoor Feeder Pillars, Transformers, DG sets, diesel tanks, fuel pipes, DG Set support frames, bus bar duct, pumps, motors & its supporting frame , pump panel, earth pits, etc with two coats of Synthetic enamel paint of approved make colour, quality including scrapping, cleaning etc. as required. | 1500.00 | SqMtr | 10.00 | 199.00 | 298500.00 | 400.00 | 600000.00 | 298500.00 | CHENNAI ENGINEERING SERVICES
6.00 | Applying one coat of ready mixed red oxide zinc chromate primer of approved brand and manufacture including scrapping and cleaning of surface etc. complete as required. | 300.00 | SqMtr | 10.00 | 169.00 | 50700.00 | 300.00 | 90000.00 | 50700.00 | CHENNAI ENGINEERING SERVICES
7.00 | Lettering with synthetic enamel paint of approved quality and brand with stencil of suitable letter size (Height of letter 4 cm to 6 cm) and spacing as per the direction of Engineer-in-charge at various panels / equipments etc as reqd. (Lettering of a single Alphabet/Number/Symbol is considered as 1 Letter) | 1500.00 | Letter | 10.00 | 13.99 | 20985.00 | 400.00 | 600000.00 | 20985.00 | CHENNAI ENGINEERING SERVICES
8.00 | Stickering of DB's/panels with vinyl sticker of approved shade inlucidng labelling with alphabets cut out from vinyl sheets. | 20.00 | SqMtr | 10.00 | 389.00 | 7780.00 | 450.00 | 9000.00 | 7780.00 | CHENNAI ENGINEERING SERVICES
9.00 | Filteration of transformer oil at international power house of Trivandrum Airport with not less than two circulation of oil and testing of oil after filtration so as to achieve a break down value of not less than 60 KV for a minute as per IS:1866/IS:6792-1972 with upto date amendments i/c hiring and transporting charges for filtration equipment, test kit submission of test report, etc. as required. (5each /year) Transformer Capacity : 1.6MVA, Oil Capacity : 1094 (Ltrs) Make : Kirloskar | 10.00 | Each | 10.00 | 6499.00 | 64990.00 | 15000.00 | 150000.00 | 64990.00 | CHENNAI ENGINEERING SERVICES
10.00 | Supply of silica gel blue for breather units of transformers as required | 20.00 | Kg | 10.00 | 299.00 | 5980.00 | 600.00 | 12000.00 | 5980.00 | CHENNAI ENGINEERING SERVICES
11.00 | Supply of Transformer Oil conforming to IS:335 to be supplied in non-returnable barrel | 210.00 | Litre | 100.00 | 119.00 | 24990.00 | 220.00 | 46200.00 | 24990.00 | CHENNAI ENGINEERING SERVICES
12.00 | Testing, Calibration and submission of report of following type of LT Relays at site.
12.01 | Over Current Relay L&T make MC61, 3 Element | 20.00 | Each | 100.00 | 649.00 | 12980.00 | 700.00 | 14000.00 | 12980.00 | CHENNAI ENGINEERING SERVICES
12.02 | Over Current Relay Schneider make SEPAM 4 Element | 10.00 | Each | 10.00 | 649.00 | 6490.00 | 700.00 | 7000.00 | 6490.00 | CHENNAI ENGINEERING SERVICES
12.03 | REF Relay ABB make, model Irxm | 10.00 | Each | 10.00 | 549.00 | 5490.00 | 700.00 | 7000.00 | 5490.00 | CHENNAI ENGINEERING SERVICES
12.04 | Earth Fault Relay single element ABB make | 10.00 | Each | 10.00 | 249.00 | 2490.00 | 700.00 | 7000.00 | 2490.00 | CHENNAI ENGINEERING SERVICES
12.05 | Earth Fault Relay single element AREVA make, model CAG | 10.00 | Each | 10.00 | 249.00 | 2490.00 | 700.00 | 7000.00 | 2490.00 | CHENNAI ENGINEERING SERVICES
12.06 | Synchronising relay SKE single element AREVA make. | 2.00 | Each | 10.00 | 449.00 | 898.00 | 500.00 | 1000.00 | 898.00 | CHENNAI ENGINEERING SERVICES
12.07 | Auxillary relay VAA single element, AREVA make | 2.00 | Each | 10.00 | 199.00 | 398.00 | 500.00 | 1000.00 | 398.00 | CHENNAI ENGINEERING SERVICES
12.08 | No voltage relay VAG single element, ALSTOM make | 2.00 | Each | 10.00 | 199.00 | 398.00 | 500.00 | 1000.00 | 398.00 | CHENNAI ENGINEERING SERVICES
13.00 | Testing, Calibration and submission of report of following type of relays installed at 11kv HT panels.
13.01 | Over current Relay 4 Element AREVA make, model P127 | 4.00 | Each | 10.00 | 749.00 | 2996.00 | 700.00 | 2800.00 | 2800.00 | DElite System Engineering (India) Pvt. Ltd.
13.02 | Over Current Relay 4 Element AREVA make, model P122 | 10.00 | Each | 10.00 | 749.00 | 7490.00 | 700.00 | 7000.00 | 7000.00 | DElite System Engineering (India) Pvt. Ltd.
13.03 | Auxillary relay VAA 3 element AREVA make | 20.00 | Each | 100.00 | 249.00 | 4980.00 | 500.00 | 10000.00 | 4980.00 | CHENNAI ENGINEERING SERVICES
13.04 | Trip circuit relay VAX 3 element AREVA make | 14.00 | Each | 10.00 | 149.00 | 2086.00 | 500.00 | 7000.00 | 2086.00 | CHENNAI ENGINEERING SERVICES
13.05 | Master trip relay VAJ single element AREVA make | 14.00 | Each | 10.00 | 149.00 | 2086.00 | 500.00 | 7000.00 | 2086.00 | CHENNAI ENGINEERING SERVICES
13.06 | Earth Fault Relay CAG single element AREVA make. | 4.00 | Each | 10.00 | 199.00 | 796.00 | 700.00 | 2800.00 | 796.00 | CHENNAI ENGINEERING SERVICES
13.07 | Earth Fault Relay CDG single element AREVA make (Inverse) | 4.00 | Each | 10.00 | 199.00 | 796.00 | 700.00 | 2800.00 | 796.00 | CHENNAI ENGINEERING SERVICES
14.00 | Servicing of 2Nos. Kirloskar Make 156 HP Diesel engine including carrying out B-check (2 B-check /year/engine) through OEM authorised service dealer complete as required. | 8.00 | Job | 10.00 | 8999.00 | 71992.00 | 25000.00 | 200000.00 | 71992.00 | CHENNAI ENGINEERING SERVICES
15.00 | Supplying and laying of 63mm Outer dia HDPE pipe of PE-63, PN 2.5 grade conforming to IS 4984 including accessories direct in ground (75 cm below ground level) including excavation and refilling the trench after laying but excluding sand cushioning and protective covering etc., complete as required. | 200.00 | Mtr | 10.00 | 199.00 | 39800.00 | 400.00 | 80000.00 | 39800.00 | CHENNAI ENGINEERING SERVICES
16.00 | Providing, laying and fixing 50 mm dia G.I. pipe (medium class) in ground complete with G.I. fittings including trenching (75 cm deep)and re-filling etc as required | 60.00 | Mtr | 10.00 | 449.00 | 26940.00 | 900.00 | 54000.00 | 26940.00 | CHENNAI ENGINEERING SERVICES
17.00 | Excavation of existing Bituminous/ Concrete road to facilitate laying of metal pipe including disposal of Material within 50 mtrs lead and providing & laying in position cement concrete 1:2:4 (1 cement : 2 Coarse sand : 4 Graded stone aggregated of 20 mm nominal size) all works up to plinth level to fill up the excavated trenches after laying of the metal pipe complete etc. as required. | 8.00 | CuMtr | 10.00 | 6499.00 | 51992.00 | 1500.00 | 12000.00 | 12000.00 | DElite System Engineering (India) Pvt. Ltd.
18.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required.
18.01 | Above 95 sq. mm and upto 185 sq. mm | 150.00 | Mtr | 10.00 | 39.00 | 5850.00 | 60.00 | 9000.00 | 5850.00 | CHENNAI ENGINEERING SERVICES
18.02 | Above 185 sq. mm and upto 400 sq. mm | 100.00 | Mtr | 10.00 | 59.00 | 5900.00 | 75.00 | 7500.00 | 5900.00 | CHENNAI ENGINEERING SERVICES
19.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing masonry open duct as required.
19.01 | Above 95 sq. mm and upto 185 sq. mm | 50.00 | Mtr | 10.00 | 29.00 | 1450.00 | 50.00 | 2500.00 | 1450.00 | CHENNAI ENGINEERING SERVICES
19.02 | Above 185 sq. mm and upto 400 sq. mm | 70.00 | Mtr | 100.00 | 49.00 | 3430.00 | 60.00 | 4200.00 | 3430.00 | CHENNAI ENGINEERING SERVICES
20.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required.
20.01 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 100.00 | Mtr | 10.00 | 89.00 | 8900.00 | 70.00 | 7000.00 | 7000.00 | DElite System Engineering (India) Pvt. Ltd.
20.02 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 100.00 | Mtr | 100.00 | 119.00 | 11900.00 | 90.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
21.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required.
21.01 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 200.00 | Mtr | 10.00 | 69.00 | 13800.00 | 90.00 | 18000.00 | 13800.00 | CHENNAI ENGINEERING SERVICES
21.02 | Above 185 sq. mm and upto 400 sq. mm (clamped with 40x3mm MS flat clamp) | 200.00 | Mtr | 100.00 | 109.00 | 21800.00 | 100.00 | 20000.00 | 20000.00 | DElite System Engineering (India) Pvt. Ltd.
22.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 500.00 | Mtr | 10.00 | 19.00 | 9500.00 | 35.00 | 17500.00 | 9500.00 | CHENNAI ENGINEERING SERVICES
23.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
23.01 | 3.5 X 50 sq. mm | 8.00 | Set | 100.00 | 299.00 | 2392.00 | 750.00 | 6000.00 | 2392.00 | CHENNAI ENGINEERING SERVICES
23.02 | 3.5 X 70 sq. mm | 8.00 | Set | 10.00 | 349.00 | 2792.00 | 750.00 | 6000.00 | 2792.00 | CHENNAI ENGINEERING SERVICES
23.03 | 3.5 X 95 sq. mm | 8.00 | Set | 10.00 | 449.00 | 3592.00 | 750.00 | 6000.00 | 3592.00 | CHENNAI ENGINEERING SERVICES
23.04 | 3.5 X 120 sq. mm | 8.00 | Set | 10.00 | 469.00 | 3752.00 | 900.00 | 7200.00 | 3752.00 | CHENNAI ENGINEERING SERVICES
23.05 | 3.5 X 185 sq. mm | 6.00 | Set | 10.00 | 599.00 | 3594.00 | 900.00 | 5400.00 | 3594.00 | CHENNAI ENGINEERING SERVICES
23.06 | 3.5 X 240 sq. mm | 4.00 | Set | 10.00 | 799.00 | 3196.00 | 950.00 | 3800.00 | 3196.00 | CHENNAI ENGINEERING SERVICES
23.07 | 3.5 X 300 sq. mm | 4.00 | Set | 10.00 | 999.00 | 3996.00 | 950.00 | 3800.00 | 3800.00 | DElite System Engineering (India) Pvt. Ltd.
23.08 | 3.5 X 400 sq. mm | 4.00 | Set | 10.00 | 1099.00 | 4396.00 | 950.00 | 3800.00 | 3800.00 | DElite System Engineering (India) Pvt. Ltd.
24.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing Material for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
24.01 | 4 X 16 sq. mm | 10.00 | Job | 100.00 | 1999.00 | 19990.00 | 2900.00 | 29000.00 | 19990.00 | CHENNAI ENGINEERING SERVICES
24.02 | 3.5 X 25 sq. mm | 4.00 | Job | 10.00 | 1999.00 | 7996.00 | 2900.00 | 11600.00 | 7996.00 | CHENNAI ENGINEERING SERVICES
24.03 | 3.5 X 35 sq. mm | 4.00 | Job | 10.00 | 1999.00 | 7996.00 | 2900.00 | 11600.00 | 7996.00 | CHENNAI ENGINEERING SERVICES
24.04 | 3.5 X 50 sq. mm | 4.00 | Job | 10.00 | 1999.00 | 7996.00 | 3500.00 | 14000.00 | 7996.00 | CHENNAI ENGINEERING SERVICES
24.05 | 3.5 X 70 sq. mm | 2.00 | Job | 10.00 | 1999.00 | 3998.00 | 3500.00 | 7000.00 | 3998.00 | CHENNAI ENGINEERING SERVICES
24.06 | 3.5 X 95 sq. mm | 2.00 | Job | 10.00 | 1999.00 | 3998.00 | 4500.00 | 9000.00 | 3998.00 | CHENNAI ENGINEERING SERVICES
24.07 | 3.5 X 120 sq. mm | 2.00 | Job | 10.00 | 1999.00 | 3998.00 | 4500.00 | 9000.00 | 3998.00 | CHENNAI ENGINEERING SERVICES
24.08 | 3.5 X 185 sq. mm | 2.00 | Job | 10.00 | 2899.00 | 5798.00 | 5000.00 | 10000.00 | 5798.00 | CHENNAI ENGINEERING SERVICES
24.09 | 3.5 X 240 sq. mm | 2.00 | Job | 10.00 | 3649.00 | 7298.00 | 5000.00 | 10000.00 | 7298.00 | CHENNAI ENGINEERING SERVICES
24.10 | 3.5 X 300 sq. mm | 3.00 | Job | 10.00 | 3749.00 | 11247.00 | 5500.00 | 16500.00 | 11247.00 | CHENNAI ENGINEERING SERVICES
24.11 | 3.5 X 400 sq. mm | 3.00 | Job | 10.00 | 3749.00 | 11247.00 | 5500.00 | 16500.00 | 11247.00 | CHENNAI ENGINEERING SERVICES
25.00 | Hire charges for Providing Coloured LED Serial lighting 3000 sets (01 Set shall consist of 50 Nos. LED lamps) for decorating International terminal fascia/ garden areas including wire coils, with or without chaiser, Labour charges at Trivandrum International Airport on special occations.
25.01 | For two Day | 10.00 | Job | 10.00 | 159999.00 | 1599990.00 | 9000.00 | 90000.00 | 90000.00 | DElite System Engineering (India) Pvt. Ltd.
25.02 | For every additional Day | 30.00 | Day | 10.00 | 67999.00 | 2039970.00 | 6000.00 | 180000.00 | 180000.00 | DElite System Engineering (India) Pvt. Ltd.
26.00 | Hire charges per day for Providing Coloured LED 100W RGB for decorating International terminal fascia/ garden areas including wire coils, Labour charges at Trivandrum International Airport on special occations. | 250.00 | Each | 100.00 | 269.00 | 67250.00 | 900.00 | 225000.00 | 67250.00 | CHENNAI ENGINEERING SERVICES
27.00 | Overhauling and servicing of Borewell pumps and Self priming motor (excluding rewinding of motor) of Kirloskar make Model : KU4-0814, 1.5 HP motor, 3Phase, 50Hz, including replacement of bearing, gasket, re-assembling , testing, including transportation but excluding replacement of impeller etc, complete as required. | 4.00 | Job | 10.00 | 3999.00 | 15996.00 | 7500.00 | 30000.00 | 15996.00 | CHENNAI ENGINEERING SERVICES
28.00 | Overhauling and servicing of monoblock Sewage pumps and Self priming motor (excluding rewinding of motor) of Kirloskar make model SP-3 B.S, 7.5 HP motor, 3Phase, 50Hz, 2900 rpm, including replacement of bearing, gasket, re-assembling, painting, re-installing, testing and commissioning at site including transportation, etc complete as required | 8.00 | Job | 10.00 | 6999.00 | 55992.00 | 12500.00 | 100000.00 | 55992.00 | CHENNAI ENGINEERING SERVICES
29.00 | Overhauling and servicing of monoblock pumpset (excluding rewinding of motor) of Kirloskar make model KOS-13487,12.5 HP motor,3Phase,50Hz,2900rpm, including replacement of bearing, gasket, reassembling, painting, re-installing, testing and commissioning at site including transportation,etc complete as required. | 4.00 | Job | 10.00 | 6999.00 | 27996.00 | 17500.00 | 70000.00 | 27996.00 | CHENNAI ENGINEERING SERVICES
30.00 | Overhauling and servicing of monoblock pumpset (excluding rewinding of motor) of Kirloskar make 5 HP motor, 3 Phase,50Hz, 1450 rpm, including replacement of bearing, gasket, reassembling, painting, re-installing the same at site, testing and commissioning at site including transportation,etc complete as required. | 2.00 | Job | 10.00 | 4999.00 | 9998.00 | 9000.00 | 18000.00 | 9998.00 | CHENNAI ENGINEERING SERVICES
31.00 | Rewinding of Borewell motor 1.5 HP, 3Phase, 50Hz, Kirloskar make including transportation etc, complete as required. | 4.00 | Job | 10.00 | 5999.00 | 23996.00 | 9000.00 | 36000.00 | 23996.00 | CHENNAI ENGINEERING SERVICES
32.00 | Rewinding of Sewage motor of Kirloskar make, model SP-3 B.S ,7.5 HP, 2900 rpm, 3Phase, 50Hz, including transportation, installation at site, complete as required. | 8.00 | Job | 10.00 | 7999.00 | 63992.00 | 17500.00 | 140000.00 | 63992.00 | CHENNAI ENGINEERING SERVICES
33.00 | Rewinding of monoblock motor Kirloskar make, Model KOS-13487, 12.5 HP, 2900rpm, 3Phase,50Hz including transportation, installation at site etc complete as required . | 4.00 | Job | 10.00 | 11999.00 | 47996.00 | 15000.00 | 60000.00 | 47996.00 | CHENNAI ENGINEERING SERVICES
34.00 | Rewinding of monoblock motor Kirloskar make 5 HP, 1450 rpm, 3Phase, including transportation, installation at site etc. complete as required. | 2.00 | Job | 10.00 | 5999.00 | 11998.00 | 15000.00 | 30000.00 | 11998.00 | CHENNAI ENGINEERING SERVICES
35.00 | Rewinding of following fan/Aircirculator with super enamelled copper wire, baking, varnishing, greasing, refitting of motor ,providing new capacitor,testing etc complete as required.
35.01 | 600mm Sweep aircirculators/exhaust fan | 10.00 | Job | 10.00 | 1799.00 | 17990.00 | 2000.00 | 20000.00 | 17990.00 | CHENNAI ENGINEERING SERVICES
35.02 | 450mm Sweep aircirculators/exhaust fan | 10.00 | Job | 10.00 | 1399.00 | 13990.00 | 2000.00 | 20000.00 | 13990.00 | CHENNAI ENGINEERING SERVICES
35.03 | 300/380mm Sweep exhaust fan 900rpm heavy duty | 5.00 | Job | 10.00 | 1699.00 | 8495.00 | 1500.00 | 7500.00 | 7500.00 | DElite System Engineering (India) Pvt. Ltd.
35.04 | 300mm Sweep exhaust fan 1400rpm light duty | 5.00 | Job | 10.00 | 1299.00 | 6495.00 | 1750.00 | 8750.00 | 6495.00 | CHENNAI ENGINEERING SERVICES
35.05 | 400 mm sweep wall mounting / pedestal fan / 1200 mm Sweep ceiling fan | 10.00 | Job | 10.00 | 1299.00 | 12990.00 | 900.00 | 9000.00 | 9000.00 | DElite System Engineering (India) Pvt. Ltd.
36.00 | Replacement of defective ball bearing including providing and fixing new bearing for following fans/Aircirculator complete as required.
36.01 | 600mm Sweep aircirculators/exhaust fan | 6.00 | Job | 10.00 | 999.00 | 5994.00 | 1200.00 | 7200.00 | 5994.00 | CHENNAI ENGINEERING SERVICES
36.02 | 450mm Sweep aircirculators/exhaust fan | 10.00 | Job | 10.00 | 799.00 | 7990.00 | 1200.00 | 12000.00 | 7990.00 | CHENNAI ENGINEERING SERVICES
36.03 | 300/380mm Sweep exhaust fan 900rpm heavy duty | 6.00 | Job | 10.00 | 799.00 | 4794.00 | 900.00 | 5400.00 | 4794.00 | CHENNAI ENGINEERING SERVICES
36.04 | 300mm Sweep exhaust fan 1400rpm light duty | 6.00 | Job | 10.00 | 799.00 | 4794.00 | 900.00 | 5400.00 | 4794.00 | CHENNAI ENGINEERING SERVICES
37.00 | Replacement of defective ball bearing including providing and fixing new bearing for 400 mm sweep wall mounting / pedestal fan / 1200 mm Sweep ceiling fan complete as required. | 10.00 | Job | 100.00 | 399.00 | 3990.00 | 700.00 | 7000.00 | 3990.00 | CHENNAI ENGINEERING SERVICES
38.00 | Replacement of damaged SS wire rope/power cable or both of 20 Mtr highmast including testing of upward and downward movement of lantern carriage etc. complete as required with specialised manpower.(Rope and cable supplied by department) | 10.00 | Job | 10.00 | 19999.00 | 199990.00 | 12000.00 | 120000.00 | 120000.00 | DElite System Engineering (India) Pvt. Ltd.
39.00 | Dismantling of highmast upto 30mtr height from the foundation using cranes and cleaning of inside of mast including clearing of obstrucutions such as bird nest and reinstallation,relaying of SS rope/power cable or both as per requirement,testing and commisioning etc complete as required. | 10.00 | Job | 10.00 | 21999.00 | 219990.00 | 60000.00 | 600000.00 | 219990.00 | CHENNAI ENGINEERING SERVICES
40.00 | Hiring charge for JCB at site, including arranging vehicle permit, passes etc complete as required | 50.00 | Hour | 10.00 | 1119.00 | 55950.00 | 950.00 | 47500.00 | 47500.00 | DElite System Engineering (India) Pvt. Ltd.
41.00 | Supply of 5CX 2.5 Sqmm EPR insulated and PCP sheathed copper flexible rubber cable for highmast . | 150.00 | Mtr | 10.00 | 399.00 | 59850.00 | 290.00 | 43500.00 | 43500.00 | DElite System Engineering (India) Pvt. Ltd.
42.00 | Supply of 3 Core x 1.5 Sq.mm PVC insulated and PVC Sheathed, Copper Conductor flexible round cable of 1.1KV grade. | 200.00 | Mtr | 10.00 | 39.00 | 7800.00 | 170.00 | 34000.00 | 7800.00 | CHENNAI ENGINEERING SERVICES
43.00 | Supply of 3 Core x 4 Sq.mm PVC insulated and PVC Sheathed, Copper Conductor flexible cable of 1.1KV grade. | 300.00 | Mtr | 10.00 | 109.00 | 32700.00 | 200.00 | 60000.00 | 32700.00 | CHENNAI ENGINEERING SERVICES
44.00 | Supply of 1.5 Sq.mm FRLS PVC insulated (unsheathed) multistranded single core copper conductor flexible cable of 1.1kv grade. | 1500.00 | Mtr | 10.00 | 15.99 | 23985.00 | 35.00 | 52500.00 | 23985.00 | CHENNAI ENGINEERING SERVICES
45.00 | Supply of 2.5 Sq.mm FRLS PVC insulated (unsheathed) multistranded single core copper conductor flexible cable of 1.1kv grade. | 1500.00 | Mtr | 10.00 | 23.99 | 35985.00 | 40.00 | 60000.00 | 35985.00 | CHENNAI ENGINEERING SERVICES
46.00 | Supply of 4 Sq.mm FRLS PVC insulated (unsheathed) multistranded single core copper conductor flexible cable of 1.1kv grade. | 360.00 | Mtr | 10.00 | 29.00 | 10440.00 | 45.00 | 16200.00 | 10440.00 | CHENNAI ENGINEERING SERVICES
47.00 | Supply of 6 Sq.mm FRLS PVC insulated (unsheathed) multistranded single core copper conductor flexible cable of 1.1kv grade. | 180.00 | Mtr | 10.00 | 49.00 | 8820.00 | 55.00 | 9900.00 | 8820.00 | CHENNAI ENGINEERING SERVICES
48.00 | Supply of 16 Sq.mm FRLS PVC insulated (unsheathed) multistranded single core copper conductor flexible cable of 1.1kv grade. | 50.00 | Mtr | 100.00 | 169.00 | 8450.00 | 900.00 | 45000.00 | 8450.00 | CHENNAI ENGINEERING SERVICES
49.00 | Supply of 6-32 A, SP C curve,10 kA MCB. | 100.00 | Each | 10.00 | 189.00 | 18900.00 | 300.00 | 30000.00 | 18900.00 | CHENNAI ENGINEERING SERVICES
50.00 | Supply of 6-32 A, SP B curve 10 kA MCB. | 150.00 | Each | 10.00 | 149.00 | 22350.00 | 350.00 | 52500.00 | 22350.00 | CHENNAI ENGINEERING SERVICES
51.00 | Supply of 6-32 A, DP C curve MCB. | 10.00 | Each | 10.00 | 499.00 | 4990.00 | 750.00 | 7500.00 | 4990.00 | CHENNAI ENGINEERING SERVICES
52.00 | Supply of 40 A DP C curve MCB. | 6.00 | Each | 10.00 | 799.00 | 4794.00 | 900.00 | 5400.00 | 4794.00 | CHENNAI ENGINEERING SERVICES
53.00 | Supply of 63 A FP C curve MCB. | 15.00 | Each | 10.00 | 1599.00 | 23985.00 | 1500.00 | 22500.00 | 22500.00 | DElite System Engineering (India) Pvt. Ltd.
54.00 | Supply of RCBO DP 16A 300mA. | 20.00 | Each | 10.00 | 2699.00 | 53980.00 | 4500.00 | 90000.00 | 53980.00 | CHENNAI ENGINEERING SERVICES
55.00 | Supply of RCBO FP 40A 100mA. | 12.00 | Each | 10.00 | 2799.00 | 33588.00 | 4600.00 | 55200.00 | 33588.00 | CHENNAI ENGINEERING SERVICES
56.00 | Supply of 100 A FP 25 KA MCCB, with thermal magnetic release. | 4.00 | Each | 10.00 | 3999.00 | 15996.00 | 6500.00 | 26000.00 | 15996.00 | CHENNAI ENGINEERING SERVICES
57.00 | Supply of 250 A FP 36 KA MCCB, Thermal magnetic release. | 2.00 | Each | 10.00 | 11999.00 | 23998.00 | 19000.00 | 38000.00 | 23998.00 | CHENNAI ENGINEERING SERVICES
58.00 | Supply of 6way, SPN, double door, MCB DB with nuetral bus bar,earth bar,DIN bar etc complete as required. | 4.00 | Each | 10.00 | 699.00 | 2796.00 | 5000.00 | 20000.00 | 2796.00 | CHENNAI ENGINEERING SERVICES
59.00 | Supply of 4 way (4+12), TPN, MCB DB with nuetral bus bar,earth bar,DIN bar double door horizontal type etc complete as required. | 4.00 | Each | 10.00 | 1699.00 | 6796.00 | 7500.00 | 30000.00 | 6796.00 | CHENNAI ENGINEERING SERVICES
60.00 | Supply of industrial type socket outlet, with plug top and metal chained cover in sheet steel enclosure including 20A DP MCB. | 2.00 | Each | 10.00 | 1199.00 | 2398.00 | 2000.00 | 4000.00 | 2398.00 | CHENNAI ENGINEERING SERVICES
61.00 | Supply of Tubular Aluminium lugs
61.01 | Supply of Aluminium lugs for 16 sq. mm cable. | 100.00 | Each | 100.00 | 2.99 | 299.00 | 50.00 | 5000.00 | 299.00 | CHENNAI ENGINEERING SERVICES
61.02 | Supply of Aluminium lugs for 25 sq. mm cable. | 60.00 | Each | 10.00 | 3.99 | 239.40 | 50.00 | 3000.00 | 239.40 | CHENNAI ENGINEERING SERVICES
61.03 | Supply of Aluminium lugs for 35 sq. mm cable. | 30.00 | Each | 10.00 | 4.99 | 149.70 | 50.00 | 1500.00 | 149.70 | CHENNAI ENGINEERING SERVICES
61.04 | Supply of Aluminium lugs for 50 sq. mm cable. | 20.00 | Each | 10.00 | 7.99 | 159.80 | 50.00 | 1000.00 | 159.80 | CHENNAI ENGINEERING SERVICES
61.05 | Supply of Aluminium lugs for 70 sq. mm cable | 10.00 | Each | 10.00 | 12.99 | 129.90 | 60.00 | 600.00 | 129.90 | CHENNAI ENGINEERING SERVICES
61.06 | Supply of Aluminium lugs for 95 sq. mm cable | 10.00 | Each | 10.00 | 13.99 | 139.90 | 60.00 | 600.00 | 139.90 | CHENNAI ENGINEERING SERVICES
61.07 | Supply of Aluminium lugs for 120 sq. mm cable | 30.00 | Each | 10.00 | 17.99 | 539.70 | 70.00 | 2100.00 | 539.70 | CHENNAI ENGINEERING SERVICES
61.08 | Supply of Aluminium lugs for 185 sq. mm cable | 6.00 | Each | 10.00 | 32.99 | 197.94 | 70.00 | 420.00 | 197.94 | CHENNAI ENGINEERING SERVICES
61.09 | Supply of Aluminium lugs for 240 sq. mm cable | 6.00 | Each | 10.00 | 45.99 | 275.94 | 120.00 | 720.00 | 275.94 | CHENNAI ENGINEERING SERVICES
61.10 | Supply of Aluminium lugs for 300 sq. mm cable | 6.00 | Each | 10.00 | 69.00 | 414.00 | 120.00 | 720.00 | 414.00 | CHENNAI ENGINEERING SERVICES
61.11 | Supply of Aluminium lugs for 400 sq. mm cable | 6.00 | Each | 10.00 | 89.00 | 534.00 | 120.00 | 720.00 | 534.00 | CHENNAI ENGINEERING SERVICES
62.00 | Supply of Aluminum reducer terminals
62.01 | Supply of Aluminum reducer terminals of 10 sq. mm. | 6.00 | Each | 100.00 | 9.00 | 54.00 | 75.00 | 450.00 | 54.00 | CHENNAI ENGINEERING SERVICES
62.02 | Supply of Aluminum reducer terminals of 16 sq. mm | 6.00 | Each | 10.00 | 9.00 | 54.00 | 75.00 | 450.00 | 54.00 | CHENNAI ENGINEERING SERVICES
63.00 | Supply of Aluminium Ferrule
63.01 | Supply of Aluminium Ferrule for 35 sq. mm cable | 6.00 | Each | 100.00 | 2.99 | 17.94 | 40.00 | 240.00 | 17.94 | CHENNAI ENGINEERING SERVICES
63.02 | Supply of Aluminium Ferrule for 50 sq. mm cable | 6.00 | Each | 10.00 | 4.99 | 29.94 | 40.00 | 240.00 | 29.94 | CHENNAI ENGINEERING SERVICES
63.03 | Supply of Aluminium Ferrule for 150 sq. mm cable | 6.00 | Each | 10.00 | 19.00 | 114.00 | 40.00 | 240.00 | 114.00 | CHENNAI ENGINEERING SERVICES
63.04 | Supply of Aluminium Ferrule for 185 sq. mm cable | 6.00 | Each | 10.00 | 29.00 | 174.00 | 50.00 | 300.00 | 174.00 | CHENNAI ENGINEERING SERVICES
63.05 | Supply of Aluminium Ferrule for 300 sq. mm cable | 6.00 | Each | 10.00 | 49.00 | 294.00 | 50.00 | 300.00 | 294.00 | CHENNAI ENGINEERING SERVICES
64.00 | Supply of PVC casing caping of the following sizes.
64.01 | 20mm x 10mm | 150.00 | Mtr | 10.00 | 29.00 | 4350.00 | 60.00 | 9000.00 | 4350.00 | CHENNAI ENGINEERING SERVICES
64.02 | 25mm x 10mm | 300.00 | Mtr | 10.00 | 39.00 | 11700.00 | 70.00 | 21000.00 | 11700.00 | CHENNAI ENGINEERING SERVICES
64.03 | 32mm x 10mm | 300.00 | Mtr | 10.00 | 59.00 | 17700.00 | 150.00 | 45000.00 | 17700.00 | CHENNAI ENGINEERING SERVICES
65.00 | Supply of ISI marked PVC pipes, Bend, Coupler of the following sizes.
65.01 | 20mm PVC pipe | 300.00 | Mtr | 10.00 | 11.99 | 3597.00 | 75.00 | 22500.00 | 3597.00 | CHENNAI ENGINEERING SERVICES
65.02 | 25 mm PVC pipe | 300.00 | Mtr | 10.00 | 19.00 | 5700.00 | 90.00 | 27000.00 | 5700.00 | CHENNAI ENGINEERING SERVICES
65.03 | 32 mm PVC pipe | 100.00 | Mtr | 10.00 | 39.00 | 3900.00 | 95.00 | 9500.00 | 3900.00 | CHENNAI ENGINEERING SERVICES
65.04 | 20mm PVC bend | 80.00 | Each | 10.00 | 5.99 | 479.20 | 25.00 | 2000.00 | 479.20 | CHENNAI ENGINEERING SERVICES
65.05 | 25 mm PVC bend | 80.00 | Each | 10.00 | 7.99 | 639.20 | 25.00 | 2000.00 | 639.20 | CHENNAI ENGINEERING SERVICES
65.06 | 32 mm PVC bend | 80.00 | Each | 10.00 | 9.00 | 720.00 | 25.00 | 2000.00 | 720.00 | CHENNAI ENGINEERING SERVICES
65.07 | 20mm PVC Coupler | 80.00 | Each | 10.00 | 3.00 | 240.00 | 25.00 | 2000.00 | 240.00 | CHENNAI ENGINEERING SERVICES
65.08 | 25 mm PVC coupler | 80.00 | Each | 10.00 | 3.00 | 240.00 | 25.00 | 2000.00 | 240.00 | CHENNAI ENGINEERING SERVICES
65.09 | 32 mm PVC coupler | 80.00 | Each | 10.00 | 9.00 | 720.00 | 25.00 | 2000.00 | 720.00 | CHENNAI ENGINEERING SERVICES
66.00 | Supply of PVC flexible pipes of the following sizes.
66.01 | 20mm PVC flexible pipe | 100.00 | Mtr | 10.00 | 9.00 | 900.00 | 60.00 | 6000.00 | 900.00 | CHENNAI ENGINEERING SERVICES
66.02 | 25 mm PVC flexible pipe | 100.00 | Mtr | 10.00 | 9.00 | 900.00 | 70.00 | 7000.00 | 900.00 | CHENNAI ENGINEERING SERVICES
66.03 | 32 mm PVC flexible pipe | 100.00 | Mtr | 10.00 | 19.00 | 1900.00 | 90.00 | 9000.00 | 1900.00 | CHENNAI ENGINEERING SERVICES
67.00 | Supply of B class MS Black pipes and Bend of the following sizes.
67.01 | 20mm MS Black pipe | 60.00 | Mtr | 10.00 | 99.00 | 5940.00 | 120.00 | 7200.00 | 5940.00 | CHENNAI ENGINEERING SERVICES
67.02 | 25mm MS Black pipe | 100.00 | Mtr | 10.00 | 169.00 | 16900.00 | 140.00 | 14000.00 | 14000.00 | DElite System Engineering (India) Pvt. Ltd.
67.03 | 20mm MS bend | 25.00 | Each | 10.00 | 9.00 | 225.00 | 60.00 | 1500.00 | 225.00 | CHENNAI ENGINEERING SERVICES
67.04 | 25mm MS bend | 25.00 | Each | 10.00 | 13.00 | 325.00 | 60.00 | 1500.00 | 325.00 | CHENNAI ENGINEERING SERVICES
68.00 | Supply of modular type S.P. 5/6 A, one way switch lSI marked. | 150.00 | Each | 10.00 | 19.00 | 2850.00 | 75.00 | 11250.00 | 2850.00 | CHENNAI ENGINEERING SERVICES
69.00 | Supply of modular type S.P. 15/16 A, one way switch, lSI marked. | 50.00 | Each | 10.00 | 59.00 | 2950.00 | 125.00 | 6250.00 | 2950.00 | CHENNAI ENGINEERING SERVICES
70.00 | Supply of modular type 5 pin 5/6 A socket outlet lSI marked | 80.00 | Each | 10.00 | 65.00 | 5200.00 | 80.00 | 6400.00 | 5200.00 | CHENNAI ENGINEERING SERVICES
71.00 | Supply of modular type 6 pin 15/16 & 5/6 A socket outlet lSI marked | 100.00 | Each | 10.00 | 99.00 | 9900.00 | 150.00 | 15000.00 | 9900.00 | CHENNAI ENGINEERING SERVICES
72.00 | Supply of Surface mounting PVC module box with cover plate & frame suitable for fixing switch and socket mentioned at sl no-68 to 71
72.01 | Supply of 3 module | 50.00 | Each | 10.00 | 99.00 | 4950.00 | 300.00 | 15000.00 | 4950.00 | CHENNAI ENGINEERING SERVICES
72.02 | Supply of 4 module | 40.00 | Each | 10.00 | 99.00 | 3960.00 | 350.00 | 14000.00 | 3960.00 | CHENNAI ENGINEERING SERVICES
72.03 | Supply of 6 module | 40.00 | Each | 10.00 | 149.00 | 5960.00 | 400.00 | 16000.00 | 5960.00 | CHENNAI ENGINEERING SERVICES
72.04 | Supply of 8module | 20.00 | Each | 10.00 | 119.00 | 2380.00 | 450.00 | 9000.00 | 2380.00 | CHENNAI ENGINEERING SERVICES
73.00 | Supply of 3 Modular Gl box with cover plate and frame. | 10.00 | Each | 10.00 | 99.00 | 990.00 | 450.00 | 4500.00 | 990.00 | CHENNAI ENGINEERING SERVICES
74.00 | Supply of 18W LED batten similar to crompton make cat no: LCTL-18CDL suitable to operate at 230V,50Hz AC supply. | 50.00 | Each | 10.00 | 299.00 | 14950.00 | 900.00 | 45000.00 | 14950.00 | CHENNAI ENGINEERING SERVICES
75.00 | Supply of LED 9W batten similar to crompton make cat no: LCTL-9CDL suitable to operate at 230V,50Hz AC supply. | 20.00 | Each | 10.00 | 269.00 | 5380.00 | 750.00 | 15000.00 | 5380.00 | CHENNAI ENGINEERING SERVICES
76.00 | Supply of LED Mirror light 7W similar to crompton make cat no: LCL-07-CDL suitable to operate at 230V,50Hz AC supply. | 30.00 | Each | 10.00 | 899.00 | 26970.00 | 600.00 | 18000.00 | 18000.00 | DElite System Engineering (India) Pvt. Ltd.
77.00 | Supply of LED Indication lamp (R,Y, G) 22.5mm outer dia,similar to L&T make Cat No EPLR240A, EPLG240A, EPLY240A suitable to operate at 230V,50Hz AC supply. | 100.00 | Each | 10.00 | 79.00 | 7900.00 | 500.00 | 50000.00 | 7900.00 | CHENNAI ENGINEERING SERVICES
78.00 | Supply of LED Indication lamp (Blue) 22.5mm outer dia, similar to L&T make Cat No EPLB240A suitable to operate at 230V,50Hz AC supply. | 30.00 | Each | 10.00 | 139.00 | 4170.00 | 550.00 | 16500.00 | 4170.00 | CHENNAI ENGINEERING SERVICES
79.00 | Supply of 6A three pole Selector Switch similar to L&T Cat No 61026 suitable to operate at 430V,50Hz AC supply. | 30.00 | Each | 10.00 | 159.00 | 4770.00 | 350.00 | 10500.00 | 4770.00 | CHENNAI ENGINEERING SERVICES
80.00 | Supply of Kirloskar make ( Model : KU4-0814) 3 phase, 1.5HP, submersible bore well Pump set including all acessories complete as required. | 1.00 | Each | 10.00 | 17999.00 | 17999.00 | 22000.00 | 22000.00 | 17999.00 | CHENNAI ENGINEERING SERVICES
81.00 | Supply of Capacitor duty contactor for 50 KVAR Capacitor bank with auxiliary contacts similar to L&T Cat No CS96324 suitable to operate at 430V,50Hz AC supply . | 10.00 | Each | 10.00 | 7999.00 | 79990.00 | 4500.00 | 45000.00 | 45000.00 | DElite System Engineering (India) Pvt. Ltd.
82.00 | Supply of Capacitor duty contactor for 25 KVAR Capacitor bank with auxiliary contacts similar to L&T Cat No CS96322 suitable to operate at 430V,50Hz AC supply. | 10.00 | Each | 10.00 | 2599.00 | 25990.00 | 4500.00 | 45000.00 | 25990.00 | CHENNAI ENGINEERING SERVICES
83.00 | Supply of following type of timer switches
83.01 | On delay electronic timer switch similar to L&T MICON on delay Electronic timer Cat No. 2AODT5 suitable to operate at 430V,50Hz AC supply. | 6.00 | Each | 10.00 | 899.00 | 5394.00 | 12000.00 | 72000.00 | 5394.00 | CHENNAI ENGINEERING SERVICES
83.02 | 24 Hr timer switch similar to Legrand CAT No. 049986 EconoRex MQT suitable to operate at 430V,50Hz AC supply. | 15.00 | Each | 10.00 | 3999.00 | 59985.00 | 7500.00 | 112500.00 | 59985.00 | CHENNAI ENGINEERING SERVICES
84.00 | Supply of Normal Duty power factor correction Capacitor suitable to operate at 440 V,50 HZ ac supply
84.01 | 25 KVAR Normal Duty power factor correction Capacitor | 10.00 | Each | 10.00 | 3199.00 | 31990.00 | 17500.00 | 175000.00 | 31990.00 | CHENNAI ENGINEERING SERVICES
84.02 | 50 KVAR Normal Duty power factor correction Capacitor | 10.00 | Each | 10.00 | 6999.00 | 69990.00 | 20000.00 | 200000.00 | 69990.00 | CHENNAI ENGINEERING SERVICES
85.00 | Supply of 60 A 4way PVC Connector suitable to operate at 440 V, 50 Hz AC supply. | 70.00 | Each | 10.00 | 99.00 | 6930.00 | 400.00 | 28000.00 | 6930.00 | CHENNAI ENGINEERING SERVICES
86.00 | Supply of Class A electrically insulated synthetic mat of 2mm thick suitable for all voltages upto 3.3 KV AC as per of IS 15652:2006 standards with upto date amendments having minimum width of 1000 mm ±20 mm . | 50.00 | Sq.Mtr | 10.00 | 799.00 | 39950.00 | 1300.00 | 65000.00 | 39950.00 | CHENNAI ENGINEERING SERVICES
87.00 | Supply of spider for sewage monoblock pumps of size L100 complete as required. | 10.00 | Each | 10.00 | 169.00 | 1690.00 | 120.00 | 1200.00 | 1200.00 | DElite System Engineering (India) Pvt. Ltd.
88.00 | Supply of 3ɸ Digital Multifunction Meter with following parametes V,A,F,PF,Kw,kWh of Class 1.0 accuracy. | 10.00 | Each | 10.00 | 3799.00 | 37990.00 | 9000.00 | 90000.00 | 37990.00 | CHENNAI ENGINEERING SERVICES
89.00 | Supply of 3ɸ Digital Multifunction Meter with following parameters V,A,F,PF of Class 1.0 accuracy. | 10.00 | Each | 10.00 | 1729.00 | 17290.00 | 7500.00 | 75000.00 | 17290.00 | CHENNAI ENGINEERING SERVICES
90.00 | Supply of Shoe polish cointainer for Shoe polish Machine of Euronics make Model Esm043 complete as requied. | 20.00 | Each | 10.00 | 689.00 | 13780.00 | 15000.00 | 300000.00 | 13780.00 | CHENNAI ENGINEERING SERVICES
91.00 | Supply of weather resistant Anti bird spike of polycarbonate material complete as required. | 10.00 | Mtr | 10.00 | 179.00 | 1790.00 | 1200.00 | 12000.00 | 1790.00 | CHENNAI ENGINEERING SERVICES
92.00 | Supply of 6 mm dia SS wire rope of AISI 304 grade, suitable for the High mast pole. | 400.00 | Mtr | 10.00 | 69.00 | 27600.00 | 600.00 | 240000.00 | 27600.00 | CHENNAI ENGINEERING SERVICES
93.00 | Supply of toughened glass with polished edges of 12mm thickness suitable for Dorma make sliding Doors. | 20.00 | SqMtr | 10.00 | 1999.00 | 39980.00 | 12500.00 | 250000.00 | 39980.00 | CHENNAI ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 30716404.56 |  | 37641115.44
Lowest Amount Quoted BY: CHENNAI ENGINEERING SERVICES(30716404.56)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance Contract of E and M installation for the period 2020 -22 Tender ID: 2020_AAI_43651_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHENNAI ENGINEERING SERVICES | 30716404.56 | L1
| 2 | DElite System Engineering (India) Pvt. Ltd. | 37641115.44 | L2