## BoQ1
Government eProcurement System Created By: VENKATESWARA RAO CH Created Date/Time: 19-Jun-2020 12:51 PM Tender Title: ARMO of E and M Installations at Begumpet Airport, Hyderabad for the Year 2020-22. SH-Job Contract of Operation and Maintenance of E and M Installations at Terminal Building, Residential Colonies andOther Ancillary Buildings including supply of spare Tender ID: 2020_AAI_43771_1
Tender Inviting Authority: Asst.General Manager(E-E), AAI, Begumpet Airport.
Name of Work: ARMO of E & M Installations at Begumpet Airport Hyderabad for the year 2020-22 SH: Job Contract of Operation & Maintenance of E & M Installations at Terminal Building, Residential Colonies & Other Ancillary Buildings including supply of spares.
Contract No: 2020_AAI_43771_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | KALKI ELECTRICALS |  | Blue Star Limited |  | ASHWANI REFRIGERATION AND ELECTRICALS |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED |  | SHIVARAM INFRA
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation and maintenance of electrical and mechanical installations including carrying out the preventive maintenance in Terminal Buildings, Residential Colonies, Hostels, Hyderabad Training Centre (HTC), Fire Station, MT Section, Navi-aids buildings, All roads lightings and other ancillary buildings, including minor additions & alterations daily on round the clock basis as directed by Engineer-in-charge including weekly off days, sundays & holidays as per the special conditions enclosed. | 24.00 | Month |  | 413999.00 | 9935976.00 | 390000.00 | 9360000.00 | 410418.00 | 9850032.00 | 326789.00 | 7842936.00 | 360000.00 | 8640000.00 | 422069.00 | 10129656.00 | 7842936.00 | ASHWANI REFRIGERATION AND ELECTRICALS
2.00 | Job contract for Operation and Maintenance of complete water supply system at begumpet airport including at residential colonies available at begumpet and shyamlal locations (both preventive and breakdown) on all days including Sundays and public holidays and in shifts of operation as detailed in Particular/Technical specification complete as required. | 24.00 | Month |  | 120999.00 | 2903976.00 | 110000.00 | 2640000.00 | 118607.00 | 2846568.00 | 110707.40 | 2656977.60 | 105000.00 | 2520000.00 | 120400.00 | 2889600.00 | 2520000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
3.00 | Job contract for annual maintenance contract of 02 no.s of hydro pneumatic water booster system with VFD, pressure tank and all its associated accessories through OEM or its authorized dealer or approved specialized agency etc. as required by deputing service engineer on quarterly basis i/c attending Breakdown calls as and when required as detailed in Particular/Technical specification. Make: Kirloskar Model : KCIL20-4, Rating : 5.5Kw/7.5HP/2 pole - 02 systems. | 8.00 | Quarter |  | 24999.00 | 199992.00 | 25000.00 | 200000.00 | 25668.00 | 205344.00 | 2000.00 | 16000.00 | 1550.00 | 12400.00 | 30000.00 | 240000.00 | 12400.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
4.00 | Supply of 50mm (2") dia 16 kg/cm2 pressure density HDPE pipes for delievery pipe of submerciable pump etc., on as and when required basis complete as required. | 200.00 | Mtr |  | 199.00 | 39800.00 | 200.00 | 40000.00 | 428.00 | 85600.00 | 50.00 | 10000.00 | 30.00 | 6000.00 | 50.00 | 10000.00 | 6000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
5.00 | Supply & Fixing of bore cover and suitable size nippals in top and bottom of the HDPE pipe for connecting the submersible motor on one side and for conneting the delivery GI pipe on another end with bolt, nut and washers etc. as required. | 6.00 | Job |  | 499.00 | 2994.00 | 800.00 | 4800.00 | 856.00 | 5136.00 | 500.00 | 3000.00 | 300.00 | 1800.00 | 1000.00 | 6000.00 | 1800.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
6.00 | Supply and laying of 3x4 Sqmm copper conductor weather proof submersible flat cable in the existing borewell etc. on as and when required basis complete as required. | 200.00 | Mtr |  | 149.00 | 29800.00 | 100.00 | 20000.00 | 126.00 | 25200.00 | 20.00 | 4000.00 | 10.00 | 2000.00 | 82.00 | 16400.00 | 2000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
7.00 | Lifting of submercible pumps of various capacities upto 10.0 HP from the existing bore well along with the connected cable and GI delivery pipe i/c shfting to the AAI store etc. on as and when required basis complete as required. | 200.00 | Mtr |  | 149.00 | 29800.00 | 30.00 | 6000.00 | 96.00 | 19200.00 | 10.00 | 2000.00 | 5.00 | 1000.00 | 100.00 | 20000.00 | 1000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
8.00 | Erection and commisssioning of above new HDPE pipe in the existing bore well for delivery of submercible pump with all connections and required accessories i/c cutting, threading, Heat shrinking etc on as and when required basis complete as required. | 200.00 | Mtr |  | 199.00 | 39800.00 | 40.00 | 8000.00 | 53.00 | 10600.00 | 10.00 | 2000.00 | 5.00 | 1000.00 | 200.00 | 40000.00 | 1000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
9.00 | Supply of 20 W LED Polycarbonate T8 tube with in built driver with metal heat sink, Double sided connection suitable for 240V AC, 50Hz rating etc., of relevant IS from list of approved makes as required. | 400.00 | Each |  | 499.00 | 199600.00 | 200.00 | 80000.00 | 508.00 | 203200.00 | 450.00 | 180000.00 | 200.00 | 80000.00 | 190.00 | 76000.00 | 76000.00 | SHIVARAM INFRA
10.00 | Supply of LED Obstacle Light with relevant IS as required. (Make : Bajaj or Similar from list of Approved makes). | 8.00 | Nos |  | 3999.00 | 31992.00 | 3300.00 | 26400.00 | 4278.00 | 34224.00 | 3000.00 | 24000.00 | 1900.00 | 15200.00 | 3000.00 | 24000.00 | 15200.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
11.00 | Supply of nominal size of 1.5 Sq.mm (90 mtr-coil) single core copper conductor (flexible) FR PVC Insulated industrial (Unsheathed) cable upto 1.1 KV grade of relevant IS from list of approved makes as required. | 20.00 | Coil |  | 999.00 | 19980.00 | 940.00 | 18800.00 | 995.00 | 19900.00 | 1200.00 | 24000.00 | 500.00 | 10000.00 | 890.00 | 17800.00 | 10000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
12.00 | Supply of nominal size of 2.5 Sq.mm (90 mtr-coil) single core copper conductor (flexible) FR PVC Insulated industrial (Unsheathed) cable upto 1.1 KV grade of relevant IS from list of approved makes as required. | 10.00 | Coil |  | 1599.00 | 15990.00 | 1400.00 | 14000.00 | 1080.00 | 10800.00 | 2000.00 | 20000.00 | 700.00 | 7000.00 | 1480.00 | 14800.00 | 7000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
13.00 | Supply of nominal size of 4 Sq.mm (90 mtr-coil) single core copper conductor (flexible) FR PVC Insulated industrial (Unsheathed) cable upto 1.1 KV grade of relevant IS from list of approved makes as required. | 10.00 | Coil |  | 2249.00 | 22490.00 | 2100.00 | 21000.00 | 2134.00 | 21340.00 | 3000.00 | 30000.00 | 1100.00 | 11000.00 | 2134.00 | 21340.00 | 11000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
14.00 | Supply of SWITCH of 5/6Amps, Piano type 1 Way Switch as required. (Make : ANCHOR, Model : PENTA DELUXE, IVORY 50010 or similar from list of Approved makes) | 250.00 | Each |  | 19.00 | 4750.00 | 20.00 | 5000.00 | 10.00 | 2500.00 | 12.00 | 3000.00 | 10.00 | 2500.00 | 9.00 | 2250.00 | 2250.00 | SHIVARAM INFRA
15.00 | Supply of SWITCH of 15amps, Piano type 1way switch as required. (Make: Anchor, Model: PENTA DELUXE IVORY 50825 or similar from list of Approved makes) | 250.00 | Each |  | 49.00 | 12250.00 | 66.00 | 16500.00 | 46.00 | 11500.00 | 60.00 | 15000.00 | 35.00 | 8750.00 | 20.00 | 5000.00 | 5000.00 | SHIVARAM INFRA
16.00 | Supply of SOCKET of 5/6 Amp, Piano type Multi socket for 2 & 3 Pin as required. (Make : ANCHOR, Model : PENTA SOCKETS, IVORY 50280, or Similar from list of Approved makes) | 100.00 | Each |  | 49.00 | 4900.00 | 40.00 | 4000.00 | 19.00 | 1900.00 | 30.00 | 3000.00 | 20.00 | 2000.00 | 20.00 | 2000.00 | 1900.00 | Blue Star Limited
17.00 | Supply of SOCKET of 20 & 10Amps, Piano type Socket as required. (Make : Anchor Model: Capton Series, IVORY 4191 or similar from list of Approved makes) | 200.00 | Each |  | 59.00 | 11800.00 | 66.00 | 13200.00 | 59.00 | 11800.00 | 65.00 | 13000.00 | 35.00 | 7000.00 | 75.00 | 15000.00 | 7000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
18.00 | Supply of SWITCH of 6Amps, Module type 1 Way Switch as required. (Make : ANCHOR or similar from list of Approved makes) | 100.00 | Each |  | 49.00 | 4900.00 | 36.00 | 3600.00 | 27.00 | 2700.00 | 20.00 | 2000.00 | 15.00 | 1500.00 | 20.00 | 2000.00 | 1500.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
19.00 | Supply of SWITCH of 16 amps, Module type 1way switch as required. (Make: Anchor or similar from list of Approved makes) | 200.00 | Each |  | 69.00 | 13800.00 | 120.00 | 24000.00 | 62.00 | 12400.00 | 55.00 | 11000.00 | 25.00 | 5000.00 | 70.00 | 14000.00 | 5000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
20.00 | Supply of SOCKET of 6 Amp, Module type Multi socket (with shutter) as required. (Make : ANCHOR or Similar from list of Approved makes) | 100.00 | Each |  | 69.00 | 6900.00 | 90.00 | 9000.00 | 58.00 | 5800.00 | 60.00 | 6000.00 | 30.00 | 3000.00 | 54.00 | 5400.00 | 3000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
21.00 | Supply of SOCKET of 6/16 Amps, Module type Socket as required. (Make : Anchor or similar from list of Approved makes) | 100.00 | Each |  | 109.00 | 10900.00 | 140.00 | 14000.00 | 93.00 | 9300.00 | 90.00 | 9000.00 | 40.00 | 4000.00 | 83.00 | 8300.00 | 4000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
22.00 | Supply of Electronic Fan Regulator (2 Module) suitable for 240V, 50Hz AC supply etc. with relevant IS as required (Make : ANCHOR, Model : Dimmer controller, IVORY 50428, or Similar from list of Approved makes). | 50.00 | Each |  | 299.00 | 14950.00 | 300.00 | 15000.00 | 225.00 | 11250.00 | 140.00 | 7000.00 | 45.00 | 2250.00 | 195.00 | 9750.00 | 2250.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
23.00 | Supply of Pendant Holder suitable for 240V AC, 50 Hz rating etc., of relevant IS from list of approved makes as required. | 100.00 | Each |  | 39.00 | 3900.00 | 30.00 | 3000.00 | 33.00 | 3300.00 | 25.00 | 2500.00 | 15.00 | 1500.00 | 20.00 | 2000.00 | 1500.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
24.00 | Supply of Angle Holder suitable for 240V AC, 50 Hz rating etc., of relevant IS from list of approved makes as required. | 100.00 | Each |  | 49.00 | 4900.00 | 38.00 | 3800.00 | 37.00 | 3700.00 | 25.00 | 2500.00 | 15.00 | 1500.00 | 21.00 | 2100.00 | 1500.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
25.00 | Supply of Buzzer Bell suitable for 240V AC, 50 Hz rating etc., of relevant IS from list of approved makes as required. | 50.00 | Each |  | 99.00 | 4950.00 | 50.00 | 2500.00 | 45.00 | 2250.00 | 65.00 | 3250.00 | 35.00 | 1750.00 | 90.00 | 4500.00 | 1750.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
26.00 | Supply of Single Pole MCB 6A-32A, C - Series, 10KA capacity suitable for 240 / 415V AC,50 Hz rating etc., of relevant IS from list of approved makes as required. | 100.00 | Each |  | 199.00 | 19900.00 | 200.00 | 20000.00 | 120.00 | 12000.00 | 143.89 | 14389.00 | 80.00 | 8000.00 | 95.00 | 9500.00 | 8000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
27.00 | Supply of Single Pole and neutral MCB 32A, C - Series, 10KA capacity suitable for 240 / 415V AC, 50 Hz rating etc., of relevant IS from list of approved makes as required. | 50.00 | Each |  | 299.00 | 14950.00 | 360.00 | 18000.00 | 380.00 | 19000.00 | 350.00 | 17500.00 | 180.00 | 9000.00 | 95.00 | 4750.00 | 4750.00 | SHIVARAM INFRA
28.00 | Supply of Triple Pole, MCB 6-32A, C - Series, 10KA capacity suitable for 415V AC, 50Hz rating etc., of relevant IS from list of approved makes as required:(16A/32A) | 10.00 | Each |  | 549.00 | 5490.00 | 600.00 | 6000.00 | 617.00 | 6170.00 | 500.00 | 5000.00 | 350.00 | 3500.00 | 560.00 | 5600.00 | 3500.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
29.00 | Supply of Triple Pole and neutral, MCB 32A, C - Series, 10KA capacity suitable for 415V AC, 50Hz rating etc., of relevant IS from list of approved makes as required. | 10.00 | Each |  | 999.00 | 9990.00 | 760.00 | 7600.00 | 829.00 | 8290.00 | 850.00 | 8500.00 | 480.00 | 4800.00 | 560.00 | 5600.00 | 4800.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
30.00 | Supply of Triple Pole and neutral, MCB 63A, C - Series, 10KA capacity suitable for 240 / 415V AC, 50Hz rating etc., of relevant IS from list of approved makes as required. | 20.00 | Each |  | 1499.00 | 29980.00 | 1400.00 | 28000.00 | 1187.00 | 23740.00 | 1200.00 | 24000.00 | 620.00 | 12400.00 | 870.00 | 17400.00 | 12400.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
31.00 | Supply of Four Pole, Isolator 40A, C - Series, DC 10KA capacity suitable for 240 / 415V AC, 50Hz rating etc., of relevant IS from list of approved makes as required. | 10.00 | Each |  | 599.00 | 5990.00 | 700.00 | 7000.00 | 526.00 | 5260.00 | 1800.00 | 18000.00 | 920.00 | 9200.00 | 1040.00 | 10400.00 | 5260.00 | Blue Star Limited
32.00 | Supply of Time Switches (24Hrs Operation) suitable for 240V AC, 50Hz rating DIN mounting etc., of relevant IS from list of approved makes as required: | 20.00 | Each |  | 1999.00 | 39980.00 | 1200.00 | 24000.00 | 2668.00 | 53360.00 | 1500.00 | 30000.00 | 650.00 | 13000.00 | 1300.00 | 26000.00 | 13000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
33.00 | Supply of Geyser Element suitable for 10 ltr storage, Racold make, 240V AC, 50Hz rating etc., as required. | 20.00 | Each |  | 3999.00 | 79980.00 | 880.00 | 17600.00 | 1118.00 | 22360.00 | 1000.00 | 20000.00 | 450.00 | 9000.00 | 6500.00 | 130000.00 | 9000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
34.00 | Supply of Geyser Thermostat suitable for 10 ltr storage, Racold make, 240V AC, 50Hz rating etc., as required. | 10.00 | Each |  | 299.00 | 2990.00 | 400.00 | 4000.00 | 826.00 | 8260.00 | 300.00 | 3000.00 | 80.00 | 800.00 | 7000.00 | 70000.00 | 800.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
35.00 | Supply of 3.5 Core x 35 mm2 XLPE insulated and PVC sheathed Aluminium conductor armoured power cable of 1.1KV grade confirming to relevant IS 1554 / IS 7098 with upto date amendments etc, as required. | 200.00 | Mtr |  | 139.00 | 27800.00 | 150.00 | 30000.00 | 265.00 | 53000.00 | 111.00 | 22200.00 | 65.00 | 13000.00 | 149.00 | 29800.00 | 13000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
36.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. A). Upto 35 sq. mm (clamped with 1mm thick saddle) | 30.00 | Mtr |  | 29.00 | 870.00 | 40.00 | 1200.00 | 52.00 | 1560.00 | 40.00 | 1200.00 | 18.00 | 540.00 | 30.00 | 900.00 | 540.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
37.00 | Supplying and laying of following size DWC HDPE pipe ISI marked along with all accessories like socket, bend, couplers etc. conforming to IS 14930, Part II complete with fitting and cutting, jointing etc.direct in the existing cable trench but excluding sand cushioning and protective covering etc. , complete as required. a) 75 mm dia (For LT Cable) | 170.00 | Mtr |  | 249.00 | 42330.00 | 220.00 | 37400.00 | 128.00 | 21760.00 | 66.00 | 11220.00 | 38.00 | 6460.00 | 200.00 | 34000.00 | 6460.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
38.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL/DWC/HDPE pipe as required. a) Upto 35 sq. mm (for LT Cable). | 170.00 | Mtr |  | 29.00 | 4930.00 | 20.00 | 3400.00 | 32.00 | 5440.00 | 25.00 | 4250.00 | 12.00 | 2040.00 | 30.00 | 5100.00 | 2040.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
39.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group B. | 35.00 | Point |  | 399.00 | 13965.00 | 700.00 | 24500.00 | 797.00 | 27895.00 | 777.00 | 27195.00 | 350.00 | 12250.00 | 580.00 | 20300.00 | 12250.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
40.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a). 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 100.00 | Mtr |  | 179.00 | 17900.00 | 130.00 | 13000.00 | 145.00 | 14500.00 | 111.00 | 11100.00 | 50.00 | 5000.00 | 85.00 | 8500.00 | 5000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
41.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a) 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | Mtr |  | 199.00 | 19900.00 | 140.00 | 14000.00 | 166.00 | 16600.00 | 149.00 | 14900.00 | 70.00 | 7000.00 | 87.00 | 8700.00 | 7000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
42.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. a) 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 70.00 | Mtr |  | 259.00 | 18130.00 | 160.00 | 11200.00 | 199.00 | 13930.00 | 199.00 | 13930.00 | 85.00 | 5950.00 | 125.00 | 8750.00 | 5950.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
43.00 | Supply of 300mm , 1400RPM Heavy Duty Exhaust fan with 4 blades, bird protective guard and all other required accessories suitable for working at 230Volts, 50HZ, single phase, AC supply etc. as required.(Make: Havells, Model: Turbojet SP or equivalent) | 5.00 | Each |  | 1999.00 | 9995.00 | 2600.00 | 13000.00 | 2246.00 | 11230.00 | 2958.70 | 14793.50 | 730.00 | 3650.00 | 2200.00 | 11000.00 | 3650.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
44.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but with charcoal/ coke and salt ) as required. | 5.00 | Set |  | 4999.00 | 24995.00 | 8000.00 | 40000.00 | 4011.00 | 20055.00 | 4444.00 | 22220.00 | 3000.00 | 15000.00 | 5000.00 | 25000.00 | 15000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
45.00 | Providing and laying earth connection from earth electrode with 6 SWG dia G.I. Wire in 15 mm dia G.I. pipe from earth electrode including connection with G.I. himble excavation and re-filling as required. | 50.00 | Mtr |  | 199.00 | 9950.00 | 240.00 | 12000.00 | 187.00 | 9350.00 | 111.00 | 5550.00 | 75.00 | 3750.00 | 400.00 | 20000.00 | 3750.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
| Total in Figures |  |  |  |  | 13971105.00 |  | 12884500.00 |  | 13769304.00 |  | 11181111.10 |  | 11492490.00 |  | 14029196.00
Lowest Amount Quoted BY: ASHWANI REFRIGERATION AND ELECTRICALS(11181111.10)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installations at Begumpet Airport, Hyderabad for the Year 2020-22. SH-Job Contract of Operation and Maintenance of E and M Installations at Terminal Building, Residential Colonies andOther Ancillary Buildings including supply of spare Tender ID: 2020_AAI_43771_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ASHWANI REFRIGERATION AND ELECTRICALS | 11181111.10 | L1
| 2 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 11492490.00 | L2
| 3 | KALKI ELECTRICALS | 12884500.00 | L3
| 4 | Blue Star Limited | 13769304.00 | L4
| 5 | CHENNAI ENGINEERING SERVICES | 13971105.00 | L5
| 6 | SHIVARAM INFRA | 14029196.00 | L6