## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 11-Mar-2020 12:32 PM Tender Title: Provision of perimeter lighting for city side boundary wall at CA Jammu. Tender ID: 2020_AAI_43811_1
Tender Inviting Authority: Airports Authority of India, Jammu Airport, Jammu
Name of Work: Provision of perimeter lighting for city side boundary wall at CA Jammu.
Contract No: AAI/JAMMU/ELECT-P11
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Anil Kumar Sharma |  | SHARMA ENTERPRISES
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I SITC of Light Fixtures
1.10 | Supply of 60 Watt Floodlight LED luminaire with integrated electronic Driver ,suitable to operate on 230v,50Hz AC Supply having Effcient heat sink design integrated in high pressure die cast aluminium housing lP65 protection,Luminaire efficacy >90Lm/Watt complete as required as per EIC.(Model no: Bajaj BJFL-60W LED or Equivalent as per approved make list)(05 years warranty shall be provided for complete fitting including controller by manufacturer in favour of AAI). | 20.00 | Each | 5120.00 | 3000.00 | 60000.00 | 4550.00 | 91000.00 | 60000.00 | Anil Kumar Sharma
1.20 | Installation ,testing and commissioning of 60 W LED fitting on Wall with 2 x 1.5 sqmm PVC insulated copper conductor cable in Metal rigid/Flexible conduit from cable looping box to fitting including supply and installation of SMC box(Make Sintex Model no GSJB-3525 OR Equivalent) with connector and 01 Nos. 6 Amp.SP MCB(B Curve) etc with suitable angle iron hanging arrangement for installation of fitting Complete as required as per EIC. A) ITC 60 W LED fittings | 20.00 | Job | 2492.00 | 1450.00 | 29000.00 | 1500.00 | 30000.00 | 29000.00 | Anil Kumar Sharma
2.00 | SH II:Supply and LAYING of Cable and End TERMINATION
2.10 | Supply of XLPE/PVC insulated, PVC sheathed aluminium conductor armoured power cable of 1.1KV grade confirming to IS 7098 (Part I) 1978 with upto date amendments etc as required for the following sizes.(Make : As per approved list.) a) 4 x 6 sqmm | 560.00 | Mtr | 83.00 | 85.00 | 47600.00 | 65.00 | 36400.00 | 36400.00 | SHARMA ENTERPRISES
2.20 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. a) 4 x 10 sqmm | 41.00 | Set | 206.00 | 300.00 | 12300.00 | 160.00 | 6560.00 | 6560.00 | SHARMA ENTERPRISES
2.30 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. A)Upto 35 sq. mm Clamped with 1mm thick clamp | 550.00 | Mtr | 36.00 | 35.00 | 19250.00 | 28.00 | 15400.00 | 15400.00 | SHARMA ENTERPRISES
2.40 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1KV grade of following size in the existing masonry open duct as required. A)Upto 35 sq. mm | 10.00 | Mtr | 23.00 | 25.00 | 250.00 | 5.00 | 50.00 | 50.00 | SHARMA ENTERPRISES
| Total in Figures |  |  |  |  | 168400.00 |  | 179410.00
Lowest Amount Quoted BY: Anil Kumar Sharma(168400.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of perimeter lighting for city side boundary wall at CA Jammu. Tender ID: 2020_AAI_43811_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Anil Kumar Sharma | 168400.00 | L1
| 2 | SHARMA ENTERPRISES | 179410.00 | L2