## BoQ1
Government eProcurement System Created By: Sanjay Sharma Created Date/Time: 17-Mar-2020 05:46 PM Tender Title: Miscellaneous Civil Work in Non-Operational Area at Jabalpur Airport (2020-21). Tender ID: 2020_AAI_43860_1
Tender Inviting Authority: SM (E-C), Airports Authority of India, Jabalpur Airport, Jabalpur
Name of Work: "Construction of Temporary Project office Building at Jabalpur Airport."
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | shri shiv shakti enterprises |  | varsma engineers group
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and disposal of excavated earth lead upto 50 m and lift upto 1.5 m, as directed by Engineer-in-charge.All kinds of soil | 561.03 | M3 | 100.00 | 200.00 | 112206.00 | 120.00 | 67323.60 | 67323.60 | varsma engineers group
2.00 | Dry stone pitching 22.5 cm thick including supply of stones and preparing surface complete. | 225.00 | M2 | 100.00 | 700.00 | 157500.00 | 600.00 | 135000.00 | 135000.00 | varsma engineers group
3.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : (a) 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 (mm nominal size) | 6.41 | M3 | 10.00 | 5500.00 | 35244.00 | 4400.00 | 28195.20 | 28195.20 | varsma engineers group
4.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete.Hot finished welded type tubes | 6900.00 | KG | 10.00 | 85.00 | 586500.00 | 85.00 | 586500.00 | 586500.00 | varsma engineers group, shri shiv shakti enterprises
5.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 254.75 | M2 | 10.00 | 600.00 | 152850.00 | 530.00 | 135017.50 | 135017.50 | varsma engineers group
6.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+ 0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete | 47.00 | M | 10.00 | 600.00 | 28200.00 | 250.00 | 11750.00 | 11750.00 | varsma engineers group
7.00 | Providing and fixing stainless steel ( Grade 304) railing made of Hollow tubes, channels, plates etc., including welding, grinding, buffing, polishing and making curvature (wherever required) and fitting the same with necessary stainless steel nuts and bolts complete, i/c fixing the railing with necessary accessories & stainless steel dash fasteners , stainless steel bolts etc., of required size, on the top of the floor or the side of waist slab with suitable arrangement as per approval of Engineer-incharge,(for payment purpose only weight of stainless steel members shall be considered excluding fixing accessories such as nuts, bolts,fasteners etc.). | 500.00 | KG | 10.00 | 460.00 | 230000.00 | 490.00 | 245000.00 | 230000.00 | shri shiv shakti enterprises
8.00 | Steel work welded in built up sections/ framed work, including cutting,hoisting, fixing in position and applying a priming coat of approved steel primer using structural steel etc. as required.In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works | 390.00 | KG | 10.00 | 85.00 | 33150.00 | 84.00 | 32760.00 | 32760.00 | varsma engineers group
9.00 | Providing and fixing hand rail of approved size by welding etc. to steel ladder railing, balcony railing, staircase railing and similar works,including applying priming coat of approved steel primer. | 666.13 | KG | 10.00 | 90.00 | 59951.70 | 84.00 | 55954.92 | 55954.92 | varsma engineers group
10.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in : Cement mortar 1:6 (1 cement : 6 Coarse sand) | 12.33 | M3 | 10.00 | 6000.00 | 73968.00 | 5000.00 | 61640.00 | 61640.00 | varsma engineers group
11.00 | 12 mm cement plaster of mix :1:6 (1 cement: 6 coarse sand) | 53.60 | M2 | 10.00 | 200.00 | 10720.00 | 220.00 | 11792.00 | 10720.00 | shri shiv shakti enterprises
12.00 | 15 mm cement plaster of mix :1:6 (1 cement: 6 coarse sand) | 53.60 | M2 | 10.00 | 200.00 | 10720.00 | 250.00 | 13400.00 | 10720.00 | shri shiv shakti enterprises
13.00 | Finishing walls with Acrylic Smooth exterior paint of required shade :New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 107.20 | M2 | 10.00 | 232.00 | 24870.40 | 80.00 | 8576.00 | 8576.00 | varsma engineers group
14.00 | Supplying and stacking of good earth at site including royalty and carriage upto 5 km complete (earth measured in stacks will be reduced by 20% for payment). | 54.06 | M3 | 10.00 | 500.00 | 27032.00 | 400.00 | 21625.60 | 21625.60 | varsma engineers group
15.00 | Supplying and stacking sludge at site including royalty and carriage upto 5 m complete (sludge measured in stacks will be reduced by 8% for payment). | 54.06 | M3 | 10.00 | 500.00 | 27032.00 | 700.00 | 37844.80 | 27032.00 | shri shiv shakti enterprises
16.00 | Mixing earth and sludge or manure in the required proportion specified or directed by the Officer-in-charge | 108.13 | M3 | 100.00 | 200.00 | 21625.60 | 60.00 | 6487.68 | 6487.68 | varsma engineers group
17.00 | Providing & laying Selection no. 1 grass turf with earth 50mm to 60mm thickness of existing ground prepared with proper level and ramming with tools wooden and than rolling the surface with light roller make the surface smoothen and light watering the same, with sprinkler and maintenance for 30 days or more till the grass established properly as per direction of officer in charge. | 270.32 | M3 | 100.00 | 250.00 | 67580.00 | 600.00 | 162192.00 | 67580.00 | shri shiv shakti enterprises
18.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge. | 50.00 | M | 10.00 | 242.71 | 12135.50 | 150.00 | 7500.00 | 7500.00 | varsma engineers group
19.00 | Chequered terrazo tiles 22 mm thick with graded marble chips of size up to 6 mm in floors, jointed with neat cement slurry mixed with pigment to match the shade of the tiles, including rubbing and polishing complete,on 20 mm thick bed of cement mortar 1:4 (1 cement :4 coarse sand) :Light shade pigment using white cement | 56.91 | M2 | 10.00 | 2000.00 | 113820.00 | 800.00 | 45528.00 | 45528.00 | varsma engineers group
20.00 | Providing and laying 60mm thick factory made cement concrete interlocking paver block of M -30 grade made by block making machine with strong vibratory compaction, of approved s;ze, design & shape, laid in required colour and pattern over and including 50mm thick compacted bed of coarse sand, filling the joints with line sand etc. all complete as per the direction of Engineer-in-charge. | 480.00 | M2 | 10.00 | 600.00 | 288000.00 | 800.00 | 384000.00 | 288000.00 | shri shiv shakti enterprises
21.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:3:6 (1 Cement : 3 coarse sand (zone-III) : 6 graded stone aggregate 20 mm nominal size). | 70.00 | M3 | 10.00 | 4500.00 | 315000.00 | 4000.00 | 280000.00 | 280000.00 | varsma engineers group
22.00 | Providing and laying gang saw cut 18 mm thick, mirror polished pre moulded and pre polished machine cut granite stone of required size and shape of approved shade, colour and texture in footpath, flooring in road side plazas and similar locations, laid over 20mm thick base of cement mortar 1:4 (1cement : 4 coarse sand) including grouting the joints with white cement mixed with matching pigment, epoxy touch ups etc. complete as per direction of Engineer-in-Charge. 16.86.1 granite stone of area less than 0.50 sqm. | 25.00 | M2 | 10.00 | 2800.00 | 70000.00 | 3500.00 | 87500.00 | 70000.00 | shri shiv shakti enterprises
23.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades,laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand),jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. | 30.24 | M2 | 10.00 | 1200.00 | 36288.00 | 1100.00 | 33264.00 | 33264.00 | varsma engineers group
24.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :1:1½:3 (1 Cement: 1½ coarse sand (zone-III) : 3 graded stone aggregate 20 mm nominal size). | 5.83 | M3 | 10.00 | 6500.00 | 37908.00 | 5500.00 | 32076.00 | 32076.00 | varsma engineers group
25.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level.Thermo-Mechanically Treated bars of grade Fe-500D or more. | 641.52 | KG | 10.00 | 65.00 | 41698.80 | 60.00 | 38491.20 | 38491.20 | varsma engineers group
26.00 | Providing and laying matt finished vitrified tile of size 300x300x9.8mm having water absorption less than 0.5% and conforming to IS: 15622 of approved make in all colours and shades in outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | 264.00 | M2 | 10.00 | 1000.00 | 264000.00 | 900.00 | 237600.00 | 237600.00 | varsma engineers group
27.00 | Providing and laying tactile tile (for vision impaired persons as per standards) of size 300x300x9.8mm having water absorption less than 0.5% and conforming to IS: 15622, of approved make in all colours and shades in outdoor floors such as footpath, court yard, multi modals location etc., laid on 20mm thick base of cement mortar 1:4 (1 cement : 4 coarse sand) in all shapes & patterns including grouting the joints with white cement mixed with matching pigments etc. complete as per direction of Engineer-in-Charge. | 132.00 | M2 | 10.00 | 2250.00 | 297000.00 | 1500.00 | 198000.00 | 198000.00 | varsma engineers group
28.00 | Painting road surface marking with adequate nos of coats to give uniform finish with ready mixed road marking paint conforming to IS: 164, on bituminous surface in white/yellow shade, including cleaning the surface of all dirt, scales, oil, grease and foreign material etc.complete.Old work (One or more coats) | 300.00 | M2 | 10.00 | 150.00 | 45000.00 | 500.00 | 150000.00 | 45000.00 | shri shiv shakti enterprises
29.00 | Providing and fixing 10mm thick clear multiwall poly carbonate sheets of approved make and shade in desired roofing including the cost of EPDM rubber gaskets, sealing tape, etc necessary accessories complete as per direction of engineer-in-charge. The deatiled shade drawings based on relevant codal provisions shall be provided by the agency. The sheeys shall be laid on the purlins to a true plane, with the lines parallel or normal to the sides of the area to be covered unless otherwise required as in special shape roofs like oval, curve,etc. The joints shall be fixed at top of sheet to cover with anodised aluminium flats fitted with washer as joinery detailes etc. as per direction of E-I-C.( Proving and fixing MS tube work shall be paid seprately.) | 225.00 | M2 | 10.00 | 2200.00 | 495000.00 | 1200.00 | 270000.00 | 270000.00 | varsma engineers group
30.00 | Providing and fixing Stainless steel stud of size 35mmx 25mm x4.5 including stem size 6mm x 12mm of SS316 grade The complete item includes drilling at floor tile and also at the bitumen road of required size for fixing stud. Total fixing pattern, location and length of fixing is as per the direction of engineer-In- charge. | 1000.00 | Ea | 10.00 | 100.00 | 100000.00 | 80.00 | 80000.00 | 80000.00 | varsma engineers group
31.00 | Providing and fixing Stainless steel strip of size 280mm x 35 mmx 4.5mm including stem size of 6mm x 12mm. The complete item includes drilling at floor tile and also at the bitumen road of required size for fixing strip.Total fixing pattern, location and length of fixing is as per the direction of engineer-In- charge. | 250.00 | Ea | 100.00 | 500.00 | 125000.00 | 400.00 | 100000.00 | 100000.00 | varsma engineers group
| Total in Figures |  |  |  |  | 3900000.00 |  | 3565018.50
Lowest Amount Quoted BY: varsma engineers group(3565018.50)

## BOQ Summary
BOQ Summary Details Tender Title: Miscellaneous Civil Work in Non-Operational Area at Jabalpur Airport (2020-21). Tender ID: 2020_AAI_43860_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | varsma engineers group | 3565018.50 | L1
| 2 | shri shiv shakti enterprises | 3900000.00 | L2