## BoQ1
Government eProcurement System Created By: Debdeep Dutta Created Date/Time: 23-Mar-2020 01:33 PM Tender Title: Improvement of Air conditioning system at Domestic and International departure at NITB Goa Airport SH Improvement of Air conditioning at Domestic Security Hold Area Tender ID: 2020_AAI_43881_1
Tender Inviting Authority: Jt. Gen. Manager (Engg-E)
Name of Work: Improvement of Air-conditioning System at Domestic and International Departure at NITB, Goa Airport. SH: Improvement of Air- conditioning at Domestic Security Hold Area.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED |  | Blue Star Limited |  | Superior Aircon Pvt. Ltd. |  | VAV Airconditioning |  | Divine Air |  | Maxcool Solutions Pvt.Ltd |  | Neptune Engineering
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | VRV OUTDOOR UNIT Supply, Installation, Testing and Commissioning of Air-cooled Variable Refrigerant Volume(VRV) Outdoor Unit having top discharge comprising of multiple Scroll Compressor all inverter driven, full charge of refrigerant gas (R-410A), lubricating oil and all accessories as per specifications. The condensing unit shall be suitable for Cooling with multi-row condenser coil made of aluminium fins and copper tubes.Multi-kit for multiple outdoor unit connection should be included in price. It also includes lifting and shifting of the outdoor units upto the desired location. The condensing unit shall be suitable for operation on 415 ± 10% volts, 50Hz, 3Phase AC power supply and condensing unit shall be of following capacities:- (a) 40 HP Nominal Higher Capacity | 6.00 | Each |  | 718000.00 | 4308000.00 | 635222.00 | 3811332.00 | 650000.00 | 3900000.00 | 522513.00 | 3135078.00 | 630000.00 | 3780000.00 | 532247.00 | 3193482.00 | 661488.00 | 3968928.00 | 3135078.00 | VAV Airconditioning
2.00 | VERTICAL FLOOR MOUNTED AHU Supply, Installation, Testing and Commissioning of AHU with 6RD DX Cooling coil Floor Mounted , double skin having panel thickness 43mm thick polyurethene foam (thermal break profile) 38 kg/m3 Puf having backward curved centrifugal flow fan with motor type TEFC Sq. Cage Induction Motor DoP-IP55 and Motor Efficiency rating IE2. Prefilter type Pre-filter 500FPM EU4/ 10micron. Coil made with copper tubing and fins with aluminium. Unit should be equiped with vibration isolators between fan and coil section and also vibration isolators should be provided between floor and base. Total static pressure of 40mmwg. It also includes lifting and shifting of the outdoor units upto the desired location. Fan outlet velocity of 1500 FPM. The AHU unit shall be as per following:-
2.01 | Supply, Installation, Testing and Commissioning of 13000± 2% CFM AHU | 6.00 | Each |  | 445100.00 | 2670600.00 | 377958.00 | 2267748.00 | 500000.00 | 3000000.00 | 332553.00 | 1995318.00 | 350000.00 | 2100000.00 | 267500.00 | 1605000.00 | 297572.00 | 1785432.00 | 1605000.00 | Maxcool Solutions Pvt.Ltd
2.02 | Supply , Installation, Testing and Commissioningof AHU Expansion Valve and Control Box(To connect ODU to AHU) | 12.00 | Each |  | 40178.00 | 482136.00 | 35486.00 | 425832.00 | 50000.00 | 600000.00 | 26755.00 | 321060.00 | 25500.00 | 306000.00 | 21480.00 | 257760.00 | 33315.00 | 399780.00 | 257760.00 | Maxcool Solutions Pvt.Ltd
3.00 | Supply , Installation, Testing and Commissioningof Centralised Remote Controller ( CRC) with individual as well as zonal control of minimum 64 indoor units. The wiring length of CRC should be a minimum of 1000 metre. It should be connectable with unified ON/Off controller, schedule timer and BMS system.Airflow volume and direction should be controllable in stepped manner for individual units/groups. (Make Daikin DCS302CA61 or Equivalent) | 1.00 | Each |  | 252135.00 | 252135.00 | 13882.00 | 13882.00 | 35000.00 | 35000.00 | 21420.00 | 21420.00 | 20000.00 | 20000.00 | 24500.00 | 24500.00 | 32922.00 | 32922.00 | 13882.00 | Blue Star Limited
4.00 | Supply, Installation, Testing & Commissioning of high pressure copper refrigerant piping suitable for R 410a refrigerant of suitable size as required and duly insulated with 19mm/13mmthick closed cell elastomeric insulation in tubing form inclusive of nitrile rubber and UV treatment. External Refrigerant piping shall be laid on GI covered cable trays. Piping inside occupied spaces shall be supported by ladder type GI Slot channel. Entire refrigerant piping work be carried out in accordance with the specifications. Piping shall be of following sizes:
4.01 | 36 to 45 mm Dia Copper pipe with 19mm thick insulation | 600.00 | Mtr. |  | 847.00 | 508200.00 | 1513.00 | 907800.00 | 1600.00 | 960000.00 | 2290.00 | 1374000.00 | 1300.00 | 780000.00 | 950.00 | 570000.00 | 1274.00 | 764400.00 | 508200.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
4.02 | 21 to 35 mm Dia Copper pipe with 19mm thick insulation | 120.00 | Mtr. |  | 720.00 | 86400.00 | 734.00 | 88080.00 | 1000.00 | 120000.00 | 1193.00 | 143160.00 | 850.00 | 102000.00 | 850.00 | 102000.00 | 850.00 | 102000.00 | 86400.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
4.03 | 11 to 20 mm Dia Copper pipe with 19mm thick insulation | 720.00 | Mtr. |  | 466.00 | 335520.00 | 574.00 | 413280.00 | 600.00 | 432000.00 | 664.00 | 478080.00 | 690.00 | 496800.00 | 600.00 | 432000.00 | 520.00 | 374400.00 | 335520.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
5.00 | Supply, Installation, Testing and Commisioning of all communication/control cables between indoor and outdoor unit and also between Outdoor unit and central remote controller as per OEM specifications as required. | 1250.00 | Mtr. |  | 110.00 | 137500.00 | 126.00 | 157500.00 | 200.00 | 250000.00 | 123.00 | 153750.00 | 100.00 | 125000.00 | 110.00 | 137500.00 | 105.00 | 131250.00 | 125000.00 | Divine Air
6.00 | Supply & installation, testing and commissioning of Rigid heavy class 50mm CPVC piping for drain, complete with fittings, supports as per specifications and duly insulated with 6 mm thick closed cell crosslinked polyethylene (XLPE) tubular insulation. | 200.00 | Mtr. |  | 152.00 | 30400.00 | 344.00 | 68800.00 | 300.00 | 60000.00 | 711.00 | 142200.00 | 480.00 | 96000.00 | 150.00 | 30000.00 | 234.00 | 46800.00 | 30000.00 | Maxcool Solutions Pvt.Ltd
7.00 | Supply, Installation, Testing of fabricated ductwork complete with fire retardant gaskets, slip on flanges, GI Angle supports etc. in accordance with the specifications.
7.01 | SITC of 20Gauge, GI Ducting | 1800.00 | Sq.Ft |  | 114.00 | 205200.00 | 111.00 | 199800.00 | 120.00 | 216000.00 | 125.00 | 225000.00 | 120.00 | 216000.00 | 70.00 | 126000.00 | 106.00 | 190800.00 | 126000.00 | Maxcool Solutions Pvt.Ltd
7.02 | SITC of Angle Support for Duct Network (25mmx25mmx3mm) | 1200.00 | Kg. |  | 93.00 | 111600.00 | 97.00 | 116400.00 | 100.00 | 120000.00 | 104.00 | 124800.00 | 100.00 | 120000.00 | 65.00 | 78000.00 | 61.00 | 73200.00 | 73200.00 | Neptune Engineering
8.00 | Supply, Installation and Testing of 125mm deep Antivibration Canvass Joints made out of imported fire retardant fabric with extruded aluminium frame/ flange on both sides of approved make. | 6.00 | Each |  | 3813.00 | 22878.00 | 2868.00 | 17208.00 | 3000.00 | 18000.00 | 5517.00 | 33102.00 | 4000.00 | 24000.00 | 3500.00 | 21000.00 | 2655.00 | 15930.00 | 15930.00 | Neptune Engineering
9.00 | Supply, Installation, Testing & Balancing of Round supply air Jet diffusers as per the approved shop drawings and specifications with fixed air distribution grid, removable key-operated volume control damper. a. 312 mm Dia. Round Jet diffusers with volume control dampers having neck size as mentioned in the "Approved for Construction" shop drawings. | 72.00 | Each |  | 2750.00 | 198000.00 | 2039.00 | 146808.00 | 3000.00 | 216000.00 | 2102.00 | 151344.00 | 3500.00 | 252000.00 | 3550.00 | 255600.00 | 2605.00 | 187560.00 | 146808.00 | Blue Star Limited
10.00 | Supply, Installation, Testing & Balancing of 200mm Linear Grills for return air as per the approved shop drawings & specifications. | 150.00 | Sq.Ft. |  | 635.00 | 95250.00 | 442.00 | 66300.00 | 500.00 | 75000.00 | 425.00 | 63750.00 | 600.00 | 90000.00 | 415.00 | 62250.00 | 443.00 | 66450.00 | 62250.00 | Maxcool Solutions Pvt.Ltd
11.00 | Supply and Application of internal acoustic insulation for ducts using open cell elastomeric insulation with adhesive, longitudinal & transverse joints sealed with adhesive armasound/ k-Fonic in a neat & clean manner. (a) 13 mm/15mm thick as per OEM Specification | 150.00 | Sq.Ft. |  | 38.00 | 5700.00 | 98.00 | 14700.00 | 100.00 | 15000.00 | 85.00 | 12750.00 | 110.00 | 16500.00 | 92.00 | 13800.00 | 106.00 | 15900.00 | 5700.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
12.00 | Supply and installation of aluminium foil faced closed cell elastomeric nitrile rubber thermal insulation exhibiting class"O" properties on supply and return air ducts with sealing of longitugnal and transverse joints with SR-505 adhesive as per the approved specifications. Quoted price shall be inclusive of adhesive, tapes and other accessories as per specification. (a) not less than 13 mm thick | 2000.00 | Sq.Ft. |  | 46.00 | 92000.00 | 39.00 | 78000.00 | 40.00 | 80000.00 | 45.00 | 90000.00 | 52.00 | 104000.00 | 42.00 | 84000.00 | 48.00 | 96000.00 | 78000.00 | Blue Star Limited
13.00 | Supply and Application of internal acoustic insulation for AHU using open cell elastomeric insulation with adhesive, longitudinal & transverse joints sealed with adhesive armasound/ k-Fonic in a neat & clean manner. (a) not less than 25 mm thick | 1500.00 | Sq.Ft. |  | 72.00 | 108000.00 | 135.00 | 202500.00 | 150.00 | 225000.00 | 147.00 | 220500.00 | 160.00 | 240000.00 | 145.00 | 217500.00 | 159.00 | 238500.00 | 108000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
14.00 | Supply and Application of internal acoustic insulation for AHU BOX using open cell elastomeric insulation with adhesive, longitudinal & transverse joints sealed with adhesive armasound/ k-Fonic in a neat & clean manner. (a) not less than 25 mm thick | 3500.00 | Sq.Ft. |  | 88.00 | 308000.00 | 152.00 | 532000.00 | 150.00 | 525000.00 | 147.00 | 514500.00 | 160.00 | 560000.00 | 145.00 | 507500.00 | 159.00 | 556500.00 | 308000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
15.00 | Fabrication and fixing of Aluminium composite panel cladding on outside with 3mm /0.25 mm thick ACP sheets, aluminium tubes 50 x 25 x 1.2 mm thick frame work, 50*50*2.3mm mild steel frame work, 6mm thick commercial plywood fixed inside, silicon sealants etc complete. | 4000.00 | Sq.Ft. |  | 230.00 | 920000.00 | 430.00 | 1720000.00 | 325.00 | 1300000.00 | 196.00 | 784000.00 | 310.00 | 1240000.00 | 350.00 | 1400000.00 | 212.00 | 848000.00 | 784000.00 | VAV Airconditioning
16.00 | Air-Balancing ,Testing and Commissioning of whole system | 1.00 | JOB |  | 42372.00 | 42372.00 | 17206.00 | 17206.00 | 50000.00 | 50000.00 | 12260.00 | 12260.00 | 5000.00 | 5000.00 | 25000.00 | 25000.00 | 15930.00 | 15930.00 | 5000.00 | Divine Air
17.00 | SITC of M.S Outdoor Unit Stand of minimum 150mm height for mounting outdoor units with anti vibration rubber pads. | 6.00 | Each |  | 10169.00 | 61014.00 | 10324.00 | 61944.00 | 2000.00 | 12000.00 | 12015.00 | 72090.00 | 9000.00 | 54000.00 | 7000.00 | 42000.00 | 7434.00 | 44604.00 | 12000.00 | Superior Aircon Pvt. Ltd.
18.00 | Gas Charging of the System | 1.00 | Lot |  | 117118.00 | 117118.00 | 119067.00 | 119067.00 | 100000.00 | 100000.00 | 112988.00 | 112988.00 | 100000.00 | 100000.00 | 92500.00 | 92500.00 | 91120.00 | 91120.00 | 91120.00 | Neptune Engineering
19.00 | Civil Works including 12 core cuts of around 150mm diameter and other minor civil works as and where required for the work to be completed as per instructions from Engineer-in-charge. | 1.00 | JOB |  | 84745.00 | 84745.00 | 75708.00 | 75708.00 | 50000.00 | 50000.00 | 58848.00 | 58848.00 | 50000.00 | 50000.00 | 15000.00 | 15000.00 | 28674.00 | 28674.00 | 15000.00 | Maxcool Solutions Pvt.Ltd
20.00 | SH-2: Electrical Works VRF Feeder Panel- Supply, Installation, Testing & Commissioning, Indoor type cubicle panel, body made out of 2mm thick CRCA sheet, totally enclosed, IP 42, floor/wall mounted with channel base frame, dust and vermin proof, indoor, compartmentalised, suitable for operation on 3 phase and neutral, 415 V, 50Hz AC system, including control wiring with 2.5 sq mm size wires/cable, interconnection, duly powder coated painting etc. including supply & installation of following switchgears, metering instruments and accessories as per following specifications:- INCOMER : 2 Nos. 250A four pole Module case Circuit Breaker (Ics = Icu = 50 KA) with built in thermal based release unit with adjustable setting. BUSCOUPLER : 1 Nos. 250A four pole Module case Circuit Breaker (Ics = Icu = 50 KA) with built in thermal based release unit with adjustable setting. OUTGOING : (i) 8 Nos. 63A four pole Module case Circuit Breaker (Ics = Icu = 30 KA) with built in thermal based release unit with adjustable setting. (ii) 8 Nos. 63A four pole Residual Current Circuit Breaker, 300mA Sensitivity for each outgoing. INSTRUMENTS: 2 Nos. digital multifunction meter (Ammeter + Voltmeter) including suitable rating CTs for 3 phase, 4 wire operation as per specification. INDICATIONS : RYB (LED Type) phase indicating lamps controlled by 2 amp MCB for all incomer & ON /OFF indication for all Incomers and Outgoings. BUSBAR : 400 Amp TPN Aluminium busbar. All Incomers and Bus Coupler shall be mechanically and electrically interlocked with suitable accessories. | 2.00 | Each |  | 335680.00 | 671360.00 | 281035.00 | 562070.00 | 300000.00 | 600000.00 | 361486.00 | 722972.00 | 180000.00 | 360000.00 | 158000.00 | 316000.00 | 345150.00 | 690300.00 | 316000.00 | Maxcool Solutions Pvt.Ltd
21.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 volts, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 amps tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCB’s (but without MCB’s and incomer ) as required. 12 Way Double Door(8+36) | 1.00 | Each |  | 31498.00 | 31498.00 | 27530.00 | 27530.00 | 15000.00 | 15000.00 | 8969.00 | 8969.00 | 14000.00 | 14000.00 | 6150.00 | 6150.00 | 42480.00 | 42480.00 | 6150.00 | Maxcool Solutions Pvt.Ltd
22.00 | Supplying and fixing 100 amps rating, 415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Triple pole and Neutral in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each |  | 9632.00 | 9632.00 | 5336.00 | 5336.00 | 2000.00 | 2000.00 | 8778.00 | 8778.00 | 6500.00 | 6500.00 | 6750.00 | 6750.00 | 7965.00 | 7965.00 | 2000.00 | Superior Aircon Pvt. Ltd.
23.00 | Supplying and fixing 100A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 1.00 | Each |  | 12249.00 | 12249.00 | 4861.00 | 4861.00 | 7000.00 | 7000.00 | 7455.00 | 7455.00 | 8500.00 | 8500.00 | 8250.00 | 8250.00 | 7434.00 | 7434.00 | 4861.00 | Blue Star Limited
24.00 | Supplying and fixing 32 amps rating, 415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Triple Pole in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 6.00 | Each |  | 2346.00 | 14076.00 | 1464.00 | 8784.00 | 1200.00 | 7200.00 | 1333.00 | 7998.00 | 1500.00 | 9000.00 | 2000.00 | 12000.00 | 1381.00 | 8286.00 | 7200.00 | Superior Aircon Pvt. Ltd.
25.00 | Supply of following 1.1KV grade aluminium/copper conductor XLPE/PVC insulated PVC sheathed armoured cable as per IS 7098 (Part I) 1988 as required.
25.01 | 3.5 Core 185 Sq. mm Aluminium | 700.00 | Mtr. |  | 510.00 | 357000.00 | 578.00 | 404600.00 | 700.00 | 490000.00 | 735.00 | 514500.00 | 690.00 | 483000.00 | 715.00 | 500500.00 | 700.00 | 490000.00 | 357000.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
25.02 | 3.5 Core 70 Sq. mm Aluminium | 300.00 | Mtr. |  | 296.00 | 88800.00 | 260.00 | 78000.00 | 300.00 | 90000.00 | 330.00 | 99000.00 | 335.00 | 100500.00 | 310.00 | 93000.00 | 314.00 | 94200.00 | 78000.00 | Blue Star Limited
25.03 | 3.5 Core 35 Sq. mm Aluminium | 1200.00 | Mtr. |  | 217.00 | 260400.00 | 147.00 | 176400.00 | 170.00 | 204000.00 | 187.00 | 224400.00 | 170.00 | 204000.00 | 250.00 | 300000.00 | 178.00 | 213600.00 | 176400.00 | Blue Star Limited
25.04 | 4 Core 2.5 Sq. mm Copper | 1200.00 | Mtr. |  | 185.00 | 222000.00 | 100.00 | 120000.00 | 150.00 | 180000.00 | 71.00 | 85200.00 | 100.00 | 120000.00 | 140.00 | 168000.00 | 121.00 | 145200.00 | 85200.00 | VAV Airconditioning
26.00 | Laying and fixing of following sizes of one number PVC insulated and PVC sheathed/XLPE Power cable of 1.1kv grade on existing cable tray with cable clamp/saddles etc. as required. Above 95 sq mm and up to 185 Sq.mm | 700.00 | Mtr. |  | 152.00 | 106400.00 | 229.00 | 160300.00 | 120.00 | 84000.00 | 257.00 | 179900.00 | 80.00 | 56000.00 | 50.00 | 35000.00 | 106.00 | 74200.00 | 35000.00 | Maxcool Solutions Pvt.Ltd
27.00 | Laying and fixing of following sizes of one number PVC insulated and PVC sheathed/XLPE Power cable of 1.1kv grade on existing cable tray with cable clamp/saddles etc. as required. Above 35 sq mm and up to 95 Sq.mm | 300.00 | Mtr. |  | 127.00 | 38100.00 | 138.00 | 41400.00 | 75.00 | 22500.00 | 115.00 | 34500.00 | 85.00 | 25500.00 | 38.00 | 11400.00 | 79.00 | 23700.00 | 11400.00 | Maxcool Solutions Pvt.Ltd
28.00 | Laying and fixing of following sizes of one number PVC insulated and PVC sheathed/XLPE Power cable of 1.1kv grade on existing cable tray with cable clamp/saddles etc. as required. Upto 35 sq mm | 1200.00 | Mtr. |  | 93.00 | 111600.00 | 80.00 | 96000.00 | 60.00 | 72000.00 | 65.00 | 78000.00 | 80.00 | 96000.00 | 30.00 | 36000.00 | 62.00 | 74400.00 | 36000.00 | Maxcool Solutions Pvt.Ltd
29.00 | Laying and fixing of following sizes of one number PVC insulated and PVC sheathed/XLPE Power cable of 1.1kv grade on wall surface as required. Upto 35 sq. mm | 1200.00 | Mtr. |  | 93.00 | 111600.00 | 46.00 | 55200.00 | 60.00 | 72000.00 | 25.00 | 30000.00 | 80.00 | 96000.00 | 30.00 | 36000.00 | 42.00 | 50400.00 | 30000.00 | VAV Airconditioning
30.00 | Supply and making end termination with brass compression gland and aluminium/copper lugs as per cable for following size XLPE insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade complete as required. 3.5C x 185 Sq.mm Aluminium | 8.00 | Set |  | 93.00 | 744.00 | 3369.00 | 26952.00 | 1000.00 | 8000.00 | 1839.00 | 14712.00 | 600.00 | 4800.00 | 600.00 | 4800.00 | 1171.00 | 9368.00 | 744.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
31.00 | Supply and making end termination with brass compression gland and aluminium/copper lugs as per cable for following size XLPE insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade complete as required. 3.5C x 70 Sq.mm Aluminium | 2.00 | Set |  | 93.00 | 186.00 | 2562.00 | 5124.00 | 500.00 | 1000.00 | 613.00 | 1226.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 725.00 | 1450.00 | 186.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
32.00 | Supply and making end termination with brass compression gland and aluminium/copper lugs as per cable for following size XLPE insulated PVC sheathed aluminium/copper conductor cable of 1.1 KV grade complete as required. 3.5C x 35 Sq.mm Aluminium | 24.00 | Set |  | 93.00 | 2232.00 | 1973.00 | 47352.00 | 400.00 | 9600.00 | 368.00 | 8832.00 | 400.00 | 9600.00 | 315.00 | 7560.00 | 435.00 | 10440.00 | 2232.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
33.00 | Fabricating and installing following size of perforated GI cable trays including horizontal and vertical bends, reducers, tees, cross members and other accessories as required, and duly suspended from the ceiling with suspenders/supported on wall including painting of all welded area etc. as required. 300 mm width x 50mm depth x 2 mm thickness. | 350.00 | Mtr. |  | 510.00 | 178500.00 | 845.00 | 295750.00 | 1000.00 | 350000.00 | 760.00 | 266000.00 | 600.00 | 210000.00 | 700.00 | 245000.00 | 1009.00 | 353150.00 | 178500.00 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED
34.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 700.00 | Mtr. |  | 88.00 | 61600.00 | 100.00 | 70000.00 | 150.00 | 105000.00 | 72.00 | 50400.00 | 110.00 | 77000.00 | 250.00 | 175000.00 | 218.00 | 152600.00 | 50400.00 | VAV Airconditioning
35.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 3400.00 | Mtr. |  | 38.00 | 129200.00 | 32.00 | 108800.00 | 35.00 | 119000.00 | 18.00 | 61200.00 | 15.00 | 51000.00 | 30.00 | 102000.00 | 39.00 | 132600.00 | 51000.00 | Divine Air
| Total in Figures |  |  |  |  | 13589945.00 |  | 13816354.00 |  | 14797300.00 |  | 12644040.00 |  | 12809700.00 |  | 11356802.00 |  | 12656853.00
Lowest Amount Quoted BY: Maxcool Solutions Pvt.Ltd(11356802.00)

## BOQ Summary
BOQ Summary Details Tender Title: Improvement of Air conditioning system at Domestic and International departure at NITB Goa Airport SH Improvement of Air conditioning at Domestic Security Hold Area Tender ID: 2020_AAI_43881_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Maxcool Solutions Pvt.Ltd | 11356802.00 | L1
| 2 | VAV Airconditioning | 12644040.00 | L2
| 3 | Neptune Engineering | 12656853.00 | L3
| 4 | Divine Air | 12809700.00 | L4
| 5 | GEMINI COOLING SYSTEMS PROJECTS PRIVATE LIMITED | 13589945.00 | L5
| 6 | Blue Star Limited | 13816354.00 | L6
| 7 | Superior Aircon Pvt. Ltd. | 14797300.00 | L7