## BoQ1
Government eProcurement System Created By: Elina Ghosh Created Date/Time: 01-Jul-2020 04:30 PM Tender Title: Provision of 02 nos frangible hut at 19L GP and 19L LLZ inside operational area at NSCBI Airport Kolkata SH Electrical works Tender ID: 2020_AAI_43952_1
Tender Inviting Authority: AGM(E-E)-II
Name of Work: Provision of 02 nos. frangible hut at 19L GP & 19L LLZ inside operational area at NSCBI Airport, Kolkata. (SH:-Electrical Works)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | M/s. A S Traders |  | ANIRBAN ENTERPRISE |  | M/s J.K. Electric Engineering Works |  | Yash Energy Pvt. Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required including providing 3 nos. blanking plate in each of 3 switchboards. | 14.00 | Point | 1310.00 | 666.00 | 9324.00 | 850.00 | 11900.00 | 792.00 | 11088.00 | 620.00 | 8680.00 | 8680.00 | Yash Energy Pvt. Ltd
2.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 30.00 | Meter | 240.00 | 222.00 | 6660.00 | 125.00 | 3750.00 | 135.00 | 4050.00 | 77.00 | 2310.00 | 2310.00 | Yash Energy Pvt. Ltd
3.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 Amp switch | 3.00 | Each | 97.00 | 77.00 | 231.00 | 65.00 | 195.00 | 68.00 | 204.00 | 97.00 | 291.00 | 195.00 | ANIRBAN ENTERPRISE
4.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 Amp socket outlet | 3.00 | Each | 145.00 | 111.00 | 333.00 | 95.00 | 285.00 | 130.00 | 390.00 | 213.00 | 639.00 | 285.00 | ANIRBAN ENTERPRISE
5.00 | Supply and fixing of U PVC adaptable trunking system of following sizes with suitable covers on top, internal & external angle, flat angle, flat junction, angled junction, joints, end caps, plate junction, clip etc as per site condition complete as required. min 100 x 50 mm | 180.00 | Meter | 1273.00 | 155.00 | 27900.00 | 325.00 | 58500.00 | 900.00 | 162000.00 | 588.00 | 105840.00 | 27900.00 | M/s. A S Traders
6.00 | Supply and fixing of U PVC adaptable trunking system of following sizes with suitable covers on top, internal & external angle, flat angle, flat junction, angled junction, joints, end caps, plate junction, clip etc as per site condition complete as required. min 50 x 50 mm | 40.00 | Meter | 725.00 | 111.00 | 4440.00 | 150.00 | 6000.00 | 630.00 | 25200.00 | 203.00 | 8120.00 | 4440.00 | M/s. A S Traders
7.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 25 mm | 30.00 | Meter | 187.00 | 77.00 | 2310.00 | 80.00 | 2400.00 | 72.00 | 2160.00 | 46.00 | 1380.00 | 1380.00 | Yash Energy Pvt. Ltd
8.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/trunking as required. 3 x 4.0 sq. mm | 264.00 | Meter | 182.00 | 99.00 | 26136.00 | 105.00 | 27720.00 | 100.00 | 26400.00 | 110.00 | 29040.00 | 26136.00 | M/s. A S Traders
9.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/trunking as required. 3 x 6 sq. mm | 43.00 | Meter | 270.00 | 144.00 | 6192.00 | 150.00 | 6450.00 | 150.00 | 6450.00 | 156.00 | 6708.00 | 6192.00 | M/s. A S Traders
10.00 | Supply and fixing of module mounting box suitable for fixing in cable trunking with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. all accessories for fixing the same complete as required. | 7.00 | Each | 701.00 | 433.00 | 3031.00 | 150.00 | 1050.00 | 500.00 | 3500.00 | 689.00 | 4823.00 | 1050.00 | ANIRBAN ENTERPRISE
11.00 | Supply and fixing of module mounting box suitable for fixing in cable trunking with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. all accessories for fixing the same complete as required. | 9.00 | Each | 523.00 | 399.00 | 3591.00 | 140.00 | 1260.00 | 300.00 | 2700.00 | 509.00 | 4581.00 | 1260.00 | ANIRBAN ENTERPRISE
12.00 | Supplying and fixing suitable size PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 4.00 | Each | 633.00 | 488.00 | 1952.00 | 125.00 | 500.00 | 350.00 | 1400.00 | 759.00 | 3036.00 | 500.00 | ANIRBAN ENTERPRISE
13.00 | Supplying and fixing suitable size PVC box with modular plate including supply and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 6.00 | Each | 463.00 | 311.00 | 1866.00 | 125.00 | 750.00 | 290.00 | 1740.00 | 351.00 | 2106.00 | 750.00 | ANIRBAN ENTERPRISE
14.00 | Supplying and fixing 30 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 30 A "C" curve, TPNMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 5597.00 | 1222.00 | 4888.00 | 2700.00 | 10800.00 | 3800.00 | 15200.00 | 2985.00 | 11940.00 | 4888.00 | M/s. A S Traders
15.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required. 4 way (4 + 12), Double door | 2.00 | Each | 11768.00 | 5555.00 | 11110.00 | 5000.00 | 10000.00 | 6500.00 | 13000.00 | 7116.00 | 14232.00 | 10000.00 | ANIRBAN ENTERPRISE
16.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc.as required. (But without MCB/RCCB/Isolator) 8 way, Double door | 1.00 | Each | 2381.00 | 1444.00 | 1444.00 | 1500.00 | 1500.00 | 1200.00 | 1200.00 | 4971.00 | 4971.00 | 1200.00 | M/s J.K. Electric Engineering Works
17.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 6-32 A 240 V "C" curve SPN MCB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 1292.00 | 777.00 | 3108.00 | 750.00 | 3000.00 | 400.00 | 1600.00 | 863.00 | 3452.00 | 1600.00 | M/s J.K. Electric Engineering Works
18.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 16.00 | Each | 352.00 | 155.00 | 2480.00 | 180.00 | 2880.00 | 135.00 | 2160.00 | 152.00 | 2432.00 | 2160.00 | M/s J.K. Electric Engineering Works
19.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole & Neutral | 3.00 | Each | 842.00 | 455.00 | 1365.00 | 450.00 | 1350.00 | 410.00 | 1230.00 | 427.00 | 1281.00 | 1230.00 | M/s J.K. Electric Engineering Works
20.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole | 4.00 | Each | 1307.00 | 977.00 | 3908.00 | 750.00 | 3000.00 | 678.00 | 2712.00 | 652.00 | 2608.00 | 2608.00 | Yash Energy Pvt. Ltd
21.00 | Supplying and fixing following rating, three phase and neutral, 415 volts, MCB, C curve in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 2.00 | Each | 2583.00 | 1333.00 | 2666.00 | 900.00 | 1800.00 | 915.00 | 1830.00 | 1280.00 | 2560.00 | 1800.00 | ANIRBAN ENTERPRISE
22.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 8.00 | each | 8.00 | 22.00 | 176.00 | 25.00 | 200.00 | 7.00 | 56.00 | 37.00 | 296.00 | 56.00 | M/s J.K. Electric Engineering Works
23.00 | SITC of Type 2, 1 phase MOV based surge protection device for 40 kA total discharge current (8/20 µSec) as per IEC including providing enclosure, mounting arrangement and interconnections complete as required. | 1.00 | Each | 10160.00 | 42000.00 | 42000.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 6500.00 | 6500.00 | 3000.00 | ANIRBAN ENTERPRISE
24.00 | SITC of Type 2, 3 phase MOV based surge protection device for 40 kA total discharge current (8/20 µSec) as per IEC including providing enclosure, mounting arrangement and interconnections complete as required. | 2.00 | Each | 11940.00 | 58000.00 | 116000.00 | 7000.00 | 14000.00 | 9000.00 | 18000.00 | 8600.00 | 17200.00 | 14000.00 | ANIRBAN ENTERPRISE
25.00 | Supply of following size 1.1 kv grade, XLPE insulated and PVC inner sheathed Aluminum conductor armored power cable conforming to IS: 7098 (Part 1) with up to date amendments etc. complete as required. 2 core x 6 sq.mm | 150.00 | Meter | 85.00 | 77.00 | 11550.00 | 55.00 | 8250.00 | 65.00 | 9750.00 | 69.00 | 10350.00 | 8250.00 | ANIRBAN ENTERPRISE
26.00 | Supply of following size 1.1 kv grade, XLPE insulated and PVC inner sheathed Aluminum conductor armored power cable conforming to IS: 7098 (Part 1) with up to date amendments etc. complete as required. 4 core x 16 sq.mm | 400.00 | Meter | 151.00 | 133.00 | 53200.00 | 90.00 | 36000.00 | 112.00 | 44800.00 | 122.00 | 48800.00 | 36000.00 | ANIRBAN ENTERPRISE
27.00 | Supply of following size 1.1 kv grade, XLPE insulated and PVC inner sheathed Aluminum conductor armored power cable conforming to IS: 7098 (Part 1) with up to date amendments etc. complete as required. 4 core x 35 sq mm | 200.00 | Meter | 252.00 | 244.00 | 48800.00 | 150.00 | 30000.00 | 185.00 | 37000.00 | 204.00 | 40800.00 | 30000.00 | ANIRBAN ENTERPRISE
28.00 | Laying of one number XLPE insulated PVC sheathed armoured aluminium conductor cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. Upto 35sqmm | 540.00 | meter | 461.00 | 299.00 | 161460.00 | 325.00 | 175500.00 | 280.00 | 151200.00 | 180.00 | 97200.00 | 97200.00 | Yash Energy Pvt. Ltd
29.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 130.00 | Meter | 52.00 | 33.00 | 4290.00 | 75.00 | 9750.00 | 40.00 | 5200.00 | 65.00 | 8450.00 | 4290.00 | M/s. A S Traders
30.00 | Supply and laying of 80 mm dia GI pipe complete with G.I. fittings for road crossing complete as required. | 70.00 | Meter | 757.00 | 800.00 | 56000.00 | 750.00 | 52500.00 | 700.00 | 49000.00 | 1030.00 | 72100.00 | 49000.00 | M/s J.K. Electric Engineering Works
31.00 | Laying of XLPE insulated PVC sheathed armoured aluminium conductor cable of grade 1.1 KV, of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 80.00 | Meter | 32.00 | 22.00 | 1760.00 | 40.00 | 3200.00 | 25.00 | 2000.00 | 45.00 | 3600.00 | 1760.00 | M/s. A S Traders
32.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required 4 X 16 sq. mm (28mm) | 7.00 | each | 253.00 | 177.00 | 1239.00 | 250.00 | 1750.00 | 150.00 | 1050.00 | 548.00 | 3836.00 | 1050.00 | M/s J.K. Electric Engineering Works
33.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required 4 X 35 sq. mm (32mm) | 4.00 | each | 306.00 | 222.00 | 888.00 | 300.00 | 1200.00 | 250.00 | 1000.00 | 850.00 | 3400.00 | 888.00 | M/s. A S Traders
34.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. | 2.00 | Set | 4283.00 | 3999.00 | 7998.00 | 4500.00 | 9000.00 | 4000.00 | 8000.00 | 11120.00 | 22240.00 | 7998.00 | M/s. A S Traders
35.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 110.00 | Meter | 438.00 | 399.00 | 43890.00 | 350.00 | 38500.00 | 350.00 | 38500.00 | 140.00 | 15400.00 | 15400.00 | Yash Energy Pvt. Ltd
36.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 16.00 | Meter | 199.00 | 199.00 | 3184.00 | 200.00 | 3200.00 | 150.00 | 2400.00 | 135.00 | 2160.00 | 2160.00 | Yash Energy Pvt. Ltd
37.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 186.00 | Meter | 56.00 | 22.00 | 4092.00 | 25.00 | 4650.00 | 35.00 | 6510.00 | 22.00 | 4092.00 | 4092.00 | Yash Energy Pvt. Ltd, M/s. A S Traders
38.00 | SITC of 2 x 20 WATT Batten type LED tube light fittings with 2 nos LED tube suitable to operate with 230V AC power supply as per tender specifications complete as required. | 10.00 | Each | 2798.00 | 3333.00 | 33330.00 | 1200.00 | 12000.00 | 2000.00 | 20000.00 | 1263.00 | 12630.00 | 12000.00 | ANIRBAN ENTERPRISE
39.00 | SITC of 1 x 20 WATT Batten type LED tube light fittings with LED tube suitable to operate with 230V AC power supply as per tender specifications complete as required. | 2.00 | Each | 1588.00 | 1777.00 | 3554.00 | 725.00 | 1450.00 | 450.00 | 900.00 | 555.00 | 1110.00 | 900.00 | M/s J.K. Electric Engineering Works
40.00 | SITC of 40 watt LED street light luminaire along with supply and fixing of medium class G.I. bend on wall etc as per tender specifications complete as required. | 6.00 | Each | 6912.00 | 4444.00 | 26664.00 | 2800.00 | 16800.00 | 3000.00 | 18000.00 | 2980.00 | 17880.00 | 16800.00 | ANIRBAN ENTERPRISE
41.00 | Supplying and fixing of thermoplastic circuit breaker box 1 row 4 modules of min IP 65 with metric knockouts and terminals and fixing on wall surface with suitable clamps, etc. complete as required. | 2.00 | Each | 2397.00 | 2444.00 | 4888.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 2545.00 | 5090.00 | 3000.00 | M/s J.K. Electric Engineering Works
42.00 | Supplying and fixing of analogue time switch for automatic switching On & Off of street lights mounted in thermoplastic box of min IP 65 with metric knockouts and terminals for terminating min 3 nos. 2 x 6 sqmm 1.1kV Al power cable and fixing on wall surface with suitable clamps, etc. complete with connections, testing and commissioning as required. | 1.00 | Each | 6910.00 | 2999.00 | 2999.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 9667.00 | 9667.00 | 2999.00 | M/s. A S Traders
43.00 | Supply and fixing of thermoplastic cable junction box min IP 65 with metric knockouts for cable entry, to terminate min 3 nos. 2 x 6 sqmm 1.1kV Al power cable for streetlight and fixing on wall surface with suitable clamps, etc. complete as required. | 6.00 | Each | 1896.00 | 499.00 | 2994.00 | 1800.00 | 10800.00 | 1700.00 | 10200.00 | 1329.00 | 7974.00 | 2994.00 | M/s. A S Traders
44.00 | Supplying and making end termination with synthetic threaded cable gland and aluminium lugs in the existing thermoplastic box for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required 2 X 6 sq. mm | 23.00 | each | 282.00 | 199.00 | 4577.00 | 200.00 | 4600.00 | 200.00 | 4600.00 | 145.00 | 3335.00 | 3335.00 | Yash Energy Pvt. Ltd
45.00 | Supplying and making end termination with synthetic threaded cable gland and aluminium lugs in the existing thermoplastic box for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required 4 X 16 sq. mm | 1.00 | each | 452.00 | 333.00 | 333.00 | 250.00 | 250.00 | 350.00 | 350.00 | 154.00 | 154.00 | 154.00 | Yash Energy Pvt. Ltd
46.00 | Supply of min 450 mm sweep pedestal fan suitable for use on. 230/240 volts, 50 Hz, single phase, A.C. supply. | 2.00 | Each | 3932.00 | 3555.00 | 7110.00 | 4000.00 | 8000.00 | 3500.00 | 7000.00 | 7670.00 | 15340.00 | 7000.00 | M/s J.K. Electric Engineering Works
47.00 | Supply of min 200 mm sweep 900 to 1350 RPM, light weight exhaust fan with shutter complete as required suitable for use on 230/240 volts, 50 Hz, single phase, A.C. supply. . | 1.00 | Each | 1455.00 | 1444.00 | 1444.00 | 1500.00 | 1500.00 | 1400.00 | 1400.00 | 1950.00 | 1950.00 | 1400.00 | M/s J.K. Electric Engineering Works
48.00 | Installation of exhust fan upto 450 mm sweep in the existing opening, including making the hole to suit the size of the above fan, making good the damage, connection, testing, commissioning etc. as required. | 1.00 | Each | 1140.00 | 111.00 | 111.00 | 200.00 | 200.00 | 500.00 | 500.00 | 550.00 | 550.00 | 111.00 | M/s. A S Traders
49.00 | Supply and fixing of min 6 watt wall mountable LED Emergency Light having minimum battery capacity of 2000 mAh suitable for 230Volt,50 Hz, Single Phase Power supply. | 2.00 | Each | 1163.00 | 888.00 | 1776.00 | 4000.00 | 8000.00 | 1000.00 | 2000.00 | 3300.00 | 6600.00 | 1776.00 | M/s. A S Traders
50.00 | Supply of min 5 watt portable handheld rechargeable LED Emergency Light having minimum battery capacity of 4400 mAh suitable for 230Volt,50 Hz,Single Phase Power supply. | 1.00 | Each | 1900.00 | 1999.00 | 1999.00 | 6000.00 | 6000.00 | 1700.00 | 1700.00 | 4620.00 | 4620.00 | 1700.00 | M/s J.K. Electric Engineering Works
51.00 | Supply of 3 TR hi wall split Air-conditioner with indoor unit, outdoor unit with copper condenser tubes, cordless remote & suitable for operation on 415V, 50Hz, Three phase AC supply | 4.00 | Each | 65788.00 | 100000.00 | 400000.00 | 80000.00 | 320000.00 | 57500.00 | 230000.00 | 118800.00 | 475200.00 | 230000.00 | M/s J.K. Electric Engineering Works
52.00 | ITC of split AC of cooling capacity 3 TR including fixing of indoor & outdoor units, providing & fixing of suitable refrigerant piping, control cabling and drain pipe (upto length of 4.0 meters), leakage testing, providing & charging of refrigerant gas etc. complete as required as per site condition and as per the direction of E-I-C. | 4.00 | Each | 3636.00 | 2500.00 | 10000.00 | 900.00 | 3600.00 | 7500.00 | 30000.00 | 5000.00 | 20000.00 | 3600.00 | ANIRBAN ENTERPRISE
53.00 | Supply & fixing of suitable size Iron Angle stand suitable for installation of outdoor unit of split air-conditioners including painting etc. complete as required. | 4.00 | Job | 4154.00 | 1000.00 | 4000.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 2775.00 | 11100.00 | 4000.00 | M/s. A S Traders
54.00 | Supply, Installation, Testing & Commissioning of dust and vermin proof floor mounted Outdoor type LT feeder pillar panel of min IP 65 suitable for 415 volts, 3 phase ,50 HZ A.C. and including supply and fixing following switchgears complete as required:- (a) Incoming:- 160 A , 36KA FP MCCB - 3 nos. 160 A auto change over switch, auto manual selector switch with controller - 1 no. 160 A manual changeover switch - 1 no. Surge protection device (Type 1+2, 3 ph spark gap based 100 KA 10/350 µs) to be provided at each incomer. (b) Outgoing:- 63A, 25KA, FP MCCB - 3 nos. 32A, 25kA, FP MCCB - 3 nos. (c) 415V, 3 phase, 200A 4 strip Aluminium Bus bar with colour coded sleeves-1 Set (d) LED type R/Y/B Indication lamp with 2A HRC backup fuse for all incomers (e) Digital Multifunction meter with required CTs of class 0.5s, 3 Phase with inbuilt RS 485 port - 4 sets All MCCBs to be provided with rotary handle & spreader links. Earth bus should be provided throughout the length of the panel. | 1.00 | Each | 460723.00 | 277777.00 | 277777.00 | 450000.00 | 450000.00 | 368000.00 | 368000.00 | 350000.00 | 350000.00 | 277777.00 | M/s. A S Traders
55.00 | SITC of powder coated microprocessor based 2 zone conventional type Fire Detection and Alarm panel having LED indicators 7 LCD display (showing Fire / Open / Short / Isolate) suitable to support all types of conventional device, lamp test / silence / rest facility, suitable dry contact and auto dialer interfacing facility with suitable standard auxiliary power supply of 12V DC including necessary maintenance free battery and battery charger as per specification attached and as directed by Engineer-in-Charge. | 1.00 | Job | 31099.00 | 4999.00 | 4999.00 | 15000.00 | 15000.00 | 13000.00 | 13000.00 | 15370.00 | 15370.00 | 4999.00 | M/s. A S Traders
56.00 | SITC of suitable 3-G GSM Auto-dialer for 9 programmable Telephone numbers compatible to the above fire alarm panel suitable to support all types of security device and FDA system as per specification attached and as directed by Engineer-in-Charge. | 1.00 | Job | 16464.00 | 17777.00 | 17777.00 | 8500.00 | 8500.00 | 14000.00 | 14000.00 | 11400.00 | 11400.00 | 8500.00 | ANIRBAN ENTERPRISE
57.00 | SITC of Optical type Conventional Photo Electric Smoke Detector with LED and mounting base including electrical connection etc. complete as required or as approved by EIC. | 6.00 | Each | 2256.00 | 1111.00 | 6666.00 | 1500.00 | 9000.00 | 1450.00 | 8700.00 | 1873.00 | 11238.00 | 6666.00 | M/s. A S Traders
58.00 | SITC of Conventional type Manual Call Point with mounting base compatible with the above fire alarm panel | 1.00 | Each | 2134.00 | 999.00 | 999.00 | 1000.00 | 1000.00 | 800.00 | 800.00 | 2643.00 | 2643.00 | 800.00 | M/s J.K. Electric Engineering Works
59.00 | SITC of Response Indicator with mounting base compatible with the above fire alarm panel | 2.00 | Each | 305.00 | 66.00 | 132.00 | 125.00 | 250.00 | 162.00 | 324.00 | 658.00 | 1316.00 | 132.00 | M/s. A S Traders
60.00 | Supply and drawing of 2C x 1.5 Sq.mm PVC insulated, copper armoured cable as required and as directed by EIC. | 50.00 | Mtr. | 159.00 | 100.00 | 5000.00 | 75.00 | 3750.00 | 135.00 | 6750.00 | 100.00 | 5000.00 | 3750.00 | ANIRBAN ENTERPRISE
61.00 | SITC of Conventional Electronic Fire hooters suitable for the above fire alarm panel as directed by Engineer-in-Charge. | 1.00 | Each | 2134.00 | 1111.00 | 1111.00 | 650.00 | 650.00 | 1100.00 | 1100.00 | 3520.00 | 3520.00 | 650.00 | ANIRBAN ENTERPRISE
62.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required including providing 3 nos. blanking plate in each of 3 switchboards. | 14.00 | Point | 1310.00 | 666.00 | 9324.00 | 850.00 | 11900.00 | 792.00 | 11088.00 | 620.00 | 8680.00 | 8680.00 | Yash Energy Pvt. Ltd
63.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 30.00 | Meter | 240.00 | 222.00 | 6660.00 | 125.00 | 3750.00 | 135.00 | 4050.00 | 77.00 | 2310.00 | 2310.00 | Yash Energy Pvt. Ltd
64.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 5/6 Amp switch | 3.00 | Each | 97.00 | 77.00 | 231.00 | 65.00 | 195.00 | 68.00 | 204.00 | 97.00 | 291.00 | 195.00 | ANIRBAN ENTERPRISE
65.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required. 3 pin 5/6 Amp socket outlet | 3.00 | Each | 145.00 | 111.00 | 333.00 | 95.00 | 285.00 | 130.00 | 390.00 | 213.00 | 639.00 | 285.00 | ANIRBAN ENTERPRISE
66.00 | Supply and fixing of U PVC adaptable trunking system of following sizes with suitable covers on top, internal & external angle, flat angle, flat junction, angled junction, joints, end caps, plate junction, clip etc as per site condition complete as required. min 100 x 50 mm | 180.00 | Meter | 1273.00 | 155.00 | 27900.00 | 325.00 | 58500.00 | 900.00 | 162000.00 | 588.00 | 105840.00 | 27900.00 | M/s. A S Traders
67.00 | Supply and fixing of U PVC adaptable trunking system of following sizes with suitable covers on top, internal & external angle, flat angle, flat junction, angled junction, joints, end caps, plate junction, clip etc as per site condition complete as required. min 50 x 50 mm | 40.00 | Meter | 725.00 | 111.00 | 4440.00 | 150.00 | 6000.00 | 630.00 | 25200.00 | 203.00 | 8120.00 | 4440.00 | M/s. A S Traders
68.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. 25 mm | 30.00 | Meter | 187.00 | 77.00 | 2310.00 | 80.00 | 2400.00 | 72.00 | 2160.00 | 46.00 | 1380.00 | 1380.00 | Yash Energy Pvt. Ltd
69.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/trunking as required. 3 x 4.0 sq. mm | 264.00 | Meter | 182.00 | 99.00 | 26136.00 | 105.00 | 27720.00 | 100.00 | 26400.00 | 110.00 | 29040.00 | 26136.00 | M/s. A S Traders
70.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit/trunking as required. 3 x 6 sq. mm | 43.00 | Meter | 270.00 | 144.00 | 6192.00 | 150.00 | 6450.00 | 150.00 | 6450.00 | 156.00 | 6708.00 | 6192.00 | M/s. A S Traders
71.00 | Supply and fixing of module mounting box suitable for fixing in cable trunking with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. all accessories for fixing the same complete as required. | 7.00 | Each | 701.00 | 433.00 | 3031.00 | 150.00 | 1050.00 | 500.00 | 3500.00 | 689.00 | 4823.00 | 1050.00 | ANIRBAN ENTERPRISE
72.00 | Supply and fixing of module mounting box suitable for fixing in cable trunking with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. all accessories for fixing the same complete as required. | 9.00 | Each | 523.00 | 399.00 | 3591.00 | 140.00 | 1260.00 | 300.00 | 2700.00 | 509.00 | 4581.00 | 1260.00 | ANIRBAN ENTERPRISE
73.00 | Supplying and fixing suitable size PVC box with modular plate and cover in front on surface or in recess, including providing and fixing 6 pin 5/6 & 15/16 amps modular socket outlet and 15/16 amps modular switch, connection etc. as required. | 4.00 | Each | 633.00 | 488.00 | 1952.00 | 125.00 | 500.00 | 350.00 | 1400.00 | 759.00 | 3036.00 | 500.00 | ANIRBAN ENTERPRISE
74.00 | Supplying and fixing suitable size PVC box with modular plate including supply and fixing 3 pin 5/6 A modular socket outlet and 5/6 A modular switch, connections etc. as required. | 6.00 | Each | 463.00 | 311.00 | 1866.00 | 125.00 | 750.00 | 290.00 | 1740.00 | 351.00 | 2106.00 | 750.00 | ANIRBAN ENTERPRISE
75.00 | Supplying and fixing 30 A, 415 V, TPN Industrial type socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 30 A "C" curve, TPNMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 5597.00 | 1222.00 | 4888.00 | 2700.00 | 10800.00 | 3800.00 | 15200.00 | 2985.00 | 11940.00 | 4888.00 | M/s. A S Traders
76.00 | Supplying and fixing of following ways surface/ recess mounting, vertical type, 415 V, TPN MCB distribution board of sheet steel, dust protected, duly powder painted, inclusive of 200 A tinned copper bus bar, common neutral link, earth bar, din bar for mounting MCBs (but without MCBs and incomer ) as required. 4 way (4 + 12), Double door | 2.00 | Each | 11768.00 | 5555.00 | 11110.00 | 5000.00 | 10000.00 | 6500.00 | 13000.00 | 7116.00 | 14232.00 | 10000.00 | ANIRBAN ENTERPRISE
77.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc.as required. (But without MCB/RCCB/Isolator) 8 way, Double door | 1.00 | Each | 2381.00 | 1444.00 | 1444.00 | 1500.00 | 1500.00 | 1200.00 | 1200.00 | 4971.00 | 4971.00 | 1200.00 | M/s J.K. Electric Engineering Works
78.00 | Supplying and fixing DP sheet steel enclosure on surface/ recess along with 6-32 A 240 V "C" curve SPN MCB complete with connections, testing and commissioning etc. as required. | 4.00 | Each | 1292.00 | 777.00 | 3108.00 | 750.00 | 3000.00 | 400.00 | 1600.00 | 863.00 | 3452.00 | 1600.00 | M/s J.K. Electric Engineering Works
79.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole | 16.00 | Each | 352.00 | 155.00 | 2480.00 | 180.00 | 2880.00 | 135.00 | 2160.00 | 152.00 | 2432.00 | 2160.00 | M/s J.K. Electric Engineering Works
80.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Single pole & Neutral | 3.00 | Each | 842.00 | 455.00 | 1365.00 | 450.00 | 1350.00 | 410.00 | 1230.00 | 427.00 | 1281.00 | 1230.00 | M/s J.K. Electric Engineering Works
81.00 | Supplying and fixing 6 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. Triple pole | 4.00 | Each | 1307.00 | 977.00 | 3908.00 | 750.00 | 3000.00 | 678.00 | 2712.00 | 652.00 | 2608.00 | 2608.00 | Yash Energy Pvt. Ltd
82.00 | Supplying and fixing following rating, three phase and neutral, 415 volts, MCB, C curve in the existing MCB DB complete with connections, testing and commissioning etc. as required. 63 A | 2.00 | Each | 2583.00 | 1333.00 | 2666.00 | 900.00 | 1800.00 | 915.00 | 1830.00 | 1280.00 | 2560.00 | 1800.00 | ANIRBAN ENTERPRISE
83.00 | Supplying and fixing single pole blanking plate in the existing MCB DB complete etc. as required. | 8.00 | each | 8.00 | 22.00 | 176.00 | 25.00 | 200.00 | 7.00 | 56.00 | 37.00 | 296.00 | 56.00 | M/s J.K. Electric Engineering Works
84.00 | SITC of Type 2, 1 phase MOV based surge protection device for 40 kA total discharge current (8/20 µSec) as per IEC including providing enclosure, mounting arrangement and interconnections complete as required. | 1.00 | Each | 10160.00 | 42000.00 | 42000.00 | 3000.00 | 3000.00 | 8000.00 | 8000.00 | 6500.00 | 6500.00 | 3000.00 | ANIRBAN ENTERPRISE
85.00 | SITC of Type 2, 3 phase MOV based surge protection device for 40 kA total discharge current (8/20 µSec) as per IEC including providing enclosure, mounting arrangement and interconnections complete as required. | 2.00 | Each | 11940.00 | 58000.00 | 116000.00 | 7000.00 | 14000.00 | 9000.00 | 18000.00 | 8600.00 | 17200.00 | 14000.00 | ANIRBAN ENTERPRISE
86.00 | Supply of following size 1.1 kv grade, XLPE insulated and PVC inner sheathed Aluminum conductor armored power cable conforming to IS: 7098 (Part 1) with up to date amendments etc. complete as required. 2 core x 6 sq.mm | 150.00 | Meter | 85.00 | 77.00 | 11550.00 | 55.00 | 8250.00 | 65.00 | 9750.00 | 69.00 | 10350.00 | 8250.00 | ANIRBAN ENTERPRISE
87.00 | Supply of following size 1.1 kv grade, XLPE insulated and PVC inner sheathed Aluminum conductor armored power cable conforming to IS: 7098 (Part 1) with up to date amendments etc. complete as required. 4 core x 16 sq.mm | 400.00 | Meter | 151.00 | 133.00 | 53200.00 | 90.00 | 36000.00 | 112.00 | 44800.00 | 122.00 | 48800.00 | 36000.00 | ANIRBAN ENTERPRISE
88.00 | Supply of following size 1.1 kv grade, XLPE insulated and PVC inner sheathed Aluminum conductor armored power cable conforming to IS: 7098 (Part 1) with up to date amendments etc. complete as required. 4 core x 35 sq mm | 200.00 | Meter | 252.00 | 244.00 | 48800.00 | 150.00 | 30000.00 | 185.00 | 37000.00 | 204.00 | 40800.00 | 30000.00 | ANIRBAN ENTERPRISE
89.00 | Laying of one number XLPE insulated PVC sheathed armoured aluminium conductor cable of 1.1 KV grade of following size direct in ground including excavation, sand cushioning, protective covering and refilling the trench etc as required. Upto 35sqmm | 540.00 | meter | 461.00 | 299.00 | 161460.00 | 325.00 | 175500.00 | 280.00 | 151200.00 | 180.00 | 97200.00 | 97200.00 | Yash Energy Pvt. Ltd
90.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 130.00 | Meter | 52.00 | 33.00 | 4290.00 | 75.00 | 9750.00 | 40.00 | 5200.00 | 65.00 | 8450.00 | 4290.00 | M/s. A S Traders
91.00 | Supply and laying of 80 mm dia GI pipe complete with G.I. fittings for road crossing complete as required. | 70.00 | Meter | 757.00 | 800.00 | 56000.00 | 750.00 | 52500.00 | 700.00 | 49000.00 | 760.00 | 53200.00 | 49000.00 | M/s J.K. Electric Engineering Works
92.00 | Laying of XLPE insulated PVC sheathed armoured aluminium conductor cable of grade 1.1 KV, of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 80.00 | Meter | 32.00 | 22.00 | 1760.00 | 40.00 | 3200.00 | 25.00 | 2000.00 | 45.00 | 3600.00 | 1760.00 | M/s. A S Traders
93.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required 4 X 16 sq. mm (28mm) | 7.00 | each | 253.00 | 177.00 | 1239.00 | 250.00 | 1750.00 | 150.00 | 1050.00 | 548.00 | 3836.00 | 1050.00 | M/s J.K. Electric Engineering Works
94.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required 4 X 35 sq. mm (32mm) | 4.00 | each | 306.00 | 222.00 | 888.00 | 300.00 | 1200.00 | 250.00 | 1000.00 | 850.00 | 3400.00 | 888.00 | M/s. A S Traders
95.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. (but without charcoal/ coke and salt ) as required. | 2.00 | Set | 4283.00 | 3999.00 | 7998.00 | 4500.00 | 9000.00 | 4000.00 | 8000.00 | 10120.00 | 20240.00 | 7998.00 | M/s. A S Traders
96.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required. | 110.00 | Meter | 438.00 | 399.00 | 43890.00 | 350.00 | 38500.00 | 350.00 | 38500.00 | 140.00 | 15400.00 | 15400.00 | Yash Energy Pvt. Ltd
97.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 16.00 | Meter | 199.00 | 199.00 | 3184.00 | 200.00 | 3200.00 | 150.00 | 2400.00 | 135.00 | 2160.00 | 2160.00 | Yash Energy Pvt. Ltd
98.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 186.00 | Meter | 56.00 | 22.00 | 4092.00 | 25.00 | 4650.00 | 35.00 | 6510.00 | 22.00 | 4092.00 | 4092.00 | Yash Energy Pvt. Ltd, M/s. A S Traders
99.00 | SITC of 2 x 20 WATT Batten type LED tube light fittings with 2 nos LED tube suitable to operate with 230V AC power supply as per tender specifications complete as required. | 10.00 | Each | 2798.00 | 3333.00 | 33330.00 | 1200.00 | 12000.00 | 2000.00 | 20000.00 | 1263.00 | 12630.00 | 12000.00 | ANIRBAN ENTERPRISE
100.00 | SITC of 1 x 20 WATT Batten type LED tube light fittings with LED tube suitable to operate with 230V AC power supply as per tender specifications complete as required. | 2.00 | Each | 1588.00 | 1777.00 | 3554.00 | 725.00 | 1450.00 | 450.00 | 900.00 | 555.00 | 1110.00 | 900.00 | M/s J.K. Electric Engineering Works
101.00 | SITC of 40 watt LED street light luminaire along with supply and fixing of medium class G.I. bend on wall etc as per tender specifications complete as required. | 6.00 | Each | 6912.00 | 4444.00 | 26664.00 | 2800.00 | 16800.00 | 3000.00 | 18000.00 | 2980.00 | 17880.00 | 16800.00 | ANIRBAN ENTERPRISE
102.00 | Supplying and fixing of thermoplastic circuit breaker box 1 row 4 modules of min IP 65 with metric knockouts and terminals and fixing on wall surface with suitable clamps, etc. complete as required. | 2.00 | Each | 2397.00 | 2444.00 | 4888.00 | 2500.00 | 5000.00 | 1500.00 | 3000.00 | 2545.00 | 5090.00 | 3000.00 | M/s J.K. Electric Engineering Works
103.00 | Supplying and fixing of analogue time switch for automatic switching On & Off of street lights mounted in thermoplastic box of min IP 65 with metric knockouts and terminals for terminating min 3 nos. 2 x 6 sqmm 1.1kV Al power cable and fixing on wall surface with suitable clamps, etc. complete with connections, testing and commissioning as required. | 1.00 | Each | 6910.00 | 2999.00 | 2999.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 9667.00 | 9667.00 | 2999.00 | M/s. A S Traders
104.00 | Supply and fixing of thermoplastic cable junction box min IP 65 with metric knockouts for cable entry, to terminate min 3 nos. 2 x 6 sqmm 1.1kV Al power cable for streetlight and fixing on wall surface with suitable clamps, etc. complete as required. | 6.00 | Each | 1896.00 | 499.00 | 2994.00 | 1800.00 | 10800.00 | 1700.00 | 10200.00 | 1329.00 | 7974.00 | 2994.00 | M/s. A S Traders
105.00 | Supplying and making end termination with synthetic threaded cable gland and aluminium lugs in the existing thermoplastic box for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required 2 X 6 sq. mm | 23.00 | each | 282.00 | 199.00 | 4577.00 | 200.00 | 4600.00 | 200.00 | 4600.00 | 145.00 | 3335.00 | 3335.00 | Yash Energy Pvt. Ltd
106.00 | Supplying and making end termination with synthetic threaded cable gland and aluminium lugs in the existing thermoplastic box for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required 4 X 16 sq. mm | 1.00 | each | 452.00 | 333.00 | 333.00 | 250.00 | 250.00 | 350.00 | 350.00 | 154.00 | 154.00 | 154.00 | Yash Energy Pvt. Ltd
107.00 | Supply of min 450 mm sweep pedestal fan suitable for use on. 230/240 volts, 50 Hz, single phase, A.C. supply. | 2.00 | Each | 3932.00 | 3555.00 | 7110.00 | 4000.00 | 8000.00 | 3500.00 | 7000.00 | 7670.00 | 15340.00 | 7000.00 | M/s J.K. Electric Engineering Works
108.00 | Supply of min 200 mm sweep 900 to 1350 RPM, light weight exhaust fan with shutter complete as required suitable for use on 230/240 volts, 50 Hz, single phase, A.C. supply. . | 1.00 | Each | 1455.00 | 1444.00 | 1444.00 | 1500.00 | 1500.00 | 1400.00 | 1400.00 | 1950.00 | 1950.00 | 1400.00 | M/s J.K. Electric Engineering Works
109.00 | Installation of exhust fan upto 450 mm sweep in the existing opening, including making the hole to suit the size of the above fan, making good the damage, connection, testing, commissioning etc. as required. | 1.00 | Each | 1140.00 | 111.00 | 111.00 | 200.00 | 200.00 | 500.00 | 500.00 | 550.00 | 550.00 | 111.00 | M/s. A S Traders
110.00 | Supply and fixing of min 6 watt wall mountable LED Emergency Light having minimum battery capacity of 2000 mAh suitable for 230Volt,50 Hz, Single Phase Power supply. | 2.00 | Each | 1163.00 | 888.00 | 1776.00 | 4000.00 | 8000.00 | 1000.00 | 2000.00 | 3300.00 | 6600.00 | 1776.00 | M/s. A S Traders
111.00 | Supply of min 5 watt portable handheld rechargeable LED Emergency Light having minimum battery capacity of 4400 mAh suitable for 230Volt,50 Hz,Single Phase Power supply. | 1.00 | Each | 1900.00 | 1999.00 | 1999.00 | 6000.00 | 6000.00 | 1700.00 | 1700.00 | 4620.00 | 4620.00 | 1700.00 | M/s J.K. Electric Engineering Works
112.00 | Supply of 3 TR hi wall split Air-conditioner with indoor unit, outdoor unit with copper condenser tubes, cordless remote & suitable for operation on 415V, 50Hz, Three phase AC supply | 4.00 | Each | 65788.00 | 100000.00 | 400000.00 | 80000.00 | 320000.00 | 57500.00 | 230000.00 | 118800.00 | 475200.00 | 230000.00 | M/s J.K. Electric Engineering Works
113.00 | ITC of split AC of cooling capacity 3 TR including fixing of indoor & outdoor units, providing & fixing of suitable refrigerant piping, control cabling and drain pipe (upto length of 4.0 meters), leakage testing, providing & charging of refrigerant gas etc. complete as required as per site condition and as per the direction of E-I-C. | 4.00 | Each | 3636.00 | 2500.00 | 10000.00 | 900.00 | 3600.00 | 7500.00 | 30000.00 | 5000.00 | 20000.00 | 3600.00 | ANIRBAN ENTERPRISE
114.00 | Supply & fixing of suitable size Iron Angle stand suitable for installation of outdoor unit of split air-conditioners including painting etc. complete as required. | 4.00 | Job | 4154.00 | 1000.00 | 4000.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 2775.00 | 11100.00 | 4000.00 | M/s. A S Traders
115.00 | Supply, Installation, Testing & Commissioning of dust and vermin proof floor mounted Outdoor type LT feeder pillar panel of min IP 65 suitable for 415 volts, 3 phase ,50 HZ A.C. and including supply and fixing following switchgears complete as required:- (a) Incoming:- 160 A , 36KA FP MCCB - 3 nos. 160 A auto change over switch, auto manual selector switch with controller - 1 no. 160 A manual changeover switch - 1 no. Surge protection device (Type 1+2, 3 ph spark gap based 100 KA 10/350 µs) to be provided at each incomer. (b) Outgoing:- 63A, 25KA, FP MCCB - 3 nos. 32A, 25kA, FP MCCB - 3 nos. (c) 415V, 3 phase, 200A 4 strip Aluminium Bus bar with colour coded sleeves-1 Set (d) LED type R/Y/B Indication lamp with 2A HRC backup fuse for all incomers (e) Digital Multifunction meter with required CTs of class 0.5s, 3 Phase with inbuilt RS 485 port - 4 sets All MCCBs to be provided with rotary handle & spreader links. Earth bus should be provided throughout the length of the panel. | 1.00 | Each | 460723.00 | 277777.00 | 277777.00 | 450000.00 | 450000.00 | 368000.00 | 368000.00 | 350000.00 | 350000.00 | 277777.00 | M/s. A S Traders
116.00 | SITC of powder coated microprocessor based 2 zone conventional type Fire Detection and Alarm panel having LED indicators 7 LCD display (showing Fire / Open / Short / Isolate) suitable to support all types of conventional device, lamp test / silence / rest facility, suitable dry contact and auto dialer interfacing facility with suitable standard auxiliary power supply of 12V DC including necessary maintenance free battery and battery charger as per specification attached and as directed by Engineer-in-Charge. | 1.00 | Job | 31099.00 | 4999.00 | 4999.00 | 15000.00 | 15000.00 | 26000.00 | 26000.00 | 15370.00 | 15370.00 | 4999.00 | M/s. A S Traders
117.00 | SITC of suitable 3-G GSM Auto-dialer for 9 programmable Telephone numbers compatible to the above fire alarm panel suitable to support all types of security device and FDA system as per specification attached and as directed by Engineer-in-Charge. | 1.00 | Job | 16464.00 | 17777.00 | 17777.00 | 8500.00 | 8500.00 | 14000.00 | 14000.00 | 11400.00 | 11400.00 | 8500.00 | ANIRBAN ENTERPRISE
118.00 | SITC of Optical type Conventional Photo Electric Smoke Detector with LED and mounting base including electrical connection etc. complete as required or as approved by EIC. | 6.00 | Each | 2256.00 | 1111.00 | 6666.00 | 1500.00 | 9000.00 | 1900.00 | 11400.00 | 1873.00 | 11238.00 | 6666.00 | M/s. A S Traders
119.00 | SITC of Conventional type Manual Call Point with mounting base compatible with the above fire alarm panel | 1.00 | Each | 2134.00 | 999.00 | 999.00 | 1000.00 | 1000.00 | 1800.00 | 1800.00 | 2643.00 | 2643.00 | 999.00 | M/s. A S Traders
120.00 | SITC of Response Indicator with mounting base compatible with the above fire alarm panel | 2.00 | Each | 305.00 | 66.00 | 132.00 | 125.00 | 250.00 | 259.00 | 518.00 | 658.00 | 1316.00 | 132.00 | M/s. A S Traders
121.00 | Supply and drawing of 2C x 1.5 Sq.mm PVC insulated, copper armoured cable as required and as directed by EIC. | 50.00 | Mtr. | 159.00 | 100.00 | 5000.00 | 75.00 | 3750.00 | 135.00 | 6750.00 | 100.00 | 5000.00 | 3750.00 | ANIRBAN ENTERPRISE
122.00 | SITC of Conventional Electronic Fire hooters suitable for the above fire alarm panel as directed by Engineer-in-Charge. | 1.00 | Each | 2134.00 | 1111.00 | 1111.00 | 650.00 | 650.00 | 1800.00 | 1800.00 | 3520.00 | 3520.00 | 650.00 | ANIRBAN ENTERPRISE
| Total in Figures |  |  |  |  | 3003404.00 |  | 2908280.00 |  | 2869602.00 |  | 3121382.00
Lowest Amount Quoted BY: M/s J.K. Electric Engineering Works(2869602.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of 02 nos frangible hut at 19L GP and 19L LLZ inside operational area at NSCBI Airport Kolkata SH Electrical works Tender ID: 2020_AAI_43952_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s J.K. Electric Engineering Works | 2869602.00 | L1
| 2 | ANIRBAN ENTERPRISE | 2908280.00 | L2
| 3 | M/s. A S Traders | 3003404.00 | L3
| 4 | Yash Energy Pvt. Ltd | 3121382.00 | L4