## BoQ1
Government eProcurement System Created By: AMITABH RUNGTA Created Date/Time: 20-Mar-2020 03:32 PM Tender Title: Operation and Maintenance Contract of STP, ETP, and WTP at Pakyong Airport, Sikkim Tender ID: 2020_AAI_44074_2
Tender Inviting Authority: Asst.General Manager (Engg. Elect) Airports Authority of India, Pakyong Airport, Sikkim.
Name of Work: Operation and Maintenance contract of STP, ETP & WTP at Pakyong Airport Sikkim
Contract No: 2020_AAI_44074
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | HITECH ENVIRO ENGINEERS AND CONSULTANTS PVT LTD |  | AQUAFLOW SYSTEMS |  | SOM ENGINEERING WORKS |  | Voltas Limited |  | D-Tech Solutions |  | AKS ENGINEERING
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and maintenance services (preventive & breakdown) of Sewage Treatment Plant (STP); of capacity 50KLD working on the principle of Fludized Aerobic Bio- Reactor process based on the FAB Process comprising of all machinery equipments installed in STP building including, FAB Reactor, bar screen chambers, Blowers and Aeration System, Air-Diffuser, Multigrad/Activated Carbon Filter, Filter Press, Sewage Relift Pumps, Sludge return pumps, Filter Feed Pumps, soft water supply Pump, FAB Tank, softners, hydropneumetic system, U.V. SYSTEM, electrical panel and all accessories etc. Job also includes to provide the adequate manpower services for operation in three shift of 8 hours each as per special condition including Sundays and holydays and including preventive maintenance of all equipments to ensure the plant in good serviceable condition etc as per special conditon of Contract. 1.TECHNICIAN(SKILLED) = 3NOS. | 12.00 | Months |  | 80000.00 | 960000.00 | 104000.00 | 1248000.00 | 57579.00 | 690948.00 | 86330.48 | 1035965.76 | 92500.00 | 1110000.00 | 60000.00 | 720000.00 | 690948.00 | SOM ENGINEERING WORKS
2.00 | CMC of 2 x 4.0 KW VFD based Hydro-Pneumatic Panel PLC system (it covers replacement of defective spare parts during contract period and the agency shall be panelised in case of non functioning of system as per SCC of agreement).(Make Kirloskar-KCIL 20/4) | 1.00 | Year |  | 215000.00 | 215000.00 | 81000.00 | 81000.00 | 240482.00 | 240482.00 | 123200.00 | 123200.00 | 35000.00 | 35000.00 | 40000.00 | 40000.00 | 35000.00 | D-Tech Solutions
3.00 | Supply of following materials for carryout smooth operation and maintenance as per requirement as per site.
3.01 | 1) Hypochloride Solution (For Dosing ) | 150.00 | Litre |  | 22.00 | 3300.00 | 34.00 | 5100.00 | 40.00 | 6000.00 | 35.00 | 5250.00 | 45.00 | 6750.00 | 600.00 | 90000.00 | 3300.00 | HITECH ENVIRO ENGINEERS AND CONSULTANTS PVT LTD
3.02 | 2) Gear oil for air compressor (Make: BLOWVACC) | 20.00 | Litre |  | 400.00 | 8000.00 | 270.00 | 5400.00 | 300.00 | 6000.00 | 319.00 | 6380.00 | 180.00 | 3600.00 | 150.00 | 3000.00 | 3000.00 | AKS ENGINEERING
4.00 | Charging of media like anthracite, plain sand, silex etc of multimedia filter etc complete as required. | 1.00 | Job |  | 35000.00 | 35000.00 | 13500.00 | 13500.00 | 25000.00 | 25000.00 | 44000.00 | 44000.00 | 42107.00 | 42107.00 | 24000.00 | 24000.00 | 13500.00 | AQUAFLOW SYSTEMS
5.00 | Charging of media like activated carbon, plain sand, silex etc. of activated carbon filter etc complete as required. | 1.00 | Job |  | 46000.00 | 46000.00 | 30500.00 | 30500.00 | 20000.00 | 20000.00 | 44000.00 | 44000.00 | 47500.00 | 47500.00 | 19000.00 | 19000.00 | 19000.00 | AKS ENGINEERING
6.00 | Testing of effluent water before and after treatment from Lab and submission of test Certificate every month and test certificate must be obtained from the state pollution board Control Board authorized laboratories for : i) pH ii) Oil & Grease iii) B.O.D iv) C.O.D v) Total Suspended Solids vi) Total Dissolved Solids vii) E-Coil | 12.00 | Job |  | 8500.00 | 102000.00 | 6750.00 | 81000.00 | 3000.00 | 36000.00 | 4620.00 | 55440.00 | 6200.00 | 74400.00 | 7800.00 | 93600.00 | 36000.00 | SOM ENGINEERING WORKS
7.00 | In House testing of effluent water before and after treatment on daily basis and submission of test report to EIC for the following: 1) PH 2) Permanganate vale 3) B.O.D 4)C.O.D 5) T.O.C ( Testing facility to be set up at the STP Plant) | 12.00 | Months |  | 8500.00 | 102000.00 | 12500.00 | 150000.00 | 17316.00 | 207792.00 | 9583.00 | 114996.00 | 2000.00 | 24000.00 | 5000.00 | 60000.00 | 24000.00 | D-Tech Solutions
| Total in Figures |  |  |  |  | 1471300.00 |  | 1614500.00 |  | 1232222.00 |  | 1429231.76 |  | 1343357.00 |  | 1049600.00
Lowest Amount Quoted BY: AKS ENGINEERING(1049600.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance Contract of STP, ETP, and WTP at Pakyong Airport, Sikkim Tender ID: 2020_AAI_44074_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AKS ENGINEERING | 1049600.00 | L1
| 2 | SOM ENGINEERING WORKS | 1232222.00 | L2
| 3 | D-Tech Solutions | 1343357.00 | L3
| 4 | Voltas Limited | 1429231.76 | L4
| 5 | HITECH ENVIRO ENGINEERS AND CONSULTANTS PVT LTD | 1471300.00 | L5
| 6 | AQUAFLOW SYSTEMS | 1614500.00 | L6