## BoQ1
Government eProcurement System Created By: Gajraj Singh Bhati Created Date/Time: 22-May-2020 12:24 PM Tender Title: Replacement of Ceiling fans of residential quarters at Civil Airport, Jodhpur Tender ID: 2020_AAI_44119_1
Tender Inviting Authority: Sr. Manager Engg.- E, Airports Authority of India, Civil Airport, Jodhpur
Name of Work:- "Replacement of Ceiling fans of residential quarters at Civil Airport , Jodhpur."
Contract No: 2020_AAI_44119_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | Navyug Engineering
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supplying of 1200 mm suitable energy efficient white ceiling fan having not more than 48/50 watt BEE rating energy efficiency features as specified in technical specificatiomns i/c down rod of standard length etc. as reqd. (M/s. Orient- ENERGY STAR 1200 mm or 48” ( White )/ Crompton Entrust 50/Crompton Assest 50 / Havells ES-50/ Bajaj- Excel Star) | 82.00 | Each |  | 1600.00 | 131200.00 | 1600.00 | 131200.00 | 131200.00 | Navyug Engineering, Manish Electricals
2.00 | Installation, testing and commissioning of ceiling fan, including wiring with 1.5 sq. mm FRLS PVC insulated of existing length upto 140 cm, copper conductor, three core cable etc. as required. | 72.00 | Each |  | 200.00 | 14400.00 | 120.00 | 8640.00 | 8640.00 | Navyug Engineering
3.00 | Supplying of 400mm sweep wall mounted fan having not less than 2000 RPM, with speed regulator suitable for operation at 230Volts 50Hz AC supply etc as reqd(M/s Havells Platina HS /Khaitan/Crompton- Fizzair (HI Speed) / Bajaj Neo spectrum/ Orient wall 47 trendz or equivalent make) | 11.00 | Each |  | 2250.00 | 24750.00 | 2000.00 | 22000.00 | 22000.00 | Navyug Engineering
4.00 | Supplying of 300 mm sweep, not less than 1300 RPM Domestic metal body Exhaust fan having front facing covered with grill, suitable for operation on single phase ac supply etc. as reqd. . (M/s. crompton transair /Bajaj- Maxx Air/Almonard- in & Out ventilating with Double Ball Bearing) | 15.00 | Each |  | 2400.00 | 36000.00 | 1750.00 | 26250.00 | 26250.00 | Navyug Engineering
5.00 | Supplying of 250 mm sweep Domestic Exhaust fan suitable for operation on single phase ac supply etc. as reqd. . (M/s. crompton Brisk Air /Bajaj- Maxima DXL) | 13.00 | Each |  | 1200.00 | 15600.00 | 1400.00 | 18200.00 | 15600.00 | Manish Electricals
6.00 | Installation, testing and commissioning of exhaust fan/wall fan in the existing opening, including making good the damage, connection, i/c suitable fixing arrangement as per direction of engineer in charrge complete etc. as required.
6.01 | Upto 450 mm sweep | 39.00 | Each |  | 400.00 | 15600.00 | 100.00 | 3900.00 | 3900.00 | Navyug Engineering
7.00 | Rate for Buy Back of old ceiling fan, 1200 mm. (Rates quoted will be considerd negative for calculation of Lowest Bidder) | 60.00 | Each |  | 200.00 | -12000.00 | 150.00 | -9000.00 | -12000.00 | Manish Electricals
8.00 | Rate for Buy Back of old ceiling fan, 1400 mm. (Rates quoted will be considerd negative for calculation of Lowest Bidder) | 12.00 | Each |  | 300.00 | -3600.00 | 180.00 | -2160.00 | -3600.00 | Manish Electricals
9.00 | Rate for Buy Back of old wall fan/exhaust fan 225-600 mm. (Rates quoted will be considerd negative for calculation of Lowest Bidder) | 20.00 | Each |  | 300.00 | -6000.00 | 225.00 | -4500.00 | -6000.00 | Manish Electricals
10.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
10.01 | 20 mm | 40.00 | Meter |  | 130.00 | 5200.00 | 100.00 | 4000.00 | 4000.00 | Navyug Engineering
11.00 | Supplying of 19/20W LED with street light IP 65/66 fitting with aluminum pressure die cast body, optic material polycarbonate & Electronic driver,useful life of 50000 hrs system luminous efficacy not less than 100 lm. etc as reqd. (M/s Havells ENDURAPEARLSL20WLED757SASYTOPC/ Philips BRP042 LED 19 CW MR S1 PSU GR or equivalent) . | 14.00 | Each |  | 1450.00 | 20300.00 | 1350.00 | 18900.00 | 18900.00 | Navyug Engineering
12.00 | Supplying of 30w LED with street light IP 65/66 fitting with aluminum pressure die cast body, optic material polycarbonate & Electronic driver,useful life of 50000 hrs system luminous efficacy not less than 100 lm. etc as reqd. (M/s Havells ENDURACITYLITEPLAT PLUSSL30WLED757SASYBOPC/ Crompton LSTS-30-CDL/ or equivalent) . | 7.00 | Each |  | 2500.00 | 17500.00 | 1500.00 | 10500.00 | 10500.00 | Navyug Engineering
13.00 | SITC 32mm dia GI pipe ( B-Class) 1.5 M long bracket bent at 120degree with suitable clamp and nut bolt/through reducer for fixing the bracket along with street light on wall/existing pole i/c painting etc complete as reqd. | 19.00 | Each |  | 700.00 | 13300.00 | 500.00 | 9500.00 | 9500.00 | Navyug Engineering
14.00 | SITC of 3x1.5sqmm copper flexible unarmoured conductor cable confirming to IS 694:1990 with uptodate amendments in exisitng pipes i/c making connection with street light and supply etc as reqd | 50.00 | Meter |  | 75.00 | 3750.00 | 60.00 | 3000.00 | 3000.00 | Navyug Engineering
| Total in Figures |  |  |  |  | 276000.00 |  | 240430.00
Lowest Amount Quoted BY: Navyug Engineering(240430.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Ceiling fans of residential quarters at Civil Airport, Jodhpur Tender ID: 2020_AAI_44119_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Navyug Engineering | 240430.00 | L1
| 2 | Manish Electricals | 276000.00 | L2