## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 19-Mar-2020 12:48 PM Tender Title: Supply of Electrical Spares at B P International Airport Bhubaneswar Tender ID: 2020_AAI_44232_1
Tender Inviting Authority: Asst. General Manager Engg (E)-I, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Supply of Electrical Spares at B. P. I Airport, Bhubaneswar.
Contract No: 2020_AAI_44232_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Industrial Traders |  | M/S DURGA SUPPLY AGENCIES |  | M/S ZENITH TRADERS |  | SHREE NURSING TIMER AND ELECTRIC STORES |  | VOLKS ENERGIE PVT LTD |  | Yash Energy Pvt. Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of Ultra heavy Duty Capacitor bank suitable for 3 phase, 440Volts, AC supply (Make-L&T, Model-LTXL or Equivalent approved make)
1.01 | 25 KVAR | 2.00 | Each |  | 8100.00 | 16200.00 | 10600.00 | 21200.00 | 10000.00 | 20000.00 | 5296.00 | 10592.00 | 4148.00 | 8296.00 | 15611.00 | 31222.00 | 8296.00 | VOLKS ENERGIE PVT LTD
1.02 | 20 KVAR | 2.00 | Each |  | 6480.00 | 12960.00 | 8490.00 | 16980.00 | 8500.00 | 17000.00 | 4237.00 | 8474.00 | 3416.00 | 6832.00 | 12489.00 | 24978.00 | 6832.00 | VOLKS ENERGIE PVT LTD
1.03 | 10 KVAR | 2.00 | Each |  | 3240.00 | 6480.00 | 4330.00 | 8660.00 | 4300.00 | 8600.00 | 2169.00 | 4338.00 | 1830.00 | 3660.00 | 6368.00 | 12736.00 | 3660.00 | VOLKS ENERGIE PVT LTD
1.04 | 5 KVAR | 2.00 | Each |  | 1620.00 | 3240.00 | 2165.00 | 4330.00 | 2300.00 | 4600.00 | 1085.00 | 2170.00 | 854.00 | 1708.00 | 3185.00 | 6370.00 | 1708.00 | VOLKS ENERGIE PVT LTD
2.00 | Supply of following size PVC Insulated unsheathed single core bright annealed bare Copper conductor multistrand flexible FRLSH cable complete as required confirming to IS 694.
2.01 | 1.5 sq mm (coil -90mtr length) | 5.00 | Coil |  | 1159.00 | 5795.00 | 1085.00 | 5425.00 | 1200.00 | 6000.00 | 963.00 | 4815.00 | 1305.00 | 6525.00 | 889.00 | 4445.00 | 4445.00 | Yash Energy Pvt. Ltd
2.02 | 2.5 sq mm (coil -90mtr length) | 5.00 | Coil |  | 1865.00 | 9325.00 | 1766.00 | 8830.00 | 1900.00 | 9500.00 | 1560.00 | 7800.00 | 2135.00 | 10675.00 | 1429.00 | 7145.00 | 7145.00 | Yash Energy Pvt. Ltd
2.03 | 4 sq mm (coil -90mtr length) | 3.00 | Coil |  | 2782.00 | 8346.00 | 2585.00 | 7755.00 | 2700.00 | 8100.00 | 2290.00 | 6870.00 | 2684.00 | 8052.00 | 2123.00 | 6369.00 | 6369.00 | Yash Energy Pvt. Ltd
2.04 | 6 sq mm (coil -90mtr length) | 2.00 | Coil |  | 4165.00 | 8330.00 | 3890.00 | 7780.00 | 4000.00 | 8000.00 | 3471.00 | 6942.00 | 3965.00 | 7930.00 | 3194.00 | 6388.00 | 6388.00 | Yash Energy Pvt. Ltd
2.05 | 10 sq mm (coil -100mtr length) | 2.00 | Coil |  | 7300.00 | 14600.00 | 6588.00 | 13176.00 | 8000.00 | 16000.00 | 6500.00 | 13000.00 | 6966.00 | 13932.00 | 6273.00 | 12546.00 | 12546.00 | Yash Energy Pvt. Ltd
3.00 | Supply of following size PVC insulated PVC round sheathed multi core bright annealed bare copper conductor multistrand flexible cable complete as required.confirming to IS 694.
3.01 | 3core 1.5 Sq mm | 200.00 | Mtr |  | 38.00 | 7600.00 | 32.00 | 6400.00 | 45.00 | 9000.00 | 31.00 | 6200.00 | 40.00 | 8000.00 | 36.00 | 7200.00 | 6200.00 | SHREE NURSING TIMER AND ELECTRIC STORES
3.02 | 3core 2.5 Sq mm | 200.00 | Mtr |  | 61.00 | 12200.00 | 50.00 | 10000.00 | 65.00 | 13000.00 | 49.00 | 9800.00 | 63.00 | 12600.00 | 56.00 | 11200.00 | 9800.00 | SHREE NURSING TIMER AND ELECTRIC STORES
4.00 | Supply of following XLPE insulated & PVC sheathed 1.1 KV grade, aluminium conductor, armoured power cable conforming to IS:7098, PART-1/1988 upto date amenents(Make:- Havells or equivalent as per approved make list)
4.01 | 2C × 10 sq mm | 300.00 | Mtr |  | 69.00 | 20700.00 | 70.00 | 21000.00 | 70.00 | 21000.00 | 67.00 | 20100.00 | 75.00 | 22500.00 | 66.00 | 19800.00 | 19800.00 | Yash Energy Pvt. Ltd
4.02 | 4C × 10 sq mm | 300.00 | Mtr |  | 90.00 | 27000.00 | 90.00 | 27000.00 | 90.00 | 27000.00 | 88.00 | 26400.00 | 100.00 | 30000.00 | 85.00 | 25500.00 | 25500.00 | Yash Energy Pvt. Ltd
5.00 | Supply of 2.5 mfd, 440 Volt capacitor suitable for celling fan. | 300.00 | Each |  | 15.00 | 4500.00 | 21.00 | 6300.00 | 25.00 | 7500.00 | 27.00 | 8100.00 | 24.00 | 7200.00 | 19.00 | 5700.00 | 4500.00 | Industrial Traders
6.00 | Supply of 4.0 mfd, 440 Volt capacitor suitable for heavy duty Exhaust fan. | 20.00 | Each |  | 18.00 | 360.00 | 30.00 | 600.00 | 35.00 | 700.00 | 38.00 | 760.00 | 36.00 | 720.00 | 26.00 | 520.00 | 360.00 | Industrial Traders
7.00 | Supplying 5 step, single module 100 watt electronic fan regulator as required. | 200.00 | Each |  | 172.00 | 34400.00 | 150.00 | 30000.00 | 145.00 | 29000.00 | 139.00 | 27800.00 | 170.00 | 34000.00 | 151.00 | 30200.00 | 27800.00 | SHREE NURSING TIMER AND ELECTRIC STORES
8.00 | Supply of following size of Heavy duty wall mounting fan / air circulator complete with motor, suitable rating capacitor , double ball bearing, 3/4 blades, indexable / tiltable to different positions , oscillation up to 90 degrees , powder coated wire guard, with speed regulator suitable for single phase 230 V 50 HZ, AC supply confirms to IS 2997-1964
8.01 | 450mm sweep wall mounted fan (Metalic Body) | 25.00 | Each |  | 4550.00 | 113750.00 | 4975.00 | 124375.00 | 4500.00 | 112500.00 | 4542.00 | 113550.00 | 4636.00 | 115900.00 | 6358.00 | 158950.00 | 112500.00 | M/S ZENITH TRADERS
8.02 | 600mm sweep wall mounted fan (Metalic Body) | 7.00 | Each |  | 5220.00 | 36540.00 | 6030.00 | 42210.00 | 5400.00 | 37800.00 | 5290.00 | 37030.00 | 5734.00 | 40138.00 | 8588.00 | 60116.00 | 36540.00 | Industrial Traders
9.00 | Supply of following size wall mounting fan suitable for with 3/4 blades fan complete with motor, double ball bearing, minimum air delivery 95m3 per minute , smooth oscillation upto 60 degree or more, with speed regulator suitable for single phase 230 V 50 HZ, AC supply (minimum 2 years guarantee/ warranty)
9.01 | 400mm sweep wall mounted fan | 30.00 | Each |  | 1620.00 | 48600.00 | 2093.00 | 62790.00 | 1700.00 | 51000.00 | 2095.00 | 62850.00 | 1525.00 | 45750.00 | 2034.00 | 61020.00 | 45750.00 | VOLKS ENERGIE PVT LTD
10.00 | Supply of following size heavy duty exhaust fan suitable for single phase 230 V 50 HZ, AC supply complete with totally enclosed heavy duty motor, suitable capacitor, double ball bearing, rigid frame with rubber mountings ,confirms to IS 2312-1967 .
10.01 | 300mm sweep , (Metallic Body) | 50.00 | Each |  | 2070.00 | 103500.00 | 2290.00 | 114500.00 | 2100.00 | 105000.00 | 2127.00 | 106350.00 | 2000.00 | 100000.00 | 2938.00 | 146900.00 | 100000.00 | VOLKS ENERGIE PVT LTD
10.02 | 450mm sweep , (Metallic Body) | 20.00 | Each |  | 3360.00 | 67200.00 | 3256.00 | 65120.00 | 3300.00 | 66000.00 | 3392.00 | 67840.00 | 3294.00 | 65880.00 | 4859.00 | 97180.00 | 65120.00 | M/S DURGA SUPPLY AGENCIES
11.00 | Supply of following size heavy duty Pedestal Fan / air circulator complete with motor, suitable rating capacitor , double ball bearing, 3/4 blades , oscillation up to 60 degrees or more, powder coated wire guard, with speed regulator, suitable for single phase 230 V 50 HZ, AC supply confirms to IS 2997-1964
11.01 | 450mm sweep , Pedestal fan (Metalic Body) | 10.00 | Each |  | 5400.00 | 54000.00 | 5540.00 | 55400.00 | 4800.00 | 48000.00 | 5175.00 | 51750.00 | 5002.00 | 50020.00 | 6667.00 | 66670.00 | 48000.00 | M/S ZENITH TRADERS
12.00 | Supply of following size ventilating fan suitable for 230 V 50 HZ, AC supply complete with motors, capacitor, louvers / shutters , high quality plastic body .
12.01 | 250 mm sweep, Ventilating Fan (Plastic body) | 30.00 | Each |  | 936.00 | 28080.00 | 1180.00 | 35400.00 | 1100.00 | 33000.00 | 955.00 | 28650.00 | 1098.00 | 32940.00 | 1469.00 | 44070.00 | 28080.00 | Industrial Traders
13.00 | Supply of ceiling fan of 1200 mm sweep , with BLDC motor , power consumption 26 to 32 Watt , minimum five star rated fan with double ball bearing, blades , canopy, remote with battery having speed reglation and on/off feature , suitable down rod suitable for single phase 230 V 50 HZ, AC supply with three year warranty on fan and one year warranty on remote ( Minimum air delivery 220m3/min ) | 150.00 | Each |  | 2280.00 | 342000.00 | 3000.00 | 450000.00 | 2750.00 | 412500.00 | 2145.00 | 321750.00 | 2325.00 | 348750.00 | 2997.00 | 449550.00 | 321750.00 | SHREE NURSING TIMER AND ELECTRIC STORES
14.00 | Supply of following rating 'C' series MCB of 10KA breaking capacity and suitable for 230/415 V, AC Supply (As per approved make list)
14.01 | 63A TPN MCB | 30.00 | Each |  | 930.00 | 27900.00 | 1070.00 | 32100.00 | 1100.00 | 33000.00 | 958.00 | 28740.00 | 1288.00 | 38640.00 | 1049.00 | 31470.00 | 27900.00 | Industrial Traders
14.02 | 32A TPN MCB | 20.00 | Each |  | 645.00 | 12900.00 | 790.00 | 15800.00 | 800.00 | 16000.00 | 665.00 | 13300.00 | 893.00 | 17860.00 | 741.00 | 14820.00 | 12900.00 | Industrial Traders
14.03 | 40A DP MCB | 20.00 | Each |  | 480.00 | 9600.00 | 595.00 | 11900.00 | 650.00 | 13000.00 | 484.00 | 9680.00 | 651.00 | 13020.00 | 496.00 | 9920.00 | 9600.00 | Industrial Traders
14.04 | 32A DP MCB | 70.00 | Each |  | 326.00 | 22820.00 | 427.00 | 29890.00 | 400.00 | 28000.00 | 301.00 | 21070.00 | 405.00 | 28350.00 | 339.00 | 23730.00 | 21070.00 | SHREE NURSING TIMER AND ELECTRIC STORES
14.05 | 1A SP MCB | 50.00 | each |  | 163.00 | 8150.00 | 195.00 | 9750.00 | 200.00 | 10000.00 | 159.00 | 7950.00 | 214.00 | 10700.00 | 169.00 | 8450.00 | 7950.00 | SHREE NURSING TIMER AND ELECTRIC STORES
14.06 | 6 to 32 Amp SP MCB | 120.00 | Each |  | 104.00 | 12480.00 | 115.00 | 13800.00 | 130.00 | 15600.00 | 99.00 | 11880.00 | 134.00 | 16080.00 | 106.00 | 12720.00 | 11880.00 | SHREE NURSING TIMER AND ELECTRIC STORES
15.00 | Supply of Single way 5/6 amps standard switch ISI marked | 100.00 | Each |  | 13.00 | 1300.00 | 13.00 | 1300.00 | 60.00 | 6000.00 | 14.00 | 1400.00 | 73.00 | 7300.00 | 41.00 | 4100.00 | 1300.00 | Industrial Traders, M/S DURGA SUPPLY AGENCIES
16.00 | Supply of 15/16 amps Standard Socket ISI marked | 100.00 | Each |  | 58.00 | 5800.00 | 65.00 | 6500.00 | 80.00 | 8000.00 | 59.00 | 5900.00 | 189.00 | 18900.00 | 106.00 | 10600.00 | 5800.00 | Industrial Traders
17.00 | Supply of 5/6 amps, three pin plug Top ISI marked | 50.00 | Each |  | 38.00 | 1900.00 | 24.00 | 1200.00 | 50.00 | 2500.00 | 40.00 | 2000.00 | 51.00 | 2550.00 | 60.00 | 3000.00 | 1200.00 | M/S DURGA SUPPLY AGENCIES
18.00 | Supply of 15/16 amps, three pin plug Top | 50.00 | Each |  | 50.00 | 2500.00 | 55.00 | 2750.00 | 70.00 | 3500.00 | 48.00 | 2400.00 | 68.00 | 3400.00 | 85.00 | 4250.00 | 2400.00 | SHREE NURSING TIMER AND ELECTRIC STORES
19.00 | Supply of following rating 3 pole Power Contactor , confirming to IS/IEC 60947-4-1
19.01 | AC3 rating 50Amp (Make-L&T model MNX 50 or equivalent) | 2.00 | Each |  | 3876.00 | 7752.00 | 3607.00 | 7214.00 | 5000.00 | 10000.00 | 3651.00 | 7302.00 | 4270.00 | 8540.00 | 4523.00 | 9046.00 | 7214.00 | M/S DURGA SUPPLY AGENCIES
19.02 | AC3 rating 80Amp (Make-L&T model MNX 80 or equivalent) | 2.00 | Each |  | 6626.00 | 13252.00 | 6167.00 | 12334.00 | 7000.00 | 14000.00 | 6243.00 | 12486.00 | 7076.00 | 14152.00 | 7731.00 | 15462.00 | 12334.00 | M/S DURGA SUPPLY AGENCIES
20.00 | Supply of 1x 20 Watt extruded alumiunum Batten type with LED fittings of min 100 Lumens/watt with driver and inbuilt diffuser suitable for single phase 230V AC,50 Hz power supply. | 500.00 | Each |  | 235.00 | 117500.00 | 275.00 | 137500.00 | 760.00 | 380000.00 | 368.00 | 184000.00 | 220.00 | 110000.00 | 294.00 | 147000.00 | 110000.00 | VOLKS ENERGIE PVT LTD
21.00 | Supply of 45 watt LED Street light made up of pressure die cast Alumium housing, including driver , IP 66 of min 110 Lumens/watt output with LED driver with 230V AC,50 Hz power supply.(as per technical specifications) | 75.00 | Each |  | 2040.00 | 153000.00 | 1750.00 | 131250.00 | 2400.00 | 180000.00 | 1897.00 | 142275.00 | 2440.00 | 183000.00 | 2034.00 | 152550.00 | 131250.00 | M/S DURGA SUPPLY AGENCIES
22.00 | supply of 15 watt recess mounted circular type led fitting , min 100 Lumens/watt with driver suitable for single phase 230V AC,50 Hz power supply. (as per technical specifications) | 50.00 | Each |  | 498.00 | 24900.00 | 520.00 | 26000.00 | 900.00 | 45000.00 | 724.00 | 36200.00 | 549.00 | 27450.00 | 767.00 | 38350.00 | 24900.00 | Industrial Traders
23.00 | Supply of following type LED bulb with minimum efficacy 100 Lumens/watt including inbuilt driver suitable for single phase 230V AC,50 Hz power supply.(as per technical specifications)
23.01 | 12 watt led bulb with B22 base | 100.00 | Each |  | 140.00 | 14000.00 | 150.00 | 15000.00 | 120.00 | 12000.00 | 161.00 | 16100.00 | 250.00 | 25000.00 | 413.00 | 41300.00 | 12000.00 | M/S ZENITH TRADERS
23.02 | 5 watt led bulb with E27 / E14 base | 10.00 | Each |  | 100.00 | 1000.00 | 69.00 | 690.00 | 100.00 | 1000.00 | 103.00 | 1030.00 | 170.00 | 1700.00 | 531.00 | 5310.00 | 690.00 | M/S DURGA SUPPLY AGENCIES
23.03 | 3 watt led bulb with B22 base | 10.00 | Each |  | 100.00 | 1000.00 | 69.00 | 690.00 | 90.00 | 900.00 | 80.00 | 800.00 | 85.00 | 850.00 | 295.00 | 2950.00 | 690.00 | M/S DURGA SUPPLY AGENCIES
24.00 | Supply of MS panel door detachable hinges of existing LT panels complete as per site requirement. | 100.00 | Each |  | 25.00 | 2500.00 | 270.00 | 27000.00 | 100.00 | 10000.00 | 230.00 | 23000.00 | 65.00 | 6500.00 | 50.00 | 5000.00 | 2500.00 | Industrial Traders
25.00 | Supply of Metal panel door lock (screw driver operated) of existing LT panels complete as per site requirement. | 100.00 | Each |  | 18.00 | 1800.00 | 200.00 | 20000.00 | 90.00 | 9000.00 | 46.00 | 4600.00 | 65.00 | 6500.00 | 27.00 | 2700.00 | 1800.00 | Industrial Traders
26.00 | Supplying of following rating and breaking capacity MCCB with variable thermo magnetic release including 8 nos terminal spreaders ,
26.01 | 630 A,4Pole, 50 KA (Make L&T model DN3-630D or equivalent as per approved make list ) | 1.00 | Each |  | 23500.00 | 23500.00 | 2900.00 | 2900.00 | 25000.00 | 25000.00 | 17218.00 | 17218.00 | 20740.00 | 20740.00 | 26067.00 | 26067.00 | 2900.00 | M/S DURGA SUPPLY AGENCIES
26.02 | 100 A,4Pole, 36 KA (Make L&T, model DN0-100D or equivalent as per approved make list) | 1.00 | Each |  | 4867.00 | 4867.00 | 4540.00 | 4540.00 | 7000.00 | 7000.00 | 4089.00 | 4089.00 | 4514.00 | 4514.00 | 5758.00 | 5758.00 | 4089.00 | SHREE NURSING TIMER AND ELECTRIC STORES
27.00 | Supply of 8 inch sweep , square plastic body type , suitable for single phase 230V AC,50 Hz power supply suitable for fixing in the existing LT/ APFC panels etc complete as required. | 10.00 | Each |  | 1000.00 | 10000.00 | 750.00 | 7500.00 | 1100.00 | 11000.00 | 1375.00 | 13750.00 | 1137.00 | 11370.00 | 2950.00 | 29500.00 | 7500.00 | M/S DURGA SUPPLY AGENCIES
28.00 | Supply of following rating, double pole, (Single phase and neutral), 240 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 milli amperes confirming to IS 12640 (part 1)/ IEC 61008-1
28.01 | 40 A DP RCCB | 12.00 | Each |  | 1245.00 | 14940.00 | 1550.00 | 18600.00 | 1500.00 | 18000.00 | 1369.00 | 16428.00 | 1708.00 | 20496.00 | 1289.00 | 15468.00 | 14940.00 | Industrial Traders
29.00 | Supply of 5 star rated storage Geyser of capacity 10 litre with ultra thick steel plates which can sustain pressure upto 0.8Mpa, Incoloy 800 glass coated heating element suitable for single phase 230 volt, 50Hz AC, complete with all accessories | 6.00 | Each |  | 5500.00 | 33000.00 | 6650.00 | 39900.00 | 7000.00 | 42000.00 | 6820.00 | 40920.00 | 6100.00 | 36600.00 | 9440.00 | 56640.00 | 33000.00 | Industrial Traders
30.00 | Supply of LED indication lamp 230 volt AC (Red,Yellow,Bue,Green) suitable for existing LT panels. | 50.00 | Each |  | 100.00 | 5000.00 | 125.00 | 6250.00 | 280.00 | 14000.00 | 87.00 | 4350.00 | 36.00 | 1800.00 | 84.00 | 4200.00 | 1800.00 | VOLKS ENERGIE PVT LTD
31.00 | Supply of Single pole Over current /Earth Fault Relay suitable for existing LT panel (.Model-MC12,make-L&T. or equivalent) | 1.00 | Each |  | 8185.00 | 8185.00 | 7725.00 | 7725.00 | 8000.00 | 8000.00 | 7337.00 | 7337.00 | 12200.00 | 12200.00 | 10384.00 | 10384.00 | 7337.00 | SHREE NURSING TIMER AND ELECTRIC STORES
32.00 | Supply of thermoplastic , Polycarbonate weather-proof Junction box of minimum size 155×210×92 mm (L×B×H) with 5 way connector and 3 nos. cable gland with locknut ,mounting kit and 1 no SP MCB C series having degree protection-IP66 complete all accessories | 10.00 | Each |  | 1292.00 | 12920.00 | 2550.00 | 25500.00 | 2000.00 | 20000.00 | 3864.00 | 38640.00 | 3050.00 | 30500.00 | 2137.00 | 21370.00 | 12920.00 | Industrial Traders
33.00 | Supply of ceiling fan of 1200 mm sweep , single phase induction motor, five star rated with double ball bearing, blades , capacitor, canopy, suitable down rod, and other accessories suitable for single phase 230 V 50 HZ, AC supply with two year guarantee / warranty . | 250.00 | Each |  | 2280.00 | 570000.00 | 1600.00 | 400000.00 | 1500.00 | 375000.00 | 2424.00 | 606000.00 | 2318.00 | 579500.00 | 1665.00 | 416250.00 | 375000.00 | M/S ZENITH TRADERS
34.00 | Supply of following sizes ISI marked PVC casing n caping confirming to IS-14927 part 2
34.01 | 20x12 mm | 200.00 | mtr |  | 19.00 | 3800.00 | 15.00 | 3000.00 | 10.00 | 2000.00 | 30.00 | 6000.00 | 36.00 | 7200.00 | 19.00 | 3800.00 | 2000.00 | M/S ZENITH TRADERS
34.02 | 25x12 mm | 200.00 | mtr |  | 20.00 | 4000.00 | 18.00 | 3600.00 | 15.00 | 3000.00 | 35.00 | 7000.00 | 36.00 | 7200.00 | 21.00 | 4200.00 | 3000.00 | M/S ZENITH TRADERS
35.00 | Supply of following sizes heavy corrugated flexible PVC conduit pipe
35.01 | 25 mm dia | 100.00 | mtr |  | 8.50 | 850.00 | 15.00 | 1500.00 | 6.00 | 600.00 | 39.00 | 3900.00 | 30.00 | 3000.00 | 15.00 | 1500.00 | 600.00 | M/S ZENITH TRADERS
| Total in Figures |  |  |  |  | 2118822.00 |  | 2168914.00 |  | 2393900.00 |  | 2251676.00 |  | 2257620.00 |  | 2434640.00
Lowest Amount Quoted BY: Industrial Traders(2118822.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Electrical Spares at B P International Airport Bhubaneswar Tender ID: 2020_AAI_44232_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Industrial Traders | 2118822.00 | L1
| 2 | M/S DURGA SUPPLY AGENCIES | 2168914.00 | L2
| 3 | SHREE NURSING TIMER AND ELECTRIC STORES | 2251676.00 | L3
| 4 | VOLKS ENERGIE PVT LTD | 2257620.00 | L4
| 5 | M/S ZENITH TRADERS | 2393900.00 | L5
| 6 | Yash Energy Pvt. Ltd | 2434640.00 | L6