## BoQ1
Government eProcurement System Created By: K SANTHOSH KUMAR Created Date/Time: 23-Mar-2020 11:44 AM Tender Title: AAI/NATS/E-E/AMC_EI/2019-20/08 Tender ID: 2020_AAI_44244_1
Tender Inviting Authority: Asstt. Gen. Mgr. (E-E), NATS Complex, IGI Airport, New Delhi
Name of Work : Annual Maintenance Contract of Electrical Installation for 02 years at NATS Complex, IGI Airport, New Delhi (2020-22)
Contract No/Tender ID : 2020_AAI_44244_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NATIONAL SAFETY ENGINEERS |  | Manish Electricals |  | S. N ELECTRICALS |  | Sew Engineering Works Pvt Ltd |  | K C ELECTRICAL AND TRADING |  | SHIV ENTERPRISES |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED |  | V Tech Energy
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-1 : MANPOWER
2.00 | 1. Maintenance/operation of various Electrical & Mechanical installation including preventive and break down maintenance / repairs, attending complaints on all working days( 6 days in a week) i/c holidays etc. complete as required at NATS complex, IGI Airport with following manpower, as and when required.
2.01 | (a) Electrician/Operator (Skilled)-02 No. in one shift + Electrical attendant (Unskilled) - 02 No. in one Shift. | 24.00 | Month | 100.00 | 90000.00 | 2160000.00 | 78137.00 | 1875288.00 | 88202.72 | 2116865.28 | 88296.00 | 2119104.00 | 68686.00 | 1648464.00 | 85000.00 | 2040000.00 | 44000.00 | 1056000.00 | 70100.00 | 1682400.00 | 1056000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
3.00 | SH-2 (Rewinding / Repair of Motors etc. )
4.00 | 1. Rewinding of Exhaust fans/ pedestal fan/wallmounted fan of following sizes with super enameled copper wire of suitable gauge & insulation grade i/c replacement of ball bearing, shaft etc. as reqd. Dismantling, transportation to workshop and back reinstallation, testing, commissioning, making connection, providing and fixing of necessary nut & bolts etc. (As & when required). (Old winding material will be retained by agency.)
4.01 | (a) 600 mm | 2.00 | Each | 100.00 | 700.00 | 1400.00 | 700.00 | 1400.00 | 250.00 | 500.00 | 750.00 | 1500.00 | 488.00 | 976.00 | 300.00 | 600.00 | 450.00 | 900.00 | 417.00 | 834.00 | 500.00 | S. N ELECTRICALS
4.02 | (b) 450 mm | 2.00 | Each | 10.00 | 650.00 | 1300.00 | 600.00 | 1200.00 | 200.00 | 400.00 | 750.00 | 1500.00 | 475.00 | 950.00 | 250.00 | 500.00 | 440.00 | 880.00 | 417.00 | 834.00 | 400.00 | S. N ELECTRICALS
4.03 | (c) 380 / 400 mm | 4.00 | Each | 10.00 | 600.00 | 2400.00 | 450.00 | 1800.00 | 200.00 | 800.00 | 750.00 | 3000.00 | 425.00 | 1700.00 | 300.00 | 1200.00 | 410.00 | 1640.00 | 417.00 | 1668.00 | 800.00 | S. N ELECTRICALS
4.04 | (d) 300 mm | 2.00 | Each | 10.00 | 550.00 | 1100.00 | 350.00 | 700.00 | 150.00 | 300.00 | 750.00 | 1500.00 | 400.00 | 800.00 | 250.00 | 500.00 | 400.00 | 800.00 | 417.00 | 834.00 | 300.00 | S. N ELECTRICALS
4.05 | (e) 250 mm | 2.00 | Each | 10.00 | 550.00 | 1100.00 | 300.00 | 600.00 | 150.00 | 300.00 | 750.00 | 1500.00 | 375.00 | 750.00 | 250.00 | 500.00 | 390.00 | 780.00 | 417.00 | 834.00 | 300.00 | S. N ELECTRICALS
5.00 | 2. Rewinding of ceiling fans of 1200/1400 mm with super enamelled copper wire of suitable gauge & insulation grade i/c replacement of ball bearing, shaft etc. as reqd. Dismantling, transportation to workshop & back and re-installation i/c connection, testing & commissioning (as & when required ). (Old winding material will be retained by agency). | 5.00 | Each | 10.00 | 450.00 | 2250.00 | 450.00 | 2250.00 | 150.00 | 750.00 | 550.00 | 2750.00 | 688.00 | 3440.00 | 350.00 | 1750.00 | 650.00 | 3250.00 | 417.00 | 2085.00 | 750.00 | S. N ELECTRICALS
6.00 | 3. Rewinding of different models and make 3 phase induction motors of centrifugal and monoblock pump/submersible pump motors of following capacities as & when required with copper conductor of suitable gauge and insulation grading i/c dismantling, transportation, from the site to workshop and back, re- installation etc. complete as required. (Old winding material will be retained by agency.)
7.00 | A Monoblock Pump Motor
7.01 | (i) 3 HP | 4.00 | Each | 100.00 | 2000.00 | 8000.00 | 2500.00 | 10000.00 | 1000.00 | 4000.00 | 4000.00 | 16000.00 | 2868.00 | 11472.00 | 1500.00 | 6000.00 | 9000.00 | 36000.00 | 2250.00 | 9000.00 | 4000.00 | S. N ELECTRICALS
7.02 | (ii) 5 HP | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 1500.00 | 6000.00 | 6000.00 | 24000.00 | 2868.00 | 11472.00 | 2000.00 | 8000.00 | 9500.00 | 38000.00 | 3000.00 | 12000.00 | 6000.00 | S. N ELECTRICALS
8.00 | B Submersible Pump Motor
8.01 | (i) 3 HP | 3.00 | Each | 100.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 1000.00 | 3000.00 | 6000.00 | 18000.00 | 3268.00 | 9804.00 | 2000.00 | 6000.00 | 8500.00 | 25500.00 | 3300.00 | 9900.00 | 3000.00 | S. N ELECTRICALS
8.02 | (ii) 5 HP | 5.00 | Each | 10.00 | 3500.00 | 17500.00 | 3500.00 | 17500.00 | 1500.00 | 7500.00 | 7000.00 | 35000.00 | 3668.00 | 18340.00 | 3000.00 | 15000.00 | 9500.00 | 47500.00 | 3300.00 | 16500.00 | 7500.00 | S. N ELECTRICALS
9.00 | 4. Repairing of 3-phase monoblock / submersible pump by replacement of defective bronze bushes,bearings, impeller, water seal, gasket, shaft, impeller etc. complete as required (As & when required) of capacity (Old dismantle material will retain by agency).
9.01 | (a) 3 HP | 4.00 | Each | 100.00 | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 1000.00 | 4000.00 | 4500.00 | 18000.00 | 2428.00 | 9712.00 | 2000.00 | 8000.00 | 9000.00 | 36000.00 | 3300.00 | 13200.00 | 4000.00 | S. N ELECTRICALS
9.02 | (b) 5 HP | 8.00 | Each | 10.00 | 3000.00 | 24000.00 | 3500.00 | 28000.00 | 1500.00 | 12000.00 | 5500.00 | 44000.00 | 2868.00 | 22944.00 | 3000.00 | 24000.00 | 9500.00 | 76000.00 | 3300.00 | 26400.00 | 12000.00 | S. N ELECTRICALS
10.00 | 5(a) Labour charges on lifting of all existing size submersible pump motor set ( Bore well pump set ) from the existing bore of upto 250 feet deep as & when required along with pipe lines, cable , wire rope etc. and re-installation of the same after rectification of the defect (Spare parts charges of repairing for rectification of pump/motor will be paid separately). | 4.00 | Each | 10.00 | 3500.00 | 14000.00 | 3000.00 | 12000.00 | 2500.00 | 10000.00 | 20000.00 | 80000.00 | 2246.00 | 8984.00 | 2500.00 | 10000.00 | 10000.00 | 40000.00 | 2500.00 | 10000.00 | 8984.00 | K C ELECTRICAL AND TRADING
11.00 | 5(b) Labour charges on lifting of all existing size submersible pump motor set from the existing sump of upto 25 feet deep as & when required along with pipe lines, cable etc. and re-installation of the same after rectification of the defect (Spare parts charges of repairing for rectification of pump/motor will be paid separately). | 4.00 | Each | 10.00 | 2000.00 | 8000.00 | 3000.00 | 12000.00 | 200.00 | 800.00 | 15000.00 | 60000.00 | 2246.00 | 8984.00 | 800.00 | 3200.00 | 8000.00 | 32000.00 | 2400.00 | 9600.00 | 800.00 | S. N ELECTRICALS
12.00 | 6. Dehydration and filteration of transformer oil at NATS Bldg. complete i/c hiring charges of filteration machine, labour, drums etc. complete with submission of oil testing for acidity report. (The quanty includes 2 Nos. dehydration for 2 Nos. transformers for the year 2018-19 and 2019-20) | 7000.00 | Ltr. | 10.00 | 7.00 | 49000.00 | 10.00 | 70000.00 | 3.50 | 24500.00 | 6.00 | 42000.00 | 28.00 | 196000.00 | 6.00 | 42000.00 | 20.00 | 140000.00 | 5.10 | 35700.00 | 24500.00 | S. N ELECTRICALS
13.00 | 7. Dismantaling and Removing of existing SFU of various capacities from the different existing panel and supply & fixing of following capacities MCCBs /MCBs for the existing panel i/c required modification, cutting, rubber gasket and fabrication required, work din rail to install new MCCB/MCB including end termination, interconnection and all associated works complete as & when required.
13.01 | (a) MCCB, 100 Amp (10 KA), 4P. | 4.00 | Job | 100.00 | 6000.00 | 24000.00 | 4000.00 | 16000.00 | 2000.00 | 8000.00 | 8350.00 | 33400.00 | 4268.00 | 17072.00 | 100.00 | 400.00 | 2500.00 | 10000.00 | 1050.00 | 4200.00 | 400.00 | SHIV ENTERPRISES
13.02 | (b) MCCB 125Amp (25KA), 4P. | 4.00 | Job | 10.00 | 6500.00 | 26000.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 9500.00 | 38000.00 | 6068.00 | 24272.00 | 150.00 | 600.00 | 3200.00 | 12800.00 | 1050.00 | 4200.00 | 600.00 | SHIV ENTERPRISES
14.00 | 8. Supply, Installation, Testing and Commissioning of Lead Acid VRLA Battery Bank of 110 V , 100 AH consisting of 55 cells of 2 V in factory charged condition each complete with lead coated intercell connector, Nut Bolts, MS Stand etc complete as reequired. (Make: Amar Raja or equivalent as per Approved Make with the prior approval of E-I-C) . NOTE : The contractor shall quote the rate for the above item by considering the discount for existing old batteries which shall be taken away by the contractor. | 1.00 | Set | 10.00 | 100000.00 | 100000.00 | 230000.00 | 230000.00 | 135000.00 | 135000.00 | 45000.00 | 45000.00 | 8686.00 | 8686.00 | 120000.00 | 120000.00 | 22000.00 | 22000.00 | 33919.00 | 33919.00 | 8686.00 | K C ELECTRICAL AND TRADING
15.00 | 9. Painting of Street Light pole with suitable approved make paint two coat and numbering upto satisfaction of EIC | 160.00 | Each | 10.00 | 400.00 | 64000.00 | 300.00 | 48000.00 | 100.00 | 16000.00 | 50.00 | 8000.00 | 268.00 | 42880.00 | 125.00 | 20000.00 | 880.00 | 140800.00 | 150.00 | 24000.00 | 8000.00 | Sew Engineering Works Pvt Ltd
16.00 | 10. Repairing of earth pit with plaster as per direction o EIC. | 40.00 | Each | 10.00 | 700.00 | 28000.00 | 300.00 | 12000.00 | 125.00 | 5000.00 | 250.00 | 10000.00 | 668.00 | 26720.00 | 100.00 | 4000.00 | 1100.00 | 44000.00 | 200.00 | 8000.00 | 4000.00 | SHIV ENTERPRISES
17.00 | 11. Supply and fixing CI/MS cover plate for earth pit hinged with locking arrangement upto satisfaction of EIC. | 15.00 | Each | 10.00 | 500.00 | 7500.00 | 300.00 | 4500.00 | 300.00 | 4500.00 | 600.00 | 9000.00 | 500.00 | 7500.00 | 600.00 | 9000.00 | 1250.00 | 18750.00 | 250.00 | 3750.00 | 3750.00 | V Tech Energy
18.00 | SH-3 : - Supply Items
19.00 | Supply of following electrical spares/items suitable for single phase 50 Hz A.C. supply complete as given below :
20.00 | 1. Lamps for Flourescent Tube Light for general lighting services.
20.01 | (a) 36 Watt ( T 8 FTL) | 500.00 | Each | 100.00 | 40.00 | 20000.00 | 45.00 | 22500.00 | 35.00 | 17500.00 | 45.00 | 22500.00 | 175.00 | 87500.00 | 35.00 | 17500.00 | 150.00 | 75000.00 | 40.00 | 20000.00 | 17500.00 | S. N ELECTRICALS, SHIV ENTERPRISES
20.02 | (b) 28 Watt ( T 5 FTL) | 12.00 | Each | 10.00 | 80.00 | 960.00 | 100.00 | 1200.00 | 45.00 | 540.00 | 45.00 | 540.00 | 250.00 | 3000.00 | 80.00 | 960.00 | 120.00 | 1440.00 | 90.00 | 1080.00 | 540.00 | Sew Engineering Works Pvt Ltd, S. N ELECTRICALS
20.03 | (c) 14 watt T-5 HE 6500K | 12.00 | Each | 10.00 | 90.00 | 1080.00 | 120.00 | 1440.00 | 45.00 | 540.00 | 65.00 | 780.00 | 150.00 | 1800.00 | 80.00 | 960.00 | 110.00 | 1320.00 | 90.00 | 1080.00 | 540.00 | S. N ELECTRICALS
20.04 | (d) 18W / 20 W (2 Feet). | 40.00 | Each | 10.00 | 40.00 | 1600.00 | 50.00 | 2000.00 | 45.00 | 1800.00 | 65.00 | 2600.00 | 275.00 | 11000.00 | 36.00 | 1440.00 | 120.00 | 4800.00 | 40.00 | 1600.00 | 1440.00 | SHIV ENTERPRISES
21.00 | 2. CFL lamps of following ratings :
21.01 | (a) 36 watt (FP-L-36 Watt), 4 Pins. | 100.00 | Each | 100.00 | 110.00 | 11000.00 | 120.00 | 12000.00 | 90.00 | 9000.00 | 290.00 | 29000.00 | 148.00 | 14800.00 | 93.00 | 9300.00 | 120.00 | 12000.00 | 90.00 | 9000.00 | 9000.00 | S. N ELECTRICALS, V Tech Energy
21.02 | (b) 18 Watt CFL (2 Pins ). | 300.00 | Each | 10.00 | 90.00 | 27000.00 | 120.00 | 36000.00 | 75.00 | 22500.00 | 130.00 | 39000.00 | 108.00 | 32400.00 | 82.00 | 24600.00 | 180.00 | 54000.00 | 80.00 | 24000.00 | 22500.00 | S. N ELECTRICALS
21.03 | (c) 11 Watt CFL, Retrofit type. | 50.00 | Each | 10.00 | 70.00 | 3500.00 | 90.00 | 4500.00 | 75.00 | 3750.00 | 46.00 | 2300.00 | 108.00 | 5400.00 | 104.00 | 5200.00 | 110.00 | 5500.00 | 85.00 | 4250.00 | 2300.00 | Sew Engineering Works Pvt Ltd
22.00 | 3. Supply of 18-20 watt LED T8 tube with minimum light 1650Lm with prior approval of EIC. | 600.00 | Each | 100.00 | 350.00 | 210000.00 | 350.00 | 210000.00 | 280.00 | 168000.00 | 165.00 | 99000.00 | 424.00 | 254400.00 | 300.00 | 180000.00 | 350.00 | 210000.00 | 500.00 | 300000.00 | 99000.00 | Sew Engineering Works Pvt Ltd
23.00 | 4. Supply of cordless call bell with remote with battery, bell to be put in light socket with accessories complete as reqd.. | 6.00 | Each | 10.00 | 400.00 | 2400.00 | 350.00 | 2100.00 | 150.00 | 900.00 | 200.00 | 1200.00 | 175.00 | 1050.00 | 550.00 | 3300.00 | 500.00 | 3000.00 | 450.00 | 2700.00 | 900.00 | S. N ELECTRICALS
24.00 | 5. Supply of Electric Storage Water Heater (Gyser), 15 Ltr., 5 star rating, Model : Puro, (Make : Havells or equivalent with prior approval of Engineer-In-Charge). | 2.00 | Each | 10.00 | 12000.00 | 24000.00 | 12000.00 | 24000.00 | 7500.00 | 15000.00 | 9500.00 | 19000.00 | 2868.00 | 5736.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 9000.00 | 18000.00 | 5736.00 | K C ELECTRICAL AND TRADING
25.00 | 6. Supply of 600 watt, air flow 3.3 m3/min blower suitable for 50 Hz, 220 V. Make-bosch or equivalent with approval of EIC | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 2200.00 | 4400.00 | 2000.00 | 4000.00 | 2196.00 | 4392.00 | 2268.00 | 4536.00 | 6500.00 | 13000.00 | 4500.00 | 9000.00 | 2100.00 | 4200.00 | 4000.00 | S. N ELECTRICALS
26.00 | 7. Supply of 2x36 w CFL recess mounted luminaries with powder coated CRCA housing with mirror optics louver and decorative sans and wings alongwith CFLs electronic ballast complete with all accessories required. (Philips FBS450/236M2 PW EBT 2xPL-L36W or equivalent as per EIC). | 4.00 | Each | 10.00 | 2000.00 | 8000.00 | 600.00 | 2400.00 | 1850.00 | 7400.00 | 2000.00 | 8000.00 | 868.00 | 3472.00 | 2200.00 | 8800.00 | 450.00 | 1800.00 | 2200.00 | 8800.00 | 1800.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
27.00 | 8. Supply of starter suitable for Fluorescent tube light/CFL of following ratings :
27.01 | (a) Universal starter for 18 Watt, 110 V. | 20.00 | Each | 10.00 | 10.00 | 200.00 | 15.00 | 300.00 | 4.00 | 80.00 | 40.00 | 800.00 | 86.00 | 1720.00 | 20.00 | 400.00 | 120.00 | 2400.00 | 22.00 | 440.00 | 80.00 | S. N ELECTRICALS
27.02 | (b) Universal starter for 36 Watt., 230 V. | 300.00 | Each | 10.00 | 11.00 | 3300.00 | 20.00 | 6000.00 | 8.00 | 2400.00 | 45.00 | 13500.00 | 175.00 | 52500.00 | 10.00 | 3000.00 | 200.00 | 60000.00 | 8.00 | 2400.00 | 2400.00 | S. N ELECTRICALS, V Tech Energy
28.00 | 9. Supply of Electronic Ballast for following CFL / FTL fittings :
28.01 | (a) 1x18 watt CFL | 50.00 | Each | 100.00 | 200.00 | 10000.00 | 95.00 | 4750.00 | 80.00 | 4000.00 | 250.00 | 12500.00 | 448.00 | 22400.00 | 105.00 | 5250.00 | 110.00 | 5500.00 | 95.00 | 4750.00 | 4000.00 | S. N ELECTRICALS
28.02 | (b) High performance Electronic Ballast for 1 X 36/40 Watt FTL | 200.00 | Each | 10.00 | 250.00 | 50000.00 | 200.00 | 40000.00 | 180.00 | 36000.00 | 175.00 | 35000.00 | 248.00 | 49600.00 | 230.00 | 46000.00 | 220.00 | 44000.00 | 195.00 | 39000.00 | 35000.00 | Sew Engineering Works Pvt Ltd
28.03 | (c) High performance Electronic Ballast for 2 X 36/40 Watt FTL( THD<33%) | 50.00 | Each | 10.00 | 400.00 | 20000.00 | 400.00 | 20000.00 | 125.00 | 6250.00 | 250.00 | 12500.00 | 648.00 | 32400.00 | 330.00 | 16500.00 | 400.00 | 20000.00 | 450.00 | 22500.00 | 6250.00 | S. N ELECTRICALS
29.00 | 10. Supply of PVC insulated, PVC round sheathed, unarmoured copper conductor flexible cable, 1.1 KV grade confirming to IS : 694 with upto date amendments as reqd.
29.01 | (a) 3x1.5 sqmm Rate per Mtr | 100.00 | Mtr. | 100.00 | 45.00 | 4500.00 | 45.00 | 4500.00 | 34.20 | 3420.00 | 25.00 | 2500.00 | 24.00 | 2400.00 | 36.00 | 3600.00 | 40.00 | 4000.00 | 35.00 | 3500.00 | 2400.00 | K C ELECTRICAL AND TRADING
29.02 | (b) 3x4 sqmm | 100.00 | Mtr. | 10.00 | 110.00 | 11000.00 | 120.00 | 12000.00 | 84.63 | 8463.00 | 45.00 | 4500.00 | 28.00 | 2800.00 | 90.00 | 9000.00 | 60.00 | 6000.00 | 95.00 | 9500.00 | 2800.00 | K C ELECTRICAL AND TRADING
29.03 | (c) 3x6 sqmm | 100.00 | Mtr. | 100.00 | 170.00 | 17000.00 | 150.00 | 15000.00 | 126.10 | 12610.00 | 55.00 | 5500.00 | 34.00 | 3400.00 | 130.00 | 13000.00 | 100.00 | 10000.00 | 97.00 | 9700.00 | 3400.00 | K C ELECTRICAL AND TRADING
29.04 | (d) 3x10 sqmm | 100.00 | Mtr. | 100.00 | 290.00 | 29000.00 | 200.00 | 20000.00 | 211.30 | 21130.00 | 65.00 | 6500.00 | 38.00 | 3800.00 | 225.00 | 22500.00 | 110.00 | 11000.00 | 130.00 | 13000.00 | 3800.00 | K C ELECTRICAL AND TRADING
29.05 | (e) 4x6 sqmm | 100.00 | Mtr. | 10.00 | 220.00 | 22000.00 | 250.00 | 25000.00 | 159.43 | 15943.00 | 75.00 | 7500.00 | 36.00 | 3600.00 | 165.00 | 16500.00 | 100.00 | 10000.00 | 160.00 | 16000.00 | 3600.00 | K C ELECTRICAL AND TRADING
29.06 | (f) 4x10 sqmm | 100.00 | Mtr. | 10.00 | 380.00 | 38000.00 | 300.00 | 30000.00 | 276.27 | 27627.00 | 85.00 | 8500.00 | 40.00 | 4000.00 | 285.00 | 28500.00 | 120.00 | 12000.00 | 225.00 | 22500.00 | 4000.00 | K C ELECTRICAL AND TRADING
30.00 | 11. Supply of single core copper conductor flexible PVC insulated industrial grade cable, 1.1 KV grade confirming to IS : 694 with upto date amendments as reqd.
30.01 | (a) 0.75 sqmm (HR-FR) | 200.00 | Mtr. | 100.00 | 8.00 | 1600.00 | 10.00 | 2000.00 | 4.80 | 960.00 | 25.00 | 5000.00 | 14.00 | 2800.00 | 7.00 | 1400.00 | 28.00 | 5600.00 | 6.00 | 1200.00 | 960.00 | S. N ELECTRICALS
30.02 | (b) 1.5 sqmm (FR-LSH) | 180.00 | Mtr. | 10.00 | 15.00 | 2700.00 | 15.00 | 2700.00 | 10.00 | 1800.00 | 45.00 | 8100.00 | 18.00 | 3240.00 | 15.00 | 2700.00 | 30.00 | 5400.00 | 13.00 | 2340.00 | 1800.00 | S. N ELECTRICALS
30.03 | (c) 4 sqmm (FR-LSH) | 180.00 | Mtr. | 100.00 | 35.00 | 6300.00 | 40.00 | 7200.00 | 23.60 | 4248.00 | 60.00 | 10800.00 | 22.00 | 3960.00 | 30.00 | 5400.00 | 35.00 | 6300.00 | 25.00 | 4500.00 | 3960.00 | K C ELECTRICAL AND TRADING
30.04 | (d) 10 sqmm (FR) | 100.00 | Mtr. | 100.00 | 91.00 | 9100.00 | 80.00 | 8000.00 | 59.08 | 5908.00 | 90.00 | 9000.00 | 28.00 | 2800.00 | 74.00 | 7400.00 | 80.00 | 8000.00 | 75.00 | 7500.00 | 2800.00 | K C ELECTRICAL AND TRADING
31.00 | 12. Supply of 150 watt Metal halide double ended quartz tube lamp, MH -6000K | 10.00 | Each | 100.00 | 350.00 | 3500.00 | 900.00 | 9000.00 | 325.00 | 3250.00 | 100.00 | 1000.00 | 986.00 | 9860.00 | 325.00 | 3250.00 | 600.00 | 6000.00 | 350.00 | 3500.00 | 1000.00 | Sew Engineering Works Pvt Ltd
32.00 | 13. Supply of 70 Watt HPSV-(SON-E) type elliptical lamp. | 100.00 | Each | 10.00 | 300.00 | 30000.00 | 250.00 | 25000.00 | 280.00 | 28000.00 | 78.00 | 7800.00 | 548.00 | 54800.00 | 230.00 | 23000.00 | 300.00 | 30000.00 | 200.00 | 20000.00 | 7800.00 | Sew Engineering Works Pvt Ltd
33.00 | 14. Supply of self adhesive PVC electrical insulation tape (ISI Marked). | 300.00 | Each | 100.00 | 13.00 | 3900.00 | 20.00 | 6000.00 | 5.00 | 1500.00 | 25.00 | 7500.00 | 10.00 | 3000.00 | 8.00 | 2400.00 | 60.00 | 18000.00 | 7.00 | 2100.00 | 1500.00 | S. N ELECTRICALS
34.00 | 15. Supply of distilled water suitable for charging of heavy duty batteries used for DG sets. | 100.00 | Ltr. | 100.00 | 12.00 | 1200.00 | 20.00 | 2000.00 | 45.00 | 4500.00 | 8.00 | 800.00 | 186.00 | 18600.00 | 15.00 | 1500.00 | 70.00 | 7000.00 | 34.00 | 3400.00 | 800.00 | Sew Engineering Works Pvt Ltd
35.00 | 16. Supply of Power strip / extension board of 16 Amp. ratings, 3 Nos. socket and 3 No. switch indicating lamps, 3 pin moulded type plug top, 3 core PVC wire suitable for computer etc. | 15.00 | Each | 100.00 | 350.00 | 5250.00 | 300.00 | 4500.00 | 180.00 | 2700.00 | 450.00 | 6750.00 | 275.00 | 4125.00 | 700.00 | 10500.00 | 200.00 | 3000.00 | 250.00 | 3750.00 | 2700.00 | S. N ELECTRICALS
36.00 | 17. Supply of Old cotton dhoties suitable for cleaning of panels etc. | 50.00 | Kg | 10.00 | 80.00 | 4000.00 | 35.00 | 1750.00 | 45.00 | 2250.00 | 10.00 | 500.00 | 28.00 | 1400.00 | 70.00 | 3500.00 | 200.00 | 10000.00 | 35.00 | 1750.00 | 500.00 | Sew Engineering Works Pvt Ltd
37.00 | 18. Supply of Socket & Switch combined, 10/20 Amp, with box, 2 hole. | 100.00 | Each | 10.00 | 95.00 | 9500.00 | 150.00 | 15000.00 | 180.00 | 18000.00 | 150.00 | 15000.00 | 46.00 | 4600.00 | 125.00 | 12500.00 | 250.00 | 25000.00 | 105.00 | 10500.00 | 4600.00 | K C ELECTRICAL AND TRADING
38.00 | 19. Supply of 3 pin Plug top, of the following sizes :
38.01 | (a) 6 Amps, | 20.00 | Each | 10.00 | 30.00 | 600.00 | 30.00 | 600.00 | 41.00 | 820.00 | 65.00 | 1300.00 | 40.00 | 800.00 | 45.00 | 900.00 | 200.00 | 4000.00 | 31.00 | 620.00 | 600.00 | NATIONAL SAFETY ENGINEERS, Manish Electricals
38.02 | (b) 16 Amps | 20.00 | Each | 10.00 | 45.00 | 900.00 | 50.00 | 1000.00 | 60.00 | 1200.00 | 85.00 | 1700.00 | 88.00 | 1760.00 | 60.00 | 1200.00 | 300.00 | 6000.00 | 50.00 | 1000.00 | 900.00 | NATIONAL SAFETY ENGINEERS
39.00 | 20. Supply of HRC fuse link of following ratings 80 KA breaking capacity 415 Volt suitable for existing panel switchgear. Make : L & T or equivalent
39.01 | (a) 2 Amps round type | 10.00 | Each | 10.00 | 50.00 | 500.00 | 35.00 | 350.00 | 25.00 | 250.00 | 45.00 | 450.00 | 40.00 | 400.00 | 40.00 | 400.00 | 40.00 | 400.00 | 38.00 | 380.00 | 250.00 | S. N ELECTRICALS
39.02 | (b) 6 Amps offset | 10.00 | Each | 10.00 | 70.00 | 700.00 | 35.00 | 350.00 | 25.00 | 250.00 | 65.00 | 650.00 | 88.00 | 880.00 | 45.00 | 450.00 | 50.00 | 500.00 | 38.00 | 380.00 | 250.00 | S. N ELECTRICALS
39.03 | (c) 32 Amps (A1) | 10.00 | Each | 10.00 | 120.00 | 1200.00 | 70.00 | 700.00 | 25.00 | 250.00 | 45.00 | 450.00 | 91.00 | 910.00 | 50.00 | 500.00 | 80.00 | 800.00 | 73.00 | 730.00 | 250.00 | S. N ELECTRICALS
39.04 | (d) 63 Amp (A1L) | 10.00 | Each | 10.00 | 200.00 | 2000.00 | 70.00 | 700.00 | 25.00 | 250.00 | 125.00 | 1250.00 | 248.00 | 2480.00 | 95.00 | 950.00 | 100.00 | 1000.00 | 73.00 | 730.00 | 250.00 | S. N ELECTRICALS
39.05 | (e) 125 Amp | 10.00 | Each | 10.00 | 350.00 | 3500.00 | 300.00 | 3000.00 | 25.00 | 250.00 | 145.00 | 1450.00 | 288.00 | 2880.00 | 160.00 | 1600.00 | 120.00 | 1200.00 | 310.00 | 3100.00 | 250.00 | S. N ELECTRICALS
39.06 | (f) 250 Amp (slim knife type) | 10.00 | Each | 10.00 | 450.00 | 4500.00 | 480.00 | 4800.00 | 25.00 | 250.00 | 250.00 | 2500.00 | 298.00 | 2980.00 | 270.00 | 2700.00 | 300.00 | 3000.00 | 380.00 | 3800.00 | 250.00 | S. N ELECTRICALS
40.00 | 21. Supply of 2.25 MFD capacitor suitable for fan. | 50.00 | Each | 10.00 | 25.00 | 1250.00 | 25.00 | 1250.00 | 25.00 | 1250.00 | 75.00 | 3750.00 | 12.00 | 600.00 | 24.00 | 1200.00 | 1200.00 | 60000.00 | 25.00 | 1250.00 | 600.00 | K C ELECTRICAL AND TRADING
41.00 | 22. Supply of single phase Exhaust Fan/Ventilating Fan, Make : Havells or Equivalent of following sizes :
41.01 | (a) 250 mm, Non-metalic type ventilating fan. | 2.00 | Each | 10.00 | 1800.00 | 3600.00 | 1500.00 | 3000.00 | 1250.00 | 2500.00 | 1400.00 | 2800.00 | 1248.00 | 2496.00 | 1400.00 | 2800.00 | 1200.00 | 2400.00 | 1300.00 | 2600.00 | 2400.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
41.02 | (b) 300 mm, 1400 rpm, heavy duty exhaust fan (Make - Havells, Model : Turbo force or equivalent with prior approval of E-I-C). | 2.00 | Each | 10.00 | 2800.00 | 5600.00 | 4000.00 | 8000.00 | 2800.00 | 5600.00 | 2620.00 | 5240.00 | 5686.00 | 11372.00 | 2800.00 | 5600.00 | 1450.00 | 2900.00 | 2200.00 | 4400.00 | 2900.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
41.03 | (c) 380 mm, 1400 rpm, heavy duty exhaust fan (Make - Havells, Model : Turbo force or equivalent with prior approval of E-I-C). | 2.00 | Each | 10.00 | 3600.00 | 7200.00 | 7000.00 | 14000.00 | 3250.00 | 6500.00 | 6341.00 | 12682.00 | 5686.00 | 11372.00 | 3200.00 | 6400.00 | 1800.00 | 3600.00 | 2400.00 | 4800.00 | 3600.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
42.00 | 23. Supply of RCCB, 4 Pole suitable for 415V, 50Hz, 40 Amp Capacity, 300 mAmp | 2.00 | Each | 10.00 | 2800.00 | 5600.00 | 2800.00 | 5600.00 | 1890.00 | 3780.00 | 3300.00 | 6600.00 | 3268.00 | 6536.00 | 2400.00 | 4800.00 | 800.00 | 1600.00 | 2000.00 | 4000.00 | 1600.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
43.00 | 24. Supply of MCB, TP, 25 Amp, (Breaking Capacity 10KA, C Series). | 10.00 | Each | 10.00 | 800.00 | 8000.00 | 600.00 | 6000.00 | 680.00 | 6800.00 | 515.00 | 5150.00 | 1168.00 | 11680.00 | 700.00 | 7000.00 | 400.00 | 4000.00 | 600.00 | 6000.00 | 4000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
44.00 | 25. Supply of MCB, TP 63 Amps (breaking capacity 10KA, C- serires). | 10.00 | Each | 10.00 | 950.00 | 9500.00 | 700.00 | 7000.00 | 1025.00 | 10250.00 | 792.00 | 7920.00 | 1248.00 | 12480.00 | 1200.00 | 12000.00 | 1200.00 | 12000.00 | 900.00 | 9000.00 | 7000.00 | Manish Electricals
45.00 | 26. Supply of following types MCB/MCCBs suitable for installation:
45.01 | (a) MCB, 63 Amps, 4 Pole, (Breaking Capacity 10 KA, 'C' series), Make : Havells or Equivalent. | 4.00 | Each | 10.00 | 850.00 | 3400.00 | 1100.00 | 4400.00 | 1295.00 | 5180.00 | 2221.00 | 8884.00 | 988.00 | 3952.00 | 1300.00 | 5200.00 | 2400.00 | 9600.00 | 1150.00 | 4600.00 | 3400.00 | NATIONAL SAFETY ENGINEERS
45.02 | (b) MCB 100 Amps, , 4-pole , (Breaking Capacity 10 KA, 'C' series, high ratings). | 4.00 | Each | 10.00 | 1100.00 | 4400.00 | 1250.00 | 5000.00 | 4800.00 | 19200.00 | 7615.00 | 30460.00 | 1168.00 | 4672.00 | 5000.00 | 20000.00 | 3200.00 | 12800.00 | 5300.00 | 21200.00 | 4400.00 | NATIONAL SAFETY ENGINEERS
46.00 | 27. Supply of MCCB, 4 Pole, 125 Amps (25 KA breaking capacity) suitable to existing switchgears. | 4.00 | Each | 10.00 | 5000.00 | 20000.00 | 4800.00 | 19200.00 | 4650.00 | 18600.00 | 9000.00 | 36000.00 | 1248.00 | 4992.00 | 5200.00 | 20800.00 | 16000.00 | 64000.00 | 4000.00 | 16000.00 | 4992.00 | K C ELECTRICAL AND TRADING
47.00 | 28. Supply of MCCB, 4 Pole, 100 Amps (10 KA breaking capacity), Cat No : IHLGSF01000, Makes : Havells, or Equivalent suitable to existing switchgears. | 4.00 | Each | 10.00 | 3000.00 | 12000.00 | 3600.00 | 14400.00 | 2850.00 | 11400.00 | 8000.00 | 32000.00 | 1248.00 | 4992.00 | 4500.00 | 18000.00 | 15500.00 | 62000.00 | 3600.00 | 14400.00 | 4992.00 | K C ELECTRICAL AND TRADING
48.00 | 29. Supply of LED Type Indicator for R,Y,B Phase, for Red, Blue, Yellow colour and green suitable for 240 Volt AC. as per sample, Make : L&T or equivalent.
48.01 | (a) Red, Yellow and Green | 4.00 | Each | 10.00 | 80.00 | 320.00 | 125.00 | 500.00 | 75.00 | 300.00 | 150.00 | 600.00 | 248.00 | 992.00 | 140.00 | 560.00 | 200.00 | 800.00 | 130.00 | 520.00 | 300.00 | S. N ELECTRICALS
48.02 | (b) Blue | 4.00 | Each | 10.00 | 100.00 | 400.00 | 125.00 | 500.00 | 120.00 | 480.00 | 225.00 | 900.00 | 68.00 | 272.00 | 190.00 | 760.00 | 200.00 | 800.00 | 200.00 | 800.00 | 272.00 | K C ELECTRICAL AND TRADING
49.00 | 30. Supply of LED Type Indicator lamp complete with accerrories suitable for 110 DC Volt. Suitable for existing panel Make : L&T or equivalent. | 10.00 | Each | 10.00 | 90.00 | 900.00 | 150.00 | 1500.00 | 110.00 | 1100.00 | 225.00 | 2250.00 | 88.00 | 880.00 | 220.00 | 2200.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 880.00 | K C ELECTRICAL AND TRADING
50.00 | 31. Supplying of Direct On Line Starter for upto 7.5 HP, 415 V, 50 Hz, 3 Phase in sheet steel enclosure, etc. (Model : MK1, Make : L& T or Equivalent). | 2.00 | Each | 10.00 | 1900.00 | 3800.00 | 6000.00 | 12000.00 | 1150.00 | 2300.00 | 9500.00 | 19000.00 | 4268.00 | 8536.00 | 1800.00 | 3600.00 | 1500.00 | 3000.00 | 1400.00 | 2800.00 | 2300.00 | S. N ELECTRICALS
51.00 | 32. Supply of Direct On Line -Submersible pump Starter for 5/6 HP, 415 V, 50 Hz, 3 Phase in sheet steel enclosure alongwith ammeter, voltmeter and indicators etc. ( Make : L& T or Equivalent). | 2.00 | Each | 10.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 2850.00 | 5700.00 | 15000.00 | 30000.00 | 4268.00 | 8536.00 | 5000.00 | 10000.00 | 1500.00 | 3000.00 | 2550.00 | 5100.00 | 3000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
52.00 | 33. Supplying of Energy saving Fan suitable for single phase, 230V, 50 Hz of following types :
52.01 | (a) Ceiling Fan 1200 mm, 3 blades, Model : SS-390-50, 5 Star rating Make : Havells or equivalent. | 5.00 | Each | 10.00 | 1800.00 | 9000.00 | 1600.00 | 8000.00 | 2300.00 | 11500.00 | 2800.00 | 14000.00 | 1248.00 | 6240.00 | 2100.00 | 10500.00 | 1600.00 | 8000.00 | 1600.00 | 8000.00 | 6240.00 | K C ELECTRICAL AND TRADING
52.02 | (b) Wall Mounted Fan, 400 mm Model : Swing HS (new), Make : Havells or equivalent. | 10.00 | Each | 10.00 | 1900.00 | 19000.00 | 3500.00 | 35000.00 | 2250.00 | 22500.00 | 1200.00 | 12000.00 | 1868.00 | 18680.00 | 2800.00 | 28000.00 | 1200.00 | 12000.00 | 2500.00 | 25000.00 | 12000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED, Sew Engineering Works Pvt Ltd
53.00 | 34. Supply of LED based rechargeable Emergency Light suitable for single phase, 50 Hz, 5W alongwith 3.7 V, 4.4 Ah rechargeable battery, complete as reqd. (Model : LHEXTEP7HN1R005), Make : Havells or equivalent with approval of E-I-C. | 5.00 | Each | 10.00 | 1400.00 | 7000.00 | 1800.00 | 9000.00 | 2580.00 | 12900.00 | 2000.00 | 10000.00 | 888.00 | 4440.00 | 2000.00 | 10000.00 | 1900.00 | 9500.00 | 1400.00 | 7000.00 | 4440.00 | K C ELECTRICAL AND TRADING
54.00 | 35. Supply of LED torch 3 watt rechargeable , battery capacity 4V, 2000 mAh battery backup 5 Hrs approx. as approved by EIC. | 5.00 | Each | 10.00 | 650.00 | 3250.00 | 500.00 | 2500.00 | 950.00 | 4750.00 | 650.00 | 3250.00 | 468.00 | 2340.00 | 1500.00 | 7500.00 | 1700.00 | 8500.00 | 500.00 | 2500.00 | 2340.00 | K C ELECTRICAL AND TRADING
55.00 | 36. Supply of following batteries (Note: The contractor shall quote the rate for the above item by considering the discount for existing old batteries which shall be taken away by the contractor).
55.01 | (a) Heavy duty Batteries 12 V, 180 Ah 25 plates fully charged for replacement of existing batteries as & when required (Make Exide Express XP-1800 or equivalent with prior approval of E-I-C). | 8.00 | Each | 10.00 | 13500.00 | 108000.00 | 15000.00 | 120000.00 | 12800.00 | 102400.00 | 15500.00 | 124000.00 | 16468.00 | 131744.00 | 11500.00 | 92000.00 | 30000.00 | 240000.00 | 15000.00 | 120000.00 | 92000.00 | SHIV ENTERPRISES
55.02 | (b) 12V, 17 AH sealed rechargeable battery. Make - Exide | 4.00 | Each | 10.00 | 1800.00 | 7200.00 | 3000.00 | 12000.00 | 1890.00 | 7560.00 | 3500.00 | 14000.00 | 2224.00 | 8896.00 | 1900.00 | 7600.00 | 8000.00 | 32000.00 | 1900.00 | 7600.00 | 7200.00 | NATIONAL SAFETY ENGINEERS
55.03 | (c) 12 V, 7.2 AH Amaron make or equivalent | 4.00 | Each | 10.00 | 650.00 | 2600.00 | 900.00 | 3600.00 | 750.00 | 3000.00 | 650.00 | 2600.00 | 1668.00 | 6672.00 | 680.00 | 2720.00 | 7000.00 | 28000.00 | 800.00 | 3200.00 | 2600.00 | NATIONAL SAFETY ENGINEERS, Sew Engineering Works Pvt Ltd
55.04 | (d) 12 V, 65 AH Exide make | 2.00 | Each | 10.00 | 4600.00 | 9200.00 | 5000.00 | 10000.00 | 4580.00 | 9160.00 | 12500.00 | 25000.00 | 10686.00 | 21372.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 5200.00 | 10400.00 | 9160.00 | S. N ELECTRICALS
56.00 | 37. Supply of Insect killer 2x18/20 watt , Make : Avro Model: killer-1000 or equivalent with prior approval of Engineer-In-charge. | 4.00 | Each | 10.00 | 5000.00 | 20000.00 | 3500.00 | 14000.00 | 3000.00 | 12000.00 | 4500.00 | 18000.00 | 3268.00 | 13072.00 | 4000.00 | 16000.00 | 6000.00 | 24000.00 | 2550.00 | 10200.00 | 10200.00 | V Tech Energy
57.00 | 38. Supply of Submersible pumps set of 5HP/3.7 KW, 6 Stage 3 phase 415 Volts 50 Hz, Head 62 Mtr. max. etc. complete as required upto satisfaction of EIC. | 2.00 | Each | 10.00 | 33000.00 | 66000.00 | 25000.00 | 50000.00 | 21500.00 | 43000.00 | 20000.00 | 40000.00 | 18686.00 | 37372.00 | 21000.00 | 42000.00 | 45000.00 | 90000.00 | 22000.00 | 44000.00 | 37372.00 | K C ELECTRICAL AND TRADING
58.00 | 39. Supply of following logbooks for maintaining data as in earlier practice :-
58.01 | (a) Substation Log book (log size)-100 page | 10.00 | Each | 10.00 | 180.00 | 1800.00 | 130.00 | 1300.00 | 200.00 | 2000.00 | 250.00 | 2500.00 | 88.00 | 880.00 | 300.00 | 3000.00 | 500.00 | 5000.00 | 130.00 | 1300.00 | 880.00 | K C ELECTRICAL AND TRADING
58.02 | (b) DG set log book - 100 page | 20.00 | Each | 10.00 | 140.00 | 2800.00 | 90.00 | 1800.00 | 100.00 | 2000.00 | 250.00 | 5000.00 | 88.00 | 1760.00 | 150.00 | 3000.00 | 500.00 | 10000.00 | 90.00 | 1800.00 | 1760.00 | K C ELECTRICAL AND TRADING
58.03 | (c) Lift log book - 100 page | 20.00 | Each | 10.00 | 140.00 | 2800.00 | 160.00 | 3200.00 | 100.00 | 2000.00 | 250.00 | 5000.00 | 88.00 | 1760.00 | 200.00 | 4000.00 | 500.00 | 10000.00 | 180.00 | 3600.00 | 1760.00 | K C ELECTRICAL AND TRADING
58.04 | (d) Pump log book -100 page | 20.00 | Each | 10.00 | 140.00 | 2800.00 | 160.00 | 3200.00 | 100.00 | 2000.00 | 250.00 | 5000.00 | 88.00 | 1760.00 | 210.00 | 4200.00 | 500.00 | 10000.00 | 180.00 | 3600.00 | 1760.00 | K C ELECTRICAL AND TRADING
58.05 | (e) MAS Register - 400 page | 4.00 | Each | 10.00 | 110.00 | 440.00 | 90.00 | 360.00 | 500.00 | 2000.00 | 250.00 | 1000.00 | 175.00 | 700.00 | 250.00 | 1000.00 | 500.00 | 2000.00 | 90.00 | 360.00 | 360.00 | Manish Electricals, V Tech Energy
58.06 | (f) OTA Register - 400 p | 6.00 | Each | 10.00 | 180.00 | 1080.00 | 90.00 | 540.00 | 250.00 | 1500.00 | 250.00 | 1500.00 | 175.00 | 1050.00 | 500.00 | 3000.00 | 500.00 | 3000.00 | 90.00 | 540.00 | 540.00 | Manish Electricals, V Tech Energy
59.00 | 40. Supply of Battery charger 24 V DC, 20 Amps CVCC suitable for 230 V AC, 50 Hz . Make-Mahamai ,MMAX POWER | 2.00 | Each | 10.00 | 8000.00 | 16000.00 | 3000.00 | 6000.00 | 6500.00 | 13000.00 | 250.00 | 500.00 | 4868.00 | 9736.00 | 12000.00 | 24000.00 | 1800.00 | 3600.00 | 1400.00 | 2800.00 | 500.00 | Sew Engineering Works Pvt Ltd
60.00 | 41. Supply of following type DBs
60.01 | (a) SPN 12 way DB with doubledoor, busbar, neutral links, earth bar, etc complete (metal body) | 4.00 | Each | 10.00 | 1500.00 | 6000.00 | 1800.00 | 7200.00 | 950.00 | 3800.00 | 9500.00 | 38000.00 | 6084.00 | 24336.00 | 1200.00 | 4800.00 | 18000.00 | 72000.00 | 950.00 | 3800.00 | 3800.00 | S. N ELECTRICALS, V Tech Energy
60.02 | (b) TP&N, 4 way, Vertical DB double door type fitted with Bus Bars, Neutral links, earth bars etc complete suitable for MCCB as incomer as required. | 2.00 | Each | 10.00 | 4800.00 | 9600.00 | 4200.00 | 8400.00 | 2350.00 | 4700.00 | 10500.00 | 21000.00 | 2248.00 | 4496.00 | 6000.00 | 12000.00 | 9500.00 | 19000.00 | 4500.00 | 9000.00 | 4496.00 | K C ELECTRICAL AND TRADING
61.00 | 42. Supply of following box, cover plates, casing & caping, switch &socket as and when required.
61.01 | (a) 6A, One way switch (Piano type) | 2.00 | Each | 10.00 | 20.00 | 40.00 | 15.00 | 30.00 | 10.00 | 20.00 | 80.00 | 160.00 | 18.00 | 36.00 | 12.00 | 24.00 | 30.00 | 60.00 | 12.00 | 24.00 | 20.00 | S. N ELECTRICALS
61.02 | (b) 6A, 5 Pin Socket (Piano type) | 6.00 | Each | 10.00 | 23.00 | 138.00 | 30.00 | 180.00 | 21.19 | 127.14 | 96.00 | 576.00 | 25.00 | 150.00 | 28.00 | 168.00 | 200.00 | 1200.00 | 22.00 | 132.00 | 127.14 | S. N ELECTRICALS
61.03 | (c) 20A, One way switch (Piano type) | 2.00 | Each | 10.00 | 40.00 | 80.00 | 40.00 | 80.00 | 49.15 | 98.30 | 95.00 | 190.00 | 40.00 | 80.00 | 60.00 | 120.00 | 350.00 | 700.00 | 50.00 | 100.00 | 80.00 | NATIONAL SAFETY ENGINEERS, K C ELECTRICAL AND TRADING, Manish Electricals
61.04 | (d) 20A, 6 Pin Socket with shutter (Piano type) | 2.00 | Each | 10.00 | 45.00 | 90.00 | 120.00 | 240.00 | 49.15 | 98.30 | 115.00 | 230.00 | 68.00 | 136.00 | 65.00 | 130.00 | 400.00 | 800.00 | 50.00 | 100.00 | 90.00 | NATIONAL SAFETY ENGINEERS
61.05 | (e) 10A, One way switch (modular type) | 40.00 | Each | 10.00 | 50.00 | 2000.00 | 40.00 | 1600.00 | 31.36 | 1254.40 | 120.00 | 4800.00 | 88.00 | 3520.00 | 35.00 | 1400.00 | 500.00 | 20000.00 | 35.00 | 1400.00 | 1254.40 | S. N ELECTRICALS
61.06 | (f) 10A, Uni D Socket with shutter(modular type) | 40.00 | Each | 10.00 | 55.00 | 2200.00 | 120.00 | 4800.00 | 55.93 | 2237.20 | 130.00 | 5200.00 | 88.00 | 3520.00 | 76.00 | 3040.00 | 500.00 | 20000.00 | 55.00 | 2200.00 | 2200.00 | NATIONAL SAFETY ENGINEERS, V Tech Energy
61.07 | (g) 20A, One way switch (modular type) | 10.00 | Each | 10.00 | 75.00 | 750.00 | 100.00 | 1000.00 | 61.86 | 618.60 | 150.00 | 1500.00 | 88.00 | 880.00 | 72.00 | 720.00 | 500.00 | 5000.00 | 65.00 | 650.00 | 618.60 | S. N ELECTRICALS
61.08 | (h) 20A, 6 Pin socket with shutter (modular type) | 10.00 | Each | 10.00 | 90.00 | 900.00 | 150.00 | 1500.00 | 104.24 | 1042.40 | 160.00 | 1600.00 | 108.00 | 1080.00 | 130.00 | 1300.00 | 500.00 | 5000.00 | 105.00 | 1050.00 | 900.00 | NATIONAL SAFETY ENGINEERS
61.09 | (i) 6 Module base and cover plate | 40.00 | Each | 10.00 | 150.00 | 6000.00 | 80.00 | 3200.00 | 72.03 | 2881.20 | 150.00 | 6000.00 | 48.00 | 1920.00 | 100.00 | 4000.00 | 150.00 | 6000.00 | 75.00 | 3000.00 | 1920.00 | K C ELECTRICAL AND TRADING
61.10 | (j) 6 Module plastic box | 40.00 | Each | 10.00 | 70.00 | 2800.00 | 80.00 | 3200.00 | 49.15 | 1966.00 | 140.00 | 5600.00 | 40.00 | 1600.00 | 60.00 | 2400.00 | 140.00 | 5600.00 | 50.00 | 2000.00 | 1600.00 | K C ELECTRICAL AND TRADING
61.11 | (k) 25 X 16 mm casing & caping (ISI Marked) | 100.00 | Mtr. | 10.00 | 20.00 | 2000.00 | 30.00 | 3000.00 | 28.12 | 2812.00 | 55.00 | 5500.00 | 25.00 | 2500.00 | 25.00 | 2500.00 | 200.00 | 20000.00 | 27.00 | 2700.00 | 2000.00 | NATIONAL SAFETY ENGINEERS
62.00 | 43. Supply of 70 watt open construction HPSV/MH Ballast | 40.00 | Each | 10.00 | 200.00 | 8000.00 | 1100.00 | 44000.00 | 1250.00 | 50000.00 | 350.00 | 14000.00 | 248.00 | 9920.00 | 500.00 | 20000.00 | 240.00 | 9600.00 | 510.00 | 20400.00 | 8000.00 | NATIONAL SAFETY ENGINEERS
63.00 | 44. Supplying of MCB, Single Pole, 'C' Series, 6-32 Amp, 10 KA.
63.01 | (a) 10 Amp | 24.00 | Each | 10.00 | 150.00 | 3600.00 | 150.00 | 3600.00 | 110.00 | 2640.00 | 125.00 | 3000.00 | 128.00 | 3072.00 | 140.00 | 3360.00 | 250.00 | 6000.00 | 127.00 | 3048.00 | 2640.00 | S. N ELECTRICALS
63.02 | (b) 16 Amp | 24.00 | Each | 10.00 | 150.00 | 3600.00 | 150.00 | 3600.00 | 110.00 | 2640.00 | 225.00 | 5400.00 | 140.00 | 3360.00 | 140.00 | 3360.00 | 280.00 | 6720.00 | 127.00 | 3048.00 | 2640.00 | S. N ELECTRICALS
63.03 | (c ) 20 Amp | 24.00 | Each | 10.00 | 150.00 | 3600.00 | 150.00 | 3600.00 | 110.00 | 2640.00 | 325.00 | 7800.00 | 175.00 | 4200.00 | 140.00 | 3360.00 | 400.00 | 9600.00 | 127.00 | 3048.00 | 2640.00 | S. N ELECTRICALS
63.04 | (d) 32 Amp | 24.00 | Each | 10.00 | 150.00 | 3600.00 | 150.00 | 3600.00 | 110.00 | 2640.00 | 625.00 | 15000.00 | 188.00 | 4512.00 | 140.00 | 3360.00 | 800.00 | 19200.00 | 130.00 | 3120.00 | 2640.00 | S. N ELECTRICALS
64.00 | 45. Supply of Room Heater (Oil) three heat setting, 800/1200/2000 Watt, 9 Fins, adjustable thermostat with coster wheels cable and plugtop complete as required Make - Bajaj Majesty RH9 or equivalent with approval of E-I-C. | 2.00 | Each | 10.00 | 8300.00 | 16600.00 | 12000.00 | 24000.00 | 6000.00 | 12000.00 | 9500.00 | 19000.00 | 2424.00 | 4848.00 | 7000.00 | 14000.00 | 4000.00 | 8000.00 | 6200.00 | 12400.00 | 4848.00 | K C ELECTRICAL AND TRADING
65.00 | 46. Supply of 200 Ltr. Non-metallic barrel suitable for transportation of diesel/oil with prior approval of EIC. | 12.00 | Each | 10.00 | 1200.00 | 14400.00 | 850.00 | 10200.00 | 850.00 | 10200.00 | 350.00 | 4200.00 | 800.00 | 9600.00 | 900.00 | 10800.00 | 3000.00 | 36000.00 | 850.00 | 10200.00 | 4200.00 | Sew Engineering Works Pvt Ltd
66.00 | 47. Supply of XLPE insulated and PVC sheathed , stranded Al. conductor, armoured cable of 1.1 KV grade, conforming to IS : 7098 (part-I) with upto date ammendment etc. as and when required
66.01 | (a) 3x1/2x25 sqmm | 100.00 | Mtr. | 10.00 | 140.00 | 14000.00 | 210.00 | 21000.00 | 125.00 | 12500.00 | 75.00 | 7500.00 | 128.00 | 12800.00 | 130.00 | 13000.00 | 180.00 | 18000.00 | 140.00 | 14000.00 | 7500.00 | Sew Engineering Works Pvt Ltd
66.02 | (b) 3x1/2x50 sqmm | 100.00 | Mtr. | 10.00 | 195.00 | 19500.00 | 300.00 | 30000.00 | 190.00 | 19000.00 | 115.00 | 11500.00 | 148.00 | 14800.00 | 190.00 | 19000.00 | 350.00 | 35000.00 | 175.00 | 17500.00 | 11500.00 | Sew Engineering Works Pvt Ltd
67.00 | 48. Supply of Handle assembly suitable for 125/250A SFUs | 4.00 | Each | 10.00 | 1000.00 | 4000.00 | 300.00 | 1200.00 | 175.00 | 700.00 | 500.00 | 2000.00 | 475.00 | 1900.00 | 280.00 | 1120.00 | 500.00 | 2000.00 | 190.00 | 760.00 | 700.00 | S. N ELECTRICALS
68.00 | 49. Supply of Handle assembly suitable for 32/63/100 A SFUs | 4.00 | Each | 10.00 | 900.00 | 3600.00 | 300.00 | 1200.00 | 175.00 | 700.00 | 500.00 | 2000.00 | 488.00 | 1952.00 | 250.00 | 1000.00 | 450.00 | 1800.00 | 255.00 | 1020.00 | 700.00 | S. N ELECTRICALS
69.00 | 50. Supply of Electrical kettle 1.2 ltr capacity. Make Philips or euivalent with prior approval of Engineer-in-charge. | 4.00 | Each | 10.00 | 2000.00 | 8000.00 | 2000.00 | 8000.00 | 950.00 | 3800.00 | 750.00 | 3000.00 | 488.00 | 1952.00 | 1500.00 | 6000.00 | 1800.00 | 7200.00 | 1500.00 | 6000.00 | 1952.00 | K C ELECTRICAL AND TRADING
70.00 | 51. Supply of following tools (Taparia):
70.01 | (a) Adjustable spanner with soft grip, length 255mm, product no. 1172-S-10 | 5.00 | Each | 10.00 | 400.00 | 2000.00 | 600.00 | 3000.00 | 150.00 | 750.00 | 550.00 | 2750.00 | 688.00 | 3440.00 | 425.00 | 2125.00 | 1200.00 | 6000.00 | 330.00 | 1650.00 | 750.00 | S. N ELECTRICALS
70.02 | (b) Double ended spanner set with contents 6x7,8x9,10x11,12x13,14x15,16x17,18x19,20x22,21x23,24x27,25x28,30x32. product no. DEP-12 | 3.00 | Each | 10.00 | 1500.00 | 4500.00 | 450.00 | 1350.00 | 150.00 | 450.00 | 620.00 | 1860.00 | 886.00 | 2658.00 | 500.00 | 1500.00 | 3500.00 | 10500.00 | 380.00 | 1140.00 | 450.00 | S. N ELECTRICALS
70.03 | (c) Ring spanner set with contents 6x7,8x9,10x11,12x13,14x15,16x17,18x19,20x22,21x23,24x27,25x28,30x32. product no. 1812 | 2.00 | Each | 10.00 | 2000.00 | 4000.00 | 520.00 | 1040.00 | 150.00 | 300.00 | 1290.00 | 2580.00 | 668.00 | 1336.00 | 500.00 | 1000.00 | 3500.00 | 7000.00 | 425.00 | 850.00 | 300.00 | S. N ELECTRICALS
70.04 | (d) Long nose plier insulated with thick CA sleeve Product no. 1430-6/1430-6N | 5.00 | Each | 10.00 | 300.00 | 1500.00 | 250.00 | 1250.00 | 150.00 | 750.00 | 200.00 | 1000.00 | 386.00 | 1930.00 | 150.00 | 750.00 | 800.00 | 4000.00 | 210.00 | 1050.00 | 750.00 | S. N ELECTRICALS, SHIV ENTERPRISES
70.05 | (e) Heavy duty pipe wrench length 900mm,max opening 150mm, suitable for 5" pipe . Product no. HPW 36 | 2.00 | Each | 10.00 | 1300.00 | 2600.00 | 1500.00 | 3000.00 | 150.00 | 300.00 | 3500.00 | 7000.00 | 386.00 | 772.00 | 800.00 | 1600.00 | 1400.00 | 2800.00 | 1280.00 | 2560.00 | 300.00 | S. N ELECTRICALS
70.06 | (f) Heavy duty pipe wrench length 450mm,max opening 73mm, suitable for 2.5" pipe . Product no. HPW 18 | 2.00 | Each | 10.00 | 600.00 | 1200.00 | 1000.00 | 2000.00 | 150.00 | 300.00 | 700.00 | 1400.00 | 386.00 | 772.00 | 700.00 | 1400.00 | 1250.00 | 2500.00 | 450.00 | 900.00 | 300.00 | S. N ELECTRICALS
70.07 | (g) Combination Plier insulated with thick CA sleeve length 185 mm, Product no. 1621-7 | 4.00 | Each | 10.00 | 300.00 | 1200.00 | 200.00 | 800.00 | 150.00 | 600.00 | 200.00 | 800.00 | 486.00 | 1944.00 | 300.00 | 1200.00 | 1250.00 | 5000.00 | 210.00 | 840.00 | 600.00 | S. N ELECTRICALS
71.00 | 52. Supply of industrial first Aid Kit Make : ST JOHNs First Aid Kits Pvt. Ltd. Or equivalent as per direction of EIC. | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 2200.00 | 4400.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 375.00 | 750.00 | 1800.00 | 3600.00 | 3000.00 | 6000.00 | 2100.00 | 4200.00 | 750.00 | K C ELECTRICAL AND TRADING
72.00 | 53. Supply of 50 W 12V Electronic Transformer suitable for Halogen Lamp Make : Phillips ETK 50 | 5.00 | Each | 10.00 | 200.00 | 1000.00 | 200.00 | 1000.00 | 280.00 | 1400.00 | 350.00 | 1750.00 | 275.00 | 1375.00 | 100.00 | 500.00 | 1200.00 | 6000.00 | 125.00 | 625.00 | 500.00 | SHIV ENTERPRISES
73.00 | 54. Supply of Pole mounted Junction Box for road/street lighting suitable for 3 phase and neutral based lighting system for industrial applications complete along with bus bar clamps,insulating pads, nut bolts, clip etc as required. Make : Sintex model noGS JB 2520 (250 X 200 X 150mm) | 25.00 | Each | 10.00 | 600.00 | 15000.00 | 1200.00 | 30000.00 | 700.00 | 17500.00 | 2000.00 | 50000.00 | 686.00 | 17150.00 | 2000.00 | 50000.00 | 1800.00 | 45000.00 | 1990.00 | 49750.00 | 15000.00 | NATIONAL SAFETY ENGINEERS
74.00 | 55. Supply of 3 phase mono block pump set (with motor) of capacity 5 HP, head 36-52m, size 50X40mm suitable for 300-404 volt, 50 HZ. Make : Kirloskar or equivalent as per direction of EIC. | 2.00 | Each | 10.00 | 23000.00 | 46000.00 | 25000.00 | 50000.00 | 18500.00 | 37000.00 | 21000.00 | 42000.00 | 2686.00 | 5372.00 | 25000.00 | 50000.00 | 30000.00 | 60000.00 | 21500.00 | 43000.00 | 5372.00 | K C ELECTRICAL AND TRADING
75.00 | 56. Supply of heat convector with thermal fuse, cable and plugtop complete as required Make - Bajaj RX-8 or equivalent with approval of E-I-C. | 5.00 | Each | 10.00 | 3000.00 | 15000.00 | 2400.00 | 12000.00 | 1800.00 | 9000.00 | 2000.00 | 10000.00 | 2266.00 | 11330.00 | 2200.00 | 11000.00 | 2400.00 | 12000.00 | 2050.00 | 10250.00 | 9000.00 | S. N ELECTRICALS
76.00 | 57. Supply of wall mounted decorated luminaire suitable for 220 V 50 HZ complete with 18 watt CFL etc. as required. Make : Phillips - HWS360 IXPLC/P18 WGR or equivalent with approval of E-I-C. | 10.00 | Each | 10.00 | 1200.00 | 12000.00 | 1800.00 | 18000.00 | 1250.00 | 12500.00 | 1000.00 | 10000.00 | 1866.00 | 18660.00 | 1500.00 | 15000.00 | 550.00 | 5500.00 | 1470.00 | 14700.00 | 5500.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
77.00 | 58. Supply of 1x36 watt fixture with suitable tube light which works on 220V and 50Hz frequency. | 20.00 | Each | 10.00 | 500.00 | 10000.00 | 400.00 | 8000.00 | 125.00 | 2500.00 | 350.00 | 7000.00 | 1286.00 | 25720.00 | 350.00 | 7000.00 | 240.00 | 4800.00 | 275.00 | 5500.00 | 2500.00 | S. N ELECTRICALS
78.00 | 59. Supply of 500 V megger | 1.00 | Each | 10.00 | 3500.00 | 3500.00 | 1550.00 | 1550.00 | 1500.00 | 1500.00 | 2400.00 | 2400.00 | 1868.00 | 1868.00 | 1600.00 | 1600.00 | 3500.00 | 3500.00 | 1500.00 | 1500.00 | 1500.00 | S. N ELECTRICALS, V Tech Energy
79.00 | 60. supply of 3 phase, 4 wire static watt hour (energy) meter. (Make - L&T make model no. EM301 or equivelent) | 2.00 | Each | 10.00 | 6000.00 | 12000.00 | 3000.00 | 6000.00 | 3580.00 | 7160.00 | 2500.00 | 5000.00 | 2666.00 | 5332.00 | 3500.00 | 7000.00 | 3500.00 | 7000.00 | 1700.00 | 3400.00 | 3400.00 | V Tech Energy
80.00 | 61. Supply of industrial type drill machine (Bosch make) | 1.00 | Each | 10.00 | 9000.00 | 9000.00 | 6000.00 | 6000.00 | 1850.00 | 1850.00 | 8500.00 | 8500.00 | 2668.00 | 2668.00 | 7000.00 | 7000.00 | 7000.00 | 7000.00 | 800.00 | 800.00 | 800.00 | V Tech Energy
81.00 | 62. Supply of 750 Watt capacity (2700 RPM) , dosing pump for RO plant which is suitable for 220 V, 50 Hz power supply (Make - Kirlosker's model type CHHOTU STAR or equivelent) | 1.00 | Each | 10.00 | 6500.00 | 6500.00 | 15000.00 | 15000.00 | 2565.00 | 2565.00 | 8250.00 | 8250.00 | 4268.00 | 4268.00 | 4500.00 | 4500.00 | 12000.00 | 12000.00 | 7300.00 | 7300.00 | 2565.00 | S. N ELECTRICALS
82.00 | 63. Supply of SS Hand drier suitable for 240V,I-phase, 50 Hz A.C. supply complete with power cable and plug top etc complete as reqd.( Make : Kopal model 20 R or equivalent with prior approval of EIC). | 10.00 | Each | 10.00 | 10000.00 | 100000.00 | 12000.00 | 120000.00 | 9500.00 | 95000.00 | 3500.00 | 35000.00 | 1686.00 | 16860.00 | 6000.00 | 60000.00 | 1500.00 | 15000.00 | 7900.00 | 79000.00 | 15000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
83.00 | 64. Supply of halogen room heater. ( Make : Bajaj, Usha, V-Guard or equivalent with prior approval of EIC). | 10.00 | Each | 10.00 | 2500.00 | 25000.00 | 1200.00 | 12000.00 | 2050.00 | 20500.00 | 1200.00 | 12000.00 | 1686.00 | 16860.00 | 1800.00 | 18000.00 | 800.00 | 8000.00 | 1000.00 | 10000.00 | 8000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
84.00 | SH-4 (CPWD DSR ITEMS) Miscellaneous Electrical works. Execution of works as per CPWD schedule of work and specification for amount of Rs. 2,00,000/- as and when reqd.
84.01 | 1. Schedule of works 2018. (Note : 1. The rate has been considered as per the DSR 2018 Rates after deducting indirect taxes from the DSR rates (Refer clause 1(e), page SCC-1, special condition of contract of Tender Documents). 2. Agency will quote % above/below in "Rate Column" and accordingly will derive amount in ''Amount Column" against Rs. 2,00,000/-(After deducting indirect taxes) | 1.00 | Job | 10.00 | 190000.00 | 190000.00 | 180000.00 | 180000.00 | 100000.00 | 100000.00 | 170000.00 | 170000.00 | .01 | .01 | 150000.00 | 150000.00 | 168059.00 | 168059.00 | 100000.00 | 100000.00 | .01 | K C ELECTRICAL AND TRADING
| Total in Figures |  |  |  |  | 4158078.00 |  | 4046648.00 |  | 3645954.82 |  | 4086498.00 |  | 3428980.01 |  | 3767987.00 |  | 3981799.00 |  | 3329723.00
Lowest Amount Quoted BY: V Tech Energy(3329723.00)

## BOQ Summary
BOQ Summary Details Tender Title: AAI/NATS/E-E/AMC_EI/2019-20/08 Tender ID: 2020_AAI_44244_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | V Tech Energy | 3329723.00 | L1
| 2 | K C ELECTRICAL AND TRADING | 3428980.01 | L2
| 3 | S. N ELECTRICALS | 3645954.82 | L3
| 4 | SHIV ENTERPRISES | 3767987.00 | L4
| 5 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 3981799.00 | L5
| 6 | Manish Electricals | 4046648.00 | L6
| 7 | Sew Engineering Works Pvt Ltd | 4086498.00 | L7
| 8 | NATIONAL SAFETY ENGINEERS | 4158078.00 | L8