## BoQ1
Government eProcurement System Created By: BIPIN PRAKASH Created Date/Time: 24-Mar-2020 01:36 PM Tender Title: ARMO of Electrical and Mechanical Installations of operational areas including GLF system All Type ACs Water Coolers RO systems at Dehradun Airport for the year 2020 22 Tender ID: 2020_AAI_44342_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-Elect.), AAI, Jolly Grant Airport, Dehradun
Name of Work: ARMO of Electrical & Mechanical Installations of operational areas including GLF system, All Type ACs, Water Coolers/ RO systems at Dehradun Airport for the year 2020-22.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | S. N ELECTRICALS
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and Maintenance of Ground Lighting Facilities, Perimeter Road Lighting, Hight Mast Lighting in operational Area, Electrical & Mechanical Installations at Technical cum ATC Building, Fire Station, Medical Centre & Administrative offices, Switch Rooms, LT Panels, Lifts operation, and other electrical installations i/c CCR, DVOR, GP, Localizer, 2x120 KVA UPS,CISF Barrack, Water treatment plant, Pumps etc. involving operation, repair, maintenance, attending to complaints/fault/break downs and taking rectification action, ensuring serviceability/satisfactory working condition of the system, Preventive maintenance, maintenance of records/documentation etc. as specified, on all days i/c Sundays and Holidays and providing 01 No.Computer Operator in general shift throughout contract period. (i) For 2 Year (24 Months) | 24.00 | month | 0.00 | 343000.00 | 8232000.00 | 350000.00 | 8400000.00 | 384368.00 | 9224832.00 | 8232000.00 | Manish Electricals
2.00 | Digging out the LT Cable trench for fault rectification by removing out the faulty cable upto 1.1KV grade and detection of fault and relaying the cable after rectification in the same trench with new sand cushioning and by using the same bricks as protective covering and refilling the trench complete as required. | 200.00 | Mtr | 0.00 | 200.00 | 40000.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 20000.00 | S. N ELECTRICALS, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | Digging out the GLF Cable trench for fault rectification by removing out the faulty runway cable upto 5 KV grade and detection of fault and relaying the cable after rectification in the same trench with new sand cushioning and by using the same bricks as protective covering and refilling the trench complete as required. | 200.00 | Mtr | 0.00 | 250.00 | 50000.00 | 100.00 | 20000.00 | 100.00 | 20000.00 | 20000.00 | S. N ELECTRICALS, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
4.00 | Supplying & fixing HT straight through cable joint in runway light cable of 5 KV grade, copper conductor single core PVC insulated of sizes 16 Sqmm with cast resin compound including copper ferrulre and other jointing materials complete as per requirement. | 8.00 | Each | 0.00 | 1200.00 | 9600.00 | 1000.00 | 8000.00 | 1200.00 | 9600.00 | 8000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.00 | Painting of Electrical Panels / Distribution boards / Equipments in position with Synthetic enamelled paint by spray/ brush painting in one or more coats including scraping, cleaning of surface painting of required nomenclature etc. as reqd. | 100.00 | Sq Mtr | 0.00 | 210.00 | 21000.00 | 100.00 | 10000.00 | 100.00 | 10000.00 | 10000.00 | S. N ELECTRICALS, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.00 | Hiring of services of welder including welding machine (1 Job = 4 hours). | 4.00 | Job | 0.00 | 1100.00 | 4400.00 | 1000.00 | 4000.00 | 1500.00 | 6000.00 | 4000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.00 | Testing/ servicing of CCR'S by OEM / authorized service agent of OEM / Specialized Agency. (Job does not include supply of spares) (1 Job = 1 visit). | 3.00 | Job | 0.00 | 12000.00 | 36000.00 | 2000.00 | 6000.00 | 9500.00 | 28500.00 | 6000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
8.00 | Painting of Runway fittings, Taxiway fittings, Approach light fittings, and PAPI units with aviation yellow colour synthetic enamel painting of approved brand and manufacture with two or more coats using spary painting including dismantling, shifting of fitting to store and reinstalling after painting and numbering the fittings with black clour paint with letters size not less than 5cm etc complete as required. | 350.00 | Each | 0.00 | 90.00 | 31500.00 | 100.00 | 35000.00 | 150.00 | 52500.00 | 31500.00 | Manish Electricals
9.00 | Replacement of Vinyl Sticker sheet of Guidance signages in operational area suitable for Aviation signage boards. | 5.00 | Sq.Mtr | 0.00 | 5000.00 | 25000.00 | 4000.00 | 20000.00 | 2500.00 | 12500.00 | 12500.00 | S. N ELECTRICALS
10.00 | Supply of 150W, 6.6A bi-pin halogen lamp with inbuilt holder suitable for Thorn Make Runway Edge Light 'El-EAH' & approach light 'El-AT' fittings (Similar to OSRAM catno.64361 HLX-Z 150 model : PK30D / Philips ) (Make- As per approved list) | 100.00 | Each | 0.00 | 900.00 | 90000.00 | 850.00 | 85000.00 | 850.00 | 85000.00 | 85000.00 | S. N ELECTRICALS, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
11.00 | Supply of 200W, 6.6A bi-pin halogen lamp with inbuilt holder suitable for Thorn Make PAPI UNIT PU3L (Similar to OSRAM catno.64361 HLX-Z 150 model : PK30D / Philips ) (Make- As per approved list) | 50.00 | Each | 0.00 | 980.00 | 49000.00 | 850.00 | 42500.00 | 850.00 | 42500.00 | 42500.00 | S. N ELECTRICALS, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
12.00 | Supply of 180o Yellow colour filter Suitable for for runway fittings of Thorn make model "EL-EAH" | 10.00 | Each | 0.00 | 3000.00 | 30000.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
13.00 | Supply of 180o Green colour filter Suitable for for runway fittings of Thorn make model "EL-EAH" | 10.00 | Each | 0.00 | 3000.00 | 30000.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
14.00 | Supply of 180o Red colour filter Suitable for for runway fittings of Thorn make model "EL-EAH" | 10.00 | Each | 0.00 | 3000.00 | 30000.00 | 1000.00 | 10000.00 | 1500.00 | 15000.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
15.00 | Supply of 360o Blue lens filter for Thorn make Taxi way fittings od model "EL-EAM" | 10.00 | Each | 0.00 | 2000.00 | 20000.00 | 100.00 | 1000.00 | 1500.00 | 15000.00 | 1000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
16.00 | Supply of 45W, 6.6A bi-pin halogen lamp suitable for Thorn make taxiway/turning pad/apron edge light 'EL-EAM' fittings (Make- As per approved list ) | 25.00 | Each | 0.00 | 550.00 | 13750.00 | 100.00 | 2500.00 | 480.00 | 12000.00 | 2500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
17.00 | Supply of Bi-Pin Holders suitable for the halogen lamps of Thorn make PAPI 'PU3L' & Taxiway Light 'EL-EAM' fittings.(Make- As per approved list ) | 10.00 | Each | 0.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 195.00 | 1950.00 | 1950.00 | S. N ELECTRICALS
18.00 | Supply of following capacity 5 KV grade 50 Hz individual series to series Isolating Transformer encapsulated in polyster resin finally moulded with neoprene type rubber as specified in particular specification etc as required. (Make- As per approved list )
18.01 | 200 Watt 6.6 A/ 6.6 A (PAPI) | 10.00 | Each | 0.00 | 5000.00 | 50000.00 | 3400.00 | 34000.00 | 3500.00 | 35000.00 | 34000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
18.02 | 150 Watt 6.6 A/ 6.6 A | 10.00 | Each | 0.00 | 4800.00 | 48000.00 | 3300.00 | 33000.00 | 3450.00 | 34500.00 | 33000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
18.03 | 45 Watt, 20 A / 6.6 A (Turning Pad) | 10.00 | Each | 0.00 | 3500.00 | 35000.00 | 2000.00 | 20000.00 | 2450.00 | 24500.00 | 20000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
19.00 | Supply of following capacity fuses in 4 KVA, 7.5 KVA, 30 KVA CCR Panels as specified in particular specification etc as required.(Make- GE/As per approved list )
19.01 | Fuse 100 Amps 600 V 200KA (as per sample) | 10.00 | Each | 0.00 | 480.00 | 4800.00 | 1000.00 | 10000.00 | 20.00 | 200.00 | 200.00 | S. N ELECTRICALS
19.02 | Fuse 50 Amps 600 V 200KA (as per sample) | 10.00 | Each | 0.00 | 400.00 | 4000.00 | 800.00 | 8000.00 | 20.00 | 200.00 | 200.00 | S. N ELECTRICALS
19.03 | Fuse 30 Amps 600 V 200KA (as per sample) | 20.00 | Each | 0.00 | 300.00 | 6000.00 | 500.00 | 10000.00 | 20.00 | 400.00 | 400.00 | S. N ELECTRICALS
19.04 | Fuse 2 Amps 500 V 0.70 W (as per sample) | 10.00 | Each | 0.00 | 70.00 | 700.00 | 300.00 | 3000.00 | 20.00 | 200.00 | 200.00 | S. N ELECTRICALS
20.00 | Supply of neoprene gasket suitable for covering C.I. Transforrmer housing boxes 6 nos. holes complete as required. | 200.00 | Each | 0.00 | 160.00 | 32000.00 | 75.00 | 15000.00 | 150.00 | 30000.00 | 15000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
21.00 | Supply of one no Digita Megger(500V DC-1000V DC) Battery Operated/portable complete as required | 1.00 | Each | 0.00 | 12000.00 | 12000.00 | 7000.00 | 7000.00 | 2800.00 | 2800.00 | 2800.00 | S. N ELECTRICALS
22.00 | Supply of HT insulated tape (heavy duty) suitable for 5KV grade Cable | 8.00 | Each | 0.00 | 300.00 | 2400.00 | 450.00 | 3600.00 | 250.00 | 2000.00 | 2000.00 | S. N ELECTRICALS
23.00 | Supply of 5KV grade plug and receptacle.
23.01 | 16 Sqmm | 15.00 | Each | 0.00 | 400.00 | 6000.00 | 330.00 | 4950.00 | 400.00 | 6000.00 | 4950.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
23.02 | 6 Sqmm | 15.00 | Each | 0.00 | 450.00 | 6750.00 | 330.00 | 4950.00 | 400.00 | 6000.00 | 4950.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
24.00 | Servicing/ maintenance of 2X400 KVA, 3 Phase Volina make Servo Stabilizers, 3X10 KVA 3 Phase, 7.5 KVA 3 Phase and 8 KVA single Phase Servokon make Servo Stablizer by OEM / authorized service agent of OEM / Specialized Agency. (Job does not include supply of spares) (1 Job = 1 visit). | 3.00 | Job | 0.00 | 10000.00 | 30000.00 | 2000.00 | 6000.00 | 5000.00 | 15000.00 | 6000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
25.00 | Daily operation, maintenance, servicing, cleaning of Split ACs, Water Coolers, RO systems installations at Terminal building, Technical cum ATC Building, Fire Station, Medical Centre & Administrative offices, DVOR, Glide Path, Localizer, CISF Barrack etc. and other related areas by deploying 3 nos. skilled manpower as per special conditions of contract. (i) For 2 Years (24 Months) | 24.00 | month | 0.00 | 70000.00 | 1680000.00 | 75000.00 | 1800000.00 | 79190.00 | 1900560.00 | 1680000.00 | Manish Electricals
26.00 | Annual comprehensive maintenance of 1.5 TR / 2 TR capacity window / split type A/C units of different makes i/c replacement of defective compressor by same company compressor and defective components with original spares i/c repair & maintenance of voltage stabilizer etc as reqd. (i) For 1st Year (12 Months) | 49.00 | Each | 0.00 | 5000.00 | 245000.00 | 1000.00 | 49000.00 | 1500.00 | 73500.00 | 49000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
27.00 | Annual comprehensive maintenance of 1.5 TR / 2 TR capacity window / split type A/C units of different makes i/c replacement of defective compressor by same company compressor and defective components with original spares i/c repair & maintenance of voltage stabilizer etc as reqd. (ii) For 2nd year (12 Months) | 49.00 | Each | 0.00 | 6000.00 | 294000.00 | 1000.00 | 49000.00 | 1500.00 | 73500.00 | 49000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
28.00 | Annual comprehensive maintenance of 3.0 TR / 3.5 TR / 4.5TR capacity Tower/ Cassette type A/C units of different makes i/c replacement of defective compressor by same company compressor and defective components with original spares etc as reqd. (i) For 1st Year (12 Months) | 37.00 | Each | 0.00 | 9000.00 | 333000.00 | 2000.00 | 74000.00 | 1500.00 | 55500.00 | 55500.00 | S. N ELECTRICALS
29.00 | Annual comprehensive maintenance of 3.0 TR / 3.5 TR / 4.5TR capacity Tower/ Cassette type A/C units of different makes i/c replacement of defective compressor by same company compressor and defective components with original spares etc as reqd. (ii) For 2nd year (12 Months) | 37.00 | Each | 0.00 | 9000.00 | 333000.00 | 3000.00 | 111000.00 | 1500.00 | 55500.00 | 55500.00 | S. N ELECTRICALS
30.00 | Annual comprehensive maintenance of various capacity water coolers of different makes i/c replacement of defective compressor and defective components with original spares i/c repair & maintenance of etc as reqd. (i) For 1st Year (12 Months) | 16.00 | Each | 0.00 | 6000.00 | 96000.00 | 2000.00 | 32000.00 | 4500.00 | 72000.00 | 32000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
31.00 | Annual comprehensive maintenance of various capacity water coolers of different makes i/c replacement of defective compressor and defective components with original spares i/c repair & maintenance of etc as reqd. (ii) For 2nd year (12 Months) | 16.00 | Each | 0.00 | 5000.00 | 80000.00 | 2000.00 | 32000.00 | 5500.00 | 88000.00 | 32000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
32.00 | Dismantling and reinstallation, testing & commissioning of all type of Split/ tower/ cassette type of 1.5/2/3/3.5 TR AC's i/c refilling of refrigerant gas, fixing of existing suction, discharge & drain pipe including providing the foundation/angle iron frame etc as required. | 12.00 | Job | 0.00 | 4000.00 | 48000.00 | 1000.00 | 12000.00 | 1200.00 | 14400.00 | 12000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
33.00 | SITC of refrigerant piping including insulation for suction & discharge line of 1.5/2.0/3.0/3.5 TR, split/cassette/tower type AC units & FR PVC insulated Cu conductor cable required for connection between indoor & outdoor units and protective covering. | 50.00 | Meter | 0.00 | 700.00 | 35000.00 | 1200.00 | 60000.00 | 850.00 | 42500.00 | 35000.00 | Manish Electricals
34.00 | Supply & fixing of 25mm Drain pipe from indoor unit of Air conditioner. | 50.00 | Meter | 0.00 | 90.00 | 4500.00 | 100.00 | 5000.00 | 80.00 | 4000.00 | 4000.00 | S. N ELECTRICALS
35.00 | Supply & fixing of UPVC trunk of size 100 X 50mm size, 2mm thickness on surface (MK/precision make) | 50.00 | Meter | 0.00 | 400.00 | 20000.00 | 200.00 | 10000.00 | 500.00 | 25000.00 | 10000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
36.00 | Annual Comprehensive Maintenance of reverse Osmosis system of ION Exchange make (Zero B Commercial) of capacity 25 LPH i/c preventive maintenance as recommended by OEM and providing and replacement of all defective parts as and when required to maintain serviceability. ( For a period of 12 months) (i) For 1st Year (12 Months) | 15.00 | Each | 0.00 | 5000.00 | 75000.00 | 2000.00 | 30000.00 | 5500.00 | 82500.00 | 30000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
37.00 | Annual Comprehensive Maintenance of reverse Osmosis system of ION Exchange make (Zero B Commercial) of capacity 25 LPH i/c preventive maintenance as recommended by OEM and providing and replacement of all defective parts as and when required to maintain serviceability. ( For a period of 12 months) (ii) For 2nd year (12 Months) | 15.00 | Each | 0.00 | 5500.00 | 82500.00 | 2000.00 | 30000.00 | 6500.00 | 97500.00 | 30000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
38.00 | Annual Comprehensive Maintenance of reverse Osmosis system Model (Zero B Commercial & aquafresh) of capacity 50 LPH i/c preventive maintenance as recommended by OEM and providing and replacement of all defective parts as and when required to maintain serviceability.( For a period of 12 months) (i) For 1st Year (12 Months) | 6.00 | Each | 0.00 | 6000.00 | 36000.00 | 4000.00 | 24000.00 | 1500.00 | 9000.00 | 9000.00 | S. N ELECTRICALS
39.00 | Annual Comprehensive Maintenance of reverse Osmosis system Model (Zero B Commercial & aquafresh) of capacity 50 LPH i/c preventive maintenance as recommended by OEM and providing and replacement of all defective parts as and when required to maintain serviceability.( For a period of 12 months) (ii) For 2nd year (12 Months) | 6.00 | Each | 0.00 | 6500.00 | 39000.00 | 4000.00 | 24000.00 | 1500.00 | 9000.00 | 9000.00 | S. N ELECTRICALS
40.00 | Testing of water samples collected from various areas of Dehradun Airport at Government approved loboratory and submission of analysis report. | 14.00 | Job | 0.00 | 2500.00 | 35000.00 | 1000.00 | 14000.00 | 3500.00 | 49000.00 | 14000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
41.00 | DSR Items (%rate above or below) All items covered under CPWD, DSR electrical 2018 upto an amount of Rs. 2,12,100/-. (Including Operational area charges, Labour Cess etc.) Note: 1. Rate quoted shall be inclusive of any taxes, duties, Cess, fee, royalty charges etc. levied under any statute but exclusive of GST, PF, ESIC & Bonus. Goods & Services Tax (GST) shall be paid to the contractor for any taxable supply/ services/works against a valid tax invoice as per terms and conditions of the contract. 2. Being execution of work in operational area of airport, nos. of working hours might be restricted, accordingly contractor has to quote considering all these factors as per SCC. On this account, any claim for extra payment shall not be entertained. | 1.00 | Job | 0.00 | 160000.00 | 160000.00 | 200000.00 | 200000.00 | 169680.00 | 169680.00 | 160000.00 | Manish Electricals
| Total in Figures |  |  |  |  | 12550900.00 |  | 11402500.00 |  | 12563322.00
Lowest Amount Quoted BY: JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED(11402500.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of Electrical and Mechanical Installations of operational areas including GLF system All Type ACs Water Coolers RO systems at Dehradun Airport for the year 2020 22 Tender ID: 2020_AAI_44342_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 11402500.00 | L1
| 2 | Manish Electricals | 12550900.00 | L2
| 3 | S. N ELECTRICALS | 12563322.00 | L3