## BoQ1
Government eProcurement System Created By: S.THIRVMAL MURUGAN Created Date/Time: 18-Mar-2020 12:36 PM Tender Title: Illumination of watch tower for operational area by solar system at Vijayawada Airport Tender ID: 2020_AAI_44365_1
Tender Inviting Authority: Joint General Manager [Engg-E], AAI, Vijayawada Airport
Name of Work: Illumination of watch tower for operational area by solar system at Vijayawada Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | switchgearcontrols
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SITC of Solar Polycrystalline PV modules of 1kWp rating (04 modules and power rating not less than 250Wp and Efficiency not less than 15% at STC) Conforming to relevant IEC Codes with up to date amendments i/c. providing and fixing G.I Mounting structure with suitable Foundation, interlinking cables, combiner box, cable (20mtrs.) from combiner box to hybrid inverter and other releavant accessories etc complete as required. | 14.00 | Job |  | 31000.00 | 434000.00 | 434000.00 | switchgearcontrols
2.00 | SITC of 1500 VA Hybrid Inverter suitable for charging from 230V AC supply and solar panels including charge controller and 2 No. 12V, 150AH DC Tubular Solar battery, housing/stand for the complete assembly and other accessories etc complete as required | 14.00 | Job |  | 36600.00 | 512400.00 | 512400.00 | switchgearcontrols
3.00 | Supply of 1500 VA Hybrid Inverter for charging from 230AC Supply and Solar panels including charge controller etc as required | 2.00 | Each |  | 9000.00 | 18000.00 | 18000.00 | switchgearcontrols
4.00 | Supply of 12V, 150AH DC Tubular Solar battery etc as required | 4.00 | Each |  | 14000.00 | 56000.00 | 56000.00 | switchgearcontrols
5.00 | Supply of 400 mm sweep Wall mounted fans suitable to operate on 230 volts,50 Hz AC supply etc.as required (make orient wall 80 wind Pro. High Velocity or Equivalent model ) | 18.00 | Each |  | 2100.00 | 37800.00 | 37800.00 | switchgearcontrols
6.00 | Supply of 10W T5 Aluminium Extruded LED INTEGRATED BATTEN suitable to operate on 230 Volts , 50Hz AC Supply etc as required (make C&S model no. NAKSHATRA/10W series or Equivalent) | 32.00 | Each |  | 320.00 | 10240.00 | 10240.00 | switchgearcontrols
7.00 | Installation ,Testing, Commissioning of wall bracket /ceiling fittings/wall fan of all sizes and shapes containing upto two GLS/CFL/LED lamps per fitting, complete with all accessories including connections etc. as required. | 44.00 | Job |  | 75.00 | 3300.00 | 3300.00 | switchgearcontrols
8.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc. With charcoal/ coke and salt as required. | 14.00 | Job |  | 4600.00 | 64400.00 | 64400.00 | switchgearcontrols
9.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Single poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 14.00 | Each |  | 225.00 | 3150.00 | 3150.00 | switchgearcontrols
10.00 | Supplying and fixing 5 amps to 32 amps rating, 240/415 volts, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of Double poles in the existing MCB DB complete with connections, testing and commissioning etc. as required. | 14.00 | Each |  | 600.00 | 8400.00 | 8400.00 | switchgearcontrols
11.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) a) 6 way. double door | 14.00 | Each |  | 1675.00 | 23450.00 | 23450.00 | switchgearcontrols
12.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required. GROUP-B | 44.00 | Point |  | 710.00 | 31240.00 | 31240.00 | switchgearcontrols
13.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 70.00 | Mtrs. |  | 155.00 | 10850.00 | 10850.00 | switchgearcontrols
14.00 | Supplying and fixing suitable size GI box with modular plate and cover in front on surface or in recess, including providing and fixing 3 pin 5/6 amps modular socket outlet and 5/6 amps modular switch, connection etc. as required. | 28.00 | Each |  | 390.00 | 10920.00 | 10920.00 | switchgearcontrols
15.00 | Providing and laying earth connection from earth electrode with 4.00 mm dia copper wire in 15 mm dia G.I. pipe from earth electrode including connection with copper thimble excavation and re-filling as required. | 65.00 | Mtrs. |  | 210.00 | 13650.00 | 13650.00 | switchgearcontrols
16.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing as required. | 100.00 | Mtrs. |  | 45.00 | 4500.00 | 4500.00 | switchgearcontrols
17.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required. (a) 25 mm | 200.00 | Mtrs. |  | 74.00 | 14800.00 | 14800.00 | switchgearcontrols
| Total in Figures |  |  |  |  | 1257100.00
Lowest Amount Quoted BY: switchgearcontrols(1257100.00)

## BOQ Summary
BOQ Summary Details Tender Title: Illumination of watch tower for operational area by solar system at Vijayawada Airport Tender ID: 2020_AAI_44365_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | switchgearcontrols | 1257100.00 | L1