## BoQ1
Government eProcurement System Created By: Dinesh Patel Created Date/Time: 18-Mar-2020 11:09 AM Tender Title: Replacement of old ACs, Water Coolers, Water Purifiers etc. in ATC Tower, Nav-Aids Units at CCSI Airport, Lucknow Tender ID: 2020_AAI_44493_1
Tender Inviting Authority: Asst. Gen. Manager (Engg.-Elect.)
Name of Work: Replacement of old ACs, Water Coolers, Water Purifiers etc. in ATC Tower, Nav Aids Units,at CCSI Airport Lucknow.
Contract No: 2020_AAI_44493_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Manish Electricals |  | Industrial Traders |  | ANOOP REFRIGERATION |  | KRISHNA REFRIGERATION |  | VOLKS ENERGIE PVT LTD |  | SRSINDIA TECHNICALS PVT LTD |  | M/S COOLING CENTER
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 2.0 TR capacity minimum 3 star rating, Inverter Technology based Split Airconditioners fitted with Twin Rotary compressors, 100% Copper & Evaporator coil, operating on refrigerant R-32 including providing Copper refrigerant piping and interconnection cable between outdoor and indoor units as supplied by manufacturer with the ac unit, complete with cordless Remote control (having features of cool/fan/dry and ON/OFF, temperature setting & display etc)and thermostatic temperature control range as per manufacturer recommendation, suitable for Single Phase, 230V, 50Hz Power supply, filtering, air circulation and auto air swing, digital LED display having Auto Restart, drainage pipe as supplied by the manufacturer along with the unit. | 17.00 | Each | 50222.00 | 45000.00 | 765000.00 | 40000.00 | 680000.00 | 37968.75 | 645468.75 | 42150.00 | 716550.00 | 40000.00 | 680000.00 | 51696.00 | 878832.00 | 39700.00 | 674900.00 | 645468.75 | ANOOP REFRIGERATION
2.00 | Supply, installation, testing and commissioning of single phase Operated Reverse Osmosis Based Water Purifier of 50 Lt.phr capacity preferably with UV Lamp having arsenic and fluoride removal capability, having auto cut feature with Thin film Composite Membrane, High Pressure Pump, pre filter vessels, micron filter, membrane housing have a pore size of 0.0001 micron, conforming for Water Purification system with Ultraviolet Disinfection, suitable to Single Phase, 230V, 50Hz supply, complete with necessary inlet and outlet pipes with the water cooler as required i/c drilling the hole on the wall, plastering etc as required. | 4.00 | Each | 41085.00 | 45500.00 | 182000.00 | 37500.00 | 150000.00 | 25169.49 | 100677.96 | 52510.00 | 210040.00 | 33000.00 | 132000.00 | 43510.00 | 174040.00 | 29500.00 | 118000.00 | 100677.96 | ANOOP REFRIGERATION
3.00 | Supply of Stainless Steel Body Water Coolers of 40 Ltr. phr Cooling Capacity, Storage Capacity of 80 Ltr. suitable for Single Phase 230V, 50Hz, Power Supply, Eco Friendly, Water Tank made of Stainless steel, Water Tank Cover and lid bottom sheet of Aluminium or High Impact Polystyrene thickness 1.5 mm, Cooler Cabinet sheet material Stainless Steel with thickness 0.8 mm, complete with necessary inlet and outlet pipes as required. | 4.00 | Each | 23538.00 | 42000.00 | 168000.00 | 29500.00 | 118000.00 | 31850.85 | 127403.40 | 25800.00 | 103200.00 | 27000.00 | 108000.00 | 29696.00 | 118784.00 | 29000.00 | 116000.00 | 103200.00 | KRISHNA REFRIGERATION
4.00 | Installation, testing and commissioning of Various TR capacity wall mounting type Split AC of the specifications as given in Item No.1, which includes copper pipe/cable connections of indoor and outdoor units, including providing suitable MS stands painted as per technical specifications for outdoor units, fixing of cordless remote control stand, drilling the hole on the wall, plastering etc. as required. | 17.00 | Each | 1548.00 | 2500.00 | 42500.00 | 1300.00 | 22100.00 | 1000.00 | 17000.00 | 1200.00 | 20400.00 | 2000.00 | 34000.00 | 1889.00 | 32113.00 | 2500.00 | 42500.00 | 17000.00 | ANOOP REFRIGERATION
5.00 | Installation, testing and commissioning of Water Coolers of the specifications as given in the Item No.4, including proper electrical and pipe connections without leakage including providing suitable MS stand as per site requirement. | 4.00 | Each | 2128.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 1000.00 | 4000.00 | 1800.00 | 7200.00 | 3000.00 | 12000.00 | 5152.00 | 20608.00 | 2000.00 | 8000.00 | 4000.00 | ANOOP REFRIGERATION, Industrial Traders
6.00 | Extra for supply and fixing copper refrigerant piping for 2 TR Split AC with insulation and flexible power cable up to outdoor unit beyond the quantity supplied by manufacturer along with the unit etc. as required. | 50.00 | Metre | 808.00 | 650.00 | 32500.00 | 490.00 | 24500.00 | 450.00 | 22500.00 | 900.00 | 45000.00 | 620.00 | 31000.00 | 1300.00 | 65000.00 | 1600.00 | 80000.00 | 22500.00 | ANOOP REFRIGERATION
| Total in Figures |  |  |  |  | 1198000.00 |  | 998600.00 |  | 917050.11 |  | 1102390.00 |  | 997000.00 |  | 1289377.00 |  | 1039400.00
Lowest Amount Quoted BY: ANOOP REFRIGERATION(917050.11)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of old ACs, Water Coolers, Water Purifiers etc. in ATC Tower, Nav-Aids Units at CCSI Airport, Lucknow Tender ID: 2020_AAI_44493_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ANOOP REFRIGERATION | 917050.11 | L1
| 2 | VOLKS ENERGIE PVT LTD | 997000.00 | L2
| 3 | Industrial Traders | 998600.00 | L3
| 4 | M/S COOLING CENTER | 1039400.00 | L4
| 5 | KRISHNA REFRIGERATION | 1102390.00 | L5
| 6 | Manish Electricals | 1198000.00 | L6
| 7 | SRSINDIA TECHNICALS PVT LTD | 1289377.00 | L7