## BoQ1
Government eProcurement System Created By: Mahesh kumar Talasila Created Date/Time: 30-Mar-2020 11:07 AM Tender Title: Operation and Maintenance of Fire Fighting Fire Alarm and Detection System Sprinkler System at Pune Airport During 2020 to 2022 Tender ID: 2020_AAI_44558_1
Tender Inviting Authority: Asst. General Manager (Engg-Elect)
Name of Work: Operation and Maintenance of Fire Fighting, Fire Alarm & Detection System, Sprinkler System at Pune Airport During 2020-2022.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING |  | S. N ELECTRICALS |  | Voltas Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Job contract for operation & maintenance of fire fighting system, fire detection & alarm system, sprinkler system includes its electrical control panels, all associated pumps(Main pump/Jockey Pump/Engine Pump/Sprinkler Pump), valves installed at Terminal Building, Admin Building, Power House, Pump House, Cargo and all other ancilliary Buildings by deputing manpower, tools & tackles to attend the compliants/faults/breakdown by taking rectification action, minor spare parts to ensure serviceability/satisfactory working of complete fire fighting system, fire alarm system & detection systemby providing minimum 08 Nos. manpower round the clock in three shift including sundays & holidays, carrying out preventive maintenance, maintenance of records, documentations etc. as per tender conditions. | 24.00 | MON |  | 250000.00 | 6000000.00 | 172841.78 | 4148202.72 | 177000.00 | 4248000.00 | 4148202.72 | S. N ELECTRICALS
2.00 | Identification and arresting of fire hydrant / wet riser pipe line water leakages for achieving auto function of fire hydrant system. Job includes proper planning, identification of strategic locations, digging of approx. 4x4x4 ft in paved area with concrete breakers/ compressors and manual means as per site requirement etc, fire pipe cutting/welding to arrest the water leakages, anti-corrosive treatment, restoring the services, refilling and proper finishing and all associated works. It should be ensured that no other services like cables, drain lines are affected during the work. Contractor should make good the damages immediately in case of any accidental damage. | 4.00 | JOB |  | 20000.00 | 80000.00 | 5000.00 | 20000.00 | 69950.00 | 279800.00 | 20000.00 | S. N ELECTRICALS
3.00 | Refilling of following type fire extinguishers as and when required inclusive of transportation complete as required.
3.01 | CO2 Type-2 Kg | 10.00 | Each |  | 200.00 | 2000.00 | 500.00 | 5000.00 | 445.00 | 4450.00 | 2000.00 | CENTRE TAP ENGINEERING
3.02 | CO2 Type-4.5 Kg | 50.00 | Each |  | 300.00 | 15000.00 | 500.00 | 25000.00 | 550.00 | 27500.00 | 15000.00 | CENTRE TAP ENGINEERING
3.03 | CO2 Type-6.5 Kg | 25.00 | Each |  | 350.00 | 8750.00 | 500.00 | 12500.00 | 890.00 | 22250.00 | 8750.00 | CENTRE TAP ENGINEERING
3.04 | CO2 Type-22.5 Kg | 10.00 | Each |  | 500.00 | 5000.00 | 2500.00 | 25000.00 | 1670.00 | 16700.00 | 5000.00 | CENTRE TAP ENGINEERING
3.05 | Water CO2-9 Ltr | 25.00 | Each |  | 200.00 | 5000.00 | 500.00 | 12500.00 | 400.00 | 10000.00 | 5000.00 | CENTRE TAP ENGINEERING
3.06 | ABC Type- 2 Kg | 10.00 | Each |  | 150.00 | 1500.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 1500.00 | CENTRE TAP ENGINEERING
3.07 | ABC Type-5 Kg | 60.00 | Each |  | 250.00 | 15000.00 | 500.00 | 30000.00 | 650.00 | 39000.00 | 15000.00 | CENTRE TAP ENGINEERING
3.08 | DCP Type-5 Kg | 15.00 | Each |  | 125.00 | 1875.00 | 500.00 | 7500.00 | 525.00 | 7875.00 | 1875.00 | CENTRE TAP ENGINEERING
3.09 | DCP Type-10 Kg | 35.00 | Each |  | 350.00 | 12250.00 | 500.00 | 17500.00 | 900.00 | 31500.00 | 12250.00 | CENTRE TAP ENGINEERING
3.10 | Mechanical Foam-9 Ltr | 50.00 | Each |  | 150.00 | 7500.00 | 500.00 | 25000.00 | 650.00 | 32500.00 | 7500.00 | CENTRE TAP ENGINEERING
3.11 | Mechanical Foam-50 Ltr | 10.00 | Each |  | 500.00 | 5000.00 | 2500.00 | 25000.00 | 1500.00 | 15000.00 | 5000.00 | CENTRE TAP ENGINEERING
4.00 | Hydraulic pressure testing of following fire extinguishers as per guidelines and submission of certificate for each extinguishers etc. Complete as required.
4.01 | CO2 Type-2 Kg | 10.00 | Each |  | 100.00 | 1000.00 | 500.00 | 5000.00 | 400.00 | 4000.00 | 1000.00 | CENTRE TAP ENGINEERING
4.02 | CO2 Type-4.5 Kg | 50.00 | Each |  | 200.00 | 10000.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 10000.00 | CENTRE TAP ENGINEERING
4.03 | CO2 Type-6.5 Kg | 25.00 | Each |  | 225.00 | 5625.00 | 500.00 | 12500.00 | 450.00 | 11250.00 | 5625.00 | CENTRE TAP ENGINEERING
4.04 | CO2 Type-22.5 Kg | 10.00 | Each |  | 250.00 | 2500.00 | 1200.00 | 12000.00 | 900.00 | 9000.00 | 2500.00 | CENTRE TAP ENGINEERING
4.05 | Water CO2-9 Ltr | 25.00 | Each |  | 250.00 | 6250.00 | 500.00 | 12500.00 | 250.00 | 6250.00 | 6250.00 | Voltas Ltd, CENTRE TAP ENGINEERING
4.06 | ABC Type- 2 Kg | 10.00 | Each |  | 100.00 | 1000.00 | 500.00 | 5000.00 | 250.00 | 2500.00 | 1000.00 | CENTRE TAP ENGINEERING
4.07 | ABC Type-5 Kg | 60.00 | Each |  | 200.00 | 12000.00 | 500.00 | 30000.00 | 250.00 | 15000.00 | 12000.00 | CENTRE TAP ENGINEERING
4.08 | DCP Type-5 Kg | 15.00 | Each |  | 225.00 | 3375.00 | 500.00 | 7500.00 | 250.00 | 3750.00 | 3375.00 | CENTRE TAP ENGINEERING
4.09 | DCP Type-10 Kg | 35.00 | Each |  | 250.00 | 8750.00 | 500.00 | 17500.00 | 250.00 | 8750.00 | 8750.00 | Voltas Ltd, CENTRE TAP ENGINEERING
4.10 | Mechanical Foam-9 Ltr | 50.00 | Each |  | 250.00 | 12500.00 | 500.00 | 25000.00 | 250.00 | 12500.00 | 12500.00 | Voltas Ltd, CENTRE TAP ENGINEERING
4.11 | Mechanical Foam-50 Ltr | 10.00 | Each |  | 250.00 | 2500.00 | 1200.00 | 12000.00 | 500.00 | 5000.00 | 2500.00 | CENTRE TAP ENGINEERING
5.00 | Painting of fire extinguishers with two coats spray paints of approved shade and brand including cleaning, scrubbing, applying primer coating before painting, etc. complete with sticker as required. | 300.00 | Each |  | 100.00 | 30000.00 | 250.00 | 75000.00 | 300.00 | 90000.00 | 30000.00 | CENTRE TAP ENGINEERING
6.00 | Painting of fire fighting equipments with two coats spray paints of approved shade and brand including cleaning, scrubbing, applying primer coating before painting etc. complete as required. | 200.00 | Sqm |  | 100.00 | 20000.00 | 500.00 | 100000.00 | 400.00 | 80000.00 | 20000.00 | CENTRE TAP ENGINEERING
7.00 | Supply, Installation,Testing and commissioning of Fire fighting system materials and Equipments as and when required.
7.01 | Supply, Installation, Testing and Commissioning of Addressable Manual Pull station suitable for semi flush mounting with double gang outlet box. Manual pull station shall be connected with two wire to SLC loop of Fire Control Panel. Cover shall be clear operating instruction and the word "Fire" appearing on the front complete as required and shall be UL listed. | 10.00 | Each |  | 3000.00 | 30000.00 | 750.00 | 7500.00 | 5800.00 | 58000.00 | 7500.00 | S. N ELECTRICALS
7.02 | Supply,Erection,Testing, Commissioning of Electronic Hooter giving output of 65db maximum or 5 db above any noise tends to exist. The hooter shall be of wall mounted type. The rate shall include for mounting accessories, etc., complete. As per IS 2189. | 5.00 | Each |  | 3500.00 | 17500.00 | 750.00 | 3750.00 | 6150.00 | 30750.00 | 3750.00 | S. N ELECTRICALS
7.03 | Supply, Installation, Testing and commissioning of intelligent photoelectric smoke detectors with unique optical sensing chamber visible LED's fully coated circuit boards with RF / transient protection addressable by device suitable for 2 wire loop connection complete with plug into common separate base box and housing constructed of GI as required. | 10.00 | Each |  | 3500.00 | 35000.00 | 1250.00 | 12500.00 | 3850.00 | 38500.00 | 12500.00 | S. N ELECTRICALS
7.04 | Supply and fixing of 20mm dia, 30mtrs. length first aid 2ply rubber lined dunlop hose pipe with shut off nozzle conforming to IS884-19 etc. complete as required. | 10.00 | Each |  | 5000.00 | 50000.00 | 8500.00 | 85000.00 | 9300.00 | 93000.00 | 50000.00 | CENTRE TAP ENGINEERING
7.05 | Supply, Installation, Testing and commissioning of Nozzle & branch of suitable for existing fire fighting system etc. Complete as required. | 30.00 | Each |  | 2500.00 | 75000.00 | 2500.00 | 75000.00 | 2825.00 | 84750.00 | 75000.00 | S. N ELECTRICALS, CENTRE TAP ENGINEERING
7.06 | Supply, Installation, Testing and commissioning of HooneyWell ZX1Se Loop Card suitable for existing fire control panel etc. Complete as required. | 2.00 | Each |  | 25000.00 | 50000.00 | 5000.00 | 10000.00 | 22000.00 | 44000.00 | 10000.00 | S. N ELECTRICALS
7.07 | Supply, Installation, Testing and commissioning of Edward EST 3 Loop Card suitable for existing fire control panel etc. Complete as required. | 2.00 | Each |  | 45000.00 | 90000.00 | 5000.00 | 10000.00 | 26000.00 | 52000.00 | 10000.00 | S. N ELECTRICALS
7.08 | Supply, Installation, Testing and commissioning of Edward EST 3 CPU mother board card suitable for existing fire control panel etc. Complete as required. | 2.00 | Each |  | 65000.00 | 130000.00 | 5000.00 | 10000.00 | 100000.00 | 200000.00 | 10000.00 | S. N ELECTRICALS
7.09 | Supply, Installation, Testing and commissioning of Honeywell ZX1Se CPU mother board card suitable for existing fire control panel etc. Complete as required. | 2.00 | Each |  | 85000.00 | 170000.00 | 5000.00 | 10000.00 | 110000.00 | 220000.00 | 10000.00 | S. N ELECTRICALS
7.10 | Supply, Installation, Testing and commissioning of HooneyWell ZX1Se Power Card suitable for existing fire control panel etc. Complete as required. | 2.00 | Each |  | 30000.00 | 60000.00 | 5000.00 | 10000.00 | 25400.00 | 50800.00 | 10000.00 | S. N ELECTRICALS
7.11 | Supply, Installation, Testing and commissioning of Edward EST 3 Power Card suitable for existing fire control panel etc. Complete as required. | 2.00 | Each |  | 45000.00 | 90000.00 | 5000.00 | 10000.00 | 26300.00 | 52600.00 | 10000.00 | S. N ELECTRICALS
7.12 | Supply, Installation, Testing and commissioning of 12 Volt DC battery suitable for existing HoneyWell ZX1Se / Edward EST 3 fire control panel etc. Complete as required. | 15.00 | Each |  | 1500.00 | 22500.00 | 750.00 | 11250.00 | 1900.00 | 28500.00 | 11250.00 | S. N ELECTRICALS
7.13 | Supply, Installation, Testing and commissioning of hydrant valve suitable for 63 mm line existing fire hydrant system etc. Complete as required. | 15.00 | Each |  | 8000.00 | 120000.00 | 3500.00 | 52500.00 | 7000.00 | 105000.00 | 52500.00 | S. N ELECTRICALS
7.14 | Supply, Installation, Testing and commissioning of fire fighting sprinkler nozzle concealed type suitable to fit on the the existing sprinkler line etc. Complete as required. | 50.00 | Each |  | 300.00 | 15000.00 | 150.00 | 7500.00 | 800.00 | 40000.00 | 7500.00 | S. N ELECTRICALS
7.15 | Replacement of existing fire hydrant cabinet by new cabinet including supply & Installation, testing and commissioning of Stainless steel cabinet at different location & sizes etc. complete as per actual site requirements. | 10.00 | Each |  | 10000.00 | 100000.00 | 150.00 | 1500.00 | 3400.00 | 34000.00 | 1500.00 | S. N ELECTRICALS
7.16 | Replacement of existing wet riser cabinet by new cabinet including supply & Installation, testing and commissioning of Stainless steel cabinet at different location & sizes etc. complete as per actual site requirements. | 5.00 | Each |  | 15000.00 | 75000.00 | 150.00 | 750.00 | 3400.00 | 17000.00 | 750.00 | S. N ELECTRICALS
7.17 | Supply, Installation, Testing and commissioning of control module for MCP/Hooter suitable for the existing system etc. Complete as required. | 10.00 | Each |  | 4500.00 | 45000.00 | 150.00 | 1500.00 | 4750.00 | 47500.00 | 1500.00 | S. N ELECTRICALS
8.00 | Supply, installation, testing and commissioning of following fire extinguishers of cylindfrical body made from mild steel confirming to IS:513:latest revision & with squeeze grip type valve as a controllable discharge mechanism, braided PVC/rubber discharge hose with metallic nozzle, locking arrangement, bracket with two screw and sleeve Conforming to IS: 15683:2006 and ISI marked & submission of following certificates. 1) A certified copy of BIS: 15683:2006 license certificate of the manufacturer. 2) Cast analysis certificate for cylinder material, 3) Hydraulic Test certificate of the extinguishers, 4) Testing certificate as per IS. 4) Guarantee certificate .
8.01 | CO2 Type 2 Kg | 5.00 | Each |  | 2500.00 | 12500.00 | 1000.00 | 5000.00 | 3900.00 | 19500.00 | 5000.00 | S. N ELECTRICALS
8.02 | CO2 Type 4.5 Kg | 10.00 | Each |  | 4500.00 | 45000.00 | 1500.00 | 15000.00 | 5150.00 | 51500.00 | 15000.00 | S. N ELECTRICALS
8.03 | CO2 Type 6.5 Kg | 10.00 | Each |  | 6500.00 | 65000.00 | 1500.00 | 15000.00 | 8000.00 | 80000.00 | 15000.00 | S. N ELECTRICALS
8.04 | DCP Type 10 Kg | 10.00 | Each |  | 4500.00 | 45000.00 | 1500.00 | 15000.00 | 3600.00 | 36000.00 | 15000.00 | S. N ELECTRICALS
8.05 | ABC Type 5 Kg | 5.00 | Each |  | 3000.00 | 15000.00 | 1500.00 | 7500.00 | 2000.00 | 10000.00 | 7500.00 | S. N ELECTRICALS
9.00 | Renewal & submission of NOC of all fire fighting systems, sprinklers systems, alarm & detection systems etc. of Terminal Building, Admin Building, Hanger Building, Power House & other allied buildings at Pune Airport from Fire Department Pune etc. Complete as required & as per the direction of Engineer-In-Charge. (1 Job considered for One Year NOC) | 2.00 | JOB |  | 50000.00 | 100000.00 | 40000.00 | 80000.00 | 25000.00 | 50000.00 | 50000.00 | Voltas Ltd
| Total in Figures |  |  |  |  | 7731875.00 |  | 5153452.72 |  | 6449975.00
Lowest Amount Quoted BY: S. N ELECTRICALS(5153452.72)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance of Fire Fighting Fire Alarm and Detection System Sprinkler System at Pune Airport During 2020 to 2022 Tender ID: 2020_AAI_44558_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S. N ELECTRICALS | 5153452.72 | L1
| 2 | Voltas Ltd | 6449975.00 | L2
| 3 | CENTRE TAP ENGINEERING | 7731875.00 | L3