## BoQ1
Government eProcurement System Created By: VENKATACHALAPATHI A T Created Date/Time: 24-Apr-2020 01:35 PM Tender Title: Replacement of Transformers, DG Set, LT panels at Old Power House and CCR hall Power House at Chennai Airport. SH Replacement of DG sets at CCR hall Power House. Tender ID: 2020_AAI_44583_1
Tender Inviting Authority: JGM Engg(Elect)-I,AMED,Operational Offices,Chennai Airport,Chennai.
Name of Work: Replacement of Transformers, DG Set, LT panels at Old Power House and CCR hall Power House at Chennai Airport. SH: Replacement of DG sets at CCR hall Power House.
Contract No:AAI/CHE/AMED-VII/2019-20/11 e-Tender Id : 2020_AAI_44583_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | SARASWAT ENGINEERING SERVICES |  | vk sam engineering |  | ECS ENGINEERING PVT LTD |  | DOSHI ELECTRIC ENGG. CO. |  | Mona Generator Services Pvt. Ltd. |  | saishakthielectric Pvt Ltd |  | EXCEL TECHNICAL SERVICES PVT. LTD.
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: Supply of DG Sets and Bus duct
1.01 | Supply of 625 KVA Prime Duty DG Set comprising of following:
1.02 | 01 No. Alternator suitable for generating 500 KW/625 KVA at 415 V, 3 Phase, 50 Hz, 0.8 PF, 1500 RPM, Self Ventilated, Self Regulated and Self Excited with Brushless Type conforming to IS 4722 as specified and as required.
1.03 | 01 No. Multi Cylinder, 4 Stroke, Turbo Charged Diesel Engine developing suitable BHP at 1500 RPM suitable for above Alternator and Complete with all accessories such as Base Frame, AVM Pads, Batteries 2 Nos. [12 Volts, 25 Plates 180 AH], All Types of Filters, Coupling, Starter, Residential Silencer, Lightning arrestor spike, Automatic Electronic Speed Governing Mechanism, Compact Radiator etc. and conforming to relevant IS with up to date amendments as specified and as required.
1.04 | 1 No. Daily Service Fuel Tank of Capacity 990 Liters., fabricated out of 3 mm thick M.S sheet complete with all standard accessories and fuel piping between fuel tank and diesel engine with MS class 'C' pipes of suitable dia. complete with valves level indications and accessories as required as per specification.
1.05 | Customised Compact Modular Type Tested Acoustic Enclosure suitable for the above DG Set to limit the Noise Level to 75 dB (A) at a distance of 1 Mtr., from the Enclosure, made out of CRCA sheet of 1.6 mm thickness for the Outside Cover and Doors and for Inside Cover with 0.8 mm thick perforated GI Sheet, Louvers of thickness 1.6 mm CRCA Sheet for Fresh Air and Hot Air, Powder coated after Seven Tank Process, Neoprene Rubber Gasket and heavy duty SS locks with SS Hinges, Acoustic made up of high quality rock wool/glass wool/ mineral wool as per OEM design, Base Frame of suitable Size Channel, provision to accommodate Batteries, and Support for Silencers, provided with 4 Nos. LED Tube light Fittings of 2 feet and Switches as required.
1.06 | Exhaust gas piping for above DG of suitable dia.welded black MS, B class pipe confirming to IS:3589 cut to required lengths and installed with necessary bends, supports and clamps, bellows, residential silenser, insulation of exhaust system with mineral wool/Rockwool 50 mm thick, wire mesh & aluminium cladding of minimum thickness of 0.6 mm etc., as required as per specifications.
1.07 | G.S.S square/rectangular ducting for dissipation of hot air along with gaskets, elbows, supports, canvass with zip for cleaning of duct etc as required
1.08 | ALL AS ABOVE 1.01 To 1.07 | 2.00 | Job |  | 3449999.00 | 6899998.00 | 4120000.00 | 8240000.00 | 3750000.00 | 7500000.00 | 4200000.00 | 8400000.00 | 3850000.00 | 7700000.00 | 3671668.50 | 7343337.00 | 4340898.00 | 8681796.00 | 4065000.00 | 8130000.00 | 6899998.00 | CHENNAI ENGINEERING SERVICES
2.00 | Supply of 400 Amps, 25 KA for 1 sec, Indoor IP 54 Sandwich Type Bus Trucking complying to IEC 61439-1 & 6 including fabrication, for use on 3 Phase 4 Wire, 415 Volts, 50 Hz AC supply with metal clad enclosure made of 1.6mm thick GI Sheet duly powder coated in convenient sections complete with 4 Nos. of Aluminium Bus Bars with Class F Insulation, necessary joints, elbow joints & expansion joints and bends, adopter box and Copper Flexible for Joints, with integral earth, suspenders, angle iron bracket, fasteners, connecting to earthing system etc., as required.
2.01 | Straight Run Bus Duct | 40.00 | Metre |  | 5999.00 | 239960.00 | 6360.00 | 254400.00 | 7205.00 | 288200.00 | 7100.00 | 284000.00 | 4675.00 | 187000.00 | 4400.00 | 176000.00 | 2457.00 | 98280.00 | 6220.00 | 248800.00 | 98280.00 | saishakthielectric Pvt Ltd
2.02 | 90 Degree Bend | 10.00 | Nos |  | 1499.00 | 14990.00 | 1040.00 | 10400.00 | 100.00 | 1000.00 | 8300.00 | 83000.00 | 800.00 | 8000.00 | 5100.00 | 51000.00 | 837.00 | 8370.00 | 960.00 | 9600.00 | 1000.00 | vk sam engineering
2.03 | Phase Cross Over | 4.00 | Nos |  | 11999.00 | 47996.00 | 1810.00 | 7240.00 | 250.00 | 1000.00 | 1000.00 | 4000.00 | 1200.00 | 4800.00 | 5650.00 | 22600.00 | 1422.00 | 5688.00 | 1675.00 | 6700.00 | 1000.00 | vk sam engineering
2.04 | End Flange | 4.00 | Nos |  | 1699.00 | 6796.00 | 1300.00 | 5200.00 | 300.00 | 1200.00 | 6700.00 | 26800.00 | 1000.00 | 4000.00 | 3050.00 | 12200.00 | 1044.00 | 4176.00 | 1200.00 | 4800.00 | 1200.00 | vk sam engineering
2.05 | Adopter Box | 4.00 | Nos |  | 3299.00 | 13196.00 | 3810.00 | 15240.00 | 300.00 | 1200.00 | 4000.00 | 16000.00 | 2800.00 | 11200.00 | 2650.00 | 10600.00 | 3078.00 | 12312.00 | 3525.00 | 14100.00 | 1200.00 | vk sam engineering
2.06 | Copper Flexibles for End Terminiation | 4.00 | Set |  | 11799.00 | 47196.00 | 15090.00 | 60360.00 | 6550.00 | 26200.00 | 4000.00 | 16000.00 | 9000.00 | 36000.00 | 9150.00 | 36600.00 | 6840.00 | 27360.00 | 13390.00 | 53560.00 | 16000.00 | ECS ENGINEERING PVT LTD
3.00 | Supply of 630 Amps, 50 KA for 1 sec, Indoor IP 54 Sandwich Type Bus Trucking complying to IEC 61439-1 & 6 including fabrication, for use on 3 Phase 4 Wire, 415 Volts, 50 Hz AC supply with metal clad enclosure made of 1.6mm thick GI Sheet duly powder coated in convenient sections complete with 4 Nos. of Aluminium Bus Bars with Class F Insulation, necessary joints, elbow joints & expansion joints and bends, adopter box and Copper Flexible for Joints, with integral earth, suspenders, angle iron bracket, fasteners, connecting to earthing system etc., as required.
3.01 | Straight Run Bus Duct | 40.00 | Metre |  | 5999.00 | 239960.00 | 8550.00 | 342000.00 | 8305.00 | 332200.00 | 8200.00 | 328000.00 | 6300.00 | 252000.00 | 5850.00 | 234000.00 | 3366.00 | 134640.00 | 8360.00 | 334400.00 | 134640.00 | saishakthielectric Pvt Ltd
3.02 | 90 Degree Bend | 10.00 | Nos |  | 1099.00 | 10990.00 | 1450.00 | 14500.00 | 150.00 | 1500.00 | 10800.00 | 108000.00 | 1000.00 | 10000.00 | 6900.00 | 69000.00 | 1161.00 | 11610.00 | 1340.00 | 13400.00 | 1500.00 | vk sam engineering
3.03 | Phase Cross Over | 4.00 | Nos |  | 7499.00 | 29996.00 | 2530.00 | 10120.00 | 300.00 | 1200.00 | 600.00 | 2400.00 | 1700.00 | 6800.00 | 7650.00 | 30600.00 | 2034.00 | 8136.00 | 2340.00 | 9360.00 | 1200.00 | vk sam engineering
3.04 | End Flange | 4.00 | Nos |  | 1399.00 | 5596.00 | 1810.00 | 7240.00 | 350.00 | 1400.00 | 7800.00 | 31200.00 | 1200.00 | 4800.00 | 4200.00 | 16800.00 | 1458.00 | 5832.00 | 1670.00 | 6680.00 | 1400.00 | vk sam engineering
3.05 | Adopter Box | 4.00 | Nos |  | 3299.00 | 13196.00 | 3810.00 | 15240.00 | 350.00 | 1400.00 | 6000.00 | 24000.00 | 2800.00 | 11200.00 | 2650.00 | 10600.00 | 3078.00 | 12312.00 | 3525.00 | 14100.00 | 1400.00 | vk sam engineering
3.06 | Copper Flexibles for End Terminiation | 4.00 | Set |  | 11799.00 | 47196.00 | 18420.00 | 73680.00 | 7550.00 | 30200.00 | 6000.00 | 24000.00 | 12000.00 | 48000.00 | 11150.00 | 44600.00 | 6840.00 | 27360.00 | 16350.00 | 65400.00 | 24000.00 | ECS ENGINEERING PVT LTD
4.00 | Supply of 1250 Amps, 50 KA for 1 sec, Indoor IP 54 Sandwich Type Bus Trucking complying to IEC 61439-1 & 6 including fabrication, for use on 3 Phase 4 Wire, 415 Volts, 50 Hz AC supply with metal clad enclosure made of 1.6mm thick GI Sheet duly powder coated in convenient sections complete with 4 Nos. of Aluminium Bus Bars with Class F Insulation, necessary joints, elbow joints & expansion joints and bends, adopter box and Copper Flexible for Joints, with integral earth, suspenders, angle iron bracket, fasteners, connecting to earthing system etc., as required.
4.01 | Straight Run Bus Duct | 115.00 | Metre |  | 8469.00 | 973935.00 | 11050.00 | 1270750.00 | 12650.00 | 1454750.00 | 11000.00 | 1265000.00 | 8150.00 | 937250.00 | 7600.00 | 874000.00 | 4563.00 | 524745.00 | 10820.00 | 1244300.00 | 524745.00 | saishakthielectric Pvt Ltd
4.02 | 90 Degree Bend | 30.00 | Nos |  | 3839.00 | 115170.00 | 1910.00 | 57300.00 | 150.00 | 4500.00 | 13000.00 | 390000.00 | 1400.00 | 42000.00 | 8950.00 | 268500.00 | 1548.00 | 46440.00 | 1770.00 | 53100.00 | 4500.00 | vk sam engineering
4.03 | Phase Cross Over | 6.00 | Nos |  | 13999.00 | 83994.00 | 3350.00 | 20100.00 | 350.00 | 2100.00 | 700.00 | 4200.00 | 2400.00 | 14400.00 | 9950.00 | 59700.00 | 2691.00 | 16146.00 | 3100.00 | 18600.00 | 2100.00 | vk sam engineering
4.04 | End Flange | 12.00 | Nos |  | 6169.00 | 74028.00 | 2390.00 | 28680.00 | 350.00 | 4200.00 | 11000.00 | 132000.00 | 1800.00 | 21600.00 | 5450.00 | 65400.00 | 1926.00 | 23112.00 | 2210.00 | 26520.00 | 4200.00 | vk sam engineering
4.05 | Adopter Box | 12.00 | Nos |  | 9999.00 | 119988.00 | 3810.00 | 45720.00 | 350.00 | 4200.00 | 7000.00 | 84000.00 | 3100.00 | 37200.00 | 3300.00 | 39600.00 | 3078.00 | 36936.00 | 3525.00 | 42300.00 | 4200.00 | vk sam engineering
4.06 | Copper Flexibles for End Terminiation | 12.00 | Set |  | 23999.00 | 287988.00 | 30180.00 | 362160.00 | 11020.00 | 132240.00 | 12000.00 | 144000.00 | 19000.00 | 228000.00 | 18300.00 | 219600.00 | 13608.00 | 163296.00 | 26800.00 | 321600.00 | 132240.00 | vk sam engineering
5.00 | Supply of 4000 Amps, 65 KA for 1 sec, Indoor IP 54 Sandwich Type Bus Trucking complying to IEC 61439-1 & 6 including fabrication, for use on 3 Phase 4 Wire, 415 Volts, 50 Hz AC supply with metal clad enclosure made of 1.6mm thick GI Sheet duly powder coated in convenient sections complete with 4 Nos. of Aluminium Bus Bars with Class F Insulation, necessary joints, elbow joints & expansion joints and bends, adopter box and Copper Flexible for Joints, with integral earth, suspenders, angle iron bracket, fasteners, connecting to earthing system etc.,as required.
5.01 | Straight Run Bus Duct | 30.00 | Metre |  | 27099.00 | 812970.00 | 32210.00 | 966300.00 | 43450.00 | 1303500.00 | 27000.00 | 810000.00 | 23500.00 | 705000.00 | 22100.00 | 663000.00 | 13284.00 | 398520.00 | 31550.00 | 946500.00 | 398520.00 | saishakthielectric Pvt Ltd
5.02 | 90 Degree Bend | 10.00 | Nos |  | 9679.00 | 96790.00 | 5870.00 | 58700.00 | 250.00 | 2500.00 | 24000.00 | 240000.00 | 4500.00 | 45000.00 | 26200.00 | 262000.00 | 4725.00 | 47250.00 | 5425.00 | 54250.00 | 2500.00 | vk sam engineering
5.03 | Phase Cross Over | 2.00 | Nos |  | 19999.00 | 39998.00 | 10270.00 | 20540.00 | 550.00 | 1100.00 | 1100.00 | 2200.00 | 7500.00 | 15000.00 | 29300.00 | 58600.00 | 8271.00 | 16542.00 | 9500.00 | 19000.00 | 1100.00 | vk sam engineering
5.04 | End Flange | 4.00 | Nos |  | 17499.00 | 69996.00 | 13200.00 | 52800.00 | 600.00 | 2400.00 | 24000.00 | 96000.00 | 9500.00 | 38000.00 | 20250.00 | 81000.00 | 10638.00 | 42552.00 | 12200.00 | 48800.00 | 2400.00 | vk sam engineering
5.05 | Adopter Box | 4.00 | Nos |  | 12499.00 | 49996.00 | 8770.00 | 35080.00 | 750.00 | 3000.00 | 12000.00 | 48000.00 | 6800.00 | 27200.00 | 6100.00 | 24400.00 | 7065.00 | 28260.00 | 8110.00 | 32440.00 | 3000.00 | vk sam engineering
5.06 | Copper Flexibles for End Terminiation | 4.00 | Set |  | 93999.00 | 375996.00 | 120720.00 | 482880.00 | 29625.00 | 118500.00 | 40000.00 | 160000.00 | 70000.00 | 280000.00 | 69950.00 | 279800.00 | 45765.00 | 183060.00 | 107125.00 | 428500.00 | 118500.00 | vk sam engineering
6.00 | SH-II:Installation, Testing, commissioning of DG Sets and Bus duct
7.00 | Installation, Testing and Commissioning of 625 KVA Prime Duty DG Set mentioned at SH-I/ SOQ item no. 1, including laying of fuel pipe lines, fixing of exaust piping, GSS duct, demolition of existing RCC platform ( approx. 4.4 m x 1.8 m x 0.3 m) and provision of suitable RCC foundation, Load test for the DG sets at site arranged with suitable load equipment etc. complete all as required. | 2.00 | Job |  | 224999.00 | 449998.00 | 57500.00 | 115000.00 | 270000.00 | 540000.00 | 75000.00 | 150000.00 | 350000.00 | 700000.00 | 150000.00 | 300000.00 | 18000.00 | 36000.00 | 550000.00 | 1100000.00 | 36000.00 | saishakthielectric Pvt Ltd
8.00 | Installation, Testing and Commissioning of 415V, 1600 Amps Bus bar rating, AMF Panel at CCR Hall Power House including shifting and transporting of AMF Panel stacked at Old Airport Power House to CCR hall Power House etc. as required and complete all as required. (AMF Panel shall be supplied by AAI) | 2.00 | Job |  | 29999.00 | 59998.00 | 23000.00 | 46000.00 | 7500.00 | 15000.00 | 25000.00 | 50000.00 | 25000.00 | 50000.00 | 20000.00 | 40000.00 | 9000.00 | 18000.00 | 22000.00 | 44000.00 | 15000.00 | vk sam engineering
9.00 | Installation, Testing and Commissioning of 400/630 Amps, Indoor sandwich types Bus truncking system (Straight run bus Duct, Bend, Adopter Box, Phase crosss over and Copper flexibles for joints) mentioned at SH-I / SOQ Item no.2/3 complete all as required. | 110.00 | Mtr |  | 299.00 | 32890.00 | 1840.00 | 202400.00 | 1000.00 | 110000.00 | 800.00 | 88000.00 | 500.00 | 55000.00 | 150.00 | 16500.00 | 1539.00 | 169290.00 | 1500.00 | 165000.00 | 16500.00 | Mona Generator Services Pvt. Ltd.
10.00 | Installation, Testing and Commissioning of 1250 Amps, 50KA S.C (RMS), Indoor sandwich types Bus truncking system (Straight run bus Duct, Bend, Adopter Box, Phase crosss over and Copper flexibles for joints) mentioned at SH-I / SOQ Item no.4 complete all as required. | 150.00 | Mtr |  | 499.00 | 74850.00 | 2300.00 | 345000.00 | 1500.00 | 225000.00 | 1100.00 | 165000.00 | 600.00 | 90000.00 | 200.00 | 30000.00 | 2250.00 | 337500.00 | 2050.00 | 307500.00 | 30000.00 | Mona Generator Services Pvt. Ltd.
11.00 | Installation, Testing and Commissioning of 4000 Amps, 65KA S.C (RMS), Indoor sandwich types Bus truncking system (Straight run bus Duct, Bend, Adopter Box, Phase cross over and Copper flexibles for joints) mentioned at SH-I / SOQ Item no.5 complete all as required. | 40.00 | Mtr |  | 1699.00 | 67960.00 | 3450.00 | 138000.00 | 2500.00 | 100000.00 | 1800.00 | 72000.00 | 1000.00 | 40000.00 | 100.00 | 4000.00 | 4500.00 | 180000.00 | 2800.00 | 112000.00 | 4000.00 | Mona Generator Services Pvt. Ltd.
12.00 | Dismantling of existing 320 KVA DG Set including AMF Panel from CCR Hall Power House including dismantling of fuel piping, exhaust piping, fuel tank, control cabling, Power cabling, earthing etc. and Handing Over of dismantled materials to AAI Store etc complete as required and as per the instructions of the Engineer-In-Charge. | 2.00 | Job |  | 19999.00 | 39998.00 | 18400.00 | 36800.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 25000.00 | 50000.00 | 40000.00 | 80000.00 | 18000.00 | 36000.00 | 350000.00 | 700000.00 | 20000.00 | ECS ENGINEERING PVT LTD
13.00 | Dismantling of acoustic room enclosure ( Aprroximate 6.8m x 9.6 m x 3 mtrs ) of 2 x 320 KVA DG Set installed at CCR Hall Power house including dismanantling of supports,frames,disconnecting the electrical connections, exhaust fan, light etc and Handing Over of dismantled materials to AAI Store etc complete as required and as per the instructions of the Engineer-In-Charge. | 1.00 | Job |  | 19999.00 | 19999.00 | 9200.00 | 9200.00 | 15000.00 | 15000.00 | 15000.00 | 15000.00 | 30000.00 | 30000.00 | 90000.00 | 90000.00 | 27000.00 | 27000.00 | 150000.00 | 150000.00 | 9200.00 | SARASWAT ENGINEERING SERVICES
14.00 | Supply and fixing of nominal 2.0 mm thick (Width 1 Mtr) PVC synthetic, electric insulated mats conforming to IS 15652-2006 having Dielectric strength of 30 KV, no adverse effect of mineral oil, high insulation resistance (Minimum 1,00,000 M Ω on wet condition with 5 KV meggar) etc., as required. | 10.00 | Sq.Mtr. |  | 899.00 | 8990.00 | 1240.00 | 12400.00 | 1100.00 | 11000.00 | 1200.00 | 12000.00 | 1700.00 | 17000.00 | 800.00 | 8000.00 | 1800.00 | 18000.00 | 2200.00 | 22000.00 | 8000.00 | Mona Generator Services Pvt. Ltd.
15.00 | SH-III: LAYING OF CABLES AND ASSOSIATED WORKS
16.00 | Laying of one number multi core 1.5 sq.mm flexible stranded copper cable for control cabling in existing masonry open duct as required.(Control Cable shall be supplied by AAI) | 30.00 | Mtr. |  | 9.00 | 270.00 | 40.00 | 1200.00 | 20.00 | 600.00 | 40.00 | 1200.00 | 40.00 | 1200.00 | 70.00 | 2100.00 | 45.00 | 1350.00 | 28.00 | 840.00 | 270.00 | CHENNAI ENGINEERING SERVICES
17.00 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 metre below ground as strip earth electrode, including cutting the floor,excavation of soft soil and refilling , connection/ terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 Sets of brass nut bolt & spring washer spaced at 50mm) | 60.00 | Mtr. |  | 999.00 | 59940.00 | 760.00 | 45600.00 | 1010.00 | 60600.00 | 825.00 | 49500.00 | 700.00 | 42000.00 | 600.00 | 36000.00 | 1026.00 | 61560.00 | 895.00 | 53700.00 | 36000.00 | Mona Generator Services Pvt. Ltd.
18.00 | Supplying and laying 25 mm X 5 mm G.I strip at 0.50 metre below ground as strip earth electrode,including cutting the floor, excavation of soft soil and refilling connection/ terminating with G.I. nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 Sets of G.I. nut bolt & spring washer spaced at 50mm) | 160.00 | Mtr. |  | 149.00 | 23840.00 | 150.00 | 24000.00 | 220.00 | 35200.00 | 182.00 | 29120.00 | 800.00 | 128000.00 | 150.00 | 24000.00 | 225.00 | 36000.00 | 310.00 | 49600.00 | 23840.00 | CHENNAI ENGINEERING SERVICES
19.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required | 30.00 | Mtr. |  | 979.00 | 29370.00 | 1110.00 | 33300.00 | 1300.00 | 39000.00 | 1100.00 | 33000.00 | 1100.00 | 33000.00 | 940.00 | 28200.00 | 1260.00 | 37800.00 | 1085.00 | 32550.00 | 28200.00 | Mona Generator Services Pvt. Ltd.
20.00 | Providing and fixing 25 mm X 5 mm G.I. strip in 40 mm dia G.I. pipe from earth electrode including connection with G.I. nut, bolt, spring, washer excavation and re-filling etc. as required | 30.00 | Mtr. |  | 399.00 | 11970.00 | 530.00 | 15900.00 | 510.00 | 15300.00 | 460.00 | 13800.00 | 400.00 | 12000.00 | 360.00 | 10800.00 | 459.00 | 13770.00 | 490.00 | 14700.00 | 10800.00 | Mona Generator Services Pvt. Ltd.
21.00 | Providing of earth pits using Copper bonded Earth electrode of 17.2 mm dia, 3 Metres installed vertically as per the site conditions, earth enhancing compound of 25 kgs. along with required masonary chamber, CI Cover including excavation & refilling etc as required. | 10.00 | Nos. |  | 9999.00 | 99990.00 | 11470.00 | 114700.00 | 8100.00 | 81000.00 | 5000.00 | 50000.00 | 7000.00 | 70000.00 | 5000.00 | 50000.00 | 7461.00 | 74610.00 | 17000.00 | 170000.00 | 50000.00 | ECS ENGINEERING PVT LTD, Mona Generator Services Pvt. Ltd.
| Total in Figures |  |  |  |  | 11697978.00 |  | 13596130.00 |  | 12517390.00 |  | 13471420.00 |  | 11992650.00 |  | 11673137.00 |  | 11611611.00 |  | 15068700.00
Lowest Amount Quoted BY: saishakthielectric Pvt Ltd(11611611.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Transformers, DG Set, LT panels at Old Power House and CCR hall Power House at Chennai Airport. SH Replacement of DG sets at CCR hall Power House. Tender ID: 2020_AAI_44583_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | saishakthielectric Pvt Ltd | 11611611.00 | L1
| 2 | Mona Generator Services Pvt. Ltd. | 11673137.00 | L2
| 3 | CHENNAI ENGINEERING SERVICES | 11697978.00 | L3
| 4 | DOSHI ELECTRIC ENGG. CO. | 11992650.00 | L4
| 5 | vk sam engineering | 12517390.00 | L5
| 6 | ECS ENGINEERING PVT LTD | 13471420.00 | L6
| 7 | SARASWAT ENGINEERING SERVICES | 13596130.00 | L7
| 8 | EXCEL TECHNICAL SERVICES PVT. LTD. | 15068700.00 | L8