## BoQ1
Government eProcurement System Created By: Manoj Nayak Created Date/Time: 05-May-2020 11:04 AM Tender Title: SITC of 02 Nos 05 KVA Online N plus 1 Modular UPS for ILS with 5 years warranty at VSS Airport Jharsuguda Tender ID: 2020_AAI_44638_1
Tender Inviting Authority: Airport Director,AAI,VSS Airport Jharsuguda.
Name of Work: SITC of 02 Nos. 05 KVA Online N+1 Modular UPS for ILS with 5 years warranty at V.S.S Airport, Jharsuguda
Contract No: AAI/ER/JH/CNS/ILS/MOD_UPS/1-2020
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | POWER ONE MICRO SYSTEMS PVT LTD |  | LAXMAN KUMAR SAHOO
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply installation, Testing and Commissioning of 05KVA(N+1) Modular UPS (N=05 KVA or better) Modular type (02 modules of 5KVA or better in one Cabinet/Chassis) UPS with Chassis Expandable up to 30KVAsuitable for future expansion, input isolation Transformer, Two string of Battery banks with 12V28AH Qty. 40 batteries for TWO Modules, remote Status indication Unit and SNMP remote monitoring, Rack, MCCB, Links, TVSS, SPD (CLASS B/Type 2 ) at Input and Output (CLASS C/Type 3 at Phase and Neutral) of UPS and other conditions Complying with the detailed Technical specifications given in section VI with 05 years Warranty. Installation includes all required consumables, interconnection cables up to 10 mtrs or as per actual requirement for input and output. Separate Battery bank and battery rack for individual module (Battery bank for each 5 KVA module). Ref Annexure-XV page no. 77-78 | 2.00 | Nos |  | 485000.00 | 970000.00 | 1060000.00 | 2120000.00 | 970000.00 | POWER ONE MICRO SYSTEMS PVT LTD
2.00 | SITC,SAT, and Training | 1.00 | Lot |  | 10000.00 | 10000.00 | 200000.00 | 200000.00 | 10000.00 | POWER ONE MICRO SYSTEMS PVT LTD
| Total in Figures |  |  |  |  | 980000.00 |  | 2320000.00
Lowest Amount Quoted BY: POWER ONE MICRO SYSTEMS PVT LTD(980000.00)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of 02 Nos 05 KVA Online N plus 1 Modular UPS for ILS with 5 years warranty at VSS Airport Jharsuguda Tender ID: 2020_AAI_44638_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | POWER ONE MICRO SYSTEMS PVT LTD | 980000.00 | L1
| 2 | LAXMAN KUMAR SAHOO | 2320000.00 | L2