## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 27-May-2020 04:12 PM Tender Title: R and M Electrical Installation at NSCBI Airport, Kolkata. SH Maintenance of signages. Tender ID: 2020_AAI_44757_1
Tender Inviting Authority:
Name of Work:R & M Electrical Installation at NSCBI Airport, Kolkata. SH: Maintenance of Signages.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | POSHDECOR |  | M/s. A SARKAR |  | SATIN NEO DIMENSIONS PVT LTD |  | Mirage Advertising World
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Replacement of defective LEDs of existing signages by supplying and fixing new flexible LED striplight with more than 80 Lumens/Watt having suitable LED Driver for 240V main AC supply, making connections, etc. complete as required at site. | 200.00 | Meter |  | 1500.00 | 300000.00 | 750.00 | 150000.00 | 640.00 | 128000.00 | 1000.00 | 200000.00 | 128000.00 | SATIN NEO DIMENSIONS PVT LTD
2.00 | Providing eco-solvent print on reputed multinational brand vinyl to be pasted as required at site as per the instruction of the engineer-in-charge. | 2000.00 | Sq.Ft |  | 120.00 | 240000.00 | 155.00 | 310000.00 | 100.00 | 200000.00 | 175.00 | 350000.00 | 200000.00 | SATIN NEO DIMENSIONS PVT LTD
3.00 | Designing, providing and fixing of micro prismatic type retro reflective sheet having required matter confirming to type XI sheeting of ASTM D-4956 and IRC 67:2010 on the existing aluminium sheet /ACP board installed on gantry (approx. size: 14mtr. X 2Mtr.) of approximate height 12mtr. / pole of approximate height 6 mtr. at different locations complete after removing the existing sheet whereever required, to the entire satisfaction of Engineer-in-charge. | 150.00 | Sq. Meter |  | 6000.00 | 900000.00 | 3300.00 | 495000.00 | 7565.00 | 1134750.00 | 4500.00 | 675000.00 | 495000.00 | M/s. A SARKAR
4.00 | Providing and fixing 3mm thick ACP board with appropriate rivetting, screwed with the frame complete, as required. | 150.00 | Sq. Meter |  | 4500.00 | 675000.00 | 1400.00 | 210000.00 | 1722.00 | 258300.00 | 2900.00 | 435000.00 | 210000.00 | M/s. A SARKAR
5.00 | Providing eco-solvent print on reputed multinational brand vinyl with minimum 3 mm clear sunboard to be fixed as required at site as per the instruction of the engineer-in-charge. | 500.00 | Sq. Ft. |  | 180.00 | 90000.00 | 185.00 | 92500.00 | 140.00 | 70000.00 | 110.00 | 55000.00 | 55000.00 | Mirage Advertising World
6.00 | Providing and fixing front face having front vinyl 3M 3630 series with lamination pasting on glass wall surface including necessary message / matter created on the sticker complete as required at site. | 2000.00 | Sq. Ft. |  | 180.00 | 360000.00 | 180.00 | 360000.00 | 160.00 | 320000.00 | 110.00 | 220000.00 | 220000.00 | Mirage Advertising World
7.00 | Replacing of 8mm Signage Sheet sheet with text/signage matter in Bengali, Hindi and English and shall be electro cut computerized automated, self-adhesive translucent / coloured / vinyl Plotter cut block out vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics and of specified make we would suggest Vinyl from 3M black out film in front and yellow message created by using 3M, translucent film to be transferred on cast acrylic sheet complete as required. | 500.00 | Sq. Ft. |  | 1200.00 | 600000.00 | 1500.00 | 750000.00 | 980.00 | 490000.00 | 310.00 | 155000.00 | 155000.00 | Mirage Advertising World
8.00 | Repairing of existing geyser from its original location including necessary accessiories making good the damage, connection, testing, commissioning etc. as required. | 15.00 | Each |  | 2400.00 | 36000.00 | 1400.00 | 21000.00 | 8625.00 | 129375.00 | 2500.00 | 37500.00 | 21000.00 | M/s. A SARKAR
9.00 | Maintenance of Entry / Exit Announcer in case of crack in glass façade with dismantling and re-installation including necessary consumables such as Silicon Scalant and making tape etc. complete as required. | 10.00 | Each |  | 3900.00 | 39000.00 | 3000.00 | 30000.00 | 55675.00 | 556750.00 | 2500.00 | 25000.00 | 25000.00 | Mirage Advertising World
10.00 | Ceiling Hung Directional Sign
11.00 | Providing and fixing illuminated signs of size 2100 x 255 x 50 including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge.>> Sign face Sign face shall be made in 8mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl. Entire panel covered with a protective overlaminate. The films to wrap around the edge of the acrylic to a distance of 25mm on the back side. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge. Sign Frame Providing and fixing sign frame 50mm wide Powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to recieve the sign face. The sign face shall be fixed to sign frame with 3M brand dual lock syatem in one side and 3M bothway tape from the other side.The panel should be made easily openable for maintainance. Sign internal Structure Providing and fixing Framewrok of Aluminium 25mmx 25mm x 1.3 hollow square sections. Shall be directly fixed to the sign frame.
12.00 | Suspender Providing and fixing Stainless steel 35 x 35mm x 2 Hollow sections (assuming typical length of 1 metre) mounted on slabs/beams/walls. All hardware used for fixing of sign shall be Stainless steel. Lighting All internal illumination shall be using Power LED Lights from Osram or equivalent ( Edge lighting - 6500K, 24 v, with optimal homogenious backlighting & light Throw of minimum 4 ft) with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification.Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. The actual structural design of the sign for its stability shall be responsibility of the EPC contactor. Secret fixing methods should be used to fix parts together. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing.>>
13.00 | Message 1 | 4.00 | Each |  | 39000.00 | 156000.00 | 40000.00 | 160000.00 | 15415.00 | 61660.00 | 26000.00 | 104000.00 | 61660.00 | SATIN NEO DIMENSIONS PVT LTD
14.00 | Message 2 | 4.00 | Each |  | 42000.00 | 168000.00 | 50000.00 | 200000.00 | 23690.00 | 94760.00 | 26000.00 | 104000.00 | 94760.00 | SATIN NEO DIMENSIONS PVT LTD
15.00 | Message 3 | 4.00 | Each |  | 48000.00 | 192000.00 | 60000.00 | 240000.00 | 29158.00 | 116632.00 | 26000.00 | 104000.00 | 104000.00 | Mirage Advertising World
16.00 | Message 5 | 1.00 | Each |  | 60000.00 | 60000.00 | 70000.00 | 70000.00 | 49640.00 | 49640.00 | 26000.00 | 26000.00 | 26000.00 | Mirage Advertising World
17.00 | Wall Projected Directional Sign
18.00 | Providing and fixing illuminated signsof size 2100 x 255 x 50 including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge.>> Sign face Sign face shall be made in 8mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl. Entire panel covered with a protective overlaminate. The films to wrap around the edge of the acrylic to a distance of 25mm on the back side. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge. Sign Frame Providing and fixing sign frame 50mm wide powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to recieve the sign face. The sign face shall be fixed to sign frame with the 3M brand dual lock system in one side and 3M bothway tape from the other side.The panel should be made easily openable for maintainance. Sign internal Structure Providing and fixing Framewrok of Aluminium 25mmx 25mm x 3 hollow square sections. Shall be directly fixed to the sign frame.
19.00 | Tension Rod Providing and fixing tension rod in brush finished S.S. with the turn buckle syatem. Tension rod shall be fixed to the wall structure and the sign frame with S.S. gusset plates. Lighting All internal illumination shall be using Power LED Lights from Osram or equivalent ( Edge lighting - 6500K, 24 v, with optimal homogenious backlighting & light Throw of minimum 4 ft) with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification.Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. The actual structural design of the sign for its stability shall be responsibility of the EPC contactor. Secret fixing methods should be used to fix parts together. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing.>>
20.00 | Message 1 | 4.00 | Each |  | 45000.00 | 180000.00 | 40000.00 | 160000.00 | 18702.00 | 74808.00 | 26000.00 | 104000.00 | 74808.00 | SATIN NEO DIMENSIONS PVT LTD
21.00 | Message 2 | 4.00 | Each |  | 54000.00 | 216000.00 | 42000.00 | 168000.00 | 26494.00 | 105976.00 | 26000.00 | 104000.00 | 104000.00 | Mirage Advertising World
22.00 | Message 3 | 4.00 | Each |  | 57000.00 | 228000.00 | 58000.00 | 232000.00 | 31975.00 | 127900.00 | 26000.00 | 104000.00 | 104000.00 | Mirage Advertising World
23.00 | Message 4 | 3.00 | Each |  | 63000.00 | 189000.00 | 62500.00 | 187500.00 | 39985.00 | 119955.00 | 26000.00 | 78000.00 | 78000.00 | Mirage Advertising World
24.00 | Message 5 | 1.00 | Each |  | 69000.00 | 69000.00 | 70000.00 | 70000.00 | 55694.00 | 55694.00 | 26000.00 | 26000.00 | 26000.00 | Mirage Advertising World
25.00 | Ceiling Hung Facility Announcer - Information
26.00 | Providing and fixing illuminated signsof size 1500 x 255 x 50 including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge.>> Sign face-Sign face shall be made in 8mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl. Entire panel covered with a protective overlaminate. The films to wrap around the edge of the acrylic to a distance of 25mm on the back side. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone yellow C or Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge. Sign Frame-Providing and fixing sign frame 50mm wide powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to recieve the sign face. The sign face shall be fixed to sign frame with the 3M brand dual lock system in one side and 3M bothway tape from the other side.The panel should be made easily openable for maintainance. Sign internal Structure-Providing and fixing Framewrok of Aluminium 25mmx 25mm hollow square sections. Shall be directly fixed to the sign frame. Suspender-Providing and fixing Stainless steel 35 x 35 x 2 mm Hollow sections (assuming typical length of 1 metre) mounted on slabs/beams/walls. All hardware used for fixing of sign shall be Stainless steel.
27.00 | Lighting-All internal illumination shall be using Power LED Lights from Osram or equivalent ( Edge lighting - 6500K, 24 v, with optimal homogenious backlighting & light Throw of minimum 4 ft) with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification.Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. The actual structural design of the sign for its stability shall be responsibility of the EPC contactor. Secret fixing methods should be used to fix parts together. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing.>> | 10.00 | Each |  | 24000.00 | 240000.00 | 22000.00 | 220000.00 | 17895.00 | 178950.00 | 18000.00 | 180000.00 | 178950.00 | SATIN NEO DIMENSIONS PVT LTD
28.00 | Bay announcer (new design)
29.00 | Providing and fixing illuminated signs including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge.>> Sign Box-Providing and fixing sign box with lasercut Bent Fabrication in 8mm thick clear acrylic with pantone yellowC Vinyl pasted on it. Complete box excluding bottom side is lited with internal LED lighting. Acrylic fabrication shall have transparent structural supports for obstruction free lighting. Box to be directly mounted on the sign structure. Sign Face-Providing and fixing sign face panels 3 mm thick Aluminium sheet fabrication, Aluminium sheet fixed to sign structure with black colour RAL 9011 with a provision of through and through laser cutting for airline branding panel. Airline Branding Panel Vinyl with printed media pasted on 8mm thick 040 White transluscent acrylic with a backlit provision. Lighting-All internal illumination shall be using Power LED Lights from Osram or equivalent with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification.Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing.>> | 3.00 | Each |  | 42000.00 | 126000.00 | 50000.00 | 150000.00 | 130897.00 | 392691.00 | 21000.00 | 63000.00 | 63000.00 | Mirage Advertising World
30.00 | Washroom / Drinking Water / Baby care
31.00 | Providing and fixing illuminated signs of size 450 x 450 including all operations from fabrication to installation all complete as per drawings, technical specifications, signage schedule and to the satisfaction of the Engineer-in-Charge.>> Sign face Sign face shall be made in 8mm thick 040 white acrylic (as specified) having graphics pasted in Plotter cut Blockout vinyl. Entire panel covered with a protective overlaminate. The films to wrap around the edge of the acrylic to a distance of 25mm on the back side. The Plotter cut blockout vinyl shall match the specified colour (colour Pantone Black 6C) and vinyl for text Pantone Cyan 311C as per graphics and of specified make duly approved by the Engineer-in-Charge. Sign Frame Providing and fixing sign frame 50mm wide powder coated, colour RAL 9006 special aluminium extrusion with inbuilt frame to recieve the sign face. The sign face shall be fixed to sign frame with the 3M brand dual lock system in one side and 3M bothway tape from the other side.The panel should be made easily openable for maintainance.
32.00 | Lighting All internal illumination shall be using Power LED Lights from Osram or equivalent (Edge lighting - 6500K, 24 v, with optimal homogenious backlighting & light Throw of minimum 4 ft) with electronic controllers, having even spread and overlaps to avoid banding and dark spots and adhering to the LUX levels mentioned in the performance specification.Cost to include all internal connections and Wiring, terminating and connecting the incoming cable laid by Airport contractor at the site. The actual structural design of the sign for its stability shall be responsibility of the EPC contactor. Secret fixing methods should be used to fix parts together. Accessories: Providing and fixing all accessories such as thimbles, end connectors, nut-inserts, screws , rivets, bolts, washers, nuts, etc. complete as per drawing.>>
33.00 | (a) Wall Projected (Double Side - Sign face in acrylic) | 5.00 | Each |  | 11100.00 | 55500.00 | 16500.00 | 82500.00 | 6700.00 | 33500.00 | 11000.00 | 55000.00 | 33500.00 | SATIN NEO DIMENSIONS PVT LTD
34.00 | (b) Wall mounted (Single side content - Sign Face: acrylic, and Back: 3mm ACP) | 3.00 | Each |  | 9000.00 | 27000.00 | 15000.00 | 45000.00 | 5294.00 | 15882.00 | 11000.00 | 33000.00 | 15882.00 | SATIN NEO DIMENSIONS PVT LTD
35.00 | (c) Ceiling mount (Double Side - Sign face in acrylic) | 3.00 | Each |  | 12000.00 | 36000.00 | 16000.00 | 48000.00 | 8670.00 | 26010.00 | 11000.00 | 33000.00 | 26010.00 | SATIN NEO DIMENSIONS PVT LTD
| Total in Figures |  |  |  |  | 5182500.00 |  | 4451500.00 |  | 4741233.00 |  | 3270500.00
Lowest Amount Quoted BY: Mirage Advertising World(3270500.00)

## BOQ Summary
BOQ Summary Details Tender Title: R and M Electrical Installation at NSCBI Airport, Kolkata. SH Maintenance of signages. Tender ID: 2020_AAI_44757_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Mirage Advertising World | 3270500.00 | L1
| 2 | M/s. A SARKAR | 4451500.00 | L2
| 3 | SATIN NEO DIMENSIONS PVT LTD | 4741233.00 | L3
| 4 | POSHDECOR | 5182500.00 | L4