## BoQ1
Government eProcurement System Created By: RAGHU RAMA REDDY DODDA Created Date/Time: 01-Jul-2020 03:00 PM Tender Title: FMC for Repair and Maintenance of Internal - External Installations at AAI Metro Residential Colony, Operational Office and Other Ancillary Buildings at Chennai International Airport Tender ID: 2020_AAI_44791_1
Tender Inviting Authority: JGM.Engg(Elect)-II
Name of Work: FMC for Repair & Maintenance of Internal & External Installations at AAI (Metro) Residential Colony, Operational Office & Other Ancillary Buildings at Chennai International Airport.
Contract No: AAM/CHE/AMED-IX/2019-20/01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | NATIONAL SAFETY ENGINEERS |  | DElite System Engineering (India) Pvt. Ltd. |  | PREMIER ENGINEERING TECHNICS PVT. LTD. |  | LAKSHMI ELECTRICAL ENTERPRISES |  | S. N ELECTRICALS |  | VOLTECH O AND M SERVICES PVT LTD |  | Ascent Electrification Engineers |  | Freaquer Corporation Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | FMC for Internal and External Electrical installations
1.02 | FMC for all Internal and External Electrical installations at AAI (IAD) Residential Colony i/c Community hall& school ; Ancillary buildings i/c Admin Office; Intake / Central Substations; Dog Kennels; All Power Houses; WTP; STP; CCR Hall; CISF Barracks at Pazhavanthangal; Fire Stations; MT Sections (Old & New), Ceremonial Lounge and All Pump Houses etc., to ensure satisfactory serviceabilty through providing repair/maintenance services for all Internal & External Electrical installations involving repairs and maintenance of connected LT feeders to the buildings switch rooms etc, repair/replacement of circuit wiring, switches, lamps, chokes, fixtures etc (Required replacement of materials shall be issued by AAI free of cost) i/c providing consumable material like cotton waste, oil, grease, etc., & other sundry material required for cleaning at site etc. as required, including ensuring 100 % serviceability of External and Internal Electrical installations, preventive maintenance,routine maintenance; breakdown maintenance; etc., i/c maintenance of records / data entries and documentaton including effective supervision etc ,on all days for including Sundays and holidays. | 24.00 | Months |  | 738999.00 | 17735976.00 | 752956.00 | 18070944.00 | 758663.00 | 18207912.00 | 747290.00 | 17934960.00 | 699500.00 | 16788000.00 | 723400.00 | 17361600.00 | 704509.41 | 16908225.84 | 748783.71 | 17970808.92 | 675000.00 | 16200000.00 | 16200000.00 | Freaquer Corporation Pvt Ltd
1.03 | Painting, Repainting, Rewinding & Miscelleneous
1.04 | Re-painting of L.T. panels, chequered plate, electrical installations etc. with approved quality enamel paint of required colour in two coats with spray gun i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C. | 50.00 | Sq mtr |  | 149.00 | 7450.00 | 120.00 | 6000.00 | 450.00 | 22500.00 | 230.00 | 11500.00 | 100.00 | 5000.00 | 250.00 | 12500.00 | 150.00 | 7500.00 | 186.20 | 9310.00 | 1200.00 | 60000.00 | 5000.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.05 | Rewinding of following fans as per original characteristics with super enameled copper wire and `E' class insulation material, replacement of the worn out bearing etc. as required i/c dismantling, making arrangment for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required). (The dismantled material will be retain by the contractor).
1.06 | Exhaust fan ( 300mm/450mm Sweep) | 10.00 | Each |  | 749.00 | 7490.00 | 500.00 | 5000.00 | 900.00 | 9000.00 | 500.00 | 5000.00 | 550.00 | 5500.00 | 250.00 | 2500.00 | 700.00 | 7000.00 | 529.20 | 5292.00 | 1700.00 | 17000.00 | 2500.00 | S. N ELECTRICALS
1.07 | Ceiling fan (1050mm /1200mm Sweep) | 50.00 | Each |  | 399.00 | 19950.00 | 450.00 | 22500.00 | 900.00 | 45000.00 | 500.00 | 25000.00 | 450.00 | 22500.00 | 300.00 | 15000.00 | 450.00 | 22500.00 | 245.00 | 12250.00 | 1700.00 | 85000.00 | 12250.00 | Ascent Electrification Engineers
1.08 | Wall mounted fan (300mm/450sweep) | 10.00 | Each |  | 399.00 | 3990.00 | 450.00 | 4500.00 | 1200.00 | 12000.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 343.00 | 3430.00 | 1500.00 | 15000.00 | 2500.00 | S. N ELECTRICALS
1.09 | Air Circulator (450mm/600mm Sweep) | 5.00 | Each |  | 999.00 | 4995.00 | 600.00 | 3000.00 | 1500.00 | 7500.00 | 600.00 | 3000.00 | 550.00 | 2750.00 | 250.00 | 1250.00 | 750.00 | 3750.00 | 1234.80 | 6174.00 | 1500.00 | 7500.00 | 1250.00 | S. N ELECTRICALS
1.10 | Lettering with one coat of approved shade of synthetic enamel paint in following size s on different places in English or Tamil etc. as reqd.
1.11 | 1" size (one word / name including special characters & digits) | 100.00 | No |  | 9.00 | 900.00 | 5.00 | 500.00 | 250.00 | 25000.00 | 10.00 | 1000.00 | 15.00 | 1500.00 | 1.50 | 150.00 | 20.00 | 2000.00 | 7.84 | 784.00 | 300.00 | 30000.00 | 150.00 | S. N ELECTRICALS
1.12 | 2" size (one word / name including special characters & digits) | 100.00 | No |  | 19.00 | 1900.00 | 8.00 | 800.00 | 300.00 | 30000.00 | 20.00 | 2000.00 | 20.00 | 2000.00 | 1.50 | 150.00 | 30.00 | 3000.00 | 10.78 | 1078.00 | 300.00 | 30000.00 | 150.00 | S. N ELECTRICALS
1.13 | Re-painting of cable tray of all sizes (upto 600 mm wide) i/c supports etc. with good quality of Al. paint in one or more coats including scraping, cleaning etc. of outer surface only complete as per site condition and direction of EIC. | 50.00 | mtr |  | 69.00 | 3450.00 | 85.00 | 4250.00 | 150.00 | 7500.00 | 300.00 | 15000.00 | 50.00 | 2500.00 | 250.00 | 12500.00 | 150.00 | 7500.00 | 78.40 | 3920.00 | 300.00 | 15000.00 | 2500.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.14 | Rates for extra mandays for providing services as and when required basis
1.15 | Skilled (Electrician/ Mason/ Cable Jointer) | 50.00 | days |  | 779.00 | 38950.00 | 736.00 | 36800.00 | 750.00 | 37500.00 | 800.00 | 40000.00 | 750.00 | 37500.00 | 800.00 | 40000.00 | 1000.00 | 50000.00 | 1050.00 | 52500.00 | 740.00 | 37000.00 | 36800.00 | NATIONAL SAFETY ENGINEERS
1.16 | Helper | 30.00 | days |  | 729.00 | 21870.00 | 686.00 | 20580.00 | 650.00 | 19500.00 | 725.00 | 21750.00 | 700.00 | 21000.00 | 695.00 | 20850.00 | 700.00 | 21000.00 | 962.00 | 28860.00 | 690.00 | 20700.00 | 19500.00 | DElite System Engineering (India) Pvt. Ltd.
1.17 | Dismantling of existing LT Cubical panel i/c electrical wiring, cables, switch gears, measuring instrument etc. , as required at site and transporting to AAI stores. | 5.00 | No |  | 999.00 | 4995.00 | 1500.00 | 7500.00 | 900.00 | 4500.00 | 2000.00 | 10000.00 | 1000.00 | 5000.00 | 1000.00 | 5000.00 | 3000.00 | 15000.00 | 6370.00 | 31850.00 | 3500.00 | 17500.00 | 4500.00 | DElite System Engineering (India) Pvt. Ltd.
1.18 | Providing Labour and Hire Charges for deploying Excavater (JCB) i/c Operator for tracing the cable faults, excavation and refilling of Cable trench after work etc., as required. | 40.00 | hrs |  | 819.00 | 32760.00 | 850.00 | 34000.00 | 900.00 | 36000.00 | 800.00 | 32000.00 | 850.00 | 34000.00 | 750.00 | 30000.00 | 900.00 | 36000.00 | 931.00 | 37240.00 | 1800.00 | 72000.00 | 30000.00 | S. N ELECTRICALS
1.19 | Providing Labour and Hire Charges for deploying Gas Cutting MACHINE i/c Cutter, Gases in Cylinder etc., for cutting of Chequered Plates, MS Angles as required. | 40.00 | hrs |  | 499.00 | 19960.00 | 200.00 | 8000.00 | 1200.00 | 48000.00 | 800.00 | 32000.00 | 850.00 | 34000.00 | 500.00 | 20000.00 | 500.00 | 20000.00 | 774.20 | 30968.00 | 1800.00 | 72000.00 | 8000.00 | NATIONAL SAFETY ENGINEERS
1.20 | Providing labour and hire charges for deploying Crane (upto 10 Ton) i/c operator for lifting/ Shifting of Equipments/ Cable Drums, etc., as required. | 16.00 | hrs |  | 899.00 | 14384.00 | 1900.00 | 30400.00 | 900.00 | 14400.00 | 800.00 | 12800.00 | 850.00 | 13600.00 | 750.00 | 12000.00 | 1200.00 | 19200.00 | 1225.00 | 19600.00 | 1800.00 | 28800.00 | 12000.00 | S. N ELECTRICALS
1.21 | Locating the Cable fault on LT feeder cables laid directly in ground/ duct/ pipe including providing Cable Fault Tracer (Rental) etc., as required.
1.22 | LT CABLES [ONLY IN CASE OF EMERGENCY] | 1.00 | job |  | 29999.00 | 29999.00 | 8000.00 | 8000.00 | 45000.00 | 45000.00 | 10000.00 | 10000.00 | 30000.00 | 30000.00 | 4500.00 | 4500.00 | 20000.00 | 20000.00 | 14210.00 | 14210.00 | 1500.00 | 1500.00 | 1500.00 | Freaquer Corporation Pvt Ltd
1.23 | Cleaning of cable trenches by lifting the cables, supporting the cables, removing waste materials I/c malba, debris etc., and transporting and dumping the same to waste dumping yard etc. as required. | 40.00 | mtr |  | 99.00 | 3960.00 | 200.00 | 8000.00 | 500.00 | 20000.00 | 200.00 | 8000.00 | 50.00 | 2000.00 | 350.00 | 14000.00 | 150.00 | 6000.00 | 254.80 | 10192.00 | 930.00 | 37200.00 | 2000.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.24 | Cleaning of bus ducts I/c removing of covers, checking of bus bars, bus supports, tightening of busses and supports and re-fixing of covers, testing, commissioning etc., as required. | 20.00 | mtr |  | 249.00 | 4980.00 | 150.00 | 3000.00 | 300.00 | 6000.00 | 200.00 | 4000.00 | 50.00 | 1000.00 | 450.00 | 9000.00 | 150.00 | 3000.00 | 1421.00 | 28420.00 | 960.00 | 19200.00 | 1000.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.25 | Retrievel of one number PVC/XLPE insulated and PVC sheathed power cable of 1.1KV grade of size upto 120 Sqmm from the existing RCC/ HUME/ STONEWARE/ METAL/ GI PIPES/ Duct/ TRAY/ TERRACE etc., as required. | 200.00 | Mtrs |  | 99.00 | 19800.00 | 200.00 | 40000.00 | 50.00 | 10000.00 | 75.00 | 15000.00 | 20.00 | 4000.00 | 50.00 | 10000.00 | 100.00 | 20000.00 | 102.90 | 20580.00 | 390.00 | 78000.00 | 4000.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.26 | SUPPLY OF SPARE PARTS FOR MAINTENANCE & REPAIR WORKS
1.27 | Supply of LED Bulb ;shape GLS; 10 watts; 220-240 volts; B22(Pin type), 6500K, Make Havells LHLDERUEML8X010 or equivalent | 300.00 | No |  | 99.00 | 29700.00 | 110.00 | 33000.00 | 110.00 | 33000.00 | 90.00 | 27000.00 | 102.00 | 30600.00 | 105.00 | 31500.00 | 550.00 | 165000.00 | 117.60 | 35280.00 | 140.00 | 42000.00 | 27000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
1.28 | Supply of LED Bulb;shape GLS; 15 watts; 220-240 volts; B22(Pin type), 6500K, Make Havells LHLDEREEMK8X015 or equivalent | 200.00 | No |  | 189.00 | 37800.00 | 175.00 | 35000.00 | 120.00 | 24000.00 | 200.00 | 40000.00 | 198.00 | 39600.00 | 135.00 | 27000.00 | 900.00 | 180000.00 | 147.00 | 29400.00 | 160.00 | 32000.00 | 24000.00 | DElite System Engineering (India) Pvt. Ltd.
1.29 | Supply of remote call bell/ buzzer suitable for single phase, 230 V, complete as required. | 60.00 | No |  | 149.00 | 8940.00 | 250.00 | 15000.00 | 650.00 | 39000.00 | 125.00 | 7500.00 | 150.00 | 9000.00 | 180.00 | 10800.00 | 500.00 | 30000.00 | 558.60 | 33516.00 | 190.00 | 11400.00 | 7500.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
1.30 | Supply of 2.5 MFD Capacitor for Fan operated on single phase, 230 V, complete as required. | 600.00 | No |  | 39.00 | 23400.00 | 50.00 | 30000.00 | 50.00 | 30000.00 | 25.00 | 15000.00 | 35.00 | 21000.00 | 45.00 | 27000.00 | 75.00 | 45000.00 | 107.80 | 64680.00 | 180.00 | 108000.00 | 15000.00 | PREMIER ENGINEERING TECHNICS PVT. LTD.
1.31 | Supplying of PVC Cassing & Capping as and when required.
1.32 | 20 X 12mm | 500.00 | meter |  | 39.00 | 19500.00 | 20.00 | 10000.00 | 29.00 | 14500.00 | 42.00 | 21000.00 | 20.00 | 10000.00 | 25.00 | 12500.00 | 50.00 | 25000.00 | 20.58 | 10290.00 | 170.00 | 85000.00 | 10000.00 | LAKSHMI ELECTRICAL ENTERPRISES, NATIONAL SAFETY ENGINEERS
1.33 | 25 X 16 mm | 500.00 | meter |  | 59.00 | 29500.00 | 30.00 | 15000.00 | 37.00 | 18500.00 | 50.00 | 25000.00 | 30.00 | 15000.00 | 35.00 | 17500.00 | 70.00 | 35000.00 | 30.38 | 15190.00 | 170.00 | 85000.00 | 15000.00 | LAKSHMI ELECTRICAL ENTERPRISES, NATIONAL SAFETY ENGINEERS
1.34 | 4"x2" inch for AC Refrigirent piping | 200.00 | meter |  | 399.00 | 79800.00 | 130.00 | 26000.00 | 550.00 | 110000.00 | 750.00 | 150000.00 | 40.00 | 8000.00 | 145.00 | 29000.00 | 200.00 | 40000.00 | 429.24 | 85848.00 | 170.00 | 34000.00 | 8000.00 | LAKSHMI ELECTRICAL ENTERPRISES
1.35 | Supply of Aluminium Conductor, XLPE insulated, PVC sheathed, armoured power cable of 1.1 KV grade of following Sizes conforming to IS 7098 (Part-1) as amended upto date as required. [AS AND WHEN REQUIRED BASIS ONLY]
1.36 | 3 X 10 sq. mm | 300.00 | meter |  | 76.00 | 22800.00 | 110.00 | 33000.00 | 89.00 | 26700.00 | 87.00 | 26100.00 | 76.00 | 22800.00 | 82.00 | 24600.00 | 120.00 | 36000.00 | 62.23 | 18670.18 | 170.00 | 51000.00 | 18670.18 | Ascent Electrification Engineers
1.37 | 3 X 16 sq. mm | 300.00 | meter |  | 79.00 | 23700.00 | 120.00 | 36000.00 | 99.00 | 29700.00 | 92.00 | 27600.00 | 81.00 | 24300.00 | 87.00 | 26100.00 | 130.00 | 39000.00 | 66.19 | 19855.58 | 170.00 | 51000.00 | 19855.58 | Ascent Electrification Engineers
1.38 | 4 X 10 sq. mm | 500.00 | meter |  | 85.00 | 42500.00 | 115.00 | 57500.00 | 99.00 | 49500.00 | 98.00 | 49000.00 | 85.00 | 42500.00 | 92.00 | 46000.00 | 140.00 | 70000.00 | 69.64 | 34821.36 | 170.00 | 85000.00 | 34821.36 | Ascent Electrification Engineers
1.39 | 4 X 16 sq. mm | 500.00 | meter |  | 97.00 | 48500.00 | 130.00 | 65000.00 | 112.00 | 56000.00 | 110.00 | 55000.00 | 97.00 | 48500.00 | 105.00 | 52500.00 | 160.00 | 80000.00 | 79.52 | 39760.56 | 170.00 | 85000.00 | 39760.56 | Ascent Electrification Engineers
1.40 | 4 X 25 sq. mm | 500.00 | meter |  | 132.00 | 66000.00 | 150.00 | 75000.00 | 152.00 | 76000.00 | 139.00 | 69500.00 | 133.00 | 66500.00 | 141.00 | 70500.00 | 210.00 | 105000.00 | 108.66 | 54331.20 | 170.00 | 85000.00 | 54331.20 | Ascent Electrification Engineers
1.41 | 3½ X 35 sq. mm | 250.00 | meter |  | 145.00 | 36250.00 | 155.00 | 38750.00 | 199.00 | 49750.00 | 166.00 | 41500.00 | 146.00 | 36500.00 | 157.00 | 39250.00 | 245.00 | 61250.00 | 119.53 | 29882.16 | 170.00 | 42500.00 | 29882.16 | Ascent Electrification Engineers
1.42 | 3½ X 95 sq. mm | 250.00 | meter |  | 309.00 | 77250.00 | 290.00 | 72500.00 | 389.00 | 97250.00 | 358.00 | 89500.00 | 310.00 | 77500.00 | 335.00 | 83750.00 | 535.00 | 133750.00 | 254.37 | 63592.20 | 170.00 | 42500.00 | 42500.00 | Freaquer Corporation Pvt Ltd
1.43 | 3½ X 120 sq. mm | 250.00 | meter |  | 374.00 | 93500.00 | 340.00 | 85000.00 | 446.00 | 111500.00 | 450.00 | 112500.00 | 385.00 | 96250.00 | 415.00 | 103750.00 | 670.00 | 167500.00 | 318.08 | 79521.12 | 170.00 | 42500.00 | 42500.00 | Freaquer Corporation Pvt Ltd
1.44 | Supply of Copper Conductor, FR PVC insulated, PVC sheathed, un-armoured power cable of 1.1 KV grade of following Sizes conforming to IS 694 as amended upto date as required. [AS AND WHEN REQUIRED BASIS ONLY]
1.45 | 3c x 1.5sq.mm | 500.00 | meter |  | 36.00 | 18000.00 | 50.00 | 25000.00 | 60.00 | 30000.00 | 40.00 | 20000.00 | 35.00 | 17500.00 | 41.00 | 20500.00 | 75.00 | 37500.00 | 29.49 | 14743.51 | 170.00 | 85000.00 | 14743.51 | Ascent Electrification Engineers
1.46 | 3c x 2.5sq.mm | 500.00 | meter |  | 59.00 | 29500.00 | 60.00 | 30000.00 | 99.00 | 49500.00 | 66.00 | 33000.00 | 56.00 | 28000.00 | 66.00 | 33000.00 | 105.00 | 52500.00 | 47.61 | 23806.94 | 170.00 | 85000.00 | 23806.94 | Ascent Electrification Engineers
1.47 | 3c x 4sq.mm | 200.00 | meter |  | 89.00 | 17800.00 | 70.00 | 14000.00 | 120.00 | 24000.00 | 120.00 | 24000.00 | 85.00 | 17000.00 | 101.00 | 20200.00 | 160.00 | 32000.00 | 72.61 | 14521.25 | 170.00 | 34000.00 | 14000.00 | NATIONAL SAFETY ENGINEERS
1.48 | 4c x 4 sq.mm | 200.00 | meter |  | 119.00 | 23800.00 | 90.00 | 18000.00 | 189.00 | 37800.00 | 132.00 | 26400.00 | 110.00 | 22000.00 | 131.00 | 26200.00 | 210.00 | 42000.00 | 95.82 | 19164.10 | 170.00 | 34000.00 | 18000.00 | NATIONAL SAFETY ENGINEERS
1.49 | 3c x6 sq.mm | 200.00 | meter |  | 139.00 | 27800.00 | 120.00 | 24000.00 | 199.00 | 39800.00 | 150.00 | 30000.00 | 127.00 | 25400.00 | 150.00 | 30000.00 | 230.00 | 46000.00 | 106.69 | 21337.34 | 170.00 | 34000.00 | 21337.34 | Ascent Electrification Engineers
1.50 | DSR ITEMS & SUPPLY OF MATERIAL
1.51 | Execution of works as per CPWD Delhi Schedule of Rate (E&M) 2018 as and when required for a fixed amount for 1 st year and 2 nd year as mentioned below. (Note: Rate shall be quoted for 1 st year and 2 nd year in the Indian Rupees only for a fixed amount of Rs.10,00,000/- as clarified below and as per techo-commerical specification P.No TCS -16 of tender document.
1.52 | For 1st year - For a fixed amount of Rs.10,00,000/- on CPWD Delhi Schedule of Rate (E&M) 2018 For Example: If desired to quote 5% above on DSR-2018 rates, the rate column shall be filled as Rs.Rs.10,50,000/- If desired to quote 5% below on DSR-2018 rates, the rate column shall be filled as Rs.9,50,000/- | 1.00 | Job |  | 800000.00 | 800000.00 | 1000000.00 | 1000000.00 | 950000.00 | 950000.00 | 1000000.00 | 1000000.00 | 770000.00 | 770000.00 | 700000.00 | 700000.00 | 950000.00 | 950000.00 | 850000.00 | 850000.00 | 950000.00 | 950000.00 | 700000.00 | S. N ELECTRICALS
1.53 | For 2nd year - For a fixed amount of Rs.10,00,000/- on CPWD Delhi Schedule of Rate (E&M) 2018 For Example: If desired to quote 5% above on DSR-2018 rates, the rate column shall be filled as Rs.Rs.10,50,000/- If desired to quote 5% below on DSR-2018 rates, the rate column shall be filled as Rs.9,50,000/- | 1.00 | Job |  | 800000.00 | 800000.00 | 1000000.00 | 1000000.00 | 950000.00 | 950000.00 | 1050000.00 | 1050000.00 | 770000.00 | 770000.00 | 700000.00 | 700000.00 | 950000.00 | 950000.00 | 900000.00 | 900000.00 | 950000.00 | 950000.00 | 700000.00 | S. N ELECTRICALS
| Total in Figures |  |  |  |  | 20333799.00 |  | 21051524.00 |  | 21453812.00 |  | 21127610.00 |  | 19215800.00 |  | 19705150.00 |  | 20499175.84 |  | 20745678.42 |  | 19897300.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(19215800.00)

## BOQ Summary
BOQ Summary Details Tender Title: FMC for Repair and Maintenance of Internal - External Installations at AAI Metro Residential Colony, Operational Office and Other Ancillary Buildings at Chennai International Airport Tender ID: 2020_AAI_44791_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 19215800.00 | L1
| 2 | S. N ELECTRICALS | 19705150.00 | L2
| 3 | Freaquer Corporation Pvt Ltd | 19897300.00 | L3
| 4 | CHENNAI ENGINEERING SERVICES | 20333799.00 | L4
| 5 | VOLTECH O AND M SERVICES PVT LTD | 20499175.84 | L5
| 6 | Ascent Electrification Engineers | 20745678.42 | L6
| 7 | NATIONAL SAFETY ENGINEERS | 21051524.00 | L7
| 8 | PREMIER ENGINEERING TECHNICS PVT. LTD. | 21127610.00 | L8
| 9 | DElite System Engineering (India) Pvt. Ltd. | 21453812.00 | L9