## BoQ1
Government eProcurement System Created By: SUNIL GUPTA Created Date/Time: 18-Mar-2020 11:08 AM Tender Title: (ARMO 2020-21) Annual Operation and Maintenance Contract for E and M Installations at C. A. Rajkot. Tender ID: 2020_AAI_44863_1
Tender Inviting Authority: SM (E E), AAI, CA Rajkot.
Name of Work: (ARMO 2020-21) Annual Operation & Maintenance Contract for E & M Installations at C. A. Rajkot.
Contract No: AAI/RAJ/SM(E-E)/NIT-13/19-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | CENTRE TAP ENGINEERING |  | Taral Electricals |  | DOSHI ELECTRIC ENGG. CO.
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & Maintenance of Electrical & Mechanical Installations of operational & non-operational areas of the Airport including GLF, CCR Panels, conveyor belts involving operation of conveyors, pump sets involving operation of pumps and minor repairing as per specification & conditions attached, attending to complaints / faults / breakdowns ensuring serviceability, satisfactory working condition of the system / preventive maintenance, maintenance of records/ documentation etc. as per the detailed specification terms & condition on all days including Sundays and holidays in 03 (three) shift basis and also as & when required basis etc as required. (Highly Skilled-2; Skilled-5; Semi-Skilled-5; Un-Skilled-5. The above mentioned minimum strength of labour is exclusive of reliever. Reliever as per site requirement shall be considered in addition to the minimum strength while quoting rate for this item.) | 12.00 | Month |  | 330555.00 | 3966660.00 | 365000.00 | 4380000.00 | 375000.00 | 4500000.00 | 335000.00 | 4020000.00 | 345000.00 | 4140000.00 | 3966660.00 | ABHISHEK ASSOCIATES
2.00 | Providing services for office assistance including computer operating, up keeping of records, etc. on all days excluding Sundays and holidays also as and when required. (Highly Skilled-1; Un-Skilled-1) | 12.00 | Month |  | 38222.00 | 458664.00 | 42000.00 | 504000.00 | 36000.00 | 432000.00 | 38000.00 | 456000.00 | 40000.00 | 480000.00 | 432000.00 | CENTRE TAP ENGINEERING
3.00 | Inspection, servicing and testing of following Electrical Installations and preventive maintenance through authorised service agent and submission of test reports. A) Air Circuit Breaker 800AMP. | 3.00 | Each |  | 3500.00 | 10500.00 | 10500.00 | 31500.00 | 3000.00 | 9000.00 | 2400.00 | 7200.00 | 4000.00 | 12000.00 | 7200.00 | Taral Electricals
4.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. a) Voltmeter Digital/Analogue suitable for AC supply. | 8.00 | Each |  | 500.00 | 4000.00 | 1500.00 | 12000.00 | 700.00 | 5600.00 | 400.00 | 3200.00 | 300.00 | 2400.00 | 2400.00 | DOSHI ELECTRIC ENGG. CO.
5.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. b) Ammeter Digital/Analogue suitable for AC supply. | 30.00 | Each |  | 500.00 | 15000.00 | 800.00 | 24000.00 | 700.00 | 21000.00 | 400.00 | 12000.00 | 300.00 | 9000.00 | 9000.00 | DOSHI ELECTRIC ENGG. CO.
6.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. c) Power Factor (cos Ø) Meter Digital/Analogue of range 0.5 lag - 1 0.5 lead, 96mm x 96mm | 4.00 | Each |  | 500.00 | 2000.00 | 1500.00 | 6000.00 | 700.00 | 2800.00 | 700.00 | 2800.00 | 500.00 | 2000.00 | 2000.00 | ABHISHEK ASSOCIATES, DOSHI ELECTRIC ENGG. CO.
7.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. d) Clinometer | 1.00 | Each |  | 15000.00 | 15000.00 | 9000.00 | 9000.00 | 2000.00 | 2000.00 | 1850.00 | 1850.00 | 500.00 | 500.00 | 500.00 | DOSHI ELECTRIC ENGG. CO.
8.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. e) Digital Lux meter,Make-Mextech LX-1010B,Range-2000-50000 lux | 1.00 | Each |  | 500.00 | 500.00 | 1500.00 | 1500.00 | 2000.00 | 2000.00 | 600.00 | 600.00 | 500.00 | 500.00 | 500.00 | ABHISHEK ASSOCIATES, DOSHI ELECTRIC ENGG. CO.
9.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. f) Electronic Digital Micrometre, Make- Aerospace, Range-0-25 mm, Acuuracy-0.001mm | 1.00 | Each |  | 500.00 | 500.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 600.00 | 600.00 | 500.00 | 500.00 | 500.00 | ABHISHEK ASSOCIATES, DOSHI ELECTRIC ENGG. CO.
10.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. g) Digital vernier caliper, Make-Yuri, Range-200x.01mm | 1.00 | Each |  | 500.00 | 500.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 600.00 | 600.00 | 500.00 | 500.00 | 500.00 | ABHISHEK ASSOCIATES, DOSHI ELECTRIC ENGG. CO.
11.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. h) Earth resistance tester | 1.00 | Each |  | 500.00 | 500.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 600.00 | 600.00 | 500.00 | 500.00 | 500.00 | ABHISHEK ASSOCIATES, DOSHI ELECTRIC ENGG. CO., CENTRE TAP ENGINEERING
12.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. i) Earth resistance | 1.00 | Each |  | 500.00 | 500.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 600.00 | 600.00 | 500.00 | 500.00 | 500.00 | ABHISHEK ASSOCIATES, DOSHI ELECTRIC ENGG. CO., CENTRE TAP ENGINEERING
13.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. j) Insulation tester | 1.00 | Each |  | 500.00 | 500.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 500.00 | 500.00 | 500.00 | 500.00 | 500.00 | ABHISHEK ASSOCIATES, DOSHI ELECTRIC ENGG. CO., Taral Electricals, CENTRE TAP ENGINEERING
14.00 | Testing, servicing, adjustment, calibration and submission of calibration certificate of following instruments including minor repair etc. compete as required. k) Clamp meter | 1.00 | Each |  | 500.00 | 500.00 | 1500.00 | 1500.00 | 500.00 | 500.00 | 600.00 | 600.00 | 500.00 | 500.00 | 500.00 | ABHISHEK ASSOCIATES, DOSHI ELECTRIC ENGG. CO., CENTRE TAP ENGINEERING
15.00 | Supply of tested transformer oil for toping up the transformer as required. | 20.00 | Ltr |  | 100.00 | 2000.00 | 180.00 | 3600.00 | 200.00 | 4000.00 | 115.00 | 2300.00 | 125.00 | 2500.00 | 2000.00 | ABHISHEK ASSOCIATES
16.00 | Maintenance, Servicing and rectification of faults in CCR (4 KW to 20 KW) by hiring OEM engineer i/c. replacing minor spares etc. complete as required as per actual site requirement. | 5.00 | Each |  | 5000.00 | 25000.00 | 15000.00 | 75000.00 | 5000.00 | 25000.00 | 18500.00 | 92500.00 | 10000.00 | 50000.00 | 25000.00 | ABHISHEK ASSOCIATES, CENTRE TAP ENGINEERING
17.00 | Pin pointing the cable fault with the help of HV fault locator equipment for the existing LT armoured under ground cable laid in soil etc as required at site and as directed by Engineer In Charge i/c transportation of the fault locator equipment for the LT Cable size 3 core/3.5 core/4 core & upto 400 sq.mm.( Max one fault will be count in 100mtr cable piece if more than one fault find) | 4.00 | Each |  | 12000.00 | 48000.00 | 18000.00 | 72000.00 | 10000.00 | 40000.00 | 11000.00 | 44000.00 | 11000.00 | 44000.00 | 40000.00 | CENTRE TAP ENGINEERING
18.00 | Illumination through decorative lighting of Rajkot Airport for celebration of various festivals Decorating the existing plants / side poles / walls on both sides of the entry and exit roads of Rajkot Airport by providing different colours of 'Gel rice' / LED light string of 8-10 mtrs length including making connection & interconnection from nearest supply point complete as per actual site requirements for a period of 4 days and removing and taking back the same after completion of occassion period. (Qty - 100 Each) Decoration of the trees infront of terminal building and ceiling of terminal building by providing coloured LED flood light fittings to achieve coloured pattern including making connection & interconnection from nearest supply point complete as per actual site requirements for a period of 4 days and removing and taking back the sameafter completion of occassion period. (Qty - 50 Each) Decoration of canopy pillars / poles of approx. 4 mtrs height by providing multicolour LED spiral light string including making connection & interconnection from nearest supply point complete as per actual site requirements for a period of 4 days and removing and taking back the same after completion of occassionperiod. (Qty - 20 sets) Decoration of pheriphery of Terminal building by providing pixel LED light operated with software programming to produce lighting effects / patterns including making connection & interconnection from nearest supply point complete as per actual site requirements for a period of 4 days removing and taking back the same after completion of occassion period. (Qty - 3600 Mtr) Providing and hanging decorative lighted 'Paper Globes' at various locations inside terminal building including making connection & interconnection from nearest supply point complete as per actual site requirements for a period of 4 days and removing and taking back the same after completion of occassion period. (Qty - 60 Each) Decoration with the help of RGB par light of ATC tower / Trees including making connection & interconnection from nearest supply point complete as per actual site requirements for a period of 4 days and removing and taking back the same after completion of occassion period. (Qty of RGB par light - 80) Decoration of garden area infront of terminal building i/c. parking area by providing LED spiral light string 8-10 mtrs length including making connection & interconnection from nearest supply point complete as per actual site requirements for a period of 4 days and removing and taking back the same after completion of occassion period. (Qty - 400 Each) Recording and making soft copy of decoration lighting of all areas with minimum of 3 minute video teaser for presentation and high resolution photographs of all areas (atleast 20 Nos. in 3 sets of atleast POSTCARD size). (Qty - 1 Job) Provision of selfi stands with related festival theme as per direction of E.I.C. (Qty - 3 Each) Display of theme and message (To be provided by AAI) on LED wall minimum 5 ft (H) X 6.5 ft (W) of size. (Qty - 2 Each) | 4.00 | Job |  | 300000.00 | 1200000.00 | 35000.00 | 140000.00 | 100000.00 | 400000.00 | 235000.00 | 940000.00 | 255000.00 | 1020000.00 | 140000.00 | Manish Electricals
19.00 | Servicing, repairing, rewinding and replacement of defective bearings / bushing of ceiling fan /wall fan including transporting from site to contractors workshop & back to site, testing and commissioning etc. complete as required. (Dismantle material belongs to Contractor) | 20.00 | Each |  | 200.00 | 4000.00 | 500.00 | 10000.00 | 150.00 | 3000.00 | 150.00 | 3000.00 | 500.00 | 10000.00 | 3000.00 | Taral Electricals, CENTRE TAP ENGINEERING
20.00 | Repairing of 7.5 HP submersible pump including lifting from borewell and lowering the pump in borewell at airport site etc. as required. | 2.00 | Job |  | 6000.00 | 12000.00 | 9000.00 | 18000.00 | 5000.00 | 10000.00 | 2999.00 | 5998.00 | 10000.00 | 20000.00 | 5998.00 | Taral Electricals
21.00 | Supply, Fabrication, Fixing & painting of M.S. angle/flat/channel/ pipe/plate structure as per requirement for high mast lattice structure, L.T./ Distribution panels, feeder pillers, base plates, earth pit locators, trench covers etc. at site complete with one coat of red oxide primer & two coats of synthetic enamel paint all as reqd. & as directed by engineer-in-charge. | 200.00 | Kg. |  | 60.00 | 12000.00 | 120.00 | 24000.00 | 70.00 | 14000.00 | 50.00 | 10000.00 | 125.00 | 25000.00 | 10000.00 | Taral Electricals
22.00 | Lettering with synthetic enamel paint as per the direction of E.I.C. (The measurement will be done as per civil DSR 2016 Per Letter per CM height basis) | 5000.00 | Each |  | 3.00 | 15000.00 | 50.00 | 250000.00 | 1.00 | 5000.00 | 4.00 | 20000.00 | 50.00 | 250000.00 | 5000.00 | CENTRE TAP ENGINEERING
23.00 | Servicing, repairing, rewinding and replacement of defective bearings / bushing of exhaust fan up to 400 mm sweep including transporting from site to contractors workshop & back to site, testing and commissioning etc. complete as required. (Dismantle material belongs to Contractor) | 4.00 | Each |  | 300.00 | 1200.00 | 800.00 | 3200.00 | 400.00 | 1600.00 | 150.00 | 600.00 | 700.00 | 2800.00 | 600.00 | Taral Electricals
24.00 | Complete items of CPWD SCHEDULE OF RATES (ELECTRICAL)-PART I & II, DSR-2018 as and when required as per site. (Rates Shall be quoted in multiples e.g. 0.99 or 1.01% Below / Above, correspondingly amount shall be 2,00,000 x 0.99 = 1,98,000 or 2,00,000 x 1.01 = 2,02,000) | 200000.00 | Rs. |  | .84 | 168000.00 | 1.10 | 220000.00 | 1.00 | 200000.00 | .85 | 170000.00 | .80 | 160000.00 | 160000.00 | DOSHI ELECTRIC ENGG. CO.
25.00 | Maintenance, servicing & upkeeping of automatic air curtains i/c minor repairs, replacement of faulty spares parts (to be supplied by AAI) painting all as reqd. & as specified (Total no. of aircurtains = 10 nos.) | 12.00 | Month |  | 1500.00 | 18000.00 | 5000.00 | 60000.00 | 1000.00 | 12000.00 | 700.00 | 8400.00 | 1000.00 | 12000.00 | 8400.00 | Taral Electricals
26.00 | Annual Maintenance of platform type electronic weighing scale, i/c remote display unit installed at departure area by attending any numbers of breakdown calls including carring out of Government stamping/ Calibration, repairing/ replacement of PCB, Repair or Replacement of working parts, necessitated by fair wear and tear such as Key sheets, Rubber legs, "O" Rings, Fasteners, Electronic components, Transformer, adaptor, Solenoid coil and cables etc, taking rectification action, ensuring servicing/ satisfactory working condition of the system as per the detailed specifications, terms & conditions covered under this contract (Each one job/set per year). | 7.00 | Each |  | 1000.00 | 7000.00 | 7000.00 | 49000.00 | 1000.00 | 7000.00 | 500.00 | 3500.00 | 3000.00 | 21000.00 | 3500.00 | Taral Electricals
| Total in Figures |  |  |  |  | 5987524.00 |  | 5903300.00 |  | 5700000.00 |  | 5807448.00 |  | 6266700.00
Lowest Amount Quoted BY: CENTRE TAP ENGINEERING(5700000.00)

## BOQ Summary
BOQ Summary Details Tender Title: (ARMO 2020-21) Annual Operation and Maintenance Contract for E and M Installations at C. A. Rajkot. Tender ID: 2020_AAI_44863_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CENTRE TAP ENGINEERING | 5700000.00 | L1
| 2 | Taral Electricals | 5807448.00 | L2
| 3 | Manish Electricals | 5903300.00 | L3
| 4 | ABHISHEK ASSOCIATES | 5987524.00 | L4
| 5 | DOSHI ELECTRIC ENGG. CO. | 6266700.00 | L5