## BoQ1
Government eProcurement System Created By: Joshua Kindo Created Date/Time: 20-Mar-2020 04:09 PM Tender Title: ARMO EM INSTALLATIONS AT KADAPA AIRPORT SH JOB CONTRACT FOR O AND M OF E AND M INSTALLATIONS Tender ID: 2020_AAI_44917_2
Tender Inviting Authority: The Asst.General Manager(Engg-E), AAI, Kadapa Airport.
Name of Work: ARMO of E & M Installations at Kadapa Airport for the year 2020-22.SH: Job contract for Operation & Maintenance and Repairs of Electrical & Mechanical Installation. (02 years contract)
Contract No: 2020_AAI_44917_2
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | LAKSHMI ELECTRICAL ENTERPRISES |  | INDUSTRIAL ELECTRICALS AND CONTROLS |  | SHIVARAM INFRA |  | SWAS AND IT PRIVATE LIMITED
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.10 | Job Contract for Operation and Maintenance of Electrical, Mechanical Installations and involving Operation, Repairs Maintenance and to attending to Complaints/ Faults/ Breakdowns and taking rectification action, ensuring Serviceability / Satisfactory working condition of the systems, Preventive Maintenance of E&M Installations, Maintenance of Records/Documentation etc., (At Substation, Fire fighting pump house, Passenger terminal building,Fire alarm system, Technical block,GLF,NDB,DVOR,Perimeter etc.) including providing 01 No vehicle round the clock on everyday alongwith 01 driver on all days Sundays and Holidays by deploying adequate manpower as per requirement/ list of installations, special condition of contract / direction of Engineer-in-charge. I YEAR | 12.00 | Month |  | 285000.00 | 3420000.00 | 275000.00 | 3300000.00 | 350000.00 | 4200000.00 | 205000.00 | 2460000.00 | 2460000.00 | SWAS AND IT PRIVATE LIMITED
1.20 | II YEAR | 12.00 | Month |  | 285000.00 | 3420000.00 | 275000.00 | 3300000.00 | 360000.00 | 4320000.00 | 230000.00 | 2760000.00 | 2760000.00 | SWAS AND IT PRIVATE LIMITED
2.00 | Comprehensive annual maintenance contract for Numeric make 6 KVA on-line UPS including service visits once in 3 months,attending break downs as and when required,repairs,rectifications through OEM, supply and replacement of required spares/accessories/parts as per special conditions attached. | 4.00 | Job |  | 20000.00 | 80000.00 | 6000.00 | 24000.00 | 2500.00 | 10000.00 | 35000.00 | 140000.00 | 10000.00 | SHIVARAM INFRA
3.00 | Comprehensive annual maintenance contract for Consul make 2 KVA on-line UPS including service visits once in 3 months,attending break downs as and when required,repairs,rectifications through OEM, supply and replacement of required spares/accessories/parts as per special conditions attached. | 4.00 | Job |  | 6200.00 | 24800.00 | 6000.00 | 24000.00 | 2500.00 | 10000.00 | 34000.00 | 136000.00 | 10000.00 | SHIVARAM INFRA
4.00 | Annual maintenance of Fire Alrm System including 02 panels and other circuits i/c preventive and breakdown maintenance at Kadapa Airport (Locations include Terminal Building & ATC Complex) as required as per site requirement | 24.00 | Month |  | 6000.00 | 144000.00 | 10000.00 | 240000.00 | 300.00 | 7200.00 | 35000.00 | 840000.00 | 7200.00 | SHIVARAM INFRA
5.00 | SITC of RS 485 card in the existing fire alarm panel at Technical block and making the system serviceable by OEM/authorised service dealer. Fire alarm panel Make : Morley Model : ZX2SE | 2.00 | Job |  | 22500.00 | 45000.00 | 35000.00 | 70000.00 | 25000.00 | 50000.00 | 33000.00 | 66000.00 | 45000.00 | LAKSHMI ELECTRICAL ENTERPRISES
6.00 | Fault finding in fire alarm system in loop 1 & loop 2 system in terminal building and making the system serviceable by OEM/authorised service dealer. Fire alarm panel Make :Morley Model:ZX2SE | 2.00 | Job |  | 7500.00 | 15000.00 | 25000.00 | 50000.00 | 10000.00 | 20000.00 | 34000.00 | 68000.00 | 15000.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.10 | Repairs to 2 nos 6KVA Numeric make UPS at Terminal building by replacing neceaasry spares and making the system serviceable by authorised service dealer/OEM as required IGBT 150A/600V | 3.00 | Job |  | 8000.00 | 24000.00 | 10000.00 | 30000.00 | 6000.00 | 18000.00 | 45000.00 | 135000.00 | 18000.00 | SHIVARAM INFRA
7.20 | IGB DRV | 2.00 | Job |  | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 10000.00 | 20000.00 | 57000.00 | 114000.00 | 9000.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.30 | 50A GSB fuse | 2.00 | Job |  | 350.00 | 700.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 23000.00 | 46000.00 | 700.00 | LAKSHMI ELECTRICAL ENTERPRISES
7.40 | NDCDC4/04 | 1.00 | Job |  | 3000.00 | 3000.00 | 10000.00 | 10000.00 | 5000.00 | 5000.00 | 23017.00 | 23017.00 | 3000.00 | LAKSHMI ELECTRICAL ENTERPRISES
8.00 | Calibration of all relays for Crompton Greaves make 3 panel VCB for 2 O/C and 1 E/F static relays- 3 sets (make:ERL , MIT113), auxiliary realys for transformer's alarm & trip - 4 nos( make : Easun Reyrolle,B33X3) using secondary injection kit including adjustment of plug settings, transportation of test equipment and submitting test reports etc as required. | 2.00 | Job |  | 20000.00 | 40000.00 | 25000.00 | 50000.00 | 20000.00 | 40000.00 | 90000.00 | 180000.00 | 40000.00 | SHIVARAM INFRA, LAKSHMI ELECTRICAL ENTERPRISES
9.00 | Filtration and determination of electric strength of insulation oil (as per IS – 6792 : 1992 ) of 400 KVA, 11 / 0.415 KV transformers by stream line and hot oil circulation for three cycles or more till achieving required value including certification, transportation ( to & fro) of machineries etc.complete as required (400 KVA transformer Oil tank capacity - 415 ltr). | 4.00 | Job |  | 20000.00 | 80000.00 | 6000.00 | 24000.00 | 15000.00 | 60000.00 | 90000.00 | 360000.00 | 24000.00 | INDUSTRIAL ELECTRICALS AND CONTROLS
10.00 | Carrying out the BDV test before and after oil filtration on site, Acidity test checks and issuing test reports. | 4.00 | Job |  | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 1250.00 | 5000.00 | 90000.00 | 360000.00 | 5000.00 | SHIVARAM INFRA
11.10 | Rewinding of following types of motors with enameled copper wire including baking etc complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly). 7.5 HP Monoblock Motor | 2.00 | Each |  | 4500.00 | 9000.00 | 5000.00 | 10000.00 | 6000.00 | 12000.00 | 20000.00 | 40000.00 | 9000.00 | LAKSHMI ELECTRICAL ENTERPRISES
11.20 | 7.5 HP Submersible Motor | 2.00 | Each |  | 5500.00 | 11000.00 | 8000.00 | 16000.00 | 7000.00 | 14000.00 | 20000.00 | 40000.00 | 11000.00 | LAKSHMI ELECTRICAL ENTERPRISES
12.10 | Providing illumination with coloured serial lamps, focusing lights & decorative lights on the city side of Terminal building, ATC Building, Approach Road and Entrance of Kadapa Airport etc., as directed by the Engineer-in-Charge for the below mentioned days for the year 2020-21 & 2021-22 (Each occassion duration - 02 Nights) a) Serial LED Lamps (Containing minimum 20 Nos of lamps per set) - 600 Sets (300 Sets - In-line with Indain Flag Code - Tricolour & 300 Sets Multicolour) b) Focusing Beam Widespread LED Lights (In-line with Indain Flag Code - Tricolour suitable to illuminate complete Terminal Building & ATC Complex) - 02 Sets (One each for 02 buildings) AAI Annual Day (one job each for the calendar year 2020 & 2021) | 2.00 | Job |  | 30000.00 | 60000.00 | 70000.00 | 140000.00 | 30000.00 | 60000.00 | 25005.00 | 50010.00 | 50010.00 | SWAS AND IT PRIVATE LIMITED
12.20 | Independance Day (one job each for the calendar year 2020 & 2021) | 2.00 | Job |  | 30000.00 | 60000.00 | 70000.00 | 140000.00 | 30000.00 | 60000.00 | 25005.00 | 50010.00 | 50010.00 | SWAS AND IT PRIVATE LIMITED
12.30 | Republic Day (one job each for the calendar year 2020 & 2021) | 2.00 | Job |  | 30000.00 | 60000.00 | 70000.00 | 140000.00 | 30000.00 | 60000.00 | 25005.00 | 50010.00 | 50010.00 | SWAS AND IT PRIVATE LIMITED
| Total in Figures |  |  |  |  | 7511500.00 |  | 7596000.00 |  | 8981200.00 |  | 7918047.00
Lowest Amount Quoted BY: LAKSHMI ELECTRICAL ENTERPRISES(7511500.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO EM INSTALLATIONS AT KADAPA AIRPORT SH JOB CONTRACT FOR O AND M OF E AND M INSTALLATIONS Tender ID: 2020_AAI_44917_2
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | LAKSHMI ELECTRICAL ENTERPRISES | 7511500.00 | L1
| 2 | INDUSTRIAL ELECTRICALS AND CONTROLS | 7596000.00 | L2
| 3 | SWAS AND IT PRIVATE LIMITED | 7918047.00 | L3
| 4 | SHIVARAM INFRA | 8981200.00 | L4