## BoQ1
Government eProcurement System Created By: Rohit Chaudhary Created Date/Time: 19-Nov-2020 12:20 PM Tender Title: SITC of IT Network components at Deoghar Airport Tender ID: 2020_AAI_45072_1
Tender Inviting Authority: <Enter Tender Inviting Authority Details>
Name of Work: <Enter Name of the Work Details >
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Binary Solutions Pvt Ltd(GSTN-19AABCB1232H1Z3) |  | Hue Service Pvt. Ltd.(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Active Components
1.01 | Supply of Router with 5 years warranty | 2.00 | Nos. | 404823.00 | 734464.50 | 1468929.00 | 699490.00 | 1398980.00 | 1398980.00 | Hue Service Pvt. Ltd.
1.02 | Supply of Layer 3 Core switch with 5 years warranty | 4.00 | Nos. | 1062072.92 | 1049360.55 | 4197442.20 | 999391.00 | 3997564.00 | 3997564.00 | Hue Service Pvt. Ltd.
1.03 | Supply of Layer 2 POE + Switch 48 Port with 5 year warranty | 3.00 | Nos. | 460713.13 | 401865.45 | 1205596.35 | 382729.00 | 1148187.00 | 1148187.00 | Hue Service Pvt. Ltd.
1.04 | Supply of Layer 2 POE + Switch Min. 24 Port with 5 year warranty | 8.00 | Nos. | 141447.31 | 188902.35 | 1511218.80 | 179907.00 | 1439256.00 | 1439256.00 | Hue Service Pvt. Ltd.
1.05 | Supply of Layer 2 POE + Switch Min 12 Port with 5 year warranty | 9.00 | Nos. | 99761.52 | 65148.30 | 586334.70 | 62046.00 | 558414.00 | 558414.00 | Hue Service Pvt. Ltd.
1.06 | Supply of 10G SFP for switches with 5 year warranty | 134.00 | Nos. | 37546.50 | 38939.25 | 5217859.50 | 37085.00 | 4969390.00 | 4969390.00 | Hue Service Pvt. Ltd.
1.07 | Supply of Copper Module with 5 year warranty | 10.00 | Nos. | 9287.17 | 9207.45 | 92074.50 | 8769.00 | 87690.00 | 87690.00 | Hue Service Pvt. Ltd.
1.08 | Supply of Industrial Layer 2 POE + Switch Min 12 Port with 5 year warranty | 8.00 | Nos. | 86890.40 | 191100.00 | 1528800.00 | 182000.00 | 1456000.00 | 1456000.00 | Hue Service Pvt. Ltd.
1.09 | 10G Modules for Industrial Switches with 5 year warranty | 16.00 | Nos. | 37546.50 | 14227.50 | 227640.00 | 13550.00 | 216800.00 | 216800.00 | Hue Service Pvt. Ltd.
1.10 | Supply of Wireless Controller with 5 year warranty | 1.00 | Nos. | 602377.00 | 522327.75 | 522327.75 | 497455.00 | 497455.00 | 497455.00 | Hue Service Pvt. Ltd.
1.11 | Supply of Wireless Access Point with 5-year warranty | 18.00 | Nos. | 65442.15 | 65148.30 | 1172669.40 | 62046.00 | 1116828.00 | 1116828.00 | Hue Service Pvt. Ltd.
1.12 | Supply of Server HCI Compliant with 5-year Warranty | 2.00 | Nos. | 636250.00 | 992250.00 | 1984500.00 | 945000.00 | 1890000.00 | 1890000.00 | Hue Service Pvt. Ltd.
1.13 | Supply of Network Management Software with 5 year support from OEM | 1.00 | Nos. | 881833.33 | 719509.33 | 719509.33 | 685246.98 | 685246.98 | 685246.98 | Hue Service Pvt. Ltd.
1.14 | Supply of Display Monitor 49 inches with 5-year warranty | 2.00 | Nos. | 58643.33 | 54075.00 | 108150.00 | 51500.00 | 103000.00 | 103000.00 | Hue Service Pvt. Ltd.
1.15 | Supply of 2KVA Rack Mountable UPS with Integrated Batteries with 5-year warranty | 14.00 | Nos. | 68493.57 | 72975.00 | 1021650.00 | 69500.00 | 973000.00 | 973000.00 | Hue Service Pvt. Ltd.
2.00 | Passive Components
2.01 | Supply of CAT6A UTP Cable (LSZH) | 14000.00 | Mtr. | 51.87 | 50.40 | 705600.00 | 48.00 | 672000.00 | 672000.00 | Hue Service Pvt. Ltd.
2.02 | Supply of CAT6A Outdoor Cable | 3000.00 | Mtr. | 105.93 | 74.55 | 223650.00 | 71.00 | 213000.00 | 213000.00 | Hue Service Pvt. Ltd.
2.03 | Supply of CAT6A Patch Cord 1Mtrs | 550.00 | Nos | 425.00 | 441.00 | 242550.00 | 420.00 | 231000.00 | 231000.00 | Hue Service Pvt. Ltd.
2.04 | Supply of CAT6A Patch Cord 2 Mtrs | 250.00 | Nos | 509.00 | 525.00 | 131250.00 | 500.00 | 125000.00 | 125000.00 | Hue Service Pvt. Ltd.
2.05 | Supply of CAT6A Patch Cord 5 Mtrs | 5.00 | Nos | 625.00 | 630.00 | 3150.00 | 600.00 | 3000.00 | 3000.00 | Hue Service Pvt. Ltd.
2.06 | Supply of CAT6A I/O Module | 340.00 | Nos | 452.00 | 380.10 | 129234.00 | 362.00 | 123080.00 | 123080.00 | Hue Service Pvt. Ltd.
2.07 | Supply of Single Face plate | 200.00 | Nos | 62.00 | 73.50 | 14700.00 | 70.00 | 14000.00 | 14000.00 | Hue Service Pvt. Ltd.
2.08 | Supply of Dual Face plate | 60.00 | Nos | 75.33 | 78.75 | 4725.00 | 75.00 | 4500.00 | 4500.00 | Hue Service Pvt. Ltd.
2.09 | Supply of RJ45 Connector | 400.00 | Nos | 441.50 | 73.50 | 29400.00 | 70.00 | 28000.00 | 28000.00 | Hue Service Pvt. Ltd.
2.10 | Supply of Cat6 12 port Jack Panel (Fully Loaded) | 17.00 | Nos | 9238.33 | 8244.60 | 140158.20 | 7852.00 | 133484.00 | 133484.00 | Hue Service Pvt. Ltd.
2.11 | Supply of Cat6 24 port Jack Panel (Fully Loaded) | 8.00 | Nos | 12762.08 | 11389.35 | 91114.80 | 10847.00 | 86776.00 | 86776.00 | Hue Service Pvt. Ltd.
2.12 | Supply of Cat6 48 port Jack Panel (Fully Loaded) | 3.00 | Nos | 24508.75 | 21870.45 | 65611.35 | 20829.00 | 62487.00 | 62487.00 | Hue Service Pvt. Ltd.
2.13 | Supply of Outdoor OFC Cable 12 Core SM | 11000.00 | Mtr. | 79.56 | 85.05 | 935550.00 | 81.00 | 891000.00 | 891000.00 | Hue Service Pvt. Ltd.
2.14 | Supply of Outdoor fibre Joint Enclosure for 12 Core | 5.00 | Nos | 10143.75 | 11760.00 | 58800.00 | 11200.00 | 56000.00 | 56000.00 | Hue Service Pvt. Ltd.
2.15 | Supply of Fiber Patch Cord (SM) (duplex 2 Mtr, LC-LC) | 150.00 | Nos | 1370.38 | 1375.50 | 206325.00 | 1310.00 | 196500.00 | 196500.00 | Hue Service Pvt. Ltd.
2.16 | Supply of Fully Loaded LIU for 12 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 6.00 | Nos | 11823.00 | 13020.00 | 78120.00 | 12400.00 | 74400.00 | 74400.00 | Hue Service Pvt. Ltd.
2.17 | Supply of Fully Loaded LIU for 24 Core OFC loaded with LC adapter, pigtail for SM Fibre Cable | 32.00 | Nos | 17730.88 | 20422.50 | 653520.00 | 19450.00 | 622400.00 | 622400.00 | Hue Service Pvt. Ltd.
3.00 | Racks
3.01 | Supply of Indoor Floor Mount 6U or 9U Rack with Wheels with 5-year warranty | 1.00 | Nos | 6289.96 | 10342.50 | 10342.50 | 9850.00 | 9850.00 | 9850.00 | Hue Service Pvt. Ltd.
3.02 | Supply of Indoor Wall Mount 12U Rack with 5-year warranty | 17.00 | Nos | 7569.13 | 7875.00 | 133875.00 | 7500.00 | 127500.00 | 127500.00 | Hue Service Pvt. Ltd.
3.03 | Supply of Outdoor Mountable 12U Rack with 5-year warranty | 8.00 | Nos | 28966.67 | 29715.00 | 237720.00 | 28300.00 | 226400.00 | 226400.00 | Hue Service Pvt. Ltd.
3.04 | Supply of 42U Rack Smart Server Rack with 5-year warranty | 4.00 | Nos | 952500.00 | 3368137.50 | 13472550.00 | 3207750.00 | 12831000.00 | 12831000.00 | Hue Service Pvt. Ltd.
4.00 | Other Miscellaneous Items
4.01 | Supply of Console Cable & RS232 to USB Cable | 2.00 | Nos | 3481.25 | 3360.00 | 6720.00 | 3200.00 | 6400.00 | 6400.00 | Hue Service Pvt. Ltd.
4.02 | Supply of PVC Back Box | 250.00 | Nos | 68.67 | 71.40 | 17850.00 | 68.00 | 17000.00 | 17000.00 | Hue Service Pvt. Ltd.
4.03 | Supply of PVC Flexible | 50.00 | Mtr. | 22.75 | 23.10 | 1155.00 | 22.00 | 1100.00 | 1100.00 | Hue Service Pvt. Ltd.
4.04 | Supply of Metal Flexible | 100.00 | Mtr. | 78.65 | 73.50 | 7350.00 | 70.00 | 7000.00 | 7000.00 | Hue Service Pvt. Ltd.
4.05 | Supply of HDPE Pipe | 10000.00 | Mtr. | 60.55 | 60.90 | 609000.00 | 58.00 | 580000.00 | 580000.00 | Hue Service Pvt. Ltd.
4.06 | Supply of GI Conduit | 1000.00 | Mtr. | 107.72 | 223.65 | 223650.00 | 213.00 | 213000.00 | 213000.00 | Hue Service Pvt. Ltd.
4.07 | Supply of PVC Channel ISI Marked | 1000.00 | Mtr. | 25.38 | 26.25 | 26250.00 | 25.00 | 25000.00 | 25000.00 | Hue Service Pvt. Ltd.
4.08 | Supply of PVC Conduit ISI Marked | 3000.00 | Mtr. | 28.51 | 28.35 | 85050.00 | 27.00 | 81000.00 | 81000.00 | Hue Service Pvt. Ltd.
4.09 | Supply of Box Channel | 50.00 | Mtr. | 197.93 | 277.20 | 13860.00 | 264.00 | 13200.00 | 13200.00 | Hue Service Pvt. Ltd.
4.10 | Supply of MS Trays | 20.00 | Mtr. | 405.42 | 423.15 | 8463.00 | 403.00 | 8060.00 | 8060.00 | Hue Service Pvt. Ltd.
4.11 | Supply of MS-Pole - Usable height 6 Mtr | 4.00 | Nos. | 5519.32 | 17157.00 | 68628.00 | 16340.00 | 65360.00 | 65360.00 | Hue Service Pvt. Ltd.
4.12 | Supply of MS-Pole - Usable height 4 Mtr | 4.00 | Nos. | 3552.50 | 13912.50 | 55650.00 | 13250.00 | 53000.00 | 53000.00 | Hue Service Pvt. Ltd.
4.13 | Supply of OFC Route Marker - Concrete | 20.00 | Nos. | 469.69 | 483.00 | 9660.00 | 460.00 | 9200.00 | 9200.00 | Hue Service Pvt. Ltd.
4.14 | Supply of OFC Route Marker - Frangible | 60.00 | Nos. | 799.57 | 824.25 | 49455.00 | 785.00 | 47100.00 | 47100.00 | Hue Service Pvt. Ltd.
4.15 | Multipurpose Tool Set & Aluminium Ladder | 1.00 | Nos. | 2791.25 | 15330.00 | 15330.00 | 14600.00 | 14600.00 | 14600.00 | Hue Service Pvt. Ltd.
5.00 | Services
5.01 | Laying of CAT6 UTP/ Outdoor UTP/ Outdoor STP Cable through Channel/ Conduit/ Raceway/ Cable Tray/ HDPE Pipe/ GI Conduit / Wall etc. | 17000.00 | Mtr. | 20.20 | 25.20 | 428400.00 | 24.00 | 408000.00 | 408000.00 | Hue Service Pvt. Ltd.
5.02 | Fixing, Termination, Testing and Commissioning of IO Box (Single Module) including Back box & Face plate with Marking | 200.00 | Nos. | 30.45 | 31.50 | 6300.00 | 30.00 | 6000.00 | 6000.00 | Hue Service Pvt. Ltd.
5.03 | Fixing, Termination, Testing and Commissioning of IO Box (Dual Module) including Back box & Face plate with Marking | 60.00 | Nos. | 40.60 | 42.00 | 2520.00 | 40.00 | 2400.00 | 2400.00 | Hue Service Pvt. Ltd.
5.04 | Crimping and Testing of RJ45 Connector with Marking | 350.00 | Nos. | 10.15 | 5.25 | 1837.50 | 5.00 | 1750.00 | 1750.00 | Hue Service Pvt. Ltd.
5.05 | Installation, Marking, Testing and Commissioning of Cat6 12 port Jack Panel including Marking | 17.00 | Nos. | 406.00 | 441.00 | 7497.00 | 420.00 | 7140.00 | 7140.00 | Hue Service Pvt. Ltd.
5.06 | Installation, Marking, Testing and Commissioning of Cat6 24 port Jack Panel including Marking | 8.00 | Nos. | 507.50 | 525.00 | 4200.00 | 500.00 | 4000.00 | 4000.00 | Hue Service Pvt. Ltd.
5.07 | Installation, Marking, Testing and Commissioning of Cat6 48 port Jack Panel including Marking | 3.00 | Nos. | 812.00 | 829.50 | 2488.50 | 790.00 | 2370.00 | 2370.00 | Hue Service Pvt. Ltd.
5.08 | Laying of Outdoor OFC Cable 12 Core SM through HDPE Pipe/ GI Conduit/Raceway/ Cable Tray etc. | 11000.00 | Mtr. | 28.25 | 26.25 | 288750.00 | 25.00 | 275000.00 | 275000.00 | Hue Service Pvt. Ltd.
5.09 | Fixing, Termination, Testing and Commissioning of Outdoor Enclosure for 12 Core OFC including Pigtail Connectors, Patch Cords, Splicing, Marking etc. | 5.00 | Nos. | 3648.33 | 3360.00 | 16800.00 | 3200.00 | 16000.00 | 16000.00 | Hue Service Pvt. Ltd.
5.10 | Fixing, Termination, Testing and Commissioning of Fully Loaded LIU for 12 Core OFC including Pigtail Connectors, Patch Cords, Splicing, Marking etc. | 6.00 | Nos. | 4035.00 | 4084.50 | 24507.00 | 3890.00 | 23340.00 | 23340.00 | Hue Service Pvt. Ltd.
5.11 | Fixing, Termination, Testing and Commissioning of Fully Loaded LIU for 24 Core OFC including Pigtail Connectors, Patch Cords, Splicing, Marking etc. | 32.00 | Nos. | 6281.67 | 5460.00 | 174720.00 | 5200.00 | 166400.00 | 166400.00 | Hue Service Pvt. Ltd.
5.12 | Installation & Commissioning of Floor Mount 6U/9U Rack | 1.00 | Nos. | 406.00 | 367.50 | 367.50 | 350.00 | 350.00 | 350.00 | Hue Service Pvt. Ltd.
5.13 | Installation & Commissioning of Wall Mount 12U Rack | 17.00 | Nos. | 456.75 | 430.50 | 7318.50 | 410.00 | 6970.00 | 6970.00 | Hue Service Pvt. Ltd.
5.14 | Installation & Commissioning of Outdoor Mount 12U Rack | 8.00 | Nos. | 507.50 | 504.00 | 4032.00 | 480.00 | 3840.00 | 3840.00 | Hue Service Pvt. Ltd.
5.15 | Installation & Commissioning of 42 U Rack Smart Server Rack | 4.00 | Nos. | 2030.00 | 1953.00 | 7812.00 | 1860.00 | 7440.00 | 7440.00 | Hue Service Pvt. Ltd.
5.16 | Laying of PVC/ Metal Flexible | 150.00 | Mtr. | 15.23 | 14.70 | 2205.00 | 14.00 | 2100.00 | 2100.00 | Hue Service Pvt. Ltd.
5.17 | Laying of HDPE Pipe/ GI Conduit through Wall/ Raceway/ Cable Tray/ Existing Trench etc. | 2500.00 | Mtr. | 15.23 | 13.65 | 34125.00 | 13.00 | 32500.00 | 32500.00 | Hue Service Pvt. Ltd.
5.18 | Laying of HDPE Pipe/ GI Conduit through Soft Soil digging and back filling with sand & brick | 1500.00 | Mtr. | 228.38 | 232.05 | 348075.00 | 221.00 | 331500.00 | 331500.00 | Hue Service Pvt. Ltd.
5.19 | Laying of HDPE Pipe/ GI Conduit through Hard Soil digging and back filling with sand & brick | 1200.00 | Mtr. | 482.13 | 470.40 | 564480.00 | 448.00 | 537600.00 | 537600.00 | Hue Service Pvt. Ltd.
5.20 | Laying of HDPE Pipe/ GI Conduit through Concrete cutting and back filling with sand & brick including restoration of Concrete | 800.00 | Mtr. | 888.13 | 721.35 | 577080.00 | 687.00 | 549600.00 | 549600.00 | Hue Service Pvt. Ltd.
5.21 | Laying of HDPE Pipe/ GI Conduit through Road cutting and back filling with sand & brick including restoration of Road | 500.00 | Mtr. | 824.94 | 837.90 | 418950.00 | 798.00 | 399000.00 | 399000.00 | Hue Service Pvt. Ltd.
5.22 | Laying of HDPE Pipe/ GI Conduit through Micro- Tunnelling (HDD) | 5500.00 | Mtr. | 456.21 | 310.80 | 1709400.00 | 296.00 | 1628000.00 | 1628000.00 | Hue Service Pvt. Ltd.
5.23 | Laying/ Fixing of PVC Channel/ Conduit/ Box Channel through Wall/ Raceway/ Cable Tray/ Existing Trench/ False Ceiling etc. | 4000.00 | Mtr. | 9.14 | 7.35 | 29400.00 | 7.00 | 28000.00 | 28000.00 | Hue Service Pvt. Ltd.
5.24 | Laying & Fixing of Tray through Wall/Raceway/Trench/Ceiling etc | 20.00 | Mtr. | 311.56 | 210.00 | 4200.00 | 200.00 | 4000.00 | 4000.00 | Hue Service Pvt. Ltd.
5.25 | Installation of MS-Pole - 6 Mtr | 4.00 | Nos. | 3381.25 | 3360.00 | 13440.00 | 3200.00 | 12800.00 | 12800.00 | Hue Service Pvt. Ltd.
5.26 | Installation of MS-Pole - 4 Mtr | 4.00 | Nos. | 2589.17 | 3150.00 | 12600.00 | 3000.00 | 12000.00 | 12000.00 | Hue Service Pvt. Ltd.
5.27 | Installation of OFC Route Marker - Concrete | 20.00 | Nos. | 252.25 | 315.00 | 6300.00 | 300.00 | 6000.00 | 6000.00 | Hue Service Pvt. Ltd.
5.28 | Installation of OFC Route Marker - Frangible | 60.00 | Nos. | 252.25 | 265.65 | 15939.00 | 253.00 | 15180.00 | 15180.00 | Hue Service Pvt. Ltd.
5.29 | Supply & Installation of Manhole Chambers 3ft x 3ft x 3ft along with Cover | 22.00 | Nos. | 10100.00 | 13860.00 | 304920.00 | 13200.00 | 290400.00 | 290400.00 | Hue Service Pvt. Ltd.
5.30 | Installation, Configuration, Testing & Commissioning of Supply of Router | 2.00 | Nos. | 6229.17 | 6300.00 | 12600.00 | 6000.00 | 12000.00 | 12000.00 | Hue Service Pvt. Ltd.
5.31 | Installation, Configuration, Testing & Commissioning of Core Switch | 4.00 | Nos. | 6229.17 | 6300.00 | 25200.00 | 6000.00 | 24000.00 | 24000.00 | Hue Service Pvt. Ltd.
5.32 | Installation, Configuration, Testing & Commissioning of L2 Switches 12,24 or 48 Ports etc | 28.00 | Nos. | 2537.50 | 2403.45 | 67296.60 | 2289.00 | 64092.00 | 64092.00 | Hue Service Pvt. Ltd.
5.33 | Installation, Configuration, Testing & Commissioning of Wireless Controller | 1.00 | Nos. | 6229.17 | 6195.00 | 6195.00 | 5900.00 | 5900.00 | 5900.00 | Hue Service Pvt. Ltd.
5.34 | Installation, Configuration, Testing & Commissioning of 10G SFP Module/ Copper Module etc | 160.00 | Nos. | 126.88 | 105.00 | 16800.00 | 100.00 | 16000.00 | 16000.00 | Hue Service Pvt. Ltd.
5.35 | Installation, Configuration, Testing & Commissioning of Wireless Access Point | 18.00 | Nos. | 380.63 | 315.00 | 5670.00 | 300.00 | 5400.00 | 5400.00 | Hue Service Pvt. Ltd.
5.36 | Installation, Configuration, Testing & Commissioning of Server HCI Compliant with Min 64 GB RAM | 2.00 | Nos. | 6343.75 | 5250.00 | 10500.00 | 5000.00 | 10000.00 | 10000.00 | Hue Service Pvt. Ltd.
5.37 | Installation, Configuration, Testing & Commissioning of Network Management Software | 1.00 | Nos. | 6343.75 | 6300.00 | 6300.00 | 6000.00 | 6000.00 | 6000.00 | Hue Service Pvt. Ltd.
5.38 | Installation, Configuration, Testing & Commissioning of Display Monitor 49 inches along with HDMI Cable 10 Meter for Connection with Server | 2.00 | Nos. | 2537.50 | 2100.00 | 4200.00 | 2000.00 | 4000.00 | 4000.00 | Hue Service Pvt. Ltd.
5.39 | Installation, Configuration, Testing & Commissioning of 2KVA Rack Mountable UPS with Integrated Batteries | 14.00 | Nos. | 2358.33 | 2100.00 | 29400.00 | 2000.00 | 28000.00 | 28000.00 | Hue Service Pvt. Ltd.
5.40 | Documentation, Testing & Commissioning of Entire Solution | 1.00 | Nos. | 9135.00 | 26250.00 | 26250.00 | 25000.00 | 25000.00 | 25000.00 | Hue Service Pvt. Ltd.
5.41 | OTDR & Report Submission for 12 Core OFC Cable for entire solution | 1.00 | Job | 15225.00 | 26250.00 | 26250.00 | 25000.00 | 25000.00 | 25000.00 | Hue Service Pvt. Ltd.
5.42 | Penta Scan & Report Submission for UTP Cable for entire solution | 1.00 | Job | 11100.00 | 18900.00 | 18900.00 | 18000.00 | 18000.00 | 18000.00 | Hue Service Pvt. Ltd.
6.00 | Network Maintenance Support
6.01 | Deployment of Network Support Engineer - High Skilled 1 no | 24.00 | month | 0.00 | 34738.20 | 833716.80 | 33084.00 | 794016.00 | 794016.00 | Hue Service Pvt. Ltd.
6.02 | Deployment Network Support Assistant - Semi-Skilled 1 no | 24.00 | month | 0.00 | 30537.15 | 732891.60 | 29083.00 | 697992.00 | 697992.00 | Hue Service Pvt. Ltd.
| Total in Figures |  |  |  |  | 47171552.38 |  | 44925287.98
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | Binary Solutions Pvt Ltd | 44925288 | 37288004.00 | Three Crore Seventy Two Lakh Eighty Eight Thousand Four
2 | Hue Service Pvt. Ltd. | 44925288 | 36838752.00 | Three Crore Sixty Eight Lakh Thirty Eight Thousand Seven Hundred and Fifty Two
Lowest Amount Quoted BY: Hue Service Pvt. Ltd.(3.6838752E7)

## BOQ Summary
BOQ Summary Details Tender Title: SITC of IT Network components at Deoghar Airport Tender ID: 2020_AAI_45072_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Hue Service Pvt. Ltd. | 44925287.98 | L1
| 2 | Binary Solutions Pvt Ltd | 47171552.38 | L2