## BoQ1
Government eProcurement System Created By: TANSUKH TANSUKH Created Date/Time: 11-May-2020 01:41 PM Tender Title: Replacement of existing motors and water supply pumping sets at LGBI Airport, Guwahati. Tender ID: 2020_AAI_45274_1
Tender Inviting Authority: Senior Manager (Engg – Elect), AAI, LGBI Airport, Guwahati, Assam – 781015
Name of Work: Replacement of existing motors and water supply pumping sets at LGBI Airport, Guwahati.
Contract No: AAI/SM(E-E)/NIT-32/2019-20
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | RIMA ELECTRICALS
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of extended shaft 5.5 KW, 960 RPM, energy efficient (IE3) cooling tower application induction motor suitable for operation on three phase 415 volts, +10%, 50 HZ AC supply. Make: ABB(M2BAX132MLA6) or similar equivalent complete as per enclosed technical details and specifications. | 6.00 | Each |  | 37137.00 | 222822.00 | 222822.00 | RIMA ELECTRICALS
2.00 | Supply of 10 HP capacity horizontal Submersible motor pumpset having CI impellers and capable of delivering 1200-570 LPM at a head range of 14-40 metres and suitable for operation on three phase, 415 volts, +10%, 50 HZ AC supply complete as per enclosed technical details and specifications. | 1.00 | Each |  | 54383.00 | 54383.00 | 54383.00 | RIMA ELECTRICALS
3.00 | Supply of 15 HP capacity monoblock motor pumpset having CI impellers and capable of delivering 1150-750 LPM at a head of range of 32-50 metres and suitable for operation on three phase , 415 Volts, +10%, 50 HZ AC supply complete as per enclosed technical details and specifications. | 1.00 | Each |  | 34543.00 | 34543.00 | 34543.00 | RIMA ELECTRICALS
4.00 | Supply of suitable HP capacity 6 stage Submersible motor pumpset of 80 mm discharge size and capable of delivering 240-1080 LPM at a head range of 60-17 metres complete as per enclosed technical details & specifications. | 2.00 | Each |  | 47832.00 | 95664.00 | 95664.00 | RIMA ELECTRICALS
| Total in Figures |  |  |  |  | 407412.00
Lowest Amount Quoted BY: RIMA ELECTRICALS(407412.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of existing motors and water supply pumping sets at LGBI Airport, Guwahati. Tender ID: 2020_AAI_45274_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | RIMA ELECTRICALS | 407412.00 | L1