## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 18-Jun-2020 11:58 AM Tender Title: Annual Maintenance Contract of Electrical and Mechanical Installations of Non Operational Area at JPNI Airport Tender ID: 2020_AAI_45556_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Annual Maintenance Contract of Electrical & Mechanical Installations for Non-Operational Area at J.P.N.I. Airport, Patna. (For the year 2020-2022).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Techno Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | S. N ELECTRICALS |  | SAURABH ENTERPRISES |  | CIS ELECTRICALS PVT LTD |  | M/S RAMASHRAY SINGH
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing Annual maintenance services of Electrical and Mechanical Installations for Power House area i.e Sub-Station, Power House, DG room,Solar system, CISF Barrack,Project office, Pump Room,STP, Car Park Area,street light etc. covering the scope of operation,prevntive and breakdown maintenance, taking rectification action, ensuring serviceability , satisfactory working condition of the system, preventive maintenance, maintenance of records/documents etc. by engaging manpower round the clock basis on all days including sundays & holidays as per detailed specifications, terms & conditions covered under this contract.
1.10 | For 1st Year(Period:- 2020-2021) | 12.00 | Month |  | 429000.00 | 5148000.00 | 449663.00 | 5395956.00 | 435000.00 | 5220000.00 | 478200.00 | 5738400.00 | 458000.00 | 5496000.00 | 440000.00 | 5280000.00 | 433050.00 | 5196600.00 | 5148000.00 | ABHISHEK ASSOCIATES
1.20 | For 2nd Year(Period:2021-2022) | 12.00 | Month |  | 429000.00 | 5148000.00 | 451253.00 | 5415036.00 | 438000.00 | 5256000.00 | 471200.00 | 5654400.00 | 458000.00 | 5496000.00 | 442000.00 | 5304000.00 | 433050.00 | 5196600.00 | 5148000.00 | ABHISHEK ASSOCIATES
2.00 | Rewinding of the following with Cu-winding wires of required size including less for dismantled copper wire i/c transportation etc. as required (Dismantle cu-wire need not to return).
2.10 | Ceiling fans (Upto 1400mm Sweep) | 100.00 | Job |  | 100.00 | 10000.00 | 200.00 | 20000.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 25.00 | 2500.00 | 350.00 | 35000.00 | 442.74 | 44274.00 | 2500.00 | SAURABH ENTERPRISES
2.20 | Exhaust fans (Upto 300 mm Sweep) | 20.00 | Job |  | 75.00 | 1500.00 | 275.00 | 5500.00 | 200.00 | 4000.00 | 150.00 | 3000.00 | 30.00 | 600.00 | 500.00 | 10000.00 | 368.95 | 7379.00 | 600.00 | SAURABH ENTERPRISES
2.30 | Replacement of bearings(2nos.)/bushes for above fans | 120.00 | Job |  | 50.00 | 6000.00 | 80.00 | 9600.00 | 50.00 | 6000.00 | 75.00 | 9000.00 | 20.00 | 2400.00 | 70.00 | 8400.00 | 147.58 | 17709.60 | 2400.00 | SAURABH ENTERPRISES
3.00 | Rewinding of burnt motor of submersible pump motor set capacity upto 3 HP with suitable size of Cu-winding wires including sealing of pump motor with sealant material, testing i/c transportation etc. as required. (Burnt Cu Wire need not to return ) | 2.00 | Job |  | 500.00 | 1000.00 | 1500.00 | 3000.00 | 2400.00 | 4800.00 | 1500.00 | 3000.00 | 25.00 | 50.00 | 1600.00 | 3200.00 | 5142.43 | 10284.86 | 50.00 | SAURABH ENTERPRISES
4.00 | Rewinding of burnt motor of submersible pump motor set size 15HP with suitable size of Cu-winding wires including sealing of pump motor with sealant material, testing i/c transportation etc. complete as required. (Burnt Cu Wire need not to return). | 4.00 | Job |  | 1000.00 | 4000.00 | 3525.00 | 14100.00 | 2000.00 | 8000.00 | 1500.00 | 6000.00 | 10.00 | 40.00 | 4000.00 | 16000.00 | 10000.00 | 40000.00 | 40.00 | SAURABH ENTERPRISES
5.00 | Supply of 12 volt 180 Ampere hour capacity lead acid heavy duty battery without initial charging as reqd.(Make: Exide Xpress Model:-XP-1800 or equivalent approved) | 8.00 | Each |  | 10000.00 | 80000.00 | 16526.00 | 132208.00 | 14000.00 | 112000.00 | 14500.00 | 116000.00 | 10.00 | 80.00 | 15000.00 | 120000.00 | 10777.03 | 86216.24 | 80.00 | SAURABH ENTERPRISES
6.00 | Supply of 12 volt 80 Ampere hour capacity lead acid heavy duty battery without initial charging as reqd.(Make: Exide Xpress Model:-XP-800 or equivalent approved) | 3.00 | Each |  | 5800.00 | 17400.00 | 12456.00 | 37368.00 | 9000.00 | 27000.00 | 10500.00 | 31500.00 | 10.00 | 30.00 | 6000.00 | 18000.00 | 4911.46 | 14734.38 | 30.00 | SAURABH ENTERPRISES
7.00 | Supplying & topping of new insulating transformer oil (ISI mark conforming to IS 335-1993) having BDV not less than 50 KV on existing 11 KV Transformer, AVR etc. complete as required. | 400.00 | Ltr |  | 110.00 | 44000.00 | 145.00 | 58000.00 | 100.00 | 40000.00 | 110.00 | 44000.00 | 10.00 | 4000.00 | 115.00 | 46000.00 | 90.00 | 36000.00 | 4000.00 | SAURABH ENTERPRISES
8.00 | Servicing of ACBs of various make having capacity of 800A to 1600A i/c drawing out of breaker , cleaning of all contact parts, applying gel, termination of all control wires etc. Repositioning the same, testing and commissioning the breaker, submission of reports etc complete as required. | 16.00 | Job |  | 2500.00 | 40000.00 | 1898.00 | 30368.00 | 5000.00 | 80000.00 | 2000.00 | 32000.00 | 10.00 | 160.00 | 4500.00 | 72000.00 | 685.57 | 10969.12 | 160.00 | SAURABH ENTERPRISES
9.00 | Servicing of Yule - Make, 11 KV VCBs i/c drawing out of breaker, cleaning of all contact parts, applying gel, termination of all control wires etc. Repositioning the same, testing and commissioning the breaker, submission of reports etc complete as required. (Spares will be supplied by AAI ). | 6.00 | Job |  | 4500.00 | 27000.00 | 2758.00 | 16548.00 | 5000.00 | 30000.00 | 2500.00 | 15000.00 | 10.00 | 60.00 | 6000.00 | 36000.00 | 15084.15 | 90504.90 | 60.00 | SAURABH ENTERPRISES
10.00 | Filteration of transformer oil including dehydration & removal of carbon particles in order to improve the Breakdown voltage strength of the oil including BDV testing before & after filteration and submission of test report for existing 11KV Transformer,HT AVR etc. complete as required. | 6000.00 | Ltr |  | 8.00 | 48000.00 | 10.00 | 60000.00 | 10.00 | 60000.00 | 10.50 | 63000.00 | 10.00 | 60000.00 | 6.00 | 36000.00 | 20.00 | 120000.00 | 36000.00 | CIS ELECTRICALS PVT LTD
11.00 | Calibration and testing of IDMT relays through secondary injection machine which is having valid calibration certificate and submission of test reports as required. | 18.00 | Job |  | 2000.00 | 36000.00 | 2123.00 | 38214.00 | 2000.00 | 36000.00 | 1500.00 | 27000.00 | 5.00 | 90.00 | 2500.00 | 45000.00 | 3438.28 | 61889.04 | 90.00 | SAURABH ENTERPRISES
12.00 | Calibration and testing of measuring instruments i.e Insulation tester, Clip on Meter, Earth Tester etc and submission of test reports as required. | 10.00 | Job |  | 700.00 | 7000.00 | 1252.00 | 12520.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 5.00 | 50.00 | 1200.00 | 12000.00 | 2057.27 | 20572.70 | 50.00 | SAURABH ENTERPRISES
13.00 | Calibration and testing of Buchlotz Relay for 11/.433 KV Indoor Oil Cooled Transformers and submission of test reports as required. | 6.00 | Job |  | 1500.00 | 9000.00 | 1569.00 | 9414.00 | 2000.00 | 12000.00 | 1000.00 | 6000.00 | 5.00 | 30.00 | 2000.00 | 12000.00 | 3428.28 | 20569.68 | 30.00 | SAURABH ENTERPRISES
14.00 | Dismantling,Lifting,repairing and lowering capacity upto 3 H.P. submersible pump motor set i/c column pipe,cable, ,jointing of submersible cable and sealing of pump motor with sealant material, testing commissioning including arranging of tripod stand, chain pulley block etc.complete as required. | 2.00 | Job |  | 1500.00 | 3000.00 | 4000.00 | 8000.00 | 2000.00 | 4000.00 | 1000.00 | 2000.00 | 5.00 | 10.00 | 3000.00 | 6000.00 | 5142.43 | 10284.86 | 10.00 | SAURABH ENTERPRISES
15.00 | Dismantling,Lifting, repairing and lowering of 12.5/15 H.P. submersible pump motor set i/c column pipe,cable, jointing of submersible cable and making connection,testing commissioning including arranging of tripod stand, chain pulley block etc.complete as required. | 4.00 | Job |  | 1500.00 | 6000.00 | 6500.00 | 26000.00 | 2000.00 | 8000.00 | 1000.00 | 4000.00 | 5.00 | 20.00 | 6500.00 | 26000.00 | 8227.59 | 32910.36 | 20.00 | SAURABH ENTERPRISES
16.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FR PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FR PVC insulated copper conductor single core cable etc as required. Group B | 20.00 | Point |  | 100.00 | 2000.00 | 400.00 | 8000.00 | 200.00 | 4000.00 | 750.00 | 15000.00 | 5.00 | 100.00 | 700.00 | 14000.00 | 534.98 | 10699.60 | 100.00 | SAURABH ENTERPRISES
17.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required
17.10 | 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 100.00 | Metre |  | 8.00 | 800.00 | 113.00 | 11300.00 | 35.00 | 3500.00 | 110.00 | 11000.00 | 5.00 | 500.00 | 35.00 | 3500.00 | 87.07 | 8707.00 | 500.00 | SAURABH ENTERPRISES
17.20 | 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 100.00 | Metre |  | 9.00 | 900.00 | 145.00 | 14500.00 | 50.00 | 5000.00 | 125.00 | 12500.00 | 10.00 | 1000.00 | 45.00 | 4500.00 | 109.95 | 10995.00 | 900.00 | ABHISHEK ASSOCIATES
17.30 | 2 X 4 sq. mm + 1 X 4 sq. mm earth wire | 100.00 | Metre |  | 10.00 | 1000.00 | 165.00 | 16500.00 | 70.00 | 7000.00 | 150.00 | 15000.00 | 10.00 | 1000.00 | 60.00 | 6000.00 | 137.25 | 13725.00 | 1000.00 | SAURABH ENTERPRISES, ABHISHEK ASSOCIATES
17.40 | 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 50.00 | Metre |  | 11.00 | 550.00 | 185.00 | 9250.00 | 100.00 | 5000.00 | 235.00 | 11750.00 | 10.00 | 500.00 | 70.00 | 3500.00 | 228.75 | 11437.50 | 500.00 | SAURABH ENTERPRISES
17.50 | 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 50.00 | Metre |  | 12.00 | 600.00 | 200.00 | 10000.00 | 120.00 | 6000.00 | 190.00 | 9500.00 | 10.00 | 500.00 | 90.00 | 4500.00 | 181.52 | 9076.00 | 500.00 | SAURABH ENTERPRISES
18.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
18.10 | 1 x 1.5 sq. mm | 200.00 | Mtr |  | 8.00 | 1600.00 | 18.00 | 3600.00 | 15.00 | 3000.00 | 25.00 | 5000.00 | 10.00 | 2000.00 | 15.00 | 3000.00 | 30.00 | 6000.00 | 1600.00 | ABHISHEK ASSOCIATES
18.20 | 3 x 1.5 sq. mm | 100.00 | Mtr |  | 9.00 | 900.00 | 45.00 | 4500.00 | 40.00 | 4000.00 | 45.00 | 4500.00 | 10.00 | 1000.00 | 18.00 | 1800.00 | 50.00 | 5000.00 | 900.00 | ABHISHEK ASSOCIATES
18.30 | 3 x 2.5 sq. mm | 100.00 | Mtr |  | 10.00 | 1000.00 | 59.00 | 5900.00 | 70.00 | 7000.00 | 55.00 | 5500.00 | 10.00 | 1000.00 | 25.00 | 2500.00 | 80.00 | 8000.00 | 1000.00 | SAURABH ENTERPRISES, ABHISHEK ASSOCIATES
18.40 | 3 x 4 sq. mm | 100.00 | Mtr |  | 11.00 | 1100.00 | 121.00 | 12100.00 | 100.00 | 10000.00 | 95.00 | 9500.00 | 10.00 | 1000.00 | 50.00 | 5000.00 | 125.00 | 12500.00 | 1000.00 | SAURABH ENTERPRISES
19.00 | Supplying and fixing of following sizes of medium class PVC conduit along with accessories in surface/recess including cutting the wall and making good the same in case of recessed conduit as required.
19.10 | 20 mm | 100.00 | Mtr |  | 8.00 | 800.00 | 75.00 | 7500.00 | 40.00 | 4000.00 | 60.00 | 6000.00 | 10.00 | 1000.00 | 50.00 | 5000.00 | 56.82 | 5682.00 | 800.00 | ABHISHEK ASSOCIATES
19.20 | 25 mm | 50.00 | Mtr |  | 9.00 | 450.00 | 85.00 | 4250.00 | 50.00 | 2500.00 | 70.00 | 3500.00 | 10.00 | 500.00 | 70.00 | 3500.00 | 63.46 | 3173.00 | 450.00 | ABHISHEK ASSOCIATES
20.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
20.10 | 5/6 amps switch | 50.00 | Each |  | 8.00 | 400.00 | 65.00 | 3250.00 | 50.00 | 2500.00 | 65.00 | 3250.00 | 10.00 | 500.00 | 300.00 | 15000.00 | 70.84 | 3542.00 | 400.00 | ABHISHEK ASSOCIATES
20.20 | 15/16 amp switch | 60.00 | Each |  | 9.00 | 540.00 | 102.00 | 6120.00 | 100.00 | 6000.00 | 100.00 | 6000.00 | 10.00 | 600.00 | 400.00 | 24000.00 | 149.06 | 8943.60 | 540.00 | ABHISHEK ASSOCIATES
20.30 | 3 pin 5/6 amp socket outlet | 50.00 | Each |  | 10.00 | 500.00 | 63.00 | 3150.00 | 50.00 | 2500.00 | 80.00 | 4000.00 | 10.00 | 500.00 | 450.00 | 22500.00 | 106.26 | 5313.00 | 500.00 | SAURABH ENTERPRISES, ABHISHEK ASSOCIATES
20.40 | 6 pin 15/16 amp socket outlet | 60.00 | Each |  | 11.00 | 660.00 | 102.00 | 6120.00 | 100.00 | 6000.00 | 125.00 | 7500.00 | 10.00 | 600.00 | 550.00 | 33000.00 | 168.98 | 10138.80 | 600.00 | SAURABH ENTERPRISES
21.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
21.10 | 3 Module (100mmX75mm) | 30.00 | Each |  | 8.00 | 240.00 | 113.00 | 3390.00 | 50.00 | 1500.00 | 125.00 | 3750.00 | 10.00 | 300.00 | 300.00 | 9000.00 | 201.45 | 6043.50 | 240.00 | ABHISHEK ASSOCIATES
21.20 | 6 Module (200mmX75mm) | 20.00 | Each |  | 9.00 | 180.00 | 155.00 | 3100.00 | 50.00 | 1000.00 | 125.00 | 2500.00 | 10.00 | 200.00 | 300.00 | 6000.00 | 279.66 | 5593.20 | 180.00 | ABHISHEK ASSOCIATES
21.30 | 8 Module (125mmX125mm) | 15.00 | Each |  | 10.00 | 150.00 | 185.00 | 2775.00 | 50.00 | 750.00 | 125.00 | 1875.00 | 10.00 | 150.00 | 300.00 | 4500.00 | 331.32 | 4969.80 | 150.00 | SAURABH ENTERPRISES, ABHISHEK ASSOCIATES
21.40 | 12 Module (200mmX150mm) | 5.00 | Each |  | 11.00 | 55.00 | 200.00 | 1000.00 | 50.00 | 250.00 | 125.00 | 625.00 | 10.00 | 50.00 | 300.00 | 1500.00 | 380.76 | 1903.80 | 50.00 | SAURABH ENTERPRISES
22.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
22.10 | 6 way, Double door | 4.00 | Each |  | 50.00 | 200.00 | 1780.00 | 7120.00 | 2000.00 | 8000.00 | 2450.00 | 9800.00 | 10.00 | 40.00 | 1000.00 | 4000.00 | 800.00 | 3200.00 | 40.00 | SAURABH ENTERPRISES
22.20 | 12 way, Double door | 2.00 | Each |  | 60.00 | 120.00 | 2500.00 | 5000.00 | 4000.00 | 8000.00 | 4500.00 | 9000.00 | 10.00 | 20.00 | 1000.00 | 2000.00 | 1100.00 | 2200.00 | 20.00 | SAURABH ENTERPRISES
23.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 volts, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator)
23.10 | 4 way (4 + 12), Double door | 2.00 | Each |  | 70.00 | 140.00 | 4746.00 | 9492.00 | 1000.00 | 2000.00 | 3500.00 | 7000.00 | 10.00 | 20.00 | 3000.00 | 6000.00 | 2390.06 | 4780.12 | 20.00 | SAURABH ENTERPRISES
23.20 | 8 way (4 + 24), Double door | 2.00 | Each |  | 75.00 | 150.00 | 5859.00 | 11718.00 | 2000.00 | 4000.00 | 6500.00 | 13000.00 | 10.00 | 20.00 | 3000.00 | 6000.00 | 3623.09 | 7246.18 | 20.00 | SAURABH ENTERPRISES
24.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
24.10 | 3½ X 35 sq. mm (32mm) | 12.00 | Each |  | 20.00 | 240.00 | 250.00 | 3000.00 | 200.00 | 2400.00 | 400.00 | 4800.00 | 10.00 | 120.00 | 14.00 | 168.00 | 210.00 | 2520.00 | 120.00 | SAURABH ENTERPRISES
24.20 | 3½ X 70 sq. mm (28mm) | 10.00 | Each |  | 25.00 | 250.00 | 400.00 | 4000.00 | 300.00 | 3000.00 | 450.00 | 4500.00 | 10.00 | 100.00 | 18.00 | 180.00 | 350.00 | 3500.00 | 100.00 | SAURABH ENTERPRISES
24.30 | 3½ X 185 sq. mm (57mm) | 16.00 | Each |  | 30.00 | 480.00 | 425.00 | 6800.00 | 500.00 | 8000.00 | 500.00 | 8000.00 | 10.00 | 160.00 | 19.00 | 304.00 | 278.00 | 4448.00 | 160.00 | SAURABH ENTERPRISES
25.00 | Excavation for cable trenches in soft soil, depth upto 1.2 m including refilling of soil, dressing of sides i/c ramming, watering and getting out of disposal of surplus excavated soil as directed, within a lead of 50 metres. | 100.00 | Cum |  | 10.00 | 1000.00 | 300.00 | 30000.00 | 100.00 | 10000.00 | 150.00 | 15000.00 | 10.00 | 1000.00 | 200.00 | 20000.00 | 205.14 | 20514.00 | 1000.00 | SAURABH ENTERPRISES, ABHISHEK ASSOCIATES
26.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 6.00 | Set |  | 500.00 | 3000.00 | 12563.00 | 75378.00 | 12000.00 | 72000.00 | 8500.00 | 51000.00 | 10.00 | 60.00 | 1000.00 | 6000.00 | 7612.91 | 45677.46 | 60.00 | SAURABH ENTERPRISES
27.00 | Providing and fixing 25 mm X 5 mm copper strip in 40 mm dia G.I. pipe from earth electrode including connection with brass nut, bolt, spring, washer excavation and re-filling etc. as required. | 80.00 | Mtr |  | 100.00 | 8000.00 | 1050.00 | 84000.00 | 1200.00 | 96000.00 | 1050.00 | 84000.00 | 10.00 | 800.00 | 200.00 | 16000.00 | 796.93 | 63754.40 | 800.00 | SAURABH ENTERPRISES
28.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc. as required. | 50.00 | Mtr |  | 100.00 | 5000.00 | 785.00 | 39250.00 | 800.00 | 40000.00 | 850.00 | 42500.00 | 10.00 | 500.00 | 200.00 | 10000.00 | 654.52 | 32726.00 | 500.00 | SAURABH ENTERPRISES
29.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
29.10 | 70 sq. mm | 6.00 | Each |  | 1000.00 | 6000.00 | 2200.00 | 13200.00 | 2000.00 | 12000.00 | 2850.00 | 17100.00 | 10.00 | 60.00 | 4000.00 | 24000.00 | 1550.00 | 9300.00 | 60.00 | SAURABH ENTERPRISES
29.20 | 120 sq. mm | 4.00 | Each |  | 1000.00 | 4000.00 | 2500.00 | 10000.00 | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 10.00 | 40.00 | 4000.00 | 16000.00 | 1950.00 | 7800.00 | 40.00 | SAURABH ENTERPRISES
29.30 | 185 sq.mm | 4.00 | Each |  | 1200.00 | 4800.00 | 3000.00 | 12000.00 | 4000.00 | 16000.00 | 3000.00 | 12000.00 | 10.00 | 40.00 | 4000.00 | 16000.00 | 2500.00 | 10000.00 | 40.00 | SAURABH ENTERPRISES
29.40 | 240 sq. mm | 4.00 | Each |  | 1200.00 | 4800.00 | 3200.00 | 12800.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 10.00 | 40.00 | 4000.00 | 16000.00 | 2800.00 | 11200.00 | 40.00 | SAURABH ENTERPRISES
30.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required.
30.10 | 3 X 70 sq. mm (35mm) | 12.00 | Each |  | 5.00 | 60.00 | 300.00 | 3600.00 | 100.00 | 1200.00 | 400.00 | 4800.00 | 10.00 | 120.00 | 20.00 | 240.00 | 200.00 | 2400.00 | 60.00 | ABHISHEK ASSOCIATES
30.20 | 3 X 95 sq. mm (38mm) | 10.00 | Each |  | 6.00 | 60.00 | 350.00 | 3500.00 | 205.50 | 2055.00 | 400.00 | 4000.00 | 10.00 | 100.00 | 20.00 | 200.00 | 280.00 | 2800.00 | 60.00 | ABHISHEK ASSOCIATES
30.30 | 3 X 120 sq. mm (45mm) | 8.00 | Each |  | 6.00 | 48.00 | 400.00 | 3200.00 | 300.00 | 2400.00 | 500.00 | 4000.00 | 10.00 | 80.00 | 20.00 | 160.00 | 290.00 | 2320.00 | 48.00 | ABHISHEK ASSOCIATES
30.40 | 3 X 150 sq. mm (50mm) | 8.00 | Each |  | 6.00 | 48.00 | 450.00 | 3600.00 | 400.00 | 3200.00 | 500.00 | 4000.00 | 10.00 | 80.00 | 20.00 | 160.00 | 350.00 | 2800.00 | 48.00 | ABHISHEK ASSOCIATES
30.50 | 3 X 185 sq. mm (57mm) | 16.00 | Each |  | 7.00 | 112.00 | 450.00 | 7200.00 | 500.00 | 8000.00 | 600.00 | 9600.00 | 10.00 | 160.00 | 20.00 | 320.00 | 500.00 | 8000.00 | 112.00 | ABHISHEK ASSOCIATES
30.60 | 3 X 240 sq. mm (62mm) | 10.00 | Each |  | 7.00 | 70.00 | 525.00 | 5250.00 | 600.00 | 6000.00 | 600.00 | 6000.00 | 10.00 | 100.00 | 20.00 | 200.00 | 550.00 | 5500.00 | 70.00 | ABHISHEK ASSOCIATES
| Total in Figures |  |  |  |  | 10688903.00 |  | 11778245.00 |  | 11355555.00 |  | 12251650.00 |  | 11078780.00 |  | 11401832.00 |  | 11421627.70
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(10688903.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Maintenance Contract of Electrical and Mechanical Installations of Non Operational Area at JPNI Airport Tender ID: 2020_AAI_45556_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 10688903.00 | L1
| 2 | SAURABH ENTERPRISES | 11078780.00 | L2
| 3 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 11355555.00 | L3
| 4 | CIS ELECTRICALS PVT LTD | 11401832.00 | L4
| 5 | M/S RAMASHRAY SINGH | 11421627.70 | L5
| 6 | Techno Electricals | 11778245.00 | L6
| 7 | S. N ELECTRICALS | 12251650.00 | L7