## BoQ1
Government eProcurement System Created By: Uttam Kumar Rakshit Created Date/Time: 15-Jun-2020 05:17 PM Tender Title: Periodical Maintenance job service contract of FADS and FF system in terminal building (T1 and T2) NAVAIDS Installations Integrated Office Complex, CARGO Car parking and service block at B P I Airport Bhubaneswar Tender ID: 2020_AAI_45702_1
Tender Inviting Authority: AGM, Engg (E)-I, Airports Authority of India, B.P.I.Airport, Bhubaneswar.
Name of Work: Periodical Maintenance job service contract of FADS &FF system in terminal building (T1&T2), NAVAIDS Installations, Integrated Office Complex, CARGO, Car parking & service block at B.P.I Airport, Bhubaneswar.
Contract No: 2020_AAI_45702_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING |  | SALIMAX SYSTEMS AND CONTROLS ENGG |  | Sterling And Wilson Pvt. Ltd |  | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Preventive maintenance checks of Fire fighting installations, fire alarm detection system installed in fire pump rooms and terminal building (T1, T2), NAVAIDS & Integrated Office including maintaining of records /documents on all days in three shifts (24hrs) including Sundays and holidays as required, as per direction of EIC as specified including daily checks as per preventive maintenance schedule attached. | 24.00 | Month |  | 295000.00 | 7080000.00 | 266500.00 | 6396000.00 | 268500.00 | 6444000.00 | 301051.00 | 7225224.00 | 6396000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
2.00 | Routine maintenance/breakdown maintenance of Fire Alaram Control Panel by OEM/OEM authorised dealer and submission of necessary serviceability report. | 8.00 | Each |  | 10000.00 | 80000.00 | 30000.00 | 240000.00 | 16575.00 | 132600.00 | 550.00 | 4400.00 | 4400.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
3.00 | Supply of B check maintenance kit Including lube oil for diesel fire engine installed in T-1 , T-2 & Integrated office building (Each set consist of 3 Nos. diesel engines , two nos B check each year). | 4.00 | Set |  | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 13400.00 | 53600.00 | 32500.00 | 130000.00 | 40000.00 | CENTRE TAP ENGINEERING
4.00 | Service charge for Monthly Preventive Maintenance of fire engines installed at T-1, T-2 & Integrated office building including preventive checks and attending breakdown calls through OEM / OEM authorised dealer and submit the necessary report regarding serviceability as per site requirement. | 72.00 | Each |  | 1000.00 | 72000.00 | 6500.00 | 468000.00 | 4125.00 | 297000.00 | 1990.00 | 143280.00 | 72000.00 | CENTRE TAP ENGINEERING
5.00 | Service charge for dismantling of the diesel /Electric pump set, Core cutting of the concrete foundation , filling of cement concrete, Installation of AVM, Reinstallation of the diesel /Electric pump set on AVM with gasket, nut bolt & other accessories required to complete the job. | 3.00 | Job |  | 25000.00 | 75000.00 | 20000.00 | 60000.00 | 3200.00 | 9600.00 | 14500.00 | 43500.00 | 9600.00 | Sterling And Wilson Pvt. Ltd
6.00 | Supply of Anti Vibration Mounting suitable for existing diesel /Electric pump for Fire hydrant system . | 18.00 | Each |  | 3500.00 | 63000.00 | 5000.00 | 90000.00 | 400.00 | 7200.00 | 550.00 | 9900.00 | 7200.00 | Sterling And Wilson Pvt. Ltd
7.00 | Supply of display unit & card for following type Fire alarm and Control Panel.
7.01 | Display unit for 6 loop Addressable control panel (Make: Johnson control, Model: IFC2-3030D/IFC2-3030ND) | 1.00 | set |  | 20000.00 | 20000.00 | 25000.00 | 25000.00 | 59000.00 | 59000.00 | 2350.00 | 2350.00 | 2350.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
7.02 | Loop card for 6 loop Addressable control panel (Make: Johnson control, Model: IFC2-3030D/IFC2-3030ND) | 1.00 | Set |  | 20000.00 | 20000.00 | 23000.00 | 23000.00 | 60000.00 | 60000.00 | 2350.00 | 2350.00 | 2350.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
7.03 | Display unit for 4 Loop Addressable control panel (Make: IAS Morley, Model: DXC4 ) | 1.00 | set |  | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 35400.00 | 35400.00 | 28000.00 | 28000.00 | 20000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
7.04 | Loop card for 4 Loop Addressable control panel (Make: IAS Morley, Model: DXC4 ) | 1.00 | Set |  | 25000.00 | 25000.00 | 50000.00 | 50000.00 | 39000.00 | 39000.00 | 64000.00 | 64000.00 | 25000.00 | CENTRE TAP ENGINEERING
7.05 | Display unit 2 Loop Addressable control panel (Make: IAS Morley, Model: DXC2) | 1.00 | set |  | 25000.00 | 25000.00 | 20000.00 | 20000.00 | 35400.00 | 35400.00 | 28000.00 | 28000.00 | 20000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
7.06 | Loop card for 2 Loop Addressable control panel (Make: IAS Morley, Model: DXC2) | 1.00 | Set |  | 25000.00 | 25000.00 | 22000.00 | 22000.00 | 38000.00 | 38000.00 | 37900.00 | 37900.00 | 22000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
8.00 | Supply of SMPS & control card for 8 zone Fire Alarm control panel (Make: IAS Morley, Model: HRZ8E horizon, 8 zone panel) | 1.00 | Set |  | 25000.00 | 25000.00 | 85000.00 | 85000.00 | 8000.00 | 8000.00 | 1900.00 | 1900.00 | 1900.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
9.00 | Supply and fixing of following spares for Gas Suppression type fire extinguishing system.
9.01 | 24 V DC, electric actuator for triggering the cylinder assembly | 2.00 | Each |  | 5000.00 | 10000.00 | 35000.00 | 70000.00 | 1180.00 | 2360.00 | 14590.00 | 29180.00 | 2360.00 | Sterling And Wilson Pvt. Ltd
9.02 | Local manual/ pneumatic actuator for triggering the cylinder assembly | 2.00 | Each |  | 5000.00 | 10000.00 | 20000.00 | 40000.00 | 1180.00 | 2360.00 | 23500.00 | 47000.00 | 2360.00 | Sterling And Wilson Pvt. Ltd
9.03 | Low pressure switch for the cylinder assembly | 2.00 | Each |  | 5000.00 | 10000.00 | 15000.00 | 30000.00 | 1180.00 | 2360.00 | 190.00 | 380.00 | 380.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
9.04 | Manual Gas Release Station | 2.00 | Each |  | 1500.00 | 3000.00 | 10000.00 | 20000.00 | 1180.00 | 2360.00 | 550.00 | 1100.00 | 1100.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
9.05 | Manual Gas Abort Station | 2.00 | Each |  | 1500.00 | 3000.00 | 3200.00 | 6400.00 | 1180.00 | 2360.00 | 550.00 | 1100.00 | 1100.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
9.06 | Brass nozzle with orifices | 1.00 | Each |  | 2000.00 | 2000.00 | 3000.00 | 3000.00 | 1179.00 | 1179.00 | 370.00 | 370.00 | 370.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
9.07 | Auto dialer Module for existing Gas Suppression type fire extinguishing system | 2.00 | Each |  | 10000.00 | 20000.00 | 10000.00 | 20000.00 | 5900.00 | 11800.00 | 5500.00 | 11000.00 | 11000.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
10.00 | Supply of Single Landing Hydrant Valve with Female Coupling of following size with cast iron body, stainless steel Disc, Nitrile Rubber Seal & O- Ring, PN 16 pressure rating for hydrant pipe line complete as required. (Make:-Newage, Type-A inlet 80 mm, outlet 63 mm or equivalent )
10.01 | Inlet 80 mm & outlet 63 mm dia | 5.00 | Each |  | 6000.00 | 30000.00 | 6500.00 | 32500.00 | 4850.00 | 24250.00 | 2350.00 | 11750.00 | 11750.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
11.00 | Supply of Hydrant Fire Fighting Reinforced Rubber Lined Hose Pipe with brass male and female coupling . (Make:-Newage Type-A, 63 mm X 15 mtr, or equivalent) | 5.00 | Each |  | 6000.00 | 30000.00 | 5500.00 | 27500.00 | 785.00 | 3925.00 | 4150.00 | 20750.00 | 3925.00 | Sterling And Wilson Pvt. Ltd
12.00 | Supply of Butterfly valve (Manual type) of following size with cast iron body stainless steel disc, Nitrile Rubber seal & O- Ring, PN 16 pressure rating ,complete with nuts, bolts, washers, gaskets conforming to IS 13095
12.01 | 80 mm | 3.00 | Each |  | 5250.00 | 15750.00 | 6500.00 | 19500.00 | 4100.00 | 12300.00 | 919.00 | 2757.00 | 2757.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
12.02 | 150 mm | 2.00 | Each |  | 10500.00 | 21000.00 | 8500.00 | 17000.00 | 5200.00 | 10400.00 | 2350.00 | 4700.00 | 4700.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
13.00 | Supply of Intelligent addressable Photoelectric multi criteria smoke detectors with mounting base, LED indicator with electronic addressing feature to programme the detectors. complete as required , suitable for installation under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete as required.
13.01 | smoke detector (Make:-Johnson Controls, Model No:-2591J) | 5.00 | Each |  | 4500.00 | 22500.00 | 3200.00 | 16000.00 | 4260.00 | 21300.00 | 550.00 | 2750.00 | 2750.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
13.02 | smoke detector(Make:-Fire -Lite alarms Model No:-SD355). | 2.00 | Each |  | 2500.00 | 5000.00 | 3200.00 | 6400.00 | 4350.00 | 8700.00 | 1900.00 | 3800.00 | 3800.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
14.00 | Supply of Intelligent addressable Photoelectric multi criteria Heat Detectors with mounting base, LED indicator with electronic addressing feature to programme the detectors. Complete as required , suitable for installation under/above false ceiling, roof and concealed space, etc. interconnecting to loop cable complete as required. (Make:-Johnson Controls, Model No:-5951HJ) | 5.00 | Each |  | 3000.00 | 15000.00 | 3500.00 | 17500.00 | 4350.00 | 21750.00 | 550.00 | 2750.00 | 2750.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
15.00 | Supply of Sluice Valve (manual type) of following size with cast iron body , stainless steel Disc, Nitrile Rubber Seal & O- Ring, PN 16 pressure rating complete with nuts, bolts, washers, gaskets for hydrant pipe line complete as required. conforming to ISI/14846
15.01 | 200 mm | 2.00 | Each |  | 27000.00 | 54000.00 | 12000.00 | 24000.00 | 22000.00 | 44000.00 | 22600.00 | 45200.00 | 24000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
15.02 | 125 mm | 1.00 | Each |  | 22000.00 | 22000.00 | 9000.00 | 9000.00 | 19500.00 | 19500.00 | 7300.00 | 7300.00 | 7300.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
15.03 | 150 mm | 1.00 | Each |  | 24000.00 | 24000.00 | 10000.00 | 10000.00 | 18500.00 | 18500.00 | 8650.00 | 8650.00 | 8650.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
15.04 | 80 mm | 2.00 | Each |  | 8500.00 | 17000.00 | 8000.00 | 16000.00 | 13500.00 | 27000.00 | 4150.00 | 8300.00 | 8300.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
16.00 | Supply and installation of MS Hose cabinet (minimum size 770mm × 600mm × 260mm) with 6mm thick glazed glass doors including necessary locking arrangement and cabinet shall be painted with fire red colour shade No. 536 as per IS: 5 complete as per site requirement. | 1.00 | Each |  | 7000.00 | 7000.00 | 5000.00 | 5000.00 | 4251.00 | 4251.00 | 2800.00 | 2800.00 | 2800.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
17.00 | Supply of 80 mm dia , PN 16 (16 BAR) , Rubber Expansion Bellows fsuitable for standard fire hydrant system (Make: Sant or equivalent). | 1.00 | Each |  | 5250.00 | 5250.00 | 2500.00 | 2500.00 | 4473.00 | 4473.00 | 7300.00 | 7300.00 | 2500.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
18.00 | Supply of addressable type manual Call Point ( break glass type) complete with input Module, push button,enclosed in box with provision for cable or conduit coupling, self adhesive sticker indicating loop number and address. The unit to be painted fire red outside, white inside and written in case of fire break glass.(Make-Johnson Controls, Model no:-JBG-12LX) | 3.00 | Each |  | 6300.00 | 18900.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 2350.00 | 7050.00 | 7050.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
19.00 | Supply of optical / ionisation type smoke detector, conforming to UL/LPCB/FMI/EN-54, with all accessories viz : indicator, base, base box etc. suitable for installation on ceiling / false ceiling etc. complete as required.(Make:-System Sensor Model No:-2351E, conventional type) | 20.00 | Each |  | 1500.00 | 30000.00 | 700.00 | 14000.00 | 4351.00 | 87020.00 | 595.00 | 11900.00 | 11900.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
20.00 | Supply of intelligent addressable type audio visual hooter cum strobe with control module interconnecting to loop cable complete as required. The strobe shall be of wall/ surface mounted type and required as per tender specifications, terms & conditions.(Make: System sensor, Model no: P2R,) | 5.00 | Each |  | 3000.00 | 15000.00 | 2200.00 | 11000.00 | 3200.00 | 16000.00 | 2350.00 | 11750.00 | 11000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
21.00 | Supplying and filling of clean, odourless, colour less, UL listed and suitable for fire hazard of class - A, B & C fire suppression agent (Novec 1230 fire protection fluid) etc. complete as required. | 80.00 | Kg |  | 3500.00 | 280000.00 | 5000.00 | 400000.00 | 2150.00 | 172000.00 | 3790.00 | 303200.00 | 172000.00 | Sterling And Wilson Pvt. Ltd
22.00 | Supplying of 2 x 1.5 Sq. mm Copper conductor, XLPE /PVC insulated 1.1KV grade , GI wire armoured ,PVC sheathed cable conforming to IS 7098 (Part 1) 1988 with upto date amendments etc. complete as required. | 50.00 | mtr |  | 110.00 | 5500.00 | 60.00 | 3000.00 | 130.00 | 6500.00 | 73.00 | 3650.00 | 3000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
23.00 | Supply of Line Interactive UPS OF 600VA capacity Make: APC or equivalent. | 7.00 | Each |  | 6000.00 | 42000.00 | 2800.00 | 19600.00 | 2100.00 | 14700.00 | 3250.00 | 22750.00 | 14700.00 | Sterling And Wilson Pvt. Ltd
24.00 | Supply of Ball valve (manual type) of 25mm size with cast iron body stainless steel Disc, Nitrile Rubber Seal & O- Ring, PN 16 pressure rating for hydrant pipe line complete as required. | 5.00 | Each |  | 2000.00 | 10000.00 | 1000.00 | 5000.00 | 375.00 | 1875.00 | 415.00 | 2075.00 | 1875.00 | Sterling And Wilson Pvt. Ltd
25.00 | Supply of pressure switch of range 0 to 7 kg / cm2 and diff 0.6 to 6 kg/cm2 for the fire pump assembly etc. Complete as required as per site condition. | 4.00 | Each |  | 3500.00 | 14000.00 | 2500.00 | 10000.00 | 1500.00 | 6000.00 | 2350.00 | 9400.00 | 6000.00 | Sterling And Wilson Pvt. Ltd
26.00 | Supply of pressure gauge of maximum capacity 16kg , stainless steel body, for the fire pump assembly etc. Complete as required as per site condition. | 4.00 | Each |  | 1500.00 | 6000.00 | 1400.00 | 5600.00 | 6500.00 | 26000.00 | 550.00 | 2200.00 | 2200.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
27.00 | Supply of 12volt, maintenance free lead acid battery of following AH capacity for Fire alarm panel with connector terminals.
27.01 | 150 AH Make : exide , model xpress xp1500 or equivalent | 2.00 | Each |  | 20000.00 | 40000.00 | 25000.00 | 50000.00 | 13000.00 | 26000.00 | 11980.00 | 23960.00 | 23960.00 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD
27.02 | 7 AH Make : exide or equivalent | 20.00 | Each |  | 3200.00 | 64000.00 | 900.00 | 18000.00 | 1350.00 | 27000.00 | 991.00 | 19820.00 | 18000.00 | SALIMAX SYSTEMS AND CONTROLS ENGG
| Total in Figures |  |  |  |  | 8426900.00 |  | 8496500.00 |  | 7856023.00 |  | 8357496.00
Lowest Amount Quoted BY: Sterling And Wilson Pvt. Ltd(7856023.00)

## BOQ Summary
BOQ Summary Details Tender Title: Periodical Maintenance job service contract of FADS and FF system in terminal building (T1 and T2) NAVAIDS Installations Integrated Office Complex, CARGO Car parking and service block at B P I Airport Bhubaneswar Tender ID: 2020_AAI_45702_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Sterling And Wilson Pvt. Ltd | 7856023.00 | L1
| 2 | FIRE AND SAFETY TECHNOLOGY SERVICE PVT LTD | 8357496.00 | L2
| 3 | CENTRE TAP ENGINEERING | 8426900.00 | L3
| 4 | SALIMAX SYSTEMS AND CONTROLS ENGG | 8496500.00 | L4