## BoQ1
Government eProcurement System Created By: SREEDHAR P V Created Date/Time: 26-May-2020 04:17 PM Tender Title: Transformer Oil Filtration, Calibration of Protective and Metering Devices, Servicing of Circuit Breakers etc at Bangalore Airport Tender ID: 2020_AAI_45798_1
Tender Inviting Authority: Asst.General Manager (Engg. – Electrical), AAI, Bangalore
Name of Work:Transformer oil filtration, calibration of protective and metering devices, servicing of Circuit Breakers etc. at Bangalore Airport.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Reltec Engineers
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH : 1 - Relay / meter testing
1.10 | Testing, callibration and recommissioning of analog relay set ( 2 over current + 1 Earth fault) of models eg CDG-31( Alstom),TJM10 / 2TJM 100 (Easun Reyrolle) etc. with secondary injection kit etc. complete as required. | 9.00 | Set |  | 600.00 | 5400.00 | 5400.00 | Reltec Engineers
1.20 | Testing, callibration and recommissioning of analog auxiliary relays ( for Buchholz realy etc.) with secondary injection kit etc. | 5.00 | Each |  | 400.00 | 2000.00 | 2000.00 | Reltec Engineers
1.30 | Testing, callibration and recommissioning of digital APFC relays(L&T / syntron / PTL/ AE) etc. | 4.00 | Each |  | 600.00 | 2400.00 | 2400.00 | Reltec Engineers
1.40 | Testing, callibration and recommissioning of digital OV / UV relay (JRV014 of JVS etc..) with phantom loading etc. complete as required. | 2.00 | Each |  | 400.00 | 800.00 | 800.00 | Reltec Engineers
1.50 | Testing, callibration and recommissioning of digital Earth fault relay (ELO-3 of PYOKDUS' etc..) with phantom loading etc. | 6.00 | Each |  | 400.00 | 2400.00 | 2400.00 | Reltec Engineers
1.60 | Testing, callibration and recommissioning of analog / digital trivecto meter with secondary injection kit etc. | 4.00 | Each |  | 600.00 | 2400.00 | 2400.00 | Reltec Engineers
1.70 | Testing, callibration and recommissioning of digital power analyzer / Multi function meter with secondary injection kit etc. complete as required. | 15.00 | Each |  | 750.00 | 11250.00 | 11250.00 | Reltec Engineers
1.80 | Testing, callibration and recommissioning of analogue / digital ammeter( Conzerv / AE / Meco/ EIC etc.) with phantom loading etc. complete as required. | 118.00 | Each |  | 300.00 | 35400.00 | 35400.00 | Reltec Engineers
1.90 | Testing, callibration and recommissioning of analogue / digital volt meter( Conzerv / AE / Meco/ EIC etc.) with phantom loading etc. complete as required. | 96.00 | Each |  | 300.00 | 28800.00 | 28800.00 | Reltec Engineers
2.00 | Testing, callibration and recommissioning of single core or double core current trnasformers for protection relays or metering ckts of HV/ MV Installations with secondary injection kit etc. complete as required. | 10.00 | Each |  | 800.00 | 8000.00 | 8000.00 | Reltec Engineers
2.10 | Testing and callibration of analogue / digital clamp meter( Make VAR Tech up to 1000amps etc.) etc. complete as required. | 1.00 | Each |  | 1000.00 | 1000.00 | 1000.00 | Reltec Engineers
2.20 | Testing and callibration of analogue / digital cable Megger( Make MECO,5000Vetc.) etc. complete as required. | 1.00 | Each |  | 1700.00 | 1700.00 | 1700.00 | Reltec Engineers
2.30 | Testing and callibration of analogue / digital Earth Megger( Make MECO,5000Vetc.) etc. complete as required. | 1.00 | Each |  | 1700.00 | 1700.00 | 1700.00 | Reltec Engineers
3.00 | SH : 2 - Transfer oil filtration
3.10 | BDV and acidity testing of transformer oil to check the existing value i.e before filtration of oil etc. complete as required. | 5.00 | Each |  | 500.00 | 2500.00 | 2500.00 | Reltec Engineers
3.20 | Filtration of Insulating oil and determination of electric strength & acidity of insulating oils,after filteration ( as per IS – 6792 : 1992 ) , of 800 KVA , 11 / .415 KV transformers with the help of high vacuum filtering machine etc. complete as required. | 1.00 | Each |  | 5500.00 | 5500.00 | 5500.00 | Reltec Engineers
3.30 | Filtration and determination of electric strength & acidity of insulating oils ( as per IS – 6792 : 1992 ) of 400 KVA , 11 / .415 KV transformers with the help of high vacuum filtering machine etc. complete as required. | 2.00 | Each |  | 5000.00 | 10000.00 | 10000.00 | Reltec Engineers
3.40 | Filtration and determination of electric strength & acidity of insulating oils ( as per IS – 6792 : 1992 ) of 1000 KVA , 11 / .415 KV transformers with the help of high vacuum filtering machine etc. complete as required. | 1.00 | Each |  | 6000.00 | 6000.00 | 6000.00 | Reltec Engineers
4.00 | SH : 3 - HT & LT Breaker/ Panel Overhauling
4.10 | Servicing of 11 KV OCB of Different make by cleaning,tightrening,greasing oiling i/c Filtration and determination of electric strength & acidity of insulating oils ( as per IS – 6792 : 1992 ) with the help of high vacuum filtering machine etc. complete as required at HAL Airport. | 3.00 | Each |  | 5000.00 | 15000.00 | 15000.00 | Reltec Engineers
4.20 | Servicing of 11 KV VCB of Different make by cleaning,tightrening,adjusting, replacing defective components aligning,lubricating greasing and measuring Insulation resistance etc. complete as required at HAL Airport.. | 1.00 | Job |  | 5000.00 | 5000.00 | 5000.00 | Reltec Engineers
4.30 | Servicing of 5 Panel 11 KV VCB(Make:- MEI Model:- VB-5) by clearing ,Checking,tightening ,adjusting,replacing defective components, aligning, lubricating, greasing etc complete as required without spare parts at GAGAN complex, Bangalore. | 1.00 | Job |  | 9500.00 | 9500.00 | 9500.00 | Reltec Engineers
4.40 | Servicing of of 15 Amps,30 Volt dubas make,Battery Charger,FCBC +DVR of HT Panel excluding spares , at GAGAN Power House. | 1.00 | Job |  | 15000.00 | 15000.00 | 15000.00 | Reltec Engineers
5.00 | SH : 4 : Testing of MV Air Circuit Breaker
5.10 | Servicing of 630 Amps -2500 Amps L & T Make MV Circuit Breaker by cleaning , checking, tightening, adjusting replacing defective components greasing oiling etc complete as required but without spare parts i/c Over load, Earth Fault, Short Circuit and Megger Testing through secondary injection kit etc complete as required. | 11.00 | Each |  | 4500.00 | 49500.00 | 49500.00 | Reltec Engineers
6.00 | SH-5 Supply as and when required
6.10 | Supply of Transformer Oil confirming to IS 335:1993 with latest amendments. | 210.00 | ltr |  | 120.00 | 25200.00 | 25200.00 | Reltec Engineers
| Total in Figures |  |  |  |  | 246450.00
Lowest Amount Quoted BY: Reltec Engineers(246450.00)

## BOQ Summary
BOQ Summary Details Tender Title: Transformer Oil Filtration, Calibration of Protective and Metering Devices, Servicing of Circuit Breakers etc at Bangalore Airport Tender ID: 2020_AAI_45798_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Reltec Engineers | 246450.00 | L1