## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 25-Jun-2020 12:14 PM Tender Title: Annual Operation Comprehensive Maintenance of Centralized AC Plant Package AC Unitay A units at JPNI Airport Patna Tender ID: 2020_AAI_45860_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Annual Operation & Comprehensive Maintenance of Centralized AC Plant, Package AC's & Unitary AC’s units at JPNI Airport, Patna. (For year 2020-22).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Skyline Airconditioning Engineers Pvt. Ltd. |  | Supertech Engineers |  | SUVIDHA ENGINEERS INDIA PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation of different Capacities of microprocessor based Centralized AC Plants, Water Cooled Package air-conditioning units & duct able air-cooled split AC units etc installed at Patna Airport by engaging manpower in three shifts on all days i/c Sundays & holidays as per detailed specifications, terms & conditions covered under this contract.
1.10 | 1st Year (Yr. 2020-21) | 12.00 | Month |  | 500000.00 | 6000000.00 | 331300.00 | 3975600.00 | 379855.00 | 4558260.00 | 3975600.00 | Supertech Engineers
1.20 | 2nd Year (Yr. 2021-22) | 12.00 | Month |  | 500000.00 | 6000000.00 | 331300.00 | 3975600.00 | 381574.00 | 4578888.00 | 3975600.00 | Supertech Engineers
2.00 | All-inclusive Comprehensive maintenance of following Capacity microprocessor based centralized AC Plants comprising of all machineries, equipment’s installed in the A/C plant Room i/c Cooling Tower, AHU's, electrical control panel, starters etc. with arresting of leakage, toping up of refrigerant ,insulation, spares parts, lubrication, rewinding/ replacing of all type of motors, valves/strainer, compressors and electrical components etc to keep the air-conditioning units in serviceable condition all the time. (a) 2x60 TR (Make:Batliboi)
2.10 | For 1st Year( For the Year : 2020-21) | 12.00 | Month |  | 5000.00 | 60000.00 | 13800.00 | 165600.00 | 15120.00 | 181440.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
2.20 | For 2nd Year( For the Year :2021-22) | 12.00 | Month |  | 5000.00 | 60000.00 | 14500.00 | 174000.00 | 16614.00 | 199368.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
3.00 | All-inclusive Comprehensive maintenance of following Capacity microprocessor based centralized AC Plants comprising of all machineries, equipment’s installed in the A/C plant Room i/c Cooling Tower, AHU's, electrical control panel, starters etc. with arresting of leakage, toping up of refrigerant ,insulation, spares parts, lubrication, rewinding/ replacing of all type of motors, valves/strainer, compressors and electrical components etc to keep the air-conditioning units in serviceable condition all the time. (b) 2x40 TR (Make:Voltas)
3.10 | For 1st Year( For the Year : 2020-21) | 12.00 | Month |  | 5000.00 | 60000.00 | 9500.00 | 114000.00 | 8820.00 | 105840.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
3.20 | For 2nd Year( For the Year :2021-22) | 12.00 | Month |  | 5000.00 | 60000.00 | 10300.00 | 123600.00 | 9072.00 | 108864.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
4.00 | All-inclusive Comprehensive maintenance of 3x22 TR (Make: Voltas) water cooled package air-conditioning units comprising of all machineries, equipment’s installed in the A/C plant Room i/c Cooling Tower, electrical control panel, starter etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, compressors and electrical components etc to keep the air conditioning units in serviceable condition all the time.
4.10 | For 1st Year( For the Year : 2020-21) | 12.00 | Month |  | 5000.00 | 60000.00 | 10500.00 | 126000.00 | 19239.00 | 230868.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
4.20 | For 2nd Year( For the Year :2021-22) | 12.00 | Month |  | 5000.00 | 60000.00 | 11400.00 | 136800.00 | 19930.00 | 239160.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
5.00 | All-inclusive Comprehensive maintenance of following capacity duct able air-cooled package air-conditioning units and comprising of all machineries, equipment’s installed i/c AHU's, electrical control panel, starters etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, compressors and electrical components etc to keep the air conditioning units in serviceable condition all the time. (a) 2x22 TR (Make: Blue Star)
5.10 | For 1st Year( For the Year : 2020-21) | 12.00 | Month |  | 5000.00 | 60000.00 | 7000.00 | 84000.00 | 12342.00 | 148104.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
5.20 | For 2nd Year( For the Year :2021-22) | 12.00 | Month |  | 5000.00 | 60000.00 | 7600.00 | 91200.00 | 13310.00 | 159720.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
6.00 | All-inclusive Comprehensive maintenance of following capacity duct able air-cooled package air-conditioning units and comprising of all machineries, equipment’s installed i/c AHU's, electrical control panel, starters etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, compressors and electrical components etc to keep the air conditioning units in serviceable condition all the time. (b) 2x17 TR(Make: Carrier)
6.10 | For 1st Year( For the Year : 2020-21) | 12.00 | Month |  | 5000.00 | 60000.00 | 3250.00 | 39000.00 | 9537.00 | 114444.00 | 39000.00 | Supertech Engineers
6.20 | For 2nd Year( For the Year :2021-22) | 12.00 | Month |  | 5000.00 | 60000.00 | 3500.00 | 42000.00 | 10285.00 | 123420.00 | 42000.00 | Supertech Engineers
7.00 | All-inclusive Comprehensive maintenance of following capacity duct able air-cooled package air-conditioning units and comprising of all machineries, equipment’s installed i/c AHU's, electrical control panel, starters etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, compressors and electrical components etc to keep the air conditioning units in serviceable condition all the time. (c) 1x17 TR(Make:Voltas)
7.10 | For 1st Year( For the Year : 2020-21) | 12.00 | Month |  | 3000.00 | 36000.00 | 4500.00 | 54000.00 | 4770.00 | 57240.00 | 36000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
7.20 | For 2nd Year( For the Year :2021-22) | 12.00 | Month |  | 3000.00 | 36000.00 | 5000.00 | 60000.00 | 5142.00 | 61704.00 | 36000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
8.00 | All-inclusive Comprehensive maintenance of capacity 2x 50HP Set (Make: Bluestar) microprocessor based modular duct able type variable refrigerant flow(VRF) AC units and comprising of all machineries, equipment’s installed i/c AHU's, electrical Control panel, starters, fan motor, interconnecting refrigerant piping, cabling, insulations, spares etc. with arresting of leakage, toping up of refrigerant gas, lubrication, rewinding/ replacing of all type of motors, inverter compressor's, filters and electrical components etc to keep the air conditioning units in serviceable condition all the time.
8.10 | For 1st Year( For the Year : 2020-21) | 12.00 | Month |  | 5000.00 | 60000.00 | 8500.00 | 102000.00 | 26250.00 | 315000.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
8.20 | For 2nd Year( For the Year :2021-22) | 12.00 | Month |  | 5000.00 | 60000.00 | 8800.00 | 105600.00 | 28350.00 | 340200.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
9.00 | All-inclusive Comprehensive Maintenance of the following capacity and type of all makes of air conditioner/inverter type AC units installed at different locations of airport including providing and replacing all necessary consumables, spares, compressors, refrigerant and all accessories including servicing etc complete as required as per special condition of contract. (a) For 1st Year( For the Year : 2020-21)
9.10 | 1.0 TR Split type AC | 2.00 | Job/Year |  | 1500.00 | 3000.00 | 5890.00 | 11780.00 | 1500.00 | 3000.00 | 3000.00 | SUVIDHA ENGINEERS INDIA PVT LTD, Skyline Airconditioning Engineers Pvt. Ltd.
9.20 | 1.5 TR Split type AC | 60.00 | Job/Year |  | 2000.00 | 120000.00 | 5990.00 | 359400.00 | 1500.00 | 90000.00 | 90000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
9.30 | 2.0 TR Cassette/Split type AC | 108.00 | Job/Year |  | 2000.00 | 216000.00 | 6340.00 | 684720.00 | 2100.00 | 226800.00 | 216000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
9.40 | 3.0 TR Cassette/Tower/Split type AC | 12.00 | Job/Year |  | 2500.00 | 30000.00 | 7390.00 | 88680.00 | 2100.00 | 25200.00 | 25200.00 | SUVIDHA ENGINEERS INDIA PVT LTD
9.50 | 4/4.5.0 TR Cassette/Tower/Split type AC | 8.00 | Job/Year |  | 3000.00 | 24000.00 | 7890.00 | 63120.00 | 4000.00 | 32000.00 | 24000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
10.00 | All-inclusive Comprehensive Maintenance of the following capacity and type of all makes of air conditioner/inverter type AC units installed at different locations of airport including providing and replacing all necessary consumables, spares, compressors, refrigerant and all accessories including servicing etc complete as required as per special condition of contract. (b) For 2nd Year( For the Year : 2021-22)
10.10 | 1.0 TR Split type AC | 2.00 | Job/Year |  | 1500.00 | 3000.00 | 5895.00 | 11790.00 | 1500.00 | 3000.00 | 3000.00 | SUVIDHA ENGINEERS INDIA PVT LTD, Skyline Airconditioning Engineers Pvt. Ltd.
10.20 | 1.5 TR Split type AC | 60.00 | Job/Year |  | 2000.00 | 120000.00 | 6000.00 | 360000.00 | 1500.00 | 90000.00 | 90000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
10.30 | 2.0 TR Cassette/Split type AC | 108.00 | Job/Year |  | 2000.00 | 216000.00 | 6350.00 | 685800.00 | 2000.00 | 216000.00 | 216000.00 | SUVIDHA ENGINEERS INDIA PVT LTD, Skyline Airconditioning Engineers Pvt. Ltd.
10.40 | 3.0 TR Cassette/Tower/Split type AC | 12.00 | Job/Year |  | 2500.00 | 30000.00 | 7400.00 | 88800.00 | 2000.00 | 24000.00 | 24000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
10.50 | 4/4.5.0 TR Cassette/Tower/Split type AC | 8.00 | Job/Year |  | 3000.00 | 24000.00 | 7900.00 | 63200.00 | 3500.00 | 28000.00 | 24000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
11.00 | Supply & fixing of refrigerant copper tubing of suitable size for both suction and discharge along with nitrile/polythene foam insulation for tubing covering and electrical cable of suitable size copper conductor and communication cable from indoor to outdoor suitable for 3.0 TR/4.0 TR Air conditioner i/c laying/clamping on surface, chiselling & making good of wall etc connection complete as per requirement of site. | 120.00 | Mtr |  | 500.00 | 60000.00 | 535.00 | 64200.00 | 690.00 | 82800.00 | 60000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
12.00 | Supply & fixing of extra refrigerant copper tubing of suitable size for both suction and discharge along with nitrile/polythene foam insulation for tubing covering and electrical cable of suitable size copper conductor from indoor to outdoor suitable for 1.5 TR / 2.0 TR Air conditioner laying/clamping on surface, chiselling & making good of wall etc connection complete as per requirement of site. | 80.00 | Mtr |  | 400.00 | 32000.00 | 505.00 | 40400.00 | 616.00 | 49280.00 | 32000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
13.00 | Supply and installation of 20 mm dia hard PVC drain pipe with all accessories like bends, couplers, tees i/c chiselling, making good of wall or laying on surface etc as per site requirement complete as required. | 100.00 | Mtr. |  | 25.00 | 2500.00 | 105.00 | 10500.00 | 45.00 | 4500.00 | 2500.00 | Skyline Airconditioning Engineers Pvt. Ltd.
14.00 | Dismantling, shifting, re-installation, testing and commissioning of capacity 3.0 TR to 4.5 TR for all make & type (Cassette/Tower/Split) air-conditioner unit including topping up refrigerant, supply of suitable MS/GI stand etc complete as required as per direction of EIC. | 6.00 | Job |  | 2000.00 | 12000.00 | 6500.00 | 39000.00 | 5600.00 | 33600.00 | 12000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
15.00 | Dismantling, shifting, re-installation, testing and commissioning of capacity up to 2.0 TR for all make & type (Cassette/Tower/Split) air-conditioner unit including topping up refrigerant, supply of suitable MS/GI stand etc complete as required as per direction of EIC. | 16.00 | Job |  | 2000.00 | 32000.00 | 5500.00 | 88000.00 | 4480.00 | 71680.00 | 32000.00 | Skyline Airconditioning Engineers Pvt. Ltd.
| Total in Figures |  |  |  |  | 13716500.00 |  | 12028390.00 |  | 12502380.00
Lowest Amount Quoted BY: Supertech Engineers(12028390.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation Comprehensive Maintenance of Centralized AC Plant Package AC Unitay A units at JPNI Airport Patna Tender ID: 2020_AAI_45860_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Supertech Engineers | 12028390.00 | L1
| 2 | SUVIDHA ENGINEERS INDIA PVT LTD | 12502380.00 | L2
| 3 | Skyline Airconditioning Engineers Pvt. Ltd. | 13716500.00 | L3