## BoQ1
Government eProcurement System Created By: Vivek Katara Created Date/Time: 23-Jun-2020 01:38 PM Tender Title: Maintenance and Operation of Fire Alarm and Fire Fighting Systems and water supply system at Jammu Airport for the year 2020-22. Tender ID: 2020_AAI_45868_1
Tender Inviting Authority: AIRPORTS AUTHORITY OF INDIA
Name of Work: ''Maintenance of Fire Alarm & Fire Fighting Systems and Water Supply system at Jammu Airport for the year 2020-22''.
Contract No: AAI/JMU/ELECT/W-01/2020-21/
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CENTRE TAP ENGINEERING |  | Bee Kay Protection System
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.01 | Sub Head:- I (Operation and Maintenance) Annual Operation & day to day Maintenance contract of GSM autodailer Fire Alarm system at Localizer, Glide Path, INRESS, GAGAN, DVOR and Microprocessor based analog addressable intelligent fire alarm system of terminal building including addressable Sensor Detectors, Response Indicators, duct smoke indicators, addressable MCP, beam detectors, hooters, addressable control module involving operation and maintenance for serviceability, preventive maintenance records/documents etc by deputing minimum manpower as per the detailed specifications, terms and conditions under the contract on all days including Sundays and holidays etc. as requried. | 24.00 | Month | 42086.00 | 58000.00 | 1392000.00 | 38000.00 | 912000.00 | 912000.00 | Bee Kay Protection System
1.02 | Annual Operation & day to day maintenance contract of Fire Fighting, Hydropneumatic system along with centrifugal pumps and submersible pumps for water supply involving repairs and maintenance to complaints/faults and taking rectification action ensuring serviceability/satisfactory working condition of the systems, preventive maintenance of records/documents etc by deputing minimum manpower as per the detailed specifications terms and conditions under the contract on all days including Sundays and holidays etc as required. | 24.00 | Month | 100454.00 | 73000.00 | 1752000.00 | 91000.00 | 2184000.00 | 1752000.00 | CENTRE TAP ENGINEERING
1.03 | Deployment of trained fire fighters retired personals of city fire service/ trained fire fighter in fire discipline in shift at the Airport on all working days including Sundays and Holidays to look after the fire detection and fighting system to keep the system always in operational condition including carring out regular checks drills etc. as required, as per the detailed specifications terms and conditions under the contract. | 24.00 | Month | 88460.00 | 88000.00 | 2112000.00 | 80000.00 | 1920000.00 | 1920000.00 | Bee Kay Protection System
1.04 | Sub Head:- II (Refilling fire extinguisher cylinders) Refilling of Existing following type fire Extinuisher including transportation.
1.05 | 9Kg Dry Chemical Powder type fire extinguisher | 20.00 | Job | 1313.00 | 800.00 | 16000.00 | 1350.00 | 27000.00 | 16000.00 | CENTRE TAP ENGINEERING
1.06 | 4Kg Dry Chemical Powder type fire extinguisher. | 15.00 | Job | 1262.50 | 400.00 | 6000.00 | 1300.00 | 19500.00 | 6000.00 | CENTRE TAP ENGINEERING
1.07 | 9Kg FOAM fire extinguisher. | 20.00 | Job | 606.00 | 400.00 | 8000.00 | 650.00 | 13000.00 | 8000.00 | CENTRE TAP ENGINEERING
1.08 | 4.5Kg (CO2) Type fire extinguisher. | 15.00 | Job | 757.50 | 500.00 | 7500.00 | 600.00 | 9000.00 | 7500.00 | CENTRE TAP ENGINEERING
1.09 | 2Kg (CO2) Type fire extinguisher. | 10.00 | Job | 505.00 | 250.00 | 2500.00 | 500.00 | 5000.00 | 2500.00 | CENTRE TAP ENGINEERING
1.10 | 6.5Kg capacity Carbon dioxide (CO2) type fire extinguishers | 20.00 | Job | 1262.50 | 700.00 | 14000.00 | 1250.00 | 25000.00 | 14000.00 | CENTRE TAP ENGINEERING
1.11 | 9 Ltr. Capacity water stored pressure type fire extinguisher | 15.00 | Job | 505.00 | 400.00 | 6000.00 | 600.00 | 9000.00 | 6000.00 | CENTRE TAP ENGINEERING
1.12 | 9Kg ABC powder type fire extinguisher. | 15.00 | Job | 2020.00 | 1500.00 | 22500.00 | 2500.00 | 37500.00 | 22500.00 | CENTRE TAP ENGINEERING
1.13 | 2Kg ABC powder type fire extinguisher. | 10.00 | Job | 505.00 | 500.00 | 5000.00 | 600.00 | 6000.00 | 5000.00 | CENTRE TAP ENGINEERING
| Total in Figures |  |  |  |  | 5343500.00 |  | 5167000.00
Lowest Amount Quoted BY: Bee Kay Protection System(5167000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Maintenance and Operation of Fire Alarm and Fire Fighting Systems and water supply system at Jammu Airport for the year 2020-22. Tender ID: 2020_AAI_45868_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Bee Kay Protection System | 5167000.00 | L1
| 2 | CENTRE TAP ENGINEERING | 5343500.00 | L2