## BoQ1
Government eProcurement System Created By: Ram kesh Meena Created Date/Time: 30-Sep-2020 11:06 AM Tender Title: Supply of Electrical and GLF spares at Kishangarh Airport, Ajmer (Year 2020) Tender ID: 2020_AAI_46020_1
Tender Inviting Authority: Asstt. Gen. Manager (Engg-E), Kishangarh Airport, Ajmer-305801
Name of Work: Supply of Electrical & GLF spares at Kishangarh Airport, Ajmer (Year 2020).
Tender ID: 2020_AAI_46020_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Trishul Enterprises(GSTN-NA)
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 2 core, 1.5 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1100 V, conforming to IS 694. | 300.00 | Mtr | 100.00 | 35.00 | 10500.00 | 10500.00 | Trishul Enterprises
2.00 | Supply of 3 core, 1.5 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1100 V, conforming to IS 694. | 300.00 | Mtr | 10.00 | 47.00 | 14100.00 | 14100.00 | Trishul Enterprises
3.00 | Supply of 3 core, 2.5 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1100 V, conforming to IS 694. | 200.00 | Mtr | 10.00 | 76.00 | 15200.00 | 15200.00 | Trishul Enterprises
4.00 | Supply of 3 core, 4.0 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1100 V, conforming to IS 694. | 200.00 | Mtr | 10.00 | 120.00 | 24000.00 | 24000.00 | Trishul Enterprises
5.00 | Supply of 4 core, 4.0 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1100 V, conforming to IS 694. | 100.00 | Mtr | 10.00 | 159.00 | 15900.00 | 15900.00 | Trishul Enterprises
6.00 | Supply of 4 core, 6.0 Sqmm PVC insulated and FR PVC round sheathed multistrain copper flexible cable of 1100 V, conforming to IS 694. | 100.00 | Mtr | 10.00 | 235.00 | 23500.00 | 23500.00 | Trishul Enterprises
7.00 | Supply of 3 core, 6.0 Sqmm PVC insulated and PVC sheathed multistrain copper flat cable of 1100 V, conforming to IS 694 suitable for submercible pump motor. | 200.00 | Mtr | 10.00 | 180.00 | 36000.00 | 36000.00 | Trishul Enterprises
8.00 | Supply of 14 Pin PLA relay, 220-250 V AC, suitable for LT panel. | 20.00 | Each | 10.00 | 399.00 | 7980.00 | 7980.00 | Trishul Enterprises
9.00 | Supply of 14 Pin PLA relay 24 V DC suitable for LT panel. | 20.00 | Each | 10.00 | 399.00 | 7980.00 | 7980.00 | Trishul Enterprises
10.00 | Supply of LED Indication Lamp (R/Y/B/W/G) with integral circuit suitable for LT panel. | 30.00 | Each | 10.00 | 50.00 | 1500.00 | 1500.00 | Trishul Enterprises
11.00 | Supply of Diigital programable Time switch (24 hours) 240 volt AC supply, suitable for controlling outdoor lightng system. | 3.00 | Each | 10.00 | 2350.00 | 7050.00 | 7050.00 | Trishul Enterprises
12.00 | Supply of closing coil relay, 220 Volt AC, suitable for air circuit breaker. | 2.00 | Each | 10.00 | 750.00 | 1500.00 | 1500.00 | Trishul Enterprises
13.00 | Supply of shunt release relay, 220 Volt AC, suitable for air circuit breaker. | 2.00 | Each | 10.00 | 750.00 | 1500.00 | 1500.00 | Trishul Enterprises
14.00 | Supply of under voltage relay, 220 Volt AC, suitable for air circuit breaker. | 2.00 | Each | 10.00 | 750.00 | 1500.00 | 1500.00 | Trishul Enterprises
15.00 | Supply of Electronic driver unit of 6.5 Amp, 230 V AC, suitable for LED signages. | 20.00 | Each | 10.00 | 599.00 | 11980.00 | 11980.00 | Trishul Enterprises
16.00 | Supply of Electronic driver unit of 12.5 Amp, 230 V AC, suitable for LED signages. | 20.00 | Each | 10.00 | 1300.00 | 26000.00 | 26000.00 | Trishul Enterprises
17.00 | Supply of 12 V, 180 AH, 25 plate Lead Acid Battery with buyback of old batteries, suitable for D.G. Set. | 6.00 | Each | 10.00 | 8999.00 | 53994.00 | 53994.00 | Trishul Enterprises
18.00 | Supply of 12 V, 100 AH Lead Acid Battery with buyback of old batteries, suitable for HT panel. | 2.00 | Each | 10.00 | 6057.00 | 12114.00 | 12114.00 | Trishul Enterprises
19.00 | Supply of 12 V, 26 AH Lead Acid Battery with buyback of old batteries suitable for DG synchronising panel. | 20.00 | Each | 10.00 | 1800.00 | 36000.00 | 36000.00 | Trishul Enterprises
20.00 | Supply of 12 V, 7.2 AH SMF Battery buyback of old batteries suitable for fire alarm panel. | 8.00 | Each | 10.00 | 520.00 | 4160.00 | 4160.00 | Trishul Enterprises
21.00 | Supply of LED Aviation Warning/obstruction Light 220 V AC with Aluminium housing and Polycarbonate enclosure, suitable for High mast. (Make - Bajaj Model BGAV 302 LED/ Make - C&S Model LTAL 100 or similar equivalent). | 5.00 | Each | 10.00 | 2600.00 | 13000.00 | 13000.00 | Trishul Enterprises
22.00 | Supply of 1 KVA online UPS, 230V, single phase AC supply. | 5.00 | Each | 10.00 | 9999.00 | 49995.00 | 49995.00 | Trishul Enterprises
23.00 | Supply of Torque Wrench of 35 N.m torque. (Make - Taparia, Model no. - TW100/TWR100 or equivalent). | 2.00 | Each | 10.00 | 3999.00 | 7998.00 | 7998.00 | Trishul Enterprises
24.00 | Supply of 20 A Heavy Duty, Ceramic 4 Pole terminal blocks, suitable for outdoor box. | 50.00 | Each | 10.00 | 89.00 | 4450.00 | 4450.00 | Trishul Enterprises
25.00 | Supply of National Flag of size 20 feet x 30 feet in 100% knitted polyester (160gsm), with reinforced super -strong nylon webbing on all 3 sides & rope/toggle sleeve. | 10.00 | Each | 10.00 | 22000.00 | 220000.00 | 220000.00 | Trishul Enterprises
26.00 | Supply of 12/24V DC output battery charger suitable for operation on 230V AC input with all accessories. | 1.00 | Each | 10.00 | 5650.00 | 5650.00 | 5650.00 | Trishul Enterprises
27.00 | Supply of 250 mm fresh air/ventilation fan with plastic body suitable for operation on 240 volt, AC supply with all accessories. | 3.00 | Each | 10.00 | 1100.00 | 3300.00 | 3300.00 | Trishul Enterprises
28.00 | Supply of 300 mm fresh air/ventilation fan with plastic body suitable for operation on 240 volt, AC supply with all accessories. | 3.00 | Each | 10.00 | 1500.00 | 4500.00 | 4500.00 | Trishul Enterprises
29.00 | Supply of rechargeable battery operated digital earth resistance tester should have range from 0.01 to 1000 ohms with earth rod, test leads & other accessories (Make- CIE/Rishabh/Kusam-Meco /Sigma). | 1.00 | Each | 10.00 | 4000.00 | 4000.00 | 4000.00 | Trishul Enterprises
30.00 | Supply of rechargeable battery operated digital insulation tester (megger) suitable for 500/1000 Volt, 0-2000 M-ohm with test leads & other accessories (Make- CIE/Rishabh/Kusam-Meco /Sigma). | 1.00 | Each | 10.00 | 2400.00 | 2400.00 | 2400.00 | Trishul Enterprises
31.00 | Supply of Electric shock treatment chart of size 50x75 cms fitted on 12mm thick board duly photo-laminated alongwith wall hanging arrangement and printed in bilingual (Hindi & English) etc complete as required. | 5.00 | Each | 10.00 | 500.00 | 2500.00 | 2500.00 | Trishul Enterprises
32.00 | Supply of 9 Watt decorative spike LED light, having IP65 protection, for operation on 240 V AC supply suitable for landscapping/ garden scultures. | 20.00 | Each | 10.00 | 2400.00 | 48000.00 | 48000.00 | Trishul Enterprises
33.00 | Supply of 200 W, 6.6 A halogen lamp suitable for elevated type approach lights. | 40.00 | Each | 10.00 | 350.00 | 14000.00 | 14000.00 | Trishul Enterprises
34.00 | Supply of 150 W, 6.6 A halogen lamp suitable for elevated type runway edge lights. | 70.00 | Each | 10.00 | 450.00 | 31500.00 | 31500.00 | Trishul Enterprises
35.00 | Supply of 45 W, 6.6 A halogen lamp suitable for elevated type Taxiway edge lights. | 40.00 | Each | 10.00 | 517.00 | 20680.00 | 20680.00 | Trishul Enterprises
36.00 | Supply of 180 Degree clear lens suitable for elevated type runway edge lights. | 20.00 | Each | 10.00 | 1750.00 | 35000.00 | 35000.00 | Trishul Enterprises
37.00 | Supply of 360 Degree outer clear lens suitable for elevated type runway edge lights. | 15.00 | Each | 10.00 | 2200.00 | 33000.00 | 33000.00 | Trishul Enterprises
38.00 | Supply of 150 watts 6.6/ 6.6 amps Isolating Transformer suitable for elevated type runway edge lights. | 20.00 | Each | 10.00 | 4500.00 | 90000.00 | 90000.00 | Trishul Enterprises
39.00 | Supply of converter for LED signage suitable to operate with input current of 2.8A-6.6A in series circuit with output of 20 V DC etc as required. | 5.00 | Each | 10.00 | 5999.00 | 29995.00 | 29995.00 | Trishul Enterprises
40.00 | Supply of LED strip of 700 x 20 x 2 mm size having 11 LED of 0.5 Watt (OSRAM make or equivalent) operation on 20 V DC suitable for signage board. | 10.00 | Each | 10.00 | 550.00 | 5500.00 | 5500.00 | Trishul Enterprises
41.00 | Supply of Bi-Pin lamp holder suittable for 45/150/200 watts 6.6 amps halogen lamps. | 150.00 | Each | 10.00 | 299.00 | 44850.00 | 44850.00 | Trishul Enterprises
42.00 | Supply of 1000 watt halogen lamp, 120 V suiatble for aerodrome Beacon. | 2.00 | Each | 10.00 | 9999.00 | 19998.00 | 19998.00 | Trishul Enterprises
43.00 | Supply of rubber gasket suitable for runway/ taxiway/approach fittings. | 50.00 | Each | 10.00 | 200.00 | 10000.00 | 10000.00 | Trishul Enterprises
44.00 | Supply of 4 amp rating HRC fuse suitable for CCR. | 10.00 | Each | 10.00 | 39.00 | 390.00 | 390.00 | Trishul Enterprises
45.00 | Supply of 32 amp rating HRC fuse suitable for CCR. | 5.00 | Each | 10.00 | 49.00 | 245.00 | 245.00 | Trishul Enterprises
46.00 | Supply of 60 amp rating HRC fuse suitable for CCR. | 5.00 | Each | 10.00 | 159.00 | 795.00 | 795.00 | Trishul Enterprises
47.00 | Supply of 80 amp rating HRC fuse suitable for CCR. | 5.00 | Each | 10.00 | 199.00 | 995.00 | 995.00 | Trishul Enterprises
48.00 | Supply of base plate for AMA make PAPI check stick. | 2.00 | Each | 10.00 | 2299.00 | 4598.00 | 4598.00 | Trishul Enterprises
49.00 | Supply of Lamp holder (Part code - RISLE0010) inset type Runway Edge fitting (Make- OCEM Model-SLRE). | 2.00 | Each | 10.00 | 5899.00 | 11798.00 | 11798.00 | Trishul Enterprises
50.00 | Supply of 105 W, 6.6 A tungsten-halogen Lamp with reflector (Part code -RISLE0026) inset type Runway Edge fitting (Make- OCEM Model-SLRE). | 2.00 | Each | 10.00 | 3999.00 | 7998.00 | 7998.00 | Trishul Enterprises
51.00 | Supply of gaskets and valve kit (Part code -RISLE0019) for inset type Runway Edge fitting (Make- OCEM Model-SLRE). | 3.00 | Each | 10.00 | 1799.00 | 5397.00 | 5397.00 | Trishul Enterprises
| Total in Figures |  |  |  |  | 1044990.00
Lowest Amount Quoted BY: Trishul Enterprises(1044990.00)

## BOQ Summary
BOQ Summary Details Tender Title: Supply of Electrical and GLF spares at Kishangarh Airport, Ajmer (Year 2020) Tender ID: 2020_AAI_46020_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Trishul Enterprises | 1044990.00 | L1