## BoQ1
Government eProcurement System Created By: ABHISHEK KUMAR SINGH Created Date/Time: 28-Aug-2020 11:19 AM Tender Title: SITC of PA System at Bhavnagar Airport Tender ID: 2020_AAI_46270_1
Tender Inviting Authority: THE AIRPORT DIRECTOR, AAI BHAVNAGAR
Name of Work: Supply, Installation, Testing and Commissioning (SITC) of PA system and its accessories along with cables laying and Networking at Terminal Building AAI, Bhavnagar Airport.
Contract No: 2020_AAI_46270_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Item Code | PRIME BUSINESS MACHINES(GSTN-NA) |  | FALCON TECHNOLOGIES PRIVTATE LIMITED(GSTN-NA) |  | Progility Technologies Pvt Ltd(GSTN-NA)
[5 empty] | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | Rate Without Tax | Rate With Tax | L1 Rate Without Tax | L1 Bidder Without Tax | L1 Rate With Tax | L1 Bidder With Tax
1.00 | Items
1.01 | Controller Unit- Digital Integrated system Manager, 8 Zones, Multi-functional Integration, without PTT Microphone (Honeywell or better technical specification than Honeywell) | 1.00 | Nos | item1 | 202000.00 | 238360.00 | 252853.88 | 298367.58 | 200570.70 | 236673.43 | 200570.70 | Progility Technologies Pvt Ltd | 236673.43 | Progility Technologies Pvt Ltd
1.02 | Microphone- PTT Microphone (Honeywell or better technical specification than Honeywell) | 1.00 | Nos | item2 | 8100.00 | 9558.00 | 14131.29 | 16674.92 | 7260.00 | 8566.80 | 7260.00 | Progility Technologies Pvt Ltd | 8566.80 | Progility Technologies Pvt Ltd
1.03 | Call Station Unit- Configurable Network Paging Console 4.3” Colour Touch screen, Suitable for Desktop Flush mount (Honeywell or better technical specification than Honeywell) | 2.00 | Nos | item3 | 118000.00 | 139240.00 | 173098.82 | 204256.61 | 118575.60 | 129247.40 | 118000.00 | PRIME BUSINESS MACHINES | 129247.40 | Progility Technologies Pvt Ltd
1.04 | Amplifier- 500W Digital Power Amplifier (Honeywell or better technical specification than Honeywell) | 2.00 | Nos | item4 | 80000.00 | 94400.00 | 210000.00 | 247800.00 | 194147.80 | 211621.10 | 80000.00 | PRIME BUSINESS MACHINES | 94400.00 | PRIME BUSINESS MACHINES
1.05 | Ceiling Speaker- 1.5/3/6W Ceiling Speaker (Honeywell or better technical specification than Honeywell) | 43.00 | Nos | item5 | 23650.00 | 27907.00 | 24115.26 | 28456.03 | 21285.00 | 21374.10 | 21285.00 | Progility Technologies Pvt Ltd | 21374.10 | Progility Technologies Pvt Ltd
1.06 | Wall mount Speaker- 3/6W, 4” Plastic Wall mount Speaker (Honeywell or better technical specification than Honeywell) | 6.00 | Nos | item6 | 7500.00 | 8850.00 | 7545.18 | 8903.31 | 5610.00 | 5778.30 | 5610.00 | Progility Technologies Pvt Ltd | 5778.30 | Progility Technologies Pvt Ltd
1.07 | Horn loudspeaker- Horn loudspeaker, 7.5/15W, white, ABS (Honeywell or better technical specification than Honeywell) | 4.00 | Nos | item7 | 16800.00 | 19824.00 | 16972.96 | 20028.09 | 14080.00 | 14713.60 | 14080.00 | Progility Technologies Pvt Ltd | 14713.60 | Progility Technologies Pvt Ltd
1.08 | Noise Detector- Noise Detector, Transmission Distance up to 250 Meters (Honeywell or better technical specification than Honeywell) | 2.00 | Nos | item8 | 24000.00 | 28320.00 | 33352.94 | 39356.47 | 22440.00 | 24459.60 | 22440.00 | Progility Technologies Pvt Ltd | 24459.60 | Progility Technologies Pvt Ltd
1.09 | Extension Cable For Detector- 0.5mm 2 pair twisted pair PVC coated cable for Noise Detector | 400.00 | Meters | item9 | 12800.00 | 15104.00 | 15812.00 | 18658.12 | 30000.00 | 30013.50 | 12800.00 | PRIME BUSINESS MACHINES | 15104.00 | PRIME BUSINESS MACHINES
1.10 | Extension Cable for Call Station- Category 6 Cable (Legrand, Comscope , Systimax) | 200.00 | Meters | item10 | 8200.00 | 9676.00 | 6424.00 | 7580.24 | 4000.00 | 4003.60 | 4000.00 | Progility Technologies Pvt Ltd | 4003.60 | Progility Technologies Pvt Ltd
1.11 | Speaker Cable- 1.5 sq. mm 2 Core twisted Pair Pure Copper Noise Free Zinc Coated Speaker cable laying with PVC conduit/casing capping with all accessories as per site requirement. | 1350.00 | Meters | item11 | 70200.00 | 82836.00 | 60034.50 | 70840.85 | 76950.00 | 76960.26 | 60034.50 | FALCON TECHNOLOGIES PRIVTATE LIMITED | 70840.85 | FALCON TECHNOLOGIES PRIVTATE LIMITED
1.12 | Rack- 24 U Floor Mount Rack with 6 Sockets PDU, Support Angle-4 Nos., Fan-2 Nos. & Mounting Hardware etc. | 1.00 | Nos | item12 | 11500.00 | 13570.00 | 31350.53 | 36993.63 | 14000.00 | 16520.00 | 11500.00 | PRIME BUSINESS MACHINES | 13570.00 | PRIME BUSINESS MACHINES
1.13 | Accessories- Connectors, Pins & Other Accessories. | 1.00 | Lot | item13 | 1000.00 | 1180.00 | 24634.24 | 29068.40 | 10.00 | 11.80 | 10.00 | Progility Technologies Pvt Ltd | 11.80 | Progility Technologies Pvt Ltd
1.14 | UPS- 2 KVA True online ups (1ph input-1ph output) with batteries for 30 Minute Min. Battery backup with MS. Rack (Covered from Top with MS Sheet) & links. | 1.00 | Nos | item14 | 41250.00 | 48675.00 | 33105.88 | 39064.94 | 35200.00 | 41536.00 | 33105.88 | FALCON TECHNOLOGIES PRIVTATE LIMITED | 39064.94 | FALCON TECHNOLOGIES PRIVTATE LIMITED
1.15 | Installation- SITC of PA System with laying of cable installation of all speaker, noise detector, console, control unit, UPS etc. at their respective positions with 01 Year Service Support. | 1.00 | lot | item15 | 25000.00 | 29500.00 | 74117.65 | 87458.83 | 20000.00 | 23600.00 | 20000.00 | Progility Technologies Pvt Ltd | 23600.00 | Progility Technologies Pvt Ltd
| Total in Figures |  |  |  | 650000.00 | 767000.00 | 977549.13 | 1153508.02 | 764129.10 | 845079.49

## BOQ Summary
BOQ Summary Details Tender Title: SITC of PA System at Bhavnagar Airport Tender ID: 2020_AAI_46270_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | PRIME BUSINESS MACHINES | 767000.00 | L1
| 2 | Progility Technologies Pvt Ltd | 845079.49 | L2
| 3 | FALCON TECHNOLOGIES PRIVTATE LIMITED | 1153508.02 | L3