## BoQ1
Government eProcurement System Created By: Raj Kapoor Meena Created Date/Time: 06-Jul-2020 03:00 PM Tender Title: Operation and maintenance of E and M installations, 11 KV substation, DG Sets, at SIA Tender ID: 2020_AAI_46276_1
Tender Inviting Authority: Asstt.Gen. Manager (Engg.-Elect.)-II AAI, Srinagar International Airport, Srinagar, J&K-190007.
Name of Work: Operation and maintenance of E&M installations, 11 KV substation, DG Sets, Int. & Ext. EI etc in Non Operational Area at Srinagar International Airport, Srinagar. (For the year 2020-21 & 2021-22).
Contract No: <Enter Contract No Details>
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | NATIONAL SAFETY ENGINEERS |  | Manish Electricals |  | SRS ENGINEERS |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | S. N ELECTRICALS |  | M/S B.A.G ENTERPRISES |  | Anil Kumar Sharma |  | PAN POLAR ENGINEERS PVT. LTD.
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Running, operation and day to day maintenance of various E&M Installations of 11/0.433 KV main sub-station, Residential area Sub-Station like HT & LT Panels, transformers, DG sets (different capacities) with AMF Panel, Car parking Flood Lights & street lights, feeder pillars, main and residential area, water Pump house (i/c Cargo, powerhouse & AAI colony), AAI residential quarters, CRPF/JKP barracks, Drop gate etc on all days i/c Saturdays, Sundays, Gazetted holidays & National holidays in three shifts (round the clock) i/c record keeping etc to the entire satisfaction of the Engineer-in-Charge by deploying the following minimum man power. (i) Supervisor (Highly Skilled) :- 02 nos. (in general shift) (ii) DG Operator (Skilled) :- 04 no. (01 no in each Shift for three shifts + 01 reliever) (iii) Electrician/ Wireman (Skilled) :- 08 nos. (02 nos in each Shift for three shifts + 01 no in general shift + 01 reliever) (iv) Pump Operator (Skilled)- 08 nos (02 Nos in each shift for three shifts +01 no in General shift + 01 reliever) (v) Helper (Un-Skilled) :- 08 nos. (02 nos in each Shift for three shifts + 01 no in General shift + 01 reliever). | 24.00 | Month |  | 567444.00 | 13618656.00 | 588990.00 | 14135760.00 | 579111.00 | 13898664.00 | 576573.00 | 13837752.00 | 520000.00 | 12480000.00 | 622337.00 | 14936088.00 | 490000.00 | 11760000.00 | 525000.00 | 12600000.00 | 590000.00 | 14160000.00 | 11760000.00 | M/S B.A.G ENTERPRISES
2.00 | Dehydration of transformer oil in order to improve the BDV upto 60 KV for 1 minute by deploying the filtration plant at site i/c testing of BDV of oil before and after filtration. | 7200.00 | Ltr |  | 15.00 | 108000.00 | 12.00 | 86400.00 | 10.00 | 72000.00 | 14.00 | 100800.00 | 6.00 | 43200.00 | 20.50 | 147600.00 | 10.00 | 72000.00 | 8.00 | 57600.00 | 15.00 | 108000.00 | 43200.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.00 | Testing & Calibiration of protective relays by secondary current injection method & checking the tripping of breakers on actuation of the relay and submission of reports thorugh specialised agency / service center.
3.10 | Earthfault protection digital relay.(L&T/ ABB make) | 4.00 | Nos. |  | 1500.00 | 6000.00 | 1200.00 | 4800.00 | 3000.00 | 12000.00 | 700.00 | 2800.00 | 500.00 | 2000.00 | 1000.00 | 4000.00 | 1500.00 | 6000.00 | 1000.00 | 4000.00 | 1100.00 | 4400.00 | 2000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
3.20 | IDMT earth fault protection relay. | 2.00 | Nos. |  | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 3000.00 | 6000.00 | 700.00 | 1400.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 1500.00 | 3000.00 | 1000.00 | 2000.00 | 1000.00 | 2000.00 | 1000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, S. N ELECTRICALS
3.30 | Auxilary relays. | 17.00 | Nos., |  | 1500.00 | 25500.00 | 1000.00 | 17000.00 | 1000.00 | 17000.00 | 600.00 | 10200.00 | 500.00 | 8500.00 | 500.00 | 8500.00 | 1500.00 | 25500.00 | 1000.00 | 17000.00 | 700.00 | 11900.00 | 8500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED, S. N ELECTRICALS
4.00 | Servicing of HT 11 KV 800 Amps VCB i/c cleaning of dust removing of oxidation layers from the exposed auxilary controls, closing & opening by electrical / manual operations checking CT & PT control & meeting circuit & making minor adjustements if required, lubricating the moving mechanisim like spring charging & raking IN & OUT of breaker trolley (02 nos ABB make & 03 nos Crompton make VCB) and submission of reports thorugh specialised agency / service center. (excluding cost of spares) | 5.00 | Each |  | 7000.00 | 35000.00 | 12000.00 | 60000.00 | 8000.00 | 40000.00 | 12000.00 | 60000.00 | 3000.00 | 15000.00 | 2500.00 | 12500.00 | 1500.00 | 7500.00 | 5000.00 | 25000.00 | 5500.00 | 27500.00 | 7500.00 | M/S B.A.G ENTERPRISES
5.00 | Checking & servicing of LT ACB's of following makes & rating at site by dismantling the breaker, cleaning & degreasing, & lubrication of various moving mechanism checking of control circuit of the breaker etc and recommissioning of same and submission of reports thorugh specialised agency / service center. (excluding cost of spares).
5.10 | 800 Amp, 4 pole ACB of Merlin Gerin make. | 3.00 | Each |  | 4000.00 | 12000.00 | 5500.00 | 16500.00 | 5400.00 | 16200.00 | 4500.00 | 13500.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 1000.00 | 3000.00 | 2000.00 | 6000.00 | 3000.00 | 9000.00 | 3000.00 | M/S B.A.G ENTERPRISES, S. N ELECTRICALS
5.20 | 1600 Amp, 4 pole ACB of Merlin Gerin make. | 1.00 | Each |  | 4000.00 | 4000.00 | 6000.00 | 6000.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 1000.00 | M/S B.A.G ENTERPRISES
5.30 | 800 Amp, 4 pole ACB of GE make. | 6.00 | Each |  | 4000.00 | 24000.00 | 5500.00 | 33000.00 | 6000.00 | 36000.00 | 4500.00 | 27000.00 | 1500.00 | 9000.00 | 1000.00 | 6000.00 | 1000.00 | 6000.00 | 2000.00 | 12000.00 | 3000.00 | 18000.00 | 6000.00 | M/S B.A.G ENTERPRISES, S. N ELECTRICALS
5.40 | 1000 Amp, 4 pole ACB of GE make. | 3.00 | Each |  | 4000.00 | 12000.00 | 6000.00 | 18000.00 | 6000.00 | 18000.00 | 5000.00 | 15000.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 2000.00 | 6000.00 | 3200.00 | 9600.00 | 3000.00 | M/S B.A.G ENTERPRISES
5.50 | 1600 Amp, 4 pole ACB of GE make. | 1.00 | Each |  | 4000.00 | 4000.00 | 6000.00 | 6000.00 | 6000.00 | 6000.00 | 5500.00 | 5500.00 | 1500.00 | 1500.00 | 1500.00 | 1500.00 | 1000.00 | 1000.00 | 2000.00 | 2000.00 | 3500.00 | 3500.00 | 1000.00 | M/S B.A.G ENTERPRISES
5.60 | 2500 Amp, 4 pole ACB of GE make. | 3.00 | Each |  | 4000.00 | 12000.00 | 7000.00 | 21000.00 | 6000.00 | 18000.00 | 5800.00 | 17400.00 | 1500.00 | 4500.00 | 1500.00 | 4500.00 | 1000.00 | 3000.00 | 2000.00 | 6000.00 | 4000.00 | 12000.00 | 3000.00 | M/S B.A.G ENTERPRISES
5.70 | 1600 Amp, 4 pole ACB of ABB make. | 5.00 | Each |  | 4000.00 | 20000.00 | 6000.00 | 30000.00 | 6000.00 | 30000.00 | 5500.00 | 27500.00 | 1500.00 | 7500.00 | 1500.00 | 7500.00 | 800.00 | 4000.00 | 2000.00 | 10000.00 | 3500.00 | 17500.00 | 4000.00 | M/S B.A.G ENTERPRISES
5.80 | 1600 Amp, 4 pole ACB of L&T make. | 2.00 | Each |  | 4000.00 | 8000.00 | 6000.00 | 12000.00 | 6000.00 | 12000.00 | 5500.00 | 11000.00 | 1500.00 | 3000.00 | 1500.00 | 3000.00 | 800.00 | 1600.00 | 2000.00 | 4000.00 | 3500.00 | 7000.00 | 1600.00 | M/S B.A.G ENTERPRISES
5.90 | 800 Amp, 4 pole ACB of L&T make. | 6.00 | Each |  | 4000.00 | 24000.00 | 5500.00 | 33000.00 | 6000.00 | 36000.00 | 4500.00 | 27000.00 | 1500.00 | 9000.00 | 1000.00 | 6000.00 | 800.00 | 4800.00 | 2000.00 | 12000.00 | 3000.00 | 18000.00 | 4800.00 | M/S B.A.G ENTERPRISES
6.00 | Rewinding of the following type of fans i/c replacement of bearing / bush by dismantling, transportation to workshop & back and reinstallation of fan at the existing location i/c connection, testing & commissioning etc complete as required. (Dismantled material shall be the property of tenderer)
6.10 | Ceiling fan of all makes and models. | 30.00 | Each |  | 350.00 | 10500.00 | 600.00 | 18000.00 | 500.00 | 15000.00 | 500.00 | 15000.00 | 300.00 | 9000.00 | 150.00 | 4500.00 | 240.00 | 7200.00 | 500.00 | 15000.00 | 600.00 | 18000.00 | 4500.00 | S. N ELECTRICALS
6.20 | Exhaust Fan of all makes and models. | 30.00 | Each |  | 350.00 | 10500.00 | 750.00 | 22500.00 | 700.00 | 21000.00 | 600.00 | 18000.00 | 300.00 | 9000.00 | 200.00 | 6000.00 | 240.00 | 7200.00 | 500.00 | 15000.00 | 750.00 | 22500.00 | 6000.00 | S. N ELECTRICALS
7.00 | Painting of following installations in installed position with synthetic enamell paint by spray/ brush painting with one or more coats to give an even finish i/c scraping, cleaning & preparing the surface etc complete as required.
7.10 | Distribution boards /electrical panels/ Feedar piller etc. | 50.00 | Sqm |  | 100.00 | 5000.00 | 120.00 | 6000.00 | 200.00 | 10000.00 | 120.00 | 6000.00 | 50.00 | 2500.00 | 150.00 | 7500.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 200.00 | 10000.00 | 2500.00 | M/S B.A.G ENTERPRISES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.20 | Street light poles with single /double Arms, height upto 4 mtrs. | 90.00 | Each |  | 300.00 | 27000.00 | 300.00 | 27000.00 | 300.00 | 27000.00 | 350.00 | 31500.00 | 50.00 | 4500.00 | 150.00 | 13500.00 | 50.00 | 4500.00 | 100.00 | 9000.00 | 350.00 | 31500.00 | 4500.00 | M/S B.A.G ENTERPRISES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
7.30 | Street light poles with single/double arms of height above 7 mtr to 9 mtrs | 80.00 | Each |  | 400.00 | 32000.00 | 500.00 | 40000.00 | 480.00 | 38400.00 | 500.00 | 40000.00 | 50.00 | 4000.00 | 200.00 | 16000.00 | 50.00 | 4000.00 | 100.00 | 8000.00 | 800.00 | 64000.00 | 4000.00 | M/S B.A.G ENTERPRISES, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
8.00 | Lifitng & Lowering the submersible water pump upto 10 HP for repair/replacement in the exisitng borewell by using chain pully block & tripod etc. i/c replacement of the gaskets and worn out nut, bolt etc. complete as required. | 4.00 | Job |  | 3500.00 | 14000.00 | 8800.00 | 35200.00 | 9000.00 | 36000.00 | 10000.00 | 40000.00 | 2000.00 | 8000.00 | 3500.00 | 14000.00 | 3000.00 | 12000.00 | 5000.00 | 20000.00 | 9000.00 | 36000.00 | 8000.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
9.00 | Carrying out the works covered under DSR (Electrical) 2018, of value upto Rs 5,00,000/-- (Five Lakh Only) The payment of DSR items shall be released on the basis of perctange above/below quoted on Rs 5,00,000/- NOTE: Guiidline for quoting %age rate for the bidder. 1. The bidder has to quote the rates in the rates column aganist the works of Rs. 500000/-of DSR 2018 (electrical) and same shall be converted into %age above/below on the DSR 2018 (considering the rates of DSR 2018 as base rates). 2. For Example if bidder quotes Rs. 525000/- in rates column then same shall be converted into %age of DSR 2018 as under ((525000 - 500000) / 500000) i.e. 5% above on DSR 2018 and accordingly payment shall be made by applying the %age i.e. 5% above on DSR 2018 rates for items covered in DSR 2018. | 1.00 | Job |  | 425000.00 | 425000.00 | 525000.00 | 525000.00 | 450000.00 | 450000.00 | 400000.00 | 400000.00 | 223855.00 | 223855.00 | 375000.00 | 375000.00 | 700000.00 | 700000.00 | 400000.00 | 400000.00 | 400000.00 | 400000.00 | 223855.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
| Total in Figures |  |  |  |  | 14440156.00 |  | 15155160.00 |  | 14821264.00 |  | 14712352.00 |  | 12855555.00 |  | 15583688.00 |  | 12638800.00 |  | 13237600.00 |  | 14993900.00
Lowest Amount Quoted BY: M/S B.A.G ENTERPRISES(12638800.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and maintenance of E and M installations, 11 KV substation, DG Sets, at SIA Tender ID: 2020_AAI_46276_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S B.A.G ENTERPRISES | 12638800.00 | L1
| 2 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 12855555.00 | L2
| 3 | Anil Kumar Sharma | 13237600.00 | L3
| 4 | ABHISHEK ASSOCIATES | 14440156.00 | L4
| 5 | SRS ENGINEERS | 14712352.00 | L5
| 6 | Manish Electricals | 14821264.00 | L6
| 7 | PAN POLAR ENGINEERS PVT. LTD. | 14993900.00 | L7
| 8 | NATIONAL SAFETY ENGINEERS | 15155160.00 | L8
| 9 | S. N ELECTRICALS | 15583688.00 | L9