## BoQ1
Government eProcurement System Created By: Ravi Shankar Created Date/Time: 18-May-2020 01:51 PM Tender Title: Rehauling of Top Profile sheets of T1 T2 at B.P.I Airport, Bhubaneswar Tender ID: 2020_AAI_46847_1
Tender Inviting Authority: AGM Engg.(Civil)-III
Name of Work: Rehauling of Top Profile sheets of T1 & T2 at B.P.I. Airport, Bhubaneswar
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NARESH KUMAR BEHERA |  | Abhishek Jain
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineer-in-charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 920.00 | Sqm | 550.40 | 625.00 | 575000.00 | 850.00 | 782000.00 | 575000.00 | NARESH KUMAR BEHERA
2.00 | Extra for providing and fixing wind ties of 40x 6 mm flat iron section | 2000.00 | Mtr. | 103.30 | 120.00 | 240000.00 | 150.00 | 300000.00 | 240000.00 | NARESH KUMAR BEHERA
3.00 | Providing and fixing double scaffolding system (cup lock type) on the exterior side, up to seven story height made with 40 mm dia M.S. tube 1.5 m centre to centre, horizontal & vertical tubes joining with cup & lock system with M.S. tubes, M.S. tube challies, M.S. clamps and M.S. staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for the required duration as approved and removing it there after .The scaffolding system shall be stiffened with bracings, runners, connection with the building etc wherever required for inspection of work at required locations with essential safety features for the workmen etc. complete as per directions and approval of Engineer-in-charge .The elevational area of the scaffolding shall be measured for payment purpose .The payment will be made once irrespective of duration of scaffolding. Note: - This item to be used for maintenance work judicially, necessary deduction for scaffolding in the existing item to be done. | 1600.00 | Sqm | 160.15 | 150.00 | 240000.00 | 200.00 | 320000.00 | 240000.00 | NARESH KUMAR BEHERA
4.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Hot finished welded type tubes | 1000.00 | Kg | 90.25 | 105.00 | 105000.00 | 140.00 | 140000.00 | 105000.00 | NARESH KUMAR BEHERA
5.00 | Supply & fixing of self-adhesive water proofing membrane of make Asian Paints smartcare SBS or equivalent of thickness 2mm. Including Asian Paints Smartcare Bitumen Primer applied as per supplier's specification. Including consumables like masking tape and other accessories like safety belt, helmats, gloves,safety jackets etc. work to be complete as per the satisfacton/ Direction of Engineer-in-Charge | 200.00 | Sqm | 441.66 | 500.00 | 100000.00 | 600.00 | 120000.00 | 100000.00 | NARESH KUMAR BEHERA
6.00 | Designing, fabricating, testing, installing and fixing in position Curtain Wall with Aluminium Composite Panel Cladding, with open grooves for linear as well as curvilinear portions of the building , for all heights and all levels etc. including: (a) Structural analysis & design and preparation of shop drawings for pressure equalisation or rain screen principle as required, proper drainage of water to make it watertight including checking of all the structural and functional design. (b) providing, fabricating and supplying and fixing panels of aluminium composite panel cladding in pan shape in metalic colour of approved shades made out of 4mm thick aluminium composite panel material consisting of 3mm thick FR grade mineral core sandwiched between two Aluminium sheets (each 0.5mm thick). The aluminium composite panel cladding sheet shall be coil coated, with Kynar 500 based PVDF / Lumiflon based fluoropolymer resin coating of approved colour and shade on face # 1 and polymer (Service) coating on face # 2 as specified using stainless steel screws, nuts, bolts, washers, cleats, weather silicone sealant, backer rods etc (c) The fastening brackets of Aluminium alloy 6005 T5 / MS with Hot Dip Galvanised with serrations and serrated washers to arrest the wind load movement, fasteners, SS 316 Pins and anchor bolts of approved make in SS 316, Nylon separators to prevent bi-metallic contacts all complete required to perform as per specification and drawing The item includes cost of all material & labour component, the cost of all mock ups at site, cost of all samples of the individual components for testing in an approved laboratory, field tests on the assembled working curtain wall with aluminium composite panel cladding, cleaning and protection of the curtain wall with aluminium composite panel cladding till the handing over of the building for occupation. Base frame work for ACP cladding is payable under the relevant aluminium item.s The Contractor shall provide curtain wall with aluminium composite panel cladding, having all the performance characteristics all complete , as per the Architectural drawings, as per item description, as specified, as per the approved shop drawings and as directed by the Engineer-in-Charge. However, for the purpose of payment, only the actual area on the external face of the curtain wall with Aluminum Composite Panel Cladding (including width of groove) shall be measured in sqm. up to two decimal places. | 140.00 | Sqm | 3405.90 | 3880.00 | 543200.00 | 4000.00 | 560000.00 | 543200.00 | NARESH KUMAR BEHERA
7.00 | Providing and fixing aluminium work for doors, windows, ventilators andpartitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) :For fixed portion Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 140.00 | Kg | 355.20 | 405.00 | 56700.00 | 625.00 | 87500.00 | 56700.00 | NARESH KUMAR BEHERA
| Total in Figures |  |  |  |  | 1859900.00 |  | 2309500.00
Lowest Amount Quoted BY: NARESH KUMAR BEHERA(1859900.00)

## BOQ Summary
BOQ Summary Details Tender Title: Rehauling of Top Profile sheets of T1 T2 at B.P.I Airport, Bhubaneswar Tender ID: 2020_AAI_46847_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | NARESH KUMAR BEHERA | 1859900.00 | L1
| 2 | Abhishek Jain | 2309500.00 | L2