## BoQ1
Government eProcurement System Created By: Ravindra Kumar Created Date/Time: 05-Jun-2020 04:07 PM Tender Title: ARMO of E and M Installation at CATC, Allahabad. SH ARMO of Internal and External EI of 33 KV/433V Sub-Station at Institute Area and operation and maintenance of various pumps (Year 2020-21 and 2021-22). Tender ID: 2020_AAI_47030_1
Tender Inviting Authority:- Sr. Manager (Engg-E), Airports Authority of India, Engineering Section, CATC Allahabad
Name of Work:- ARMO of EI at CATC, Allahabad SH : ARMO of Internal and External E.I. of 33 KV/433V Sub-Station at Institute Area and operation and maintenance of various pumps (Year 2020-21 & 2021-22).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | TITCO ELECTRICALS |  | ALLIED REFRIGERATION AND ELECTRICAL WORKS |  | Freaquer Corporation Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | AMC of Institute Area (33 KV/433V Sub-Station, Institute)
2.00 | SH-I REPAIR AND MAINTENANCE OF INTERNAL & EXTERNAL OF AT CATC
3.00 | Routine / Preventive and Breakdown maintenance of internal & external electrical installations at CATC Institute Area, Bamrauli on all week days including Saturday, Sunday and holidays round the clock as per detailed specification by providing skilled and unskilled manpower complete as required. ( Highly Skilled- 01no in Gen shift for 06 days in week ), (Skilled-02 no per shift (03 shift A,B,C) for all days in a week and Un Skilled-02 no per shift (03 shift A,B,C) for all days in a week) | 24.00 | Month | 10.00 | 257111.00 | 6170664.00 | 254500.00 | 6108000.00 | 265140.00 | 6363360.00 | 229478.00 | 5507472.00 | 5507472.00 | Freaquer Corporation Pvt Ltd
4.00 | OPERATION AND MAINTENANCE OF CATC INSTALLATIONS, DG, PUMPS SETS
5.00 | Operation & maintenance of complete 33KV/433V sub station with 2 nos 1600 KVA indoor transformers, related LT & HT panels, power factor control panels, AMF&DG Sets along with battery chargers & accessories round the clock on all week days including saturdays, sundays & holidays by providing the skilled & unskilled man power, tools & tackles and attending the break-down and preventive maintenance as per detail specifications enclosed. ( Skilled-01 no per shift (03 shift A,B,C) for all days in a week) un skilled -01 Nos per shift (03 shift A,B,C) for all days in a week) | 24.00 | Month | 10.00 | 116555.00 | 2797320.00 | 130000.00 | 3120000.00 | 121765.00 | 2922360.00 | 111240.00 | 2669760.00 | 2669760.00 | Freaquer Corporation Pvt Ltd
6.00 | Operation of submersible water pump on all week days including saturdays, sundays & holidays in general shift by providing the semi-skilled man power, tools & tackles and attending the minor break-down and preventive maintenance as per detail specifications enclosed.( Semi Skilled-01 no per (03 shift A,B,C) for all days in a week) | 24.00 | Month | 10.00 | 56888.00 | 1365312.00 | 61452.00 | 1474848.00 | 59045.00 | 1417080.00 | 51210.00 | 1229040.00 | 1229040.00 | Freaquer Corporation Pvt Ltd
7.00 | Operation and preventive maintenance of sewage pumps and fountains on all week days including saturdays, sundays & holidays in one shift by providing the semi-skilled man power, tools & tackles and attending the minor break-down and preventive maintenance as per detail specifications enclosed. ( Semi Skilled-01 no gen shift for all days in a week) | 24.00 | Month | 10.00 | 18888.00 | 453312.00 | 20484.00 | 491616.00 | 19796.00 | 475104.00 | 17070.00 | 409680.00 | 409680.00 | Freaquer Corporation Pvt Ltd
8.00 | Extra for deputing following Staff on daily basis as per requirement
9.00 | highly Skilled | 100.00 | Hour | 10.00 | 92.00 | 9200.00 | 240.00 | 24000.00 | 20.00 | 2000.00 | 35.00 | 3500.00 | 2000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
10.00 | Skilled | 150.00 | Hour | 10.00 | 83.00 | 12450.00 | 204.00 | 30600.00 | 15.00 | 2250.00 | 30.00 | 4500.00 | 2250.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
11.00 | Un-skilled | 150.00 | Hour | 10.00 | 63.00 | 9450.00 | 156.00 | 23400.00 | 10.00 | 1500.00 | 21.00 | 3150.00 | 1500.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
12.00 | SH-II Preventive Maintenance Works
13.00 | Complete overhauling & servicing of ABB make, 33 KV, Indoor type incoming / Outgoing vaccume circuit Breaker and connected accessories / switching controls at site by the authorised services centre / agent of the manufacture of including replacement of defective parts with the departmentally supplied spare parts and performance testing of VCB after servicing / maintenance for proper functioning, safety and submission of service / maintenance report in triplicate etc. complete as required. | 6.00 | Job | 10.00 | 10000.00 | 60000.00 | 12000.00 | 72000.00 | 11250.00 | 67500.00 | 3000.00 | 18000.00 | 18000.00 | Freaquer Corporation Pvt Ltd
14.00 | Complete servicing, testing and calibration of following relays / IDMT relays of different makes & ratings by Primary / Secondary injection method at site including submission of service cum test report in triplicate.
15.00 | Set of Two Over Current & One Earth Fault Relay Set | 7.00 | Job | 10.00 | 2000.00 | 14000.00 | 1200.00 | 8400.00 | 1500.00 | 10500.00 | 1200.00 | 8400.00 | 8400.00 | Freaquer Corporation Pvt Ltd, TITCO ELECTRICALS
16.00 | Primary injection test of IDMT relays set of different makes by injecting actal load current and measuring the current in secondary protection ckt & metering ckt and tripping on over load and/ earth fault at site including submission of test report in triplicate. | 3.00 | Job | 10.00 | 2500.00 | 7500.00 | 2400.00 | 7200.00 | 4500.00 | 13500.00 | 1800.00 | 5400.00 | 5400.00 | Freaquer Corporation Pvt Ltd
17.00 | Complete overhauling and servicing of low volt different make Air Circuit Breakers of rating ranging from 800A to 2500A and connected accessories/switching controls at site by the authorised services centre / agent of the manufacture including measurement of Contact Resistance, Tripping and closing time before and after Servicing and performance testing after servicing/overhauling alongwith calibration and commissioning of the ACB, replacement of defective major parts with the departmentally supplied spare parts complete at site and submission of service/overhauling report in triplicate complete etc as reqd. | 12.00 | Job | 10.00 | 3000.00 | 36000.00 | 4200.00 | 50400.00 | 4000.00 | 48000.00 | 300.00 | 3600.00 | 3600.00 | Freaquer Corporation Pvt Ltd
18.00 | Supply of following spare parts for low volt GE make Air Circuit Breakers of rating ranging from 800A to 2500A.(items shall be executed as per actual requirements)
19.00 | Isolating Contact | 1.00 | Each | 10.00 | 10000.00 | 10000.00 | 960.00 | 960.00 | 6900.00 | 6900.00 | 1500.00 | 1500.00 | 960.00 | TITCO ELECTRICALS
20.00 | Cluster | 1.00 | Each | 10.00 | 6000.00 | 6000.00 | 600.00 | 600.00 | 3550.00 | 3550.00 | 2500.00 | 2500.00 | 600.00 | TITCO ELECTRICALS
21.00 | LH Racking Assy | 1.00 | Each | 10.00 | 1300.00 | 1300.00 | 2400.00 | 2400.00 | 4410.00 | 4410.00 | 1200.00 | 1200.00 | 1200.00 | Freaquer Corporation Pvt Ltd
22.00 | RH Racking Assy | 1.00 | Each | 10.00 | 1300.00 | 1300.00 | 3000.00 | 3000.00 | 4410.00 | 4410.00 | 1200.00 | 1200.00 | 1200.00 | Freaquer Corporation Pvt Ltd
23.00 | Moving Contact | 2.00 | Each | 10.00 | 2200.00 | 4400.00 | 1200.00 | 2400.00 | 7670.00 | 15340.00 | 870.00 | 1740.00 | 1740.00 | Freaquer Corporation Pvt Ltd
24.00 | Top Fixed contact M-610 | 1.00 | Each | 10.00 | 8500.00 | 8500.00 | 960.00 | 960.00 | 6890.00 | 6890.00 | 980.00 | 980.00 | 960.00 | TITCO ELECTRICALS
25.00 | Bottom Fixed contact | 1.00 | Each | 10.00 | 5500.00 | 5500.00 | 1440.00 | 1440.00 | 6950.00 | 6950.00 | 1200.00 | 1200.00 | 1200.00 | Freaquer Corporation Pvt Ltd
26.00 | Filteration & dehydration of transformers, servo stablizer oil at site up to a level of 55 KV (RMS) dielectric strength for 33 KV/433V and 11 KV transformers, servo stabiliser installed at sub stations including submission of test reports before & after dehydration of oil etc as required. | 10280.00 | Ltr | 10.00 | 5.00 | 51400.00 | 7.00 | 71960.00 | 9.00 | 92520.00 | 15.00 | 154200.00 | 51400.00 | ABHISHEK ASSOCIATES
27.00 | Replacement of silica jel in breather of transformers installed at 33/11 KV Sub-Stations as and when required . | 12.00 | Kg | 10.00 | 300.00 | 3600.00 | 360.00 | 4320.00 | 250.00 | 3000.00 | 1200.00 | 14400.00 | 3000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
28.00 | Toping up the transformer oil in conservator tank upto a required level with new treated transformer oil as and when required. | 418.00 | Ltr | 10.00 | 90.00 | 37620.00 | 108.00 | 45144.00 | 100.00 | 41800.00 | 130.00 | 54340.00 | 37620.00 | ABHISHEK ASSOCIATES
29.00 | SH-III MISC WORKS
30.00 | Rewinding of ceiling fan of 1200/1400mm dia sweep 240 volt 50 hz AC supply complete as reqd . | 50.00 | Each | 10.00 | 300.00 | 15000.00 | 360.00 | 18000.00 | 150.00 | 7500.00 | 450.00 | 22500.00 | 7500.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
31.00 | Rewinding of exhaust fan of 300 to 450mm dia sweep 240 volt 50 hz AC supply complete as reqd . | 50.00 | Each | 10.00 | 300.00 | 15000.00 | 600.00 | 30000.00 | 200.00 | 10000.00 | 600.00 | 30000.00 | 10000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
32.00 | Rewinding of following capacity 415Volt 50 Hz AC supply monoblock pump motors longwith removing the burnt out copper coil, change of minor parts like keys bushes, thush plate, glands, machine work of shaft etc and transportation charges to and fro i/c less credit for burnt out copper coils etc as required.
33.00 | 5 H.P. | 2.00 | Each | 10.00 | 1000.00 | 2000.00 | 2400.00 | 4800.00 | 500.00 | 1000.00 | 2000.00 | 4000.00 | 1000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
34.00 | 10 H.P. | 2.00 | Each | 10.00 | 1000.00 | 2000.00 | 4800.00 | 9600.00 | 1500.00 | 3000.00 | 3500.00 | 7000.00 | 2000.00 | ABHISHEK ASSOCIATES
35.00 | Rewinding of following capacity 415Volt 50 Hz AC supply submersible pump motors longwith removing the burnt out copper coil, change of minor parts like keys bushes, thush plate, glands, machine work of shaft etc and transportation charges to and fro i/c less credit for burnt out copper coils etc as required.
36.00 | 15 HP | 2.00 | Each | 10.00 | 3000.00 | 6000.00 | 7200.00 | 14400.00 | 2000.00 | 4000.00 | 1900.00 | 3800.00 | 3800.00 | Freaquer Corporation Pvt Ltd
37.00 | 20 H.P | 4.00 | Each | 10.00 | 4000.00 | 16000.00 | 9600.00 | 38400.00 | 2500.00 | 10000.00 | 2000.00 | 8000.00 | 8000.00 | Freaquer Corporation Pvt Ltd
38.00 | 25 H.P | 4.00 | Each | 10.00 | 4000.00 | 16000.00 | 12000.00 | 48000.00 | 3000.00 | 12000.00 | 2000.00 | 8000.00 | 8000.00 | Freaquer Corporation Pvt Ltd
39.00 | 30H.P. | 4.00 | Each | 10.00 | 4000.00 | 16000.00 | 14400.00 | 57600.00 | 3500.00 | 14000.00 | 2000.00 | 8000.00 | 8000.00 | Freaquer Corporation Pvt Ltd
40.00 | Lifting & lowering of 10 HP to 30 HP submersible pump including its connected pipe & cable and making water proof joint in submersible cable complete as required | 8.00 | Each | 10.00 | 4000.00 | 32000.00 | 3600.00 | 28800.00 | 550.00 | 4400.00 | 1500.00 | 12000.00 | 4400.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
41.00 | Spray Painting of electrical panels/ board/ feeder pillar/ duct of different capacity installed at different places in CATC with enameled paint (2 or more coat) including scraping the old paint and single coat of primer complete etc as reqd. | 200.00 | Sqm | 10.00 | 50.00 | 10000.00 | 120.00 | 24000.00 | 60.00 | 12000.00 | 200.00 | 40000.00 | 10000.00 | ABHISHEK ASSOCIATES
42.00 | Cleaning and painting of street light tubular pole of following height with 2 coats super quality aluminium paint including imbossing of AAI sysmble and numbering on the pole etc as required and as direction of Engg-In-Charge.
43.00 | poles of height not exceeding 12 mtr | 278.00 | Each | 10.00 | 400.00 | 111200.00 | 480.00 | 133440.00 | 155.00 | 43090.00 | 300.00 | 83400.00 | 43090.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
44.00 | poles of height not exceeding 05 mtr | 216.00 | Each | 10.00 | 300.00 | 64800.00 | 180.00 | 38880.00 | 105.00 | 22680.00 | 400.00 | 86400.00 | 22680.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
45.00 | Painting of collar of street light pole with synthetic enmel paint in bicolour ( black and yellow strip of suitable size ) complete as required and as instruction of Engg-in-charge. | 494.00 | Job | 10.00 | 100.00 | 49400.00 | 480.00 | 237120.00 | 110.00 | 54340.00 | 200.00 | 98800.00 | 49400.00 | ABHISHEK ASSOCIATES
46.00 | Letter writing on electrical panels/ board/ feeder pillar/ duct etc. in Hindi/English with synthetic enamel paint of approved shade , of letter height not less than 0.5 inch and upto 1.5 inch complete as reqd. | 500.00 | Nos | 10.00 | 2.00 | 1000.00 | 24.00 | 12000.00 | 2.00 | 1000.00 | 100.00 | 50000.00 | 1000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS, ABHISHEK ASSOCIATES
47.00 | Servicing of Desert coolers installed at CATC including minor repairing, cleaning of tank oiling & greasing of accessories & replacement of defective PVC pipe, elbow, tee etc. complete job. | 20.00 | Job | 10.00 | 500.00 | 10000.00 | 180.00 | 3600.00 | 250.00 | 5000.00 | 120.00 | 2400.00 | 2400.00 | Freaquer Corporation Pvt Ltd
48.00 | Providing and fixing of grass pad of suitable size of desert cooler installed at different locations in CATC,Allahabad | 10.00 | Job | 10.00 | 150.00 | 1500.00 | 180.00 | 1800.00 | 50.00 | 500.00 | 1400.00 | 14000.00 | 500.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
49.00 | Rewinding of desert cooler fan kit/ Exhaust fan kit including dismantling and refixing the same properly complete as required | 10.00 | Nos | 10.00 | 300.00 | 3000.00 | 600.00 | 6000.00 | 250.00 | 2500.00 | 1700.00 | 17000.00 | 2500.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
50.00 | Replacement of desert cooler pump by new submersible cooler pump i/c connection etc. and taking back the old desert cooler pump complete as required. | 10.00 | Nos | 10.00 | 700.00 | 7000.00 | 240.00 | 2400.00 | 250.00 | 2500.00 | 1000.00 | 10000.00 | 2400.00 | TITCO ELECTRICALS
51.00 | Replacement of defective spares / parts of Geyser of different capacity installed at different location at CAT/CATC, Bamrauli, Allahabad by providing defective spares/parts & skilled / unskilled manpowers as per specifications and requirement.
52.00 | Thermostate
53.00 | 1-100 Ltr. | 30.00 | Nos | 10.00 | 600.00 | 18000.00 | 480.00 | 14400.00 | 50.00 | 1500.00 | 600.00 | 18000.00 | 1500.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
54.00 | Element
55.00 | 15-100 Ltr. | 30.00 | Nos | 10.00 | 600.00 | 18000.00 | 480.00 | 14400.00 | 50.00 | 1500.00 | 600.00 | 18000.00 | 1500.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
56.00 | Supplying & making indoor cable end termination with suitable cold shrinkable jointing kit complete with all accessories, bimetallic washers and including lugs for the 3 core 300 sqmm size of XLPE aluminium conductor cable of 33 KV grade complete as required. | 2.00 | Job | 10.00 | 15000.00 | 30000.00 | 11000.00 | 22000.00 | 18750.00 | 37500.00 | 20.00 | 40.00 | 40.00 | Freaquer Corporation Pvt Ltd
57.00 | Supplying and making outdoor cable end termination with heat shrinkable jointing kit complete with all accessories including lugs suitable for following size of 3 core, 300 sqmm XLPE aluminium conductor cable of 33 kV grade as required | 2.00 | Job | 10.00 | 25000.00 | 50000.00 | 12000.00 | 24000.00 | 18750.00 | 37500.00 | 30.00 | 60.00 | 60.00 | Freaquer Corporation Pvt Ltd
58.00 | SH-IV CPWD DSR-2018 (INTERNAL & EXTERNAL) ITEMS
59.00 | Execution of misc. items on requirement basis covered under CPWD Schedule of Rates (Electrical) 2018 -GST shall be paid extra on DSR items ) (Note Total amount of this item is Rs 400000/-, It is percentage based item. For example if firm want to put as per DSR rate then quote 1.0 , if firm want 10 % above then put 1.1, if firm want quote 10 % below then put 0.9) | 400000.00 | Rs. | 10.00 | .75 | 300000.00 | .60 | 240000.00 | .50 | 200000.00 | .90 | 360000.00 | 200000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
| Total in Figures |  |  |  |  | 11858728.00 |  | 12567288.00 |  | 11996434.00 |  | 10997162.00
Lowest Amount Quoted BY: Freaquer Corporation Pvt Ltd(10997162.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installation at CATC, Allahabad. SH ARMO of Internal and External EI of 33 KV/433V Sub-Station at Institute Area and operation and maintenance of various pumps (Year 2020-21 and 2021-22). Tender ID: 2020_AAI_47030_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Freaquer Corporation Pvt Ltd | 10997162.00 | L1
| 2 | ABHISHEK ASSOCIATES | 11858728.00 | L2
| 3 | ALLIED REFRIGERATION AND ELECTRICAL WORKS | 11996434.00 | L3
| 4 | TITCO ELECTRICALS | 12567288.00 | L4