## BoQ1
Government eProcurement System Created By: Ravindra Kumar Created Date/Time: 05-Jun-2020 04:03 PM Tender Title: ARMO of E/M installations at CATC, Allahabad SH ARMO of Internal and External E.I. and 11 KV/433V Sub-Station at Residential Colony (Year 2020-21 and 2021-22) Tender ID: 2020_AAI_47031_1
Tender Inviting Authority:- Sr. Manager (Engg-E), Airports Authority of India, Engineering Section, CATC Allahabad
Name of Work:- ARMO of EI at CATC, Allahabad SH : ARMO of Internal and External E.I. and 11 KV/433V Sub-Station at Residential Colony (Year 2020-21 & 2021-22).
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | TITCO ELECTRICALS |  | KRISHNA REFRIGERATION |  | ALLIED REFRIGERATION AND ELECTRICAL WORKS
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I:-AMC of Residential olony (11 KV/433V Sub-Station)
2.00 | Routine ,Preventive and Breakdown maintenance of internal & external electrical installations, attending day to day complaints at CATC Residential Area, Bamrauli on all week days including Saturday, Sunday and holidays round the clock as per specification by providing skilled and unskilled manpower complete as required. (Highly skilled & unskilled -01each no in Gen for 06 days in a week, Skilled- 01 no in Gen shift for all days in a week & Un Skilled- 01 no in Gen shift for all days in a week and Skilled-01 no per shift (03 shift A,B,C) for all days of week, un skilled -01 no per shift (03 shift A,B,C) for all days of week. | 24.00 | Month | 10.00 | 192000.00 | 4608000.00 | 206900.00 | 4965600.00 | 188600.00 | 4526400.00 | 208990.00 | 5015760.00 | 4526400.00 | KRISHNA REFRIGERATION
3.00 | Operation of 1 x 75KVA AMF DG Set along with battery chargers, LT panels, HT Panel, Transformer, Servo Voltage Stabilizer & accessories etc. installed at 11KV/433V Colony Sub Station, in 03 shifts on all days of the week including Saturdays, Sundays & Holidays by providing tools & required man power and as per terms, conditions and specifications enclosed. ( Skilled- 01 no per shift (03 shift A,B,C) for all days of week) | 24.00 | Month | 10.00 | 66400.00 | 1593600.00 | 71932.00 | 1726368.00 | 66600.00 | 1598400.00 | 71990.00 | 1727760.00 | 1593600.00 | ABHISHEK ASSOCIATES
4.00 | SH-II:- Preventive & Maintenance Works and Spares
5.00 | Rewinding of ceiling fan of 1200/1400mm dia sweep 240 volt 50 hz AC supply complete as reqd . | 60.00 | Each | 10.00 | 350.00 | 21000.00 | 414.00 | 24840.00 | 510.00 | 30600.00 | 142.00 | 8520.00 | 8520.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
6.00 | Rewinding of exhaust fan of 300 to 450mm dia sweep 240 volt 50 hz AC supply complete as reqd . | 20.00 | Each | 10.00 | 350.00 | 7000.00 | 690.00 | 13800.00 | 680.00 | 13600.00 | 190.00 | 3800.00 | 3800.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
7.00 | Supply of 3 phase automatic star delta pump starter in sheet enclosure suitable for three phase motor working on 3 phase 415 V 50 Hz AC supply complete as requierd.
8.00 | for 30HP submesible pump motor ( type MU-G30 FASD) | 2.00 | Each | 10.00 | 8725.00 | 17450.00 | 13800.00 | 27600.00 | 18870.00 | 37740.00 | 20757.50 | 41515.00 | 17450.00 | ABHISHEK ASSOCIATES
9.00 | for 20HP submesible pump motor ( type MU-G30 FASD) | 2.00 | Each | 10.00 | 7800.00 | 15600.00 | 9200.00 | 18400.00 | 14700.00 | 29400.00 | 11129.25 | 22258.50 | 15600.00 | ABHISHEK ASSOCIATES
10.00 | Supply of following spares of approved make suitable for existing installation as and when required basis and as per direction of Engg-in-charge. ( Installation will be execute by the man power in item No 1above)
11.00 | 5/6 amp one way Switch | 600.00 | Each | 10.00 | 11.00 | 6600.00 | 13.00 | 7800.00 | 15.00 | 9000.00 | 11.00 | 6600.00 | 6600.00 | ABHISHEK ASSOCIATES, ALLIED REFRIGERATION AND ELECTRICAL WORKS
12.00 | bell push 5 Amp 230 V AC Supply | 50.00 | Each | 10.00 | 20.00 | 1000.00 | 24.00 | 1200.00 | 21.00 | 1050.00 | 21.00 | 1050.00 | 1000.00 | ABHISHEK ASSOCIATES
13.00 | 3 pin 5/6 A universal socket | 150.00 | Each | 10.00 | 25.00 | 3750.00 | 25.00 | 3750.00 | 30.00 | 4500.00 | 22.00 | 3300.00 | 3300.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
14.00 | Switch 15/16 amp one way | 80.00 | Each | 10.00 | 52.00 | 4160.00 | 62.00 | 4960.00 | 40.00 | 3200.00 | 60.00 | 4800.00 | 3200.00 | KRISHNA REFRIGERATION
15.00 | 20A,/10 A combined with 4 fixing holes | 80.00 | Each | 10.00 | 79.00 | 6320.00 | 112.00 | 8960.00 | 120.00 | 9600.00 | 60.00 | 4800.00 | 4800.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
16.00 | 3 pin 5/6 amp plug top | 40.00 | Each | 10.00 | 35.00 | 1400.00 | 34.00 | 1360.00 | 60.00 | 2400.00 | 38.00 | 1520.00 | 1360.00 | TITCO ELECTRICALS
17.00 | 3 pin 15 amp plug top | 50.00 | Each | 10.00 | 46.00 | 2300.00 | 57.00 | 2850.00 | 80.00 | 4000.00 | 38.00 | 1900.00 | 1900.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
18.00 | Wireless call/door bell working on 230 V, 50Hz , having 3 vulume levels, selectable tunes etc | 30.00 | Each | 10.00 | 172.00 | 5160.00 | 460.00 | 13800.00 | 350.00 | 10500.00 | 551.00 | 16530.00 | 5160.00 | ABHISHEK ASSOCIATES
19.00 | Electronic 100 watt mini fan speed regulator step type for ceiling fan suitable to operate on 230Volts +10%, 50Hz, AC.Supply. | 60.00 | Each | 10.00 | 136.00 | 8160.00 | 115.00 | 6900.00 | 205.00 | 12300.00 | 150.00 | 9000.00 | 6900.00 | TITCO ELECTRICALS
20.00 | Electronic 100 watt delux fan speed regulator step type for ceiling fan suitable to operate on 230Volts +10%, 50Hz, AC.Supply. | 60.00 | Each | 10.00 | 152.00 | 9120.00 | 200.00 | 12000.00 | 290.00 | 17400.00 | 164.00 | 9840.00 | 9120.00 | ABHISHEK ASSOCIATES
21.00 | 10A/20A SS combine with box (4 fixing holes) | 50.00 | Each | 10.00 | 95.00 | 4750.00 | 112.00 | 5600.00 | 190.00 | 9500.00 | 88.00 | 4400.00 | 4400.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
22.00 | Tube light starter, 40 W/36W | 100.00 | Each | 10.00 | 8.00 | 800.00 | 12.00 | 1200.00 | 17.00 | 1700.00 | 8.00 | 800.00 | 800.00 | ABHISHEK ASSOCIATES, ALLIED REFRIGERATION AND ELECTRICAL WORKS
23.00 | 2.5 MFD , 230V electrolytic capacitor. | 300.00 | Each | 10.00 | 15.00 | 4500.00 | 30.00 | 9000.00 | 50.00 | 15000.00 | 22.00 | 6600.00 | 4500.00 | ABHISHEK ASSOCIATES
24.00 | Door Bell (Ding dong). | 50.00 | Each | 10.00 | 95.00 | 4750.00 | 187.00 | 9350.00 | 255.00 | 12750.00 | 65.00 | 3250.00 | 3250.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
25.00 | Extension board (Excel 4 way with individual switches) 3 pin,6A. | 20.00 | Each | 10.00 | 381.00 | 7620.00 | 287.00 | 5740.00 | 272.00 | 5440.00 | 525.00 | 10500.00 | 5440.00 | KRISHNA REFRIGERATION
26.00 | Supply of MCB/Isolator of following Amps rating , 240V or 440 , 50Hz, 10KA, 'C' series suitable for inductive loads.
27.00 | SP 6 Amp to 32 amps | 150.00 | Each | 10.00 | 82.00 | 12300.00 | 149.00 | 22350.00 | 140.00 | 21000.00 | 130.00 | 19500.00 | 12300.00 | ABHISHEK ASSOCIATES
28.00 | 4 pole MCB 40 Amp | 30.00 | Each | 10.00 | 710.00 | 21300.00 | 1566.00 | 46980.00 | 2050.00 | 61500.00 | 1121.00 | 33630.00 | 21300.00 | ABHISHEK ASSOCIATES
29.00 | 4 pole MCB 63 Amp | 30.00 | Each | 10.00 | 760.00 | 22800.00 | 1566.00 | 46980.00 | 2050.00 | 61500.00 | 1242.00 | 37260.00 | 22800.00 | ABHISHEK ASSOCIATES
30.00 | SPN MCB 40 Amp | 40.00 | Each | 10.00 | 360.00 | 14400.00 | 350.00 | 14000.00 | 910.00 | 36400.00 | 615.00 | 24600.00 | 14000.00 | TITCO ELECTRICALS
31.00 | RCCB 2 pole 40 Amps, 300ma | 30.00 | Each | 10.00 | 1290.00 | 38700.00 | 1495.00 | 44850.00 | 2560.00 | 76800.00 | 1568.00 | 47040.00 | 38700.00 | ABHISHEK ASSOCIATES
32.00 | Supply of Single phase ISI marked Electronic energy meter having following specifications: 240 V/230V AC, 50Hz, 5-30 Amp with LCD display. | 30.00 | Each | 10.00 | 1150.00 | 34500.00 | 1725.00 | 51750.00 | 1530.00 | 45900.00 | 750.00 | 22500.00 | 22500.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
33.00 | Supply of three phase ISI marked Electronic energy meter in polycarbonate body with counter display in class 1.0,50 Hz,240V,AC,10-60 Amps. | 4.00 | Each | 10.00 | 2795.00 | 11180.00 | 5520.00 | 22080.00 | 2040.00 | 8160.00 | 1750.00 | 7000.00 | 7000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
34.00 | Supply of following panel accessories
35.00 | LED pilot Lamp 22.5mm (Blue) | 50.00 | Each | 10.00 | 130.00 | 6500.00 | 115.00 | 5750.00 | 200.00 | 10000.00 | 20.00 | 1000.00 | 1000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
36.00 | LED pilot Lamp 22.5mm (Red & Yellow) | 100.00 | Each | 10.00 | 76.00 | 7600.00 | 115.00 | 11500.00 | 200.00 | 20000.00 | 20.00 | 2000.00 | 2000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
37.00 | 3 phase Digital Volt meter class 1 (size 96x96 mm) | 30.00 | Each | 10.00 | 756.00 | 22680.00 | 345.00 | 10350.00 | 750.00 | 22500.00 | 650.00 | 19500.00 | 10350.00 | TITCO ELECTRICALS
38.00 | 3 phase Digital Ammeter class 1 (size 96x96 mm) | 30.00 | Each | 10.00 | 756.00 | 22680.00 | 345.00 | 10350.00 | 750.00 | 22500.00 | 650.00 | 19500.00 | 10350.00 | TITCO ELECTRICALS
39.00 | Frequency meter class 0.2 (size 96x96 mm) | 4.00 | Each | 10.00 | 1305.00 | 5220.00 | 575.00 | 2300.00 | 2100.00 | 8400.00 | 1510.00 | 6040.00 | 2300.00 | TITCO ELECTRICALS
40.00 | Supply of 63 Amps TPN FN type switch suitable for 3 phase 415 V 50 Hz AC supply & cylindrical fuse, open execution | 30.00 | Each | 10.00 | 1795.00 | 53850.00 | 1500.00 | 45000.00 | 2040.00 | 61200.00 | 1750.00 | 52500.00 | 45000.00 | TITCO ELECTRICALS
41.00 | 63 amp fuse HF type | 240.00 | Each | 10.00 | 178.00 | 42720.00 | 207.00 | 49680.00 | 310.00 | 74400.00 | 115.00 | 27600.00 | 27600.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
42.00 | Supply of portable LED type rechargeable emergengy light suitable for working on single phase 230 V, 50 hz AC supply | 10.00 | Each | 10.00 | 1200.00 | 12000.00 | 287.00 | 2870.00 | 1020.00 | 10200.00 | 960.00 | 9600.00 | 2870.00 | TITCO ELECTRICALS
43.00 | Dismantling the existing LT panel by removing electrical connection of cables and making new foundation for panels installation testing and commissioning at new lacation by engaging skilled and un skilled manpower with required T & P etc complete as required. | 1.00 | Job | 10.00 | 500.00 | 500.00 | 3450.00 | 3450.00 | 4000.00 | 4000.00 | 8000.00 | 8000.00 | 500.00 | ABHISHEK ASSOCIATES
44.00 | Excavation the ground for locating the fault removing the cable from the trench, Detecting the fault relaying the cable and making the ground as per original
45.00 | Upto 185 Sq mm Cable | 500.00 | mtr | 10.00 | 20.00 | 10000.00 | 115.00 | 57500.00 | 85.00 | 42500.00 | 50.00 | 25000.00 | 10000.00 | ABHISHEK ASSOCIATES
46.00 | Above 185 sq. mm and upto 400 sq. mm | 300.00 | mtr | 10.00 | 20.00 | 6000.00 | 115.00 | 34500.00 | 85.00 | 25500.00 | 60.00 | 18000.00 | 6000.00 | ABHISHEK ASSOCIATES
47.00 | Supply fixing and operation of real time biometric attendance machine and submiting report every month complete as required | 48.00 | month | 10.00 | 250.00 | 12000.00 | 600.00 | 28800.00 | 400.00 | 19200.00 | 600.00 | 28800.00 | 12000.00 | ABHISHEK ASSOCIATES
48.00 | SH-III:- CPWD DSR-2018 (INTERNAL & EXTERNAL) ITEMS
49.00 | Execution of misc. items on requirement basis covered under CPWD Schedule of Rates (Electrical) 2018 -GST shall be paid extra on DSR items ) (Note Total amount of this item is Rs 60000/-, It is percentage based item. For example if firm want to put as per DSR rate then quote 1.0 , if firm want 10 % above then put 1.1, if firm want quote 10 % below then put 0.9) | 60000.00 | Job | 10.00 | .60 | 36000.00 | .60 | 36000.00 | .90 | 54000.00 | .50 | 30000.00 | 30000.00 | ALLIED REFRIGERATION AND ELECTRICAL WORKS
| Total in Figures |  |  |  |  | 6725970.00 |  | 7418118.00 |  | 7040140.00 |  | 7343573.50
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(6725970.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E/M installations at CATC, Allahabad SH ARMO of Internal and External E.I. and 11 KV/433V Sub-Station at Residential Colony (Year 2020-21 and 2021-22) Tender ID: 2020_AAI_47031_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 6725970.00 | L1
| 2 | KRISHNA REFRIGERATION | 7040140.00 | L2
| 3 | ALLIED REFRIGERATION AND ELECTRICAL WORKS | 7343573.50 | L3
| 4 | TITCO ELECTRICALS | 7418118.00 | L4