## BoQ1
Government eProcurement System Created By: Rupsingh Kanoj Created Date/Time: 10-Jun-2020 03:02 PM Tender Title: ARMO of E and M Installation at Pantnagar Airport for 2020-2022 Tender ID: 2020_AAI_47195_1
Tender Inviting Authority: Airports Authority of India
Name of Work: ARMO of Electrical & Mechanical installations at Civil Airport Pantnagar for year 2020-2022.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NATIONAL SAFETY ENGINEERS |  | Manish Electricals |  | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED |  | S. N ELECTRICALS |  | SAURABH ENTERPRISES |  | ANOOP REFRIGERATION |  | M/S HIGH TECH POWER SYSTEM |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED |  | SWAS AND IT PRIVATE LIMITED
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual operation & daily maintenance of various Electrical & Mechanical Installations involving repairs & maintenance and attending to complaints /faults/breakdowns and taking rectification action, ensuring serviceability / satisfactory working condition of the systems, preventive maintenance, maintenance of records/documents etc.of Residential area i/c power house, pump house, Residential Quarters, Terminal Building,Fire & MT Building, panels,street lights and other ancillary Buildings etc as per the detailed specifications, terms & conditions covered under this contract on all days including sundays & holidays etc as reqd. a) Wireman/Electrician(Skilled) -02 Nos. b) DG Set Operator(Semi-skilled) -04 Nos. c) PMI activities(Semi-skilled) -01 No. d) Helper(Unskilled) -05 Nos. | 24.00 | Month |  | 157500.00 | 3780000.00 | 157086.00 | 3770064.00 | 180000.00 | 4320000.00 | 166000.00 | 3984000.00 | 165000.00 | 3960000.00 | 145014.67 | 3480352.08 | 145000.00 | 3480000.00 | 195000.00 | 4680000.00 | 230000.00 | 5520000.00 | 3480000.00 | M/S HIGH TECH POWER SYSTEM
2.00 | Provision of additional manpower required for emergency / major maintenance works at Airport area beyond the scope of item No.1 on daily basis.(a) Skilled workmen | 20.00 | Day |  | 569.00 | 11380.00 | 550.00 | 11000.00 | 600.00 | 12000.00 | 654.00 | 13080.00 | 660.00 | 13200.00 | 569.00 | 11380.00 | 575.00 | 11500.00 | 600.00 | 12000.00 | 900.00 | 18000.00 | 11000.00 | Manish Electricals
3.00 | Provision of additional manpower required for emergency / major maintenance works at Airport area beyond the scope of item No.1 on daily basis.(b)Un-Skilled workmen | 20.00 | Day |  | 403.00 | 8060.00 | 400.00 | 8000.00 | 430.00 | 8600.00 | 463.00 | 9260.00 | 465.00 | 9300.00 | 403.00 | 8060.00 | 475.00 | 9500.00 | 550.00 | 11000.00 | 800.00 | 16000.00 | 8000.00 | Manish Electricals
4.00 | Dismantling, removal, lowering, reinstalling, testing and commissioning of submersible pumps of different makes & capacities including arranging of tripod stand, chain pulley block etc. as required. | 2.00 | Job |  | 6650.00 | 13300.00 | 3800.00 | 7600.00 | 1.00 | 2.00 | 3500.00 | 7000.00 | 3200.00 | 6400.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 12000.00 | 24000.00 | 20000.00 | 40000.00 | 2.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
5.00 | Rewinding of 10/15 HP motor of submersible pump of (different stages ) different makes as per original size of insulated copper wire, sleeves complete with connection ,interconnection etc as required. | 2.00 | Job |  | 15000.00 | 30000.00 | 7500.00 | 15000.00 | 1.00 | 2.00 | 1500.00 | 3000.00 | 5000.00 | 10000.00 | 12800.00 | 25600.00 | 500.00 | 1000.00 | 8000.00 | 16000.00 | 20000.00 | 40000.00 | 2.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
6.00 | Rewinding of 750 Watt , fractional horse power motor of single phase, 230 volt supply (drinking water motor) with suitable gauge copper wire i/c varnishing, baking etc as required i/c transportation from site to workshop & back to site. | 2.00 | Job |  | 2500.00 | 5000.00 | 2000.00 | 4000.00 | 500.00 | 1000.00 | 850.00 | 1700.00 | 1000.00 | 2000.00 | 1384.00 | 2768.00 | 50.00 | 100.00 | 4500.00 | 9000.00 | 6000.00 | 12000.00 | 100.00 | M/S HIGH TECH POWER SYSTEM
7.00 | Rewinding of following sizes ceiling /exhaust fans of all makes as per original size and specifications with suitable copper winding wires (Dismantle cu-wire need not to be returned) complete as required. (a) Ceiling fan upto 1400 mm Sweep. | 20.00 | Job |  | 400.00 | 8000.00 | 450.00 | 9000.00 | 100.00 | 2000.00 | 150.00 | 3000.00 | 300.00 | 6000.00 | 320.00 | 6400.00 | 50.00 | 1000.00 | 900.00 | 18000.00 | 1200.00 | 24000.00 | 1000.00 | M/S HIGH TECH POWER SYSTEM
8.00 | Rewinding of following sizes ceiling /exhaust fans of all makes as per original size and specifications with suitable copper winding wires (Dismantle cu-wire need not to be returned) complete as required. (b) Exhaust/Wall fan upto 450 mm sweep. | 10.00 | Job |  | 500.00 | 5000.00 | 600.00 | 6000.00 | 100.00 | 1000.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 480.00 | 4800.00 | 50.00 | 500.00 | 500.00 | 5000.00 | 1200.00 | 12000.00 | 500.00 | M/S HIGH TECH POWER SYSTEM
9.00 | Replacement of ball bearings /bushes of exhaust/wall/ceiling fans etc complete as required. | 20.00 | Job |  | 300.00 | 6000.00 | 200.00 | 4000.00 | 50.00 | 1000.00 | 75.00 | 1500.00 | 300.00 | 6000.00 | 160.00 | 3200.00 | 50.00 | 1000.00 | 200.00 | 4000.00 | 1000.00 | 20000.00 | 1000.00 | M/S HIGH TECH POWER SYSTEM, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
10.00 | Providing,fixing and lowering in existing borewell of 50 mm dia. Heavy(C Class) GI pipe with 10 mm thick MS flange, nut bolts and gasket including welding etc. complete as required. Note:01 pc. Pipe Length : 3mtr with both end of pipe 10 mm thick MS Flange welded. | 12.00 | Meter |  | 800.00 | 9600.00 | 650.00 | 7800.00 | 500.00 | 6000.00 | 380.00 | 4560.00 | 1000.00 | 12000.00 | 1040.00 | 12480.00 | 100.00 | 1200.00 | 8000.00 | 96000.00 | 5000.00 | 60000.00 | 1200.00 | M/S HIGH TECH POWER SYSTEM
11.00 | Supply of PVC insultation tape each of 7.5 meter in length. | 100.00 | Each |  | 15.00 | 1500.00 | 9.00 | 900.00 | 15.00 | 1500.00 | 35.00 | 3500.00 | 300.00 | 30000.00 | 6.40 | 640.00 | 10.00 | 1000.00 | 75.00 | 7500.00 | 120.00 | 12000.00 | 640.00 | ANOOP REFRIGERATION
12.00 | Supply of following capacity plug top suitable for operation on 230 volt single phase AC supply. a) 6 Amp, 3 pin. | 20.00 | Each |  | 30.00 | 600.00 | 25.00 | 500.00 | 50.00 | 1000.00 | 41.00 | 820.00 | 10.00 | 200.00 | 28.00 | 560.00 | 10.00 | 200.00 | 250.00 | 5000.00 | 250.00 | 5000.00 | 200.00 | SAURABH ENTERPRISES, M/S HIGH TECH POWER SYSTEM
13.00 | Supply of following capacity plug top suitable for operation on 230 volt single phase AC supply. b) 16 Amp., 3 pin. | 20.00 | Each |  | 60.00 | 1200.00 | 40.00 | 800.00 | 60.00 | 1200.00 | 51.00 | 1020.00 | 59.00 | 1180.00 | 60.00 | 1200.00 | 20.00 | 400.00 | 500.00 | 10000.00 | 650.00 | 13000.00 | 400.00 | M/S HIGH TECH POWER SYSTEM
14.00 | Supply of following sizes & type of socket suitable for operation on 230 volt single phase AC supply:- a) 6 Amp (3 pin). (Piano type). | 25.00 | Each |  | 35.00 | 875.00 | 30.00 | 750.00 | 50.00 | 1250.00 | 11.00 | 275.00 | 75.00 | 1875.00 | 32.00 | 800.00 | 20.00 | 500.00 | 600.00 | 15000.00 | 300.00 | 7500.00 | 275.00 | S. N ELECTRICALS
15.00 | Supply of following sizes & type of socket suitable for operation on 230 volt single phase AC supply:- b) 20 Amp (6 pin). (Piano type). | 20.00 | Each |  | 65.00 | 1300.00 | 60.00 | 1200.00 | 50.00 | 1000.00 | 23.00 | 460.00 | 35.00 | 700.00 | 64.00 | 1280.00 | 10.00 | 200.00 | 800.00 | 16000.00 | 400.00 | 8000.00 | 200.00 | M/S HIGH TECH POWER SYSTEM
16.00 | Supply of following sizes & type of switch suitable for operation on 230 volt single phase AC supply :- a) 06 Amp one way. (Piano type). | 35.00 | Each |  | 20.00 | 700.00 | 18.00 | 630.00 | 5.00 | 175.00 | 9.00 | 315.00 | 80.00 | 2800.00 | 16.00 | 560.00 | 10.00 | 350.00 | 600.00 | 21000.00 | 300.00 | 10500.00 | 175.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
17.00 | Supply of following sizes & type of switch suitable for operation on 230 volt single phase AC supply :- b) 20 Amp one way. (Piano type). | 20.00 | Each |  | 50.00 | 1000.00 | 60.00 | 1200.00 | 50.00 | 1000.00 | 12.00 | 240.00 | 70.00 | 1400.00 | 36.00 | 720.00 | 20.00 | 400.00 | 800.00 | 16000.00 | 400.00 | 8000.00 | 240.00 | S. N ELECTRICALS
18.00 | Supply of following sizes & type of switch suitable for operation on 230 volt single phase AC supply :-c) 10 Amp one way. (Modular type). | 10.00 | Each |  | 30.00 | 300.00 | 60.00 | 600.00 | 50.00 | 500.00 | 31.00 | 310.00 | 100.00 | 1000.00 | 28.00 | 280.00 | 25.00 | 250.00 | 800.00 | 8000.00 | 300.00 | 3000.00 | 250.00 | M/S HIGH TECH POWER SYSTEM
19.00 | Supply of following sizes & type of switch suitable for operation on 230 volt single phase AC supply :-d) 20 Amp one way.(Modular type). | 10.00 | Each |  | 55.00 | 550.00 | 130.00 | 1300.00 | 50.00 | 500.00 | 45.00 | 450.00 | 15.00 | 150.00 | 48.00 | 480.00 | 35.00 | 350.00 | 1200.00 | 12000.00 | 400.00 | 4000.00 | 150.00 | SAURABH ENTERPRISES
20.00 | Supply of 10A/20A combined switch & socket unit suitable for operation on 230 volt single phase AC supply :- | 10.00 | Each |  | 100.00 | 1000.00 | 130.00 | 1300.00 | 50.00 | 500.00 | 160.00 | 1600.00 | 80.00 | 800.00 | 144.00 | 1440.00 | 25.00 | 250.00 | 1500.00 | 15000.00 | 300.00 | 3000.00 | 250.00 | M/S HIGH TECH POWER SYSTEM
21.00 | Supply of FRLSH PVC insulated single core copper conductor flexible cable of 1.1kv grade of following size.(Coil of 90 mtr length) a) 1.5 mm2 (Multi Strand) | 5.00 | Each |  | 1200.00 | 6000.00 | 1200.00 | 6000.00 | 1000.00 | 5000.00 | 920.00 | 4600.00 | 50.00 | 250.00 | 1268.00 | 6340.00 | 500.00 | 2500.00 | 1800.00 | 9000.00 | 2000.00 | 10000.00 | 250.00 | SAURABH ENTERPRISES
22.00 | Supply of FRLSH PVC insulated single core copper conductor flexible cable of 1.1kv grade of following size.(Coil of 90 mtr length) b) 2.5 mm2 (Multi Strand) | 5.00 | Each |  | 1900.00 | 9500.00 | 2100.00 | 10500.00 | 1500.00 | 7500.00 | 1480.00 | 7400.00 | 100.00 | 500.00 | 1858.00 | 9290.00 | 750.00 | 3750.00 | 2400.00 | 12000.00 | 2500.00 | 12500.00 | 500.00 | SAURABH ENTERPRISES
23.00 | Supply of FRLSH PVC insulated single core copper conductor flexible cable of 1.1kv grade of following size.(Coil of 90 mtr length)c) 4.0 mm2 (Multi Strand) | 3.00 | Each |  | 2700.00 | 8100.00 | 3100.00 | 9300.00 | 2000.00 | 6000.00 | 2200.00 | 6600.00 | 100.00 | 300.00 | 3022.00 | 9066.00 | 1000.00 | 3000.00 | 3500.00 | 10500.00 | 5000.00 | 15000.00 | 300.00 | SAURABH ENTERPRISES
24.00 | Supply of Capacitor/Condenser for Ceiling fan,Exhaust fan,etc suitable for 230 volt, 50Hz single phase A.C. Supply. a) 2.5 mfd. | 30.00 | Each |  | 30.00 | 900.00 | 30.00 | 900.00 | 20.00 | 600.00 | 25.00 | 750.00 | 1200.00 | 36000.00 | 28.00 | 840.00 | 20.00 | 600.00 | 100.00 | 3000.00 | 350.00 | 10500.00 | 600.00 | M/S HIGH TECH POWER SYSTEM, JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
25.00 | Supply of Capacitor/Condenser for Ceiling fan,Exhaust fan,etc suitable for 230 volt, 50Hz single phase A.C. Supply. b) 3.15 mfd | 20.00 | Each |  | 35.00 | 700.00 | 40.00 | 800.00 | 25.00 | 500.00 | 25.00 | 500.00 | 2000.00 | 40000.00 | 36.00 | 720.00 | 20.00 | 400.00 | 110.00 | 2200.00 | 350.00 | 7000.00 | 400.00 | M/S HIGH TECH POWER SYSTEM
26.00 | Supply of FR PVC insulated round sheathed following core copper conductor flexible cable of 1.1kv grade of following size.(Coil of 100 mtr length) a) 1.5 mm2 (Two core) | 3.00 | Each |  | 2300.00 | 6900.00 | 3000.00 | 9000.00 | 3000.00 | 9000.00 | 25.82 | 77.46 | 1000.00 | 3000.00 | 2880.00 | 8640.00 | 1000.00 | 3000.00 | 3500.00 | 10500.00 | 2500.00 | 7500.00 | 77.46 | S. N ELECTRICALS
27.00 | Supply of FR PVC insulated round sheathed following core copper conductor flexible cable of 1.1kv grade of following size.(Coil of 100 mtr length) b) 2.5 mm2 (Two core) | 3.00 | Each |  | 3700.00 | 11100.00 | 4400.00 | 13200.00 | 4000.00 | 12000.00 | 41.52 | 124.56 | 1200.00 | 3600.00 | 4543.00 | 13629.00 | 1500.00 | 4500.00 | 4200.00 | 12600.00 | 3000.00 | 9000.00 | 124.56 | S. N ELECTRICALS
28.00 | Supply of FR PVC insulated round sheathed following core copper conductor flexible cable of 1.1kv grade of following size.(Coil of 100 mtr length) c) 2.5 mm2 (Three core) | 3.00 | Each |  | 5500.00 | 16500.00 | 6500.00 | 19500.00 | 5000.00 | 15000.00 | 57.77 | 173.31 | 1500.00 | 4500.00 | 6750.00 | 20250.00 | 2500.00 | 7500.00 | 5000.00 | 15000.00 | 3500.00 | 10500.00 | 173.31 | S. N ELECTRICALS
29.00 | Supply of Remote/wireless battery operated door bell alongwith tune selector(36 selectable tunes), volume controling features and having range upto 100 meters in open area. | 5.00 | Each |  | 500.00 | 2500.00 | 350.00 | 1750.00 | 100.00 | 500.00 | 180.00 | 900.00 | 350.00 | 1750.00 | 761.00 | 3805.00 | 250.00 | 1250.00 | 1500.00 | 7500.00 | 500.00 | 2500.00 | 500.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
30.00 | Supply of step type 2 Module fan regulator suitable for operation on 230 V,50Hz single phase AC supply.. | 30.00 | Each |  | 150.00 | 4500.00 | 250.00 | 7500.00 | 250.00 | 7500.00 | 285.00 | 8550.00 | 400.00 | 12000.00 | 105.00 | 3150.00 | 150.00 | 4500.00 | 150.00 | 4500.00 | 1200.00 | 36000.00 | 3150.00 | ANOOP REFRIGERATION
31.00 | Supply of SP MCB suitable for operation on 230V,50Hz single phase AC supply a)10amp | 30.00 | Each |  | 100.00 | 3000.00 | 140.00 | 4200.00 | 200.00 | 6000.00 | 110.00 | 3300.00 | 120.00 | 3600.00 | 90.00 | 2700.00 | 150.00 | 4500.00 | 500.00 | 15000.00 | 1200.00 | 36000.00 | 2700.00 | ANOOP REFRIGERATION
32.00 | Supply of SP MCB suitable for operation on 230V,50Hz single phase AC supply b)16amp | 30.00 | Each |  | 100.00 | 3000.00 | 140.00 | 4200.00 | 200.00 | 6000.00 | 110.00 | 3300.00 | 120.00 | 3600.00 | 119.00 | 3570.00 | 150.00 | 4500.00 | 650.00 | 19500.00 | 2000.00 | 60000.00 | 3000.00 | NATIONAL SAFETY ENGINEERS
33.00 | Supply of SP MCB suitable for operation on 230V,50Hz single phase AC supply c)25amp | 30.00 | Each |  | 100.00 | 3000.00 | 140.00 | 4200.00 | 200.00 | 6000.00 | 110.00 | 3300.00 | 450.00 | 13500.00 | 165.00 | 4950.00 | 150.00 | 4500.00 | 800.00 | 24000.00 | 2500.00 | 75000.00 | 3000.00 | NATIONAL SAFETY ENGINEERS
34.00 | Supply of SP MCB suitable for operation on 230V,50Hz single phase AC supply d)32amp | 30.00 | Each |  | 100.00 | 3000.00 | 140.00 | 4200.00 | 200.00 | 6000.00 | 110.00 | 3300.00 | 360.00 | 10800.00 | 202.00 | 6060.00 | 90.00 | 2700.00 | 1000.00 | 30000.00 | 3500.00 | 105000.00 | 2700.00 | M/S HIGH TECH POWER SYSTEM
35.00 | Supply of DP MCB suitable for operation on 230V,50Hz single phase AC supply a)32amp | 30.00 | Each |  | 180.00 | 5400.00 | 450.00 | 13500.00 | 200.00 | 6000.00 | 355.00 | 10650.00 | 360.00 | 10800.00 | 202.00 | 6060.00 | 100.00 | 3000.00 | 1200.00 | 36000.00 | 3500.00 | 105000.00 | 3000.00 | M/S HIGH TECH POWER SYSTEM
36.00 | Supply of DP MCB suitable for operation on 230V,50Hz single phase AC supply b)40amp | 30.00 | Each |  | 200.00 | 6000.00 | 450.00 | 13500.00 | 200.00 | 6000.00 | 570.00 | 17100.00 | 500.00 | 15000.00 | 323.00 | 9690.00 | 150.00 | 4500.00 | 1500.00 | 45000.00 | 1500.00 | 45000.00 | 4500.00 | M/S HIGH TECH POWER SYSTEM
37.00 | Supply of DP MCB suitable for operation on 230V,50Hz single phase AC supply c)63amp | 20.00 | Each |  | 250.00 | 5000.00 | 540.00 | 10800.00 | 350.00 | 7000.00 | 570.00 | 11400.00 | 1000.00 | 20000.00 | 420.00 | 8400.00 | 150.00 | 3000.00 | 1800.00 | 36000.00 | 6500.00 | 130000.00 | 3000.00 | M/S HIGH TECH POWER SYSTEM
38.00 | Supply of FP MCB suitable for operation on 415V,50Hz AC supply a)40amp | 10.00 | Each |  | 350.00 | 3500.00 | 900.00 | 9000.00 | 500.00 | 5000.00 | 1195.00 | 11950.00 | 1300.00 | 13000.00 | 380.00 | 3800.00 | 200.00 | 2000.00 | 1800.00 | 18000.00 | 4500.00 | 45000.00 | 2000.00 | M/S HIGH TECH POWER SYSTEM
39.00 | Supply of FP MCB suitable for operation on 415V,50Hz AC supply b)63amp | 10.00 | Each |  | 500.00 | 5000.00 | 900.00 | 9000.00 | 500.00 | 5000.00 | 1195.00 | 11950.00 | 42.00 | 420.00 | 625.00 | 6250.00 | 150.00 | 1500.00 | 2000.00 | 20000.00 | 6500.00 | 65000.00 | 420.00 | SAURABH ENTERPRISES
40.00 | Supply of 4 pole,25kA MCCB suitable for operation on 415V,50Hz AC supply.a) 100 amp | 2.00 | Each |  | 3000.00 | 6000.00 | 7000.00 | 14000.00 | 1000.00 | 2000.00 | 3850.00 | 7700.00 | 150.00 | 300.00 | 4750.00 | 9500.00 | 250.00 | 500.00 | 2400.00 | 4800.00 | 5000.00 | 10000.00 | 300.00 | SAURABH ENTERPRISES
41.00 | Supply of 4 pole Isolator 63 amp suitable for operation on 415V,50Hz AC supply. | 2.00 | Each |  | 350.00 | 700.00 | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 570.00 | 1140.00 | 125.00 | 250.00 | 4450.00 | 8900.00 | 250.00 | 500.00 | 2500.00 | 5000.00 | 6500.00 | 13000.00 | 250.00 | SAURABH ENTERPRISES
42.00 | Supply of modular plates suitable for switch-socket boards a) 6 module(Rectangular type) | 6.00 | Each |  | 100.00 | 600.00 | 90.00 | 540.00 | 100.00 | 600.00 | 110.00 | 660.00 | 100.00 | 600.00 | 185.00 | 1110.00 | 250.00 | 1500.00 | 1400.00 | 8400.00 | 1200.00 | 7200.00 | 540.00 | Manish Electricals
43.00 | Supply of modular plates suitable for switch-socket boards a) 8 module(Square type) | 6.00 | Each |  | 120.00 | 720.00 | 160.00 | 960.00 | 100.00 | 600.00 | 110.00 | 660.00 | 110.00 | 660.00 | 215.00 | 1290.00 | 300.00 | 1800.00 | 1600.00 | 9600.00 | 1200.00 | 7200.00 | 600.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
44.00 | Supply of modular plates suitable for switch-socket boards a) 8 module(Rectangular type) | 6.00 | Each |  | 120.00 | 720.00 | 140.00 | 840.00 | 100.00 | 600.00 | 110.00 | 660.00 | 150.00 | 900.00 | 235.00 | 1410.00 | 200.00 | 1200.00 | 1800.00 | 10800.00 | 1200.00 | 7200.00 | 600.00 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED
45.00 | Execution of works as per CPWD DSR (E&M) 2018 items of total value for Rs.50,000.00 as and when required. Note for contractor: For 10% above contractor shall quote 50000+10%= 55000. Similarly for 10% below contractor shall quote 50000-10%= 45000. | 1.00 | Job |  | 45000.00 | 45000.00 | 35000.00 | 35000.00 | 50000.00 | 50000.00 | .75 | .75 | 80000.00 | 80000.00 | 25000.00 | 25000.00 | 5000.00 | 5000.00 | .89 | .89 | 50000.00 | 50000.00 | .75 | S. N ELECTRICALS
| Total in Figures |  |  |  |  | 4042705.00 |  | 4056434.00 |  | 4532629.00 |  | 4154836.08 |  | 4345335.00 |  | 3739820.08 |  | 3583400.00 |  | 5369400.89 |  | 6717100.00
Lowest Amount Quoted BY: M/S HIGH TECH POWER SYSTEM(3583400.00)

## BOQ Summary
BOQ Summary Details Tender Title: ARMO of E and M Installation at Pantnagar Airport for 2020-2022 Tender ID: 2020_AAI_47195_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/S HIGH TECH POWER SYSTEM | 3583400.00 | L1
| 2 | ANOOP REFRIGERATION | 3739820.08 | L2
| 3 | NATIONAL SAFETY ENGINEERS | 4042705.00 | L3
| 4 | Manish Electricals | 4056434.00 | L4
| 5 | S. N ELECTRICALS | 4154836.08 | L5
| 6 | SAURABH ENTERPRISES | 4345335.00 | L6
| 7 | JATINDER CONSTRUCTION COMPANY PRIVATE LIMITED | 4532629.00 | L7
| 8 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 5369400.89 | L8
| 9 | SWAS AND IT PRIVATE LIMITED | 6717100.00 | L9