## BoQ1
Government eProcurement System Created By: Keishing Honpam Created Date/Time: 27-May-2020 03:57 PM Tender Title: AAI / RHQ-NER/TEZPUR/AGM (E-E)/NIT-MW-01/20-21/ Tender ID: 2020_AAI_47235_1
Tender Inviting Authority: Asst. General Manager (Engg-Electrical), AAI, RHQ, NER, Guwahati-781015
Name of Work: Annual Maintenance Contract (2020-22) for E&M Installations at Tezpur Airport, Tezpur
TENDER ID: 2020_AAI_47235_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | M/s S.T. Electricals |  | Sterling And Wilson Pvt. Ltd |  | SHARMA TRADE AGENCY |  | sudarshnacoolingcentre andelectricals
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I: OPERATION & MAINTENANCE OF E&M INSTALLATIONS
2.00 | Operation & Maintenance of E&M installations at 11KV Substation as per the Inventory & Scope of Work by deploying man power in 3-shifts (each of 8 hrs.) and at Terminal Building, Apron, Taxiway, Colony, CISF Units in 1-shift as detailed in General & Special Condition of Contract involving minor repairs, attending complaints / faults / breakdown and taking rectification action, ensuring serviceability / satisfactory working of the systems, preventive maintenance, maintaining of records / documentation etc. on all days including National Holidays and Sundays as required. | 24.00 | Months |  | 193222.00 | 4637328.00 | 193000.00 | 4632000.00 | 201000.00 | 4824000.00 | 196000.00 | 4704000.00 | 201522.00 | 4836528.00 | 4632000.00 | M/s S.T. Electricals
3.00 | SH-II: DSR ELECTRICAL - 2018
4.00 | Carrying out work as per CPWD DSR 2018 Electrical as and when required. (the bidder shall quote the rate in INR only for the job corresponding to Rs. 1,00,000/- & percentage (%) above/ below shall be calculated by AAI and paid accordingly) Note: The rate shall be quoted for this item at Sl.No-4 as per example given below- Example: i. If bidder wants to quote the rate at par with rate of CPWD - DSR 2018 (E&M), then bidder has to quote 100000 in the rate column. Subsequently, the total amount will be Rs. 100000/-against item at Sl.No-4 ii. If bidder wants to quote the rate 5% above on rate of CPWD - DSR 2018 (E&M), then bidder has to quote 105000 in the rate column. Subsequently, the total amount will be Rs. 1,05,000/- (Rs. 100000 +Rs 5000) against item at Sl.No-4 iii. If bidder wants to quote the rate 5% below on rate of CPWD-DSR 2018 (E&M), then bidder has to quote 95000/- in the rate column. Subsequently, the total amount will be Rs. 95,000/- (Rs. 100000 - Rs 5000) against item No. 2. The above example is only for guidance to bidder for item at Sl.No-4 only. | 1.00 | Job |  | 80000.00 | 80000.00 | 100000.00 | 100000.00 | 100000.00 | 100000.00 | 95000.00 | 95000.00 | 100000.00 | 100000.00 | 80000.00 | ABHISHEK ASSOCIATES
5.00 | SH-III: Painting of Panels, Poles and Rewinding of fans etc.,
6.00 | Painting of Indoor type Power Transformer of 500 KVA located in power house,with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc., of required color to give an even shade and writing lettering as per the direction of EIC complete as required. | 2.00 | Job |  | 4000.00 | 8000.00 | 3000.00 | 6000.00 | 4765.00 | 9530.00 | 5000.00 | 10000.00 | 1350.00 | 2700.00 | 2700.00 | sudarshnacoolingcentre andelectricals
7.00 | Painting of Outdoor type Power Transformer of 63 KVA located in power house,with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc., of required color to give an even shade and writing lettering as per the direction of EIC complete as required. | 1.00 | Job |  | 4000.00 | 4000.00 | 3000.00 | 3000.00 | 3777.00 | 3777.00 | 4000.00 | 4000.00 | 1350.00 | 1350.00 | 1350.00 | sudarshnacoolingcentre andelectricals
8.00 | Painting of Electrical LT indoor, Outdoor panels, pumps panel , earth pit covers etc located in power house, colony Terminal building, switch rooms,etc., with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc., of required color to give an even shade and writing lettering as per the direction of EIC complete as required. | 153.00 | Sq mtr |  | 60.00 | 9180.00 | 100.00 | 15300.00 | 98.00 | 14994.00 | 150.00 | 22950.00 | 102.00 | 15606.00 | 9180.00 | ABHISHEK ASSOCIATES
9.00 | Painting of Street Light poles of upto 7.5- 8.0 mtr height i/c arms and approx with one or more coats of spray painting with synthatic Enamel paint of Approved brand and manufacturer to give an even shade, including cleaning of surface with detergent etc , of required color to give an even shade and writing lettering as per the direction of EIC complete as required. | 122.00 | Each |  | 400.00 | 48800.00 | 295.00 | 35990.00 | 675.00 | 82350.00 | 360.00 | 43920.00 | 209.00 | 25498.00 | 25498.00 | sudarshnacoolingcentre andelectricals
10.00 | Labour charges on lifting of submersible pump motor set of all existing sizes of 7.5 HP and 10 HP ( Bore well pump set ) from the existing bore of upto 250 feet deep as & when required along with pipe lines, cable, wire rope etc. and reinstallation of the same after rectification of the defect (Spare parts charges of repairing for rectification of pump/motor will be paid separately).
11.00 | First year (2020-21) | 3.00 | Each |  | 3500.00 | 10500.00 | 3000.00 | 9000.00 | 5000.00 | 15000.00 | 4500.00 | 13500.00 | 3100.00 | 9300.00 | 9000.00 | M/s S.T. Electricals
12.00 | Second year (2021-22) | 3.00 | Each |  | 3500.00 | 10500.00 | 3000.00 | 9000.00 | 5000.00 | 15000.00 | 5500.00 | 16500.00 | 3100.00 | 9300.00 | 9000.00 | M/s S.T. Electricals
13.00 | Repairing/rewinding of 3-phase monoblock/submersible pump of capacity of 5.0HP to 10.0HP by replacement of defective bronze bushes,bearings, impeller, water seal, gasket, shaft, impeller etc. complete as required (As & when required) of following capacity (Old dismantle material will retain by agency).
14.00 | First year (2020-21) | 3.00 | Each |  | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 7125.00 | 21375.00 | 7300.00 | 21900.00 | 5990.00 | 17970.00 | 15000.00 | ABHISHEK ASSOCIATES
15.00 | Second year (2021-22) | 3.00 | Each |  | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 7125.00 | 21375.00 | 8500.00 | 25500.00 | 6210.00 | 18630.00 | 15000.00 | ABHISHEK ASSOCIATES
16.00 | Re-winding, servicing, repairing of ceiling fan/Wall fan/Exhaust fan etc including replacement of wornout/defective parts like bearings, capacitors etc., i/c transportation from site to workshop & back to site, testing, commissioning etc., complete as required. (Dismantle copper wire, bushes etc. need not to be returned)
17.00 | First year (2020-21) | 15.00 | Each |  | 350.00 | 5250.00 | 400.00 | 6000.00 | 750.00 | 11250.00 | 450.00 | 6750.00 | 430.00 | 6450.00 | 5250.00 | ABHISHEK ASSOCIATES
18.00 | Second year (2021-22) | 15.00 | Each |  | 350.00 | 5250.00 | 400.00 | 6000.00 | 750.00 | 11250.00 | 525.00 | 7875.00 | 430.00 | 6450.00 | 5250.00 | ABHISHEK ASSOCIATES
19.00 | SH-IV: Transformer oil filtration ,Relay callibration etc.,
20.00 | Supply of Insulating Transformer Oil confirming to IS 335:1993 with latest amendments
21.00 | First year (2020-21) | 100.00 | Ltr |  | 110.00 | 11000.00 | 200.00 | 20000.00 | 105.00 | 10500.00 | 200.00 | 20000.00 | 121.00 | 12100.00 | 10500.00 | Sterling And Wilson Pvt. Ltd
22.00 | Second year (2021-22) | 100.00 | Ltr |  | 110.00 | 11000.00 | 200.00 | 20000.00 | 105.00 | 10500.00 | 200.00 | 20000.00 | 123.00 | 12300.00 | 10500.00 | Sterling And Wilson Pvt. Ltd
23.00 | Dehydration/filtration of transformer oil by heat treatment method till attains the specified BDV as per IS including conducting BDV test before and after filtration complete as required i/c submission of test report.(500KVA Transformer=02, 63KVA ColonyTransformer=01,HT OCB=04)
24.00 | First year (2020-21) | 1100.00 | Ltr |  | 13.00 | 14300.00 | 20.00 | 22000.00 | 11.00 | 12100.00 | 20.00 | 22000.00 | 18.00 | 19800.00 | 12100.00 | Sterling And Wilson Pvt. Ltd
25.00 | Second year (2021-22) | 1100.00 | Ltr |  | 13.00 | 14300.00 | 20.00 | 22000.00 | 11.00 | 12100.00 | 20.00 | 22000.00 | 19.50 | 21450.00 | 12100.00 | Sterling And Wilson Pvt. Ltd
26.00 | Supplying of silica gel ( tel tel type ) for transformer breather. | 4.00 | kg |  | 350.00 | 1400.00 | 300.00 | 1200.00 | 158.00 | 632.00 | 500.00 | 2000.00 | 150.00 | 600.00 | 600.00 | sudarshnacoolingcentre andelectricals
27.00 | Servicing, Testing and Calibration of over load and earth fault relay, type CDG make Alstom through secondary injection kit including testing of CT / PT etc as per OEM's standard and as per special conditions of contract complete as required. (1set =2no.O/L, 1 no-E/F, 1- auxiliary relay ) i/c submission of test report.. | 12.00 | set |  | 4000.00 | 48000.00 | 4000.00 | 48000.00 | 4875.00 | 58500.00 | 6000.00 | 72000.00 | 2100.00 | 25200.00 | 25200.00 | sudarshnacoolingcentre andelectricals
28.00 | Servicing, Testing and Calibration of transformer protection alarm and trip relays of out going transformers etc as per OEM's standard and as per special conditions of contract complete as required i/c submission of test report. | 4.00 | set |  | 3000.00 | 12000.00 | 3000.00 | 12000.00 | 7500.00 | 30000.00 | 6000.00 | 24000.00 | 1750.00 | 7000.00 | 7000.00 | sudarshnacoolingcentre andelectricals
29.00 | SH:V Supply of following Spares for Day-to-Day maintenance of E&M Installations as and when required
30.00 | Supply of lead acid type 12 V 180AH maintenance free heavy duty battery confirming to IS:14257/1995 including initial charging and first fill of electrolyte etc. compete as required.(Make: Excide XP-1800 or equivalent) | 4.00 | Each |  | 15750.00 | 63000.00 | 20000.00 | 80000.00 | 13000.00 | 52000.00 | 13000.00 | 52000.00 | 12300.00 | 49200.00 | 49200.00 | sudarshnacoolingcentre andelectricals
31.00 | Supply of lead acid battery 12 Volt 150 AH tubular battery ( battery make -Exide , Model IMTT 1500 or equivalent, ) complete as required . | 12.00 | Each |  | 16590.00 | 199080.00 | 18000.00 | 216000.00 | 12000.00 | 144000.00 | 13000.00 | 156000.00 | 10450.00 | 125400.00 | 125400.00 | sudarshnacoolingcentre andelectricals
32.00 | Supplying of following sizes ISI marked PVC insulated, single core, FRLS grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
33.00 | 1.5 Sq. mm (90Mtr Roll) | 10.00 | Coil |  | 826.00 | 8260.00 | 1150.00 | 11500.00 | 1050.00 | 10500.00 | 1050.00 | 10500.00 | 989.00 | 9890.00 | 8260.00 | ABHISHEK ASSOCIATES
34.00 | 2.5 Sq. mm (90Mtr Roll) | 5.00 | Coil |  | 1340.00 | 6700.00 | 1900.00 | 9500.00 | 1600.00 | 8000.00 | 1700.00 | 8500.00 | 1636.00 | 8180.00 | 6700.00 | ABHISHEK ASSOCIATES
35.00 | 4.0 Sq.mm (90Mtr Roll) | 2.00 | Coil |  | 1940.00 | 3880.00 | 2650.00 | 5300.00 | 2300.00 | 4600.00 | 2550.00 | 5100.00 | 2433.00 | 4866.00 | 3880.00 | ABHISHEK ASSOCIATES
36.00 | 6.0 Sq.mm (90Mtr Roll) | 2.00 | Coil |  | 2867.00 | 5734.00 | 4950.00 | 9900.00 | 2520.00 | 5040.00 | 3950.00 | 7900.00 | 3664.00 | 7328.00 | 5040.00 | Sterling And Wilson Pvt. Ltd
37.00 | Supplying of following sizes ISI marked PVC insulated, multi core, FRLS grade strandard copper cables of 1100 volts grade confirming to relevant IS of standard length etc as required
38.00 | 3-Core, 1.5 Sq. mm (100Mtr Roll) | 2.00 | Coil |  | 3800.00 | 7600.00 | 3500.00 | 7000.00 | 1600.00 | 3200.00 | 3500.00 | 7000.00 | 3240.00 | 6480.00 | 3200.00 | Sterling And Wilson Pvt. Ltd
39.00 | 3-Core, 2.5 Sq. mm (100Mtr Roll) | 2.00 | Coil |  | 6122.00 | 12244.00 | 5200.00 | 10400.00 | 2520.00 | 5040.00 | 5500.00 | 11000.00 | 5243.00 | 10486.00 | 5040.00 | Sterling And Wilson Pvt. Ltd
40.00 | Supplying of following rating, 240/415 volts, "C" curve, miniature circuit breaker (MCB) suitable for inductive load etc., as required.
41.00 | 100A, 4P, MCB | 2.00 | Each |  | 4220.00 | 8440.00 | 6500.00 | 13000.00 | 2975.00 | 5950.00 | 6000.00 | 12000.00 | 5334.00 | 10668.00 | 5950.00 | Sterling And Wilson Pvt. Ltd
42.00 | 63A, 4P MCB | 4.00 | Each |  | 788.00 | 3152.00 | 1650.00 | 6600.00 | 2126.00 | 8504.00 | 1400.00 | 5600.00 | 1410.00 | 5640.00 | 3152.00 | ABHISHEK ASSOCIATES
43.00 | 40A, 4P MCB | 4.00 | Each |  | 735.00 | 2940.00 | 1550.00 | 6200.00 | 1600.00 | 6400.00 | 1100.00 | 4400.00 | 1347.00 | 5388.00 | 2940.00 | ABHISHEK ASSOCIATES
44.00 | 32A, 4P MCB | 4.00 | Each |  | 504.00 | 2016.00 | 1350.00 | 5400.00 | 1507.00 | 6028.00 | 700.00 | 2800.00 | 1007.00 | 4028.00 | 2016.00 | ABHISHEK ASSOCIATES
45.00 | 40A, DP MCB | 4.00 | Each |  | 445.00 | 1780.00 | 500.00 | 2000.00 | 1100.00 | 4400.00 | 400.00 | 1600.00 | 701.00 | 2804.00 | 1600.00 | SHARMA TRADE AGENCY
46.00 | 32A, DP MCB | 4.00 | Each |  | 252.00 | 1008.00 | 500.00 | 2000.00 | 475.00 | 1900.00 | 400.00 | 1600.00 | 446.00 | 1784.00 | 1008.00 | ABHISHEK ASSOCIATES
47.00 | 32A SP MCB | 10.00 | Each |  | 84.00 | 840.00 | 180.00 | 1800.00 | 355.00 | 3550.00 | 130.00 | 1300.00 | 115.00 | 1150.00 | 840.00 | ABHISHEK ASSOCIATES
48.00 | 16A SP MCB | 5.00 | Each |  | 84.00 | 420.00 | 180.00 | 900.00 | 297.00 | 1485.00 | 130.00 | 650.00 | 115.00 | 575.00 | 420.00 | ABHISHEK ASSOCIATES
49.00 | 10A SP MCB | 15.00 | Each |  | 84.00 | 1260.00 | 180.00 | 2700.00 | 225.00 | 3375.00 | 130.00 | 1950.00 | 115.00 | 1725.00 | 1260.00 | ABHISHEK ASSOCIATES
50.00 | 6A SP MCB | 15.00 | Each |  | 84.00 | 1260.00 | 180.00 | 2700.00 | 225.00 | 3375.00 | 130.00 | 1950.00 | 115.00 | 1725.00 | 1260.00 | ABHISHEK ASSOCIATES
51.00 | Supplying of following rating, 240/415 volts, Isolator conforming to IEC 60947-3 or latest suitable for inductive load etc., as required.
52.00 | 100A, 4P, Isolator | 2.00 | Each |  | 665.00 | 1330.00 | 1000.00 | 2000.00 | 1054.00 | 2108.00 | 900.00 | 1800.00 | 840.00 | 1680.00 | 1330.00 | ABHISHEK ASSOCIATES
53.00 | 63A, 4P, Isolator | 4.00 | Each |  | 509.00 | 2036.00 | 850.00 | 3400.00 | 750.00 | 3000.00 | 500.00 | 2000.00 | 642.00 | 2568.00 | 2000.00 | SHARMA TRADE AGENCY
54.00 | 40A, DP, Isolator | 4.00 | Each |  | 214.00 | 856.00 | 350.00 | 1400.00 | 610.00 | 2440.00 | 300.00 | 1200.00 | 265.00 | 1060.00 | 856.00 | ABHISHEK ASSOCIATES
55.00 | 32A, DP Isolator | 4.00 | Each |  | 214.00 | 856.00 | 350.00 | 1400.00 | 550.00 | 2200.00 | 270.00 | 1080.00 | 265.00 | 1060.00 | 856.00 | ABHISHEK ASSOCIATES
56.00 | Supply of 9W LED lamps/LED bulb suitable for operation on 230 V, 50Hz, AC system as requried. | 20.00 | Each |  | 90.00 | 1800.00 | 100.00 | 2000.00 | 550.00 | 11000.00 | 80.00 | 1600.00 | 82.00 | 1640.00 | 1600.00 | SHARMA TRADE AGENCY
57.00 | Supply of following switchs, sockets etc., and other miscellaneous items
58.00 | 5/10 A one way Piano type switch | 30.00 | Each |  | 11.00 | 330.00 | 18.00 | 540.00 | 12.00 | 360.00 | 14.00 | 420.00 | 1017.00 | 30510.00 | 330.00 | ABHISHEK ASSOCIATES
59.00 | 20 A one way Piano type switch | 10.00 | Each |  | 52.00 | 520.00 | 75.00 | 750.00 | 26.00 | 260.00 | 50.00 | 500.00 | 53.00 | 530.00 | 260.00 | Sterling And Wilson Pvt. Ltd
60.00 | 6A 2 in 1 socket | 30.00 | Each |  | 25.00 | 750.00 | 25.00 | 750.00 | 35.00 | 1050.00 | 24.00 | 720.00 | 20.00 | 600.00 | 600.00 | sudarshnacoolingcentre andelectricals
61.00 | 20A/10A unit socket | 10.00 | Each |  | 56.00 | 560.00 | 80.00 | 800.00 | 45.00 | 450.00 | 50.00 | 500.00 | 55.00 | 550.00 | 450.00 | Sterling And Wilson Pvt. Ltd
62.00 | Supply of following size ISI marked PVC casing caping etc as required.
63.00 | 19 X 10mm casing caping medium class as per relevent IS | 100.00 | Each |  | 34.00 | 3400.00 | 42.00 | 4200.00 | 49.00 | 4900.00 | 33.00 | 3300.00 | 34.00 | 3400.00 | 3300.00 | SHARMA TRADE AGENCY
64.00 | 25 X 10mm casing capng medium class as per relevent IS | 100.00 | Each |  | 39.00 | 3900.00 | 52.00 | 5200.00 | 75.00 | 7500.00 | 38.00 | 3800.00 | 37.00 | 3700.00 | 3700.00 | sudarshnacoolingcentre andelectricals
65.00 | Supply of 2.5 MFD capacity capacitors suitable for operation on 240V / 415V 50Hz AC supply etc as required. | 30.00 | Each |  | 16.00 | 480.00 | 35.00 | 1050.00 | 250.00 | 7500.00 | 20.00 | 600.00 | 12.00 | 360.00 | 360.00 | sudarshnacoolingcentre andelectricals
66.00 | Supply of Fan Regulator two module type (Electronic/step/dimmer Type) suitable for operation on 240V 50Hz AC supply etc as required. | 20.00 | Each |  | 164.00 | 3280.00 | 220.00 | 4400.00 | 30.00 | 600.00 | 160.00 | 3200.00 | 185.00 | 3700.00 | 600.00 | Sterling And Wilson Pvt. Ltd
67.00 | Single phase class 1 base mounting Energy Meter ( KWH meter) with LCD display , 5-30 Amp without optical port. | 5.00 | Each |  | 914.00 | 4570.00 | 1100.00 | 5500.00 | 371.00 | 1855.00 | 900.00 | 4500.00 | 849.00 | 4245.00 | 1855.00 | Sterling And Wilson Pvt. Ltd
| Total in Figures |  |  |  |  | 5315090.00 |  | 5441780.00 |  | 5586803.00 |  | 5470965.00 |  | 5461152.00
Lowest Amount Quoted BY: ABHISHEK ASSOCIATES(5315090.00)

## BOQ Summary
BOQ Summary Details Tender Title: AAI / RHQ-NER/TEZPUR/AGM (E-E)/NIT-MW-01/20-21/ Tender ID: 2020_AAI_47235_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | ABHISHEK ASSOCIATES | 5315090.00 | L1
| 2 | M/s S.T. Electricals | 5441780.00 | L2
| 3 | sudarshnacoolingcentre andelectricals | 5461152.00 | L3
| 4 | SHARMA TRADE AGENCY | 5470965.00 | L4
| 5 | Sterling And Wilson Pvt. Ltd | 5586803.00 | L5