## BoQ1
Government eProcurement System Created By: Ashok Kumar Created Date/Time: 15-Jun-2020 11:49 AM Tender Title: AMC of Int and Ext installation of INA Colony Tender ID: 2020_AAI_47277_1
Tender Inviting Authority: Asstt. General Manager, Airports Authority of India, Safdarjung Airport, New Delhi-110003.
Name of Work: Running operation & maintenance of pump set, Int. & Ext. Electrical installations of INA Residential Colony Pocket- A & B, Guest House, Medical Centre etc. at Safdarjung Airport,New Delhi. (for the year of 2020-22).
Contract No: AAI/SAP/Engg.(E)/ARMO INA/2020-21
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ABHISHEK ASSOCIATES |  | Manish Electricals |  | SRS ENGINEERS |  | S. N ELECTRICALS |  | ANAND AND COMPANTY |  | CIS ELECTRICALS PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH-I- Operation & maintenance
2.00 | Running operation and maintenance of Internal and External electrical installations, water supply pumps and DG sets etc.on all days for one month at INA colony pocket A & B, Guest House, Medical Centre etc in shift basis as per the requirement of works. The contractor has to deploy the following minimum man power per day including Saturday , Sunday & holidays etc, as per the instructions of Engineer-in-charge or his authorized representative. i) Supervisor – 1 ii) Operator (Highly Skilled)– 1 iii) Wireman – 7 iv) Wireman cum DG operator - 6 v) Pump Operator – 03 vi) Khallasi – 14 | 24.00 | Month | 100.00 | 691333.00 | 16591992.00 | 716339.00 | 17192136.00 | 707565.00 | 16981560.00 | 670018.00 | 16080432.00 | 675000.00 | 16200000.00 | 660000.00 | 15840000.00 | 15840000.00 | CIS ELECTRICALS PVT LTD
3.00 | Add for experience in number of years (i.e. minimum 02 years) for following category of item no.1 as above (i) For Supervisor - 01 No. (ii) For Opeartor (Highly Skilled)- 01 No. (The Agency has to quote the rate in conformity with para no.12 (ii) of special condition of contract) | 24.00 | Month | 100.00 | 4000.00 | 96000.00 | 7000.00 | 168000.00 | 4500.00 | 108000.00 | 53904.00 | 1293696.00 | 5000.00 | 120000.00 | 4000.00 | 96000.00 | 96000.00 | ABHISHEK ASSOCIATES, CIS ELECTRICALS PVT LTD
4.00 | SH-II: Miscellaneous minor repair works for E&M installations, as per specification,as & when required with prior approval of Engineer in charge.
5.00 | Complete servicing of different type & model ceiling fans i/c greasing, replacement of cotter pin, rubber bush, bolts & nuts i/c dismanteling, reinstallation of fan at the existing location as reqd.(excluding replacement of bearing ) | 150.00 | Each | 10.00 | 10.00 | 1500.00 | 60.00 | 9000.00 | 10.00 | 1500.00 | 75.00 | 11250.00 | 5.00 | 750.00 | 1.00 | 150.00 | 150.00 | CIS ELECTRICALS PVT LTD
6.00 | Painting of following installations in position with synthetic enamelled paint by spray/ brush painting by one or more coats including scraping, cleaning of surface & writting actual nomenclature with highlighted colour on the installation after painting etc.
6.01 | Distribution boards /out door panel/ Feedar piller etc. | 150.00 | Sqmtr. | 10.00 | 30.00 | 4500.00 | 180.00 | 27000.00 | 120.00 | 18000.00 | 105.00 | 15750.00 | 200.00 | 30000.00 | 5.00 | 750.00 | 750.00 | CIS ELECTRICALS PVT LTD
6.02 | Post top poles singal /double Arms, height up to 4 mtr | 300.00 | Each | 10.00 | 250.00 | 75000.00 | 120.00 | 36000.00 | 100.00 | 30000.00 | 100.00 | 30000.00 | 225.00 | 67500.00 | 50.00 | 15000.00 | 15000.00 | CIS ELECTRICALS PVT LTD
6.03 | Street light pole height above 7 to 9 mtrs | 45.00 | Each | 10.00 | 350.00 | 15750.00 | 300.00 | 13500.00 | 120.00 | 5400.00 | 200.00 | 9000.00 | 300.00 | 13500.00 | 75.00 | 3375.00 | 3375.00 | CIS ELECTRICALS PVT LTD
7.00 | Labour charges for lowering & lifting i/c dismantling of different sizes submersible pump set/ jet assembly alongwith pipe lines, cable from the existing bore, as & when reqd. re-installing back of the same i/c cost of cable joint & minor items such as nut bolt & rubber packing etc. ( charges for repairing or rectification of fault of pump/ motor will be paid separately). | 15.00 | Each | 10.00 | 3500.00 | 52500.00 | 5500.00 | 82500.00 | 2000.00 | 30000.00 | 3500.00 | 52500.00 | 4200.00 | 63000.00 | 2000.00 | 30000.00 | 30000.00 | SRS ENGINEERS, CIS ELECTRICALS PVT LTD
8.00 | Providing & replacement of top and bottom bearing / bush of ceiling fans i/c associated work as per the requirment of following fans i/c dismantling and reinstallation of fan with testing, commissioning etc.as reqd.(Dismantled material shall be the property of tenderer)
8.01 | Light weight ceiling fan/ Exhaust fan | 200.00 | Each | 10.00 | 100.00 | 20000.00 | 50.00 | 10000.00 | 75.00 | 15000.00 | 100.00 | 20000.00 | 5.00 | 1000.00 | 40.00 | 8000.00 | 1000.00 | ANAND AND COMPANTY
8.02 | Medium weight ceiling fan | 100.00 | Each | 10.00 | 100.00 | 10000.00 | 60.00 | 6000.00 | 80.00 | 8000.00 | 150.00 | 15000.00 | 5.00 | 500.00 | 40.00 | 4000.00 | 500.00 | ANAND AND COMPANTY
8.03 | 12" Exhaust fan | 50.00 | Each | 10.00 | 100.00 | 5000.00 | 50.00 | 2500.00 | 100.00 | 5000.00 | 175.00 | 8750.00 | 5.00 | 250.00 | 70.00 | 3500.00 | 250.00 | ANAND AND COMPANTY
9.00 | Providing and replacement of damage/ rusted GI pipe line of submersible/ monoblock pump set, as & when reqd. with following size i/c threading cutting and accessories such as flange, socket, gasket, nut - bolts, washer etc. as reqd. I/c transportation to site of work.( make: Tata/Jindal)
9.01 | 2" dia GI 'B' class Pipe | 20.00 | Meter | 10.00 | 300.00 | 6000.00 | 540.00 | 10800.00 | 800.00 | 16000.00 | 400.00 | 8000.00 | 5.00 | 100.00 | 80.00 | 1600.00 | 100.00 | ANAND AND COMPANTY
9.02 | 3" dia GI 'B' class Pipe | 20.00 | Meter | 10.00 | 400.00 | 8000.00 | 850.00 | 17000.00 | 950.00 | 19000.00 | 495.00 | 9900.00 | 5.00 | 100.00 | 80.00 | 1600.00 | 100.00 | ANAND AND COMPANTY
10.00 | Providing and fixing wood wool pads (1 set of 3 nos.) of good quality of suitable size for following capacity desert cooler at different locations & floors i/c dismantling, existing pads if reqd.
10.01 | 4000 cum/hr. | 10.00 | Set | 10.00 | 300.00 | 3000.00 | 120.00 | 1200.00 | 250.00 | 2500.00 | 250.00 | 2500.00 | 5.00 | 50.00 | 150.00 | 1500.00 | 50.00 | ANAND AND COMPANTY
11.00 | Rewinding of the following ceiling fan, desert cooler motors etc i/c dismanteling, transportation to workshop & back. (Dismantled material shall be the property of tenderer)
11.01 | Ceiling fan of all makes and models. | 200.00 | Each | 10.00 | 300.00 | 60000.00 | 400.00 | 80000.00 | 300.00 | 60000.00 | 200.00 | 40000.00 | 350.00 | 70000.00 | 300.00 | 60000.00 | 40000.00 | S. N ELECTRICALS
11.02 | Desert cooler fan motor of all makes and models. | 20.00 | Each | 10.00 | 250.00 | 5000.00 | 600.00 | 12000.00 | 350.00 | 7000.00 | 350.00 | 7000.00 | 20.00 | 400.00 | 200.00 | 4000.00 | 400.00 | ANAND AND COMPANTY
11.03 | Exhaust Fan of all makes & model up to 300mm. | 180.00 | Each | 10.00 | 300.00 | 54000.00 | 400.00 | 72000.00 | 500.00 | 90000.00 | 450.00 | 81000.00 | 200.00 | 36000.00 | 250.00 | 45000.00 | 36000.00 | ANAND AND COMPANTY
11.04 | Exhaust Fan of all makes & model up to 450mm. | 8.00 | Each | 10.00 | 350.00 | 2800.00 | 650.00 | 5200.00 | 600.00 | 4800.00 | 550.00 | 4400.00 | 5.00 | 40.00 | 300.00 | 2400.00 | 40.00 | ANAND AND COMPANTY
12.00 | Rewinding of the following water pump motors and replacement of Bearing , bushes, water seal of pump motors etc i/c dismanteling, transportation to workshop & back i/c connection, testing & commissioning as reqd. (Dismantled material shall be the property of tenderer)
12.01 | 3 HP 3 phase mono block submersible pump Motor | 2.00 | Each | 10.00 | 100.00 | 200.00 | 3000.00 | 6000.00 | 1500.00 | 3000.00 | 2000.00 | 4000.00 | 5.00 | 10.00 | 1000.00 | 2000.00 | 10.00 | ANAND AND COMPANTY
12.02 | 5 HP, 3 phase submersible pump motor | 2.00 | Each | 10.00 | 100.00 | 200.00 | 4500.00 | 9000.00 | 2200.00 | 4400.00 | 2500.00 | 5000.00 | 5.00 | 10.00 | 1300.00 | 2600.00 | 10.00 | ANAND AND COMPANTY
12.03 | 1 to 2 HP Submersible Pump Motor | 4.00 | Each | 10.00 | 100.00 | 400.00 | 2500.00 | 10000.00 | 850.00 | 3400.00 | 1500.00 | 6000.00 | 5.00 | 20.00 | 1300.00 | 5200.00 | 20.00 | ANAND AND COMPANTY
12.04 | 0.5 to 1 HP monoblock pump motor | 4.00 | Each | 10.00 | 100.00 | 400.00 | 2000.00 | 8000.00 | 500.00 | 2000.00 | 1200.00 | 4800.00 | 5.00 | 20.00 | 700.00 | 2800.00 | 20.00 | ANAND AND COMPANTY
12.05 | 3 HP 3 phase mono block submersible pump Motor | 6.00 | Each | 10.00 | 100.00 | 600.00 | 3500.00 | 21000.00 | 1500.00 | 9000.00 | 1500.00 | 9000.00 | 5.00 | 30.00 | 1200.00 | 7200.00 | 30.00 | ANAND AND COMPANTY
12.06 | 5 HP, 3 phase submersible pump motor | 4.00 | Each | 10.00 | 100.00 | 400.00 | 4000.00 | 16000.00 | 2200.00 | 8800.00 | 3000.00 | 12000.00 | 5.00 | 20.00 | 1000.00 | 4000.00 | 20.00 | ANAND AND COMPANTY
12.07 | 1 to 2 HP Submersible Pump Motor | 8.00 | Each | 10.00 | 100.00 | 800.00 | 2500.00 | 20000.00 | 850.00 | 6800.00 | 1000.00 | 8000.00 | 5.00 | 40.00 | 700.00 | 5600.00 | 40.00 | ANAND AND COMPANTY
12.08 | 0.5 to 1 HP monoblock pump motor | 2.00 | Each | 10.00 | 100.00 | 200.00 | 2000.00 | 4000.00 | 500.00 | 1000.00 | 1200.00 | 2400.00 | 5.00 | 10.00 | 500.00 | 1000.00 | 10.00 | ANAND AND COMPANTY
13.00 | Repairing of following capacity of submersible/ monoblock water supply pumps & replacement of all required unserviceable parts such as discharge bowl/ discharge bearing, intermediate bowl/ impeller/ upthrust coller/ intermediate bowl bearing/ pump shaft/ Suction inlet/ suction adopter/ pump motor coupling / water seal /rotar polishing & tunning of roter etc i/c lath work, dismanteling, transportation to workshop & back and reinstallation i/c , testing & commissioning as reqd. (Dismantled material shall be the property of tenderer)
13.01 | 5 HP 3 phase submersible pump | 4.00 | Each | 10.00 | 100.00 | 400.00 | 5000.00 | 20000.00 | 1500.00 | 6000.00 | 2800.00 | 11200.00 | 3000.00 | 12000.00 | 25.00 | 100.00 | 100.00 | CIS ELECTRICALS PVT LTD
13.02 | 3 HP 3 Ph mono block submersible pump | 10.00 | Each | 10.00 | 100.00 | 1000.00 | 4000.00 | 40000.00 | 1500.00 | 15000.00 | 2000.00 | 20000.00 | 5.00 | 50.00 | 25.00 | 250.00 | 50.00 | ANAND AND COMPANTY
13.03 | 1 to 2 HP Submersible Pump | 8.00 | Each | 10.00 | 100.00 | 800.00 | 2500.00 | 20000.00 | 1200.00 | 9600.00 | 1300.00 | 10400.00 | 5.00 | 40.00 | 25.00 | 200.00 | 40.00 | ANAND AND COMPANTY
13.04 | 5 HP 3 phase submersible pump | 4.00 | Each | 10.00 | 100.00 | 400.00 | 5000.00 | 20000.00 | 2000.00 | 8000.00 | 2800.00 | 11200.00 | 5.00 | 20.00 | 25.00 | 100.00 | 20.00 | ANAND AND COMPANTY
13.05 | 3 HP 3 Ph mono block submersible pump | 4.00 | Each | 10.00 | 100.00 | 400.00 | 4000.00 | 16000.00 | 1500.00 | 6000.00 | 2000.00 | 8000.00 | 5.00 | 20.00 | 25.00 | 100.00 | 20.00 | ANAND AND COMPANTY
13.06 | 1 to 2 HP Submersible Pump | 2.00 | Each | 10.00 | 100.00 | 200.00 | 3000.00 | 6000.00 | 1200.00 | 2400.00 | 1300.00 | 2600.00 | 5.00 | 10.00 | 25.00 | 50.00 | 10.00 | ANAND AND COMPANTY
14.00 | Detection of LT cable fault by using LT cable fault locator machine on the route of cable laying at site & locate the fault at pin-pointing i/c excavation of soil etc as required. | 4.00 | Each | 10.00 | 5000.00 | 20000.00 | 12000.00 | 48000.00 | 14000.00 | 56000.00 | 8500.00 | 34000.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 20000.00 | ABHISHEK ASSOCIATES, ANAND AND COMPANTY, CIS ELECTRICALS PVT LTD
15.00 | SH-III- Supply of the following items as per specifications & reqired Makes, as and when required with prior approval of engineer in charge.
16.00 | 36 watt Electronic Ballast suitable for 36 watt FTL | 300.00 | Each | 100.00 | 115.00 | 34500.00 | 230.00 | 69000.00 | 115.00 | 34500.00 | 125.00 | 37500.00 | 100.00 | 30000.00 | 100.00 | 30000.00 | 30000.00 | ANAND AND COMPANTY, CIS ELECTRICALS PVT LTD
17.00 | 36 watt fluorescent lamp | 200.00 | Each | 100.00 | 32.00 | 6400.00 | 45.00 | 9000.00 | 40.00 | 8000.00 | 48.00 | 9600.00 | 40.00 | 8000.00 | 10.00 | 2000.00 | 2000.00 | CIS ELECTRICALS PVT LTD
18.00 | 36/40 Watt FTL Starter | 1000.00 | Each | 10.00 | 8.00 | 8000.00 | 10.00 | 10000.00 | 9.50 | 9500.00 | 4.50 | 4500.00 | 11.00 | 11000.00 | 6.00 | 6000.00 | 4500.00 | S. N ELECTRICALS
19.00 | Remote Bell | 5.00 | Each | 10.00 | 450.00 | 2250.00 | 160.00 | 800.00 | 450.00 | 2250.00 | 280.00 | 1400.00 | 350.00 | 1750.00 | 65.00 | 325.00 | 325.00 | CIS ELECTRICALS PVT LTD
20.00 | 32 Amp. SP MCB 10 KA 'C' series | 30.00 | Each | 10.00 | 85.00 | 2550.00 | 180.00 | 5400.00 | 115.00 | 3450.00 | 110.00 | 3300.00 | 170.00 | 5100.00 | 80.00 | 2400.00 | 2400.00 | CIS ELECTRICALS PVT LTD
21.00 | 32 Amp. DP MCB 10 KA 'C' series | 40.00 | Each | 100.00 | 250.00 | 10000.00 | 380.00 | 15200.00 | 115.00 | 4600.00 | 490.00 | 19600.00 | 435.00 | 17400.00 | 150.00 | 6000.00 | 4600.00 | SRS ENGINEERS
22.00 | 40 Amp. DP MCB 10 KA 'C' series | 40.00 | Each | 100.00 | 430.00 | 17200.00 | 380.00 | 15200.00 | 700.00 | 28000.00 | 490.00 | 19600.00 | 700.00 | 28000.00 | 200.00 | 8000.00 | 8000.00 | CIS ELECTRICALS PVT LTD
23.00 | 63 Amp. DP MCB 10 KA 'C' series | 2.00 | Each | 10.00 | 460.00 | 920.00 | 540.00 | 1080.00 | 795.00 | 1590.00 | 550.00 | 1100.00 | 10.00 | 20.00 | 500.00 | 1000.00 | 20.00 | ANAND AND COMPANTY
24.00 | 5/6 Amps. P/T switch. | 800.00 | Each | 10.00 | 10.00 | 8000.00 | 20.00 | 16000.00 | 40.00 | 32000.00 | 13.00 | 10400.00 | 20.00 | 16000.00 | 15.00 | 12000.00 | 8000.00 | ABHISHEK ASSOCIATES
25.00 | 5/6 Amps. Bell push switch. | 20.00 | Each | 10.00 | 20.00 | 400.00 | 25.00 | 500.00 | 85.00 | 1700.00 | 20.00 | 400.00 | 40.00 | 800.00 | 15.00 | 300.00 | 300.00 | CIS ELECTRICALS PVT LTD
26.00 | 15/16 Amp P/T Switch | 300.00 | Each | 100.00 | 50.00 | 15000.00 | 60.00 | 18000.00 | 72.00 | 21600.00 | 57.00 | 17100.00 | 60.00 | 18000.00 | 28.00 | 8400.00 | 8400.00 | CIS ELECTRICALS PVT LTD
27.00 | 3 pin 5 /6 Amp P/T Socket | 200.00 | Each | 100.00 | 25.00 | 5000.00 | 60.00 | 12000.00 | 86.00 | 17200.00 | 25.00 | 5000.00 | 50.00 | 10000.00 | 30.00 | 6000.00 | 5000.00 | ABHISHEK ASSOCIATES, S. N ELECTRICALS
28.00 | 5 pin 15/16 Amp P/T Socket | 300.00 | Each | 10.00 | 54.00 | 16200.00 | 60.00 | 18000.00 | 125.00 | 37500.00 | 57.00 | 17100.00 | 100.00 | 30000.00 | 50.00 | 15000.00 | 15000.00 | CIS ELECTRICALS PVT LTD
29.00 | Door bell ding-dong. | 150.00 | Each | 10.00 | 110.00 | 16500.00 | 200.00 | 30000.00 | 105.00 | 15750.00 | 110.00 | 16500.00 | 120.00 | 18000.00 | 50.00 | 7500.00 | 7500.00 | CIS ELECTRICALS PVT LTD
30.00 | 16 Amp & 6 Amp plate type switch socket assembly (Box Type) | 50.00 | Each | 10.00 | 92.00 | 4600.00 | 140.00 | 7000.00 | 115.00 | 5750.00 | 150.00 | 7500.00 | 100.00 | 5000.00 | 40.00 | 2000.00 | 2000.00 | CIS ELECTRICALS PVT LTD
31.00 | 3 pin 15Amps plug top | 10.00 | Each | 100.00 | 48.00 | 480.00 | 50.00 | 500.00 | 55.00 | 550.00 | 55.00 | 550.00 | 80.00 | 800.00 | 40.00 | 400.00 | 400.00 | CIS ELECTRICALS PVT LTD
32.00 | Supply of 12 volt , 25 plate 180 AH storage type lead acid battery i/c charging etc as reqd. (as and when required) | 6.00 | Each | 100.00 | 11500.00 | 69000.00 | 18000.00 | 108000.00 | 13000.00 | 78000.00 | 14800.00 | 88800.00 | 13500.00 | 81000.00 | 15000.00 | 90000.00 | 69000.00 | ABHISHEK ASSOCIATES
33.00 | Batton holder (Polycarbonate) | 300.00 | Each | 10.00 | 23.00 | 6900.00 | 25.00 | 7500.00 | 15.00 | 4500.00 | 25.00 | 7500.00 | 25.00 | 7500.00 | 20.00 | 6000.00 | 4500.00 | SRS ENGINEERS
34.00 | 450 Watt Fan step electronic type regulator. | 240.00 | Each | 10.00 | 134.00 | 32160.00 | 240.00 | 57600.00 | 220.00 | 52800.00 | 155.00 | 37200.00 | 120.00 | 28800.00 | 140.00 | 33600.00 | 28800.00 | ANAND AND COMPANTY
35.00 | 15 Amp Four outlet socket power strip | 2.00 | Each | 10.00 | 335.00 | 670.00 | 120.00 | 240.00 | 320.00 | 640.00 | 325.00 | 650.00 | 450.00 | 900.00 | 200.00 | 400.00 | 240.00 | Manish Electricals
36.00 | 6 Amp Four outlet socket power strip | 2.00 | Each | 100.00 | 350.00 | 700.00 | 50.00 | 100.00 | 220.00 | 440.00 | 250.00 | 500.00 | 300.00 | 600.00 | 140.00 | 280.00 | 100.00 | Manish Electricals
37.00 | 1.5 MFD capictor | 100.00 | Each | 100.00 | 16.00 | 1600.00 | 25.00 | 2500.00 | 18.00 | 1800.00 | 20.00 | 2000.00 | 15.00 | 1500.00 | 20.00 | 2000.00 | 1500.00 | ANAND AND COMPANTY
38.00 | 1.75 MFD capictor | 50.00 | Each | 10.00 | 26.00 | 1300.00 | 30.00 | 1500.00 | 22.00 | 1100.00 | 20.00 | 1000.00 | 2.00 | 100.00 | 20.00 | 1000.00 | 100.00 | ANAND AND COMPANTY
39.00 | 2.5 MFD capictor | 200.00 | Each | 10.00 | 32.00 | 6400.00 | 35.00 | 7000.00 | 25.00 | 5000.00 | 25.00 | 5000.00 | 20.00 | 4000.00 | 35.00 | 7000.00 | 4000.00 | ANAND AND COMPANTY
40.00 | 18 watt submersible pump for Desert Cooler | 2.00 | Each | 10.00 | 800.00 | 1600.00 | 480.00 | 960.00 | 140.00 | 280.00 | 225.00 | 450.00 | 250.00 | 500.00 | 150.00 | 300.00 | 280.00 | SRS ENGINEERS
41.00 | 1.5 sqmm, FRLSH, PVC single core copper cable (90 mtr. length ) | 10.00 | Each | 100.00 | 845.00 | 8450.00 | 1250.00 | 12500.00 | 950.00 | 9500.00 | 920.00 | 9200.00 | 1200.00 | 12000.00 | 1200.00 | 12000.00 | 8450.00 | ABHISHEK ASSOCIATES
42.00 | 4.0 sqmm, FRLSH, PVC single core copper cable (90 mtr. length ) | 5.00 | Each | 100.00 | 2020.00 | 10100.00 | 4100.00 | 20500.00 | 2300.00 | 11500.00 | 2200.00 | 11000.00 | 2000.00 | 10000.00 | 2000.00 | 10000.00 | 10000.00 | ANAND AND COMPANTY, CIS ELECTRICALS PVT LTD
43.00 | Battery water | 30.00 | Liter | 10.00 | 20.00 | 600.00 | 15.00 | 450.00 | 2.00 | 60.00 | 40.00 | 1200.00 | 15.00 | 450.00 | 4.00 | 120.00 | 60.00 | SRS ENGINEERS
44.00 | PVC Gang Box for the following switches / Sockets-
44.01 | 2 nos. 5 Amp switch | 10.00 | Each | 10.00 | 17.00 | 170.00 | 60.00 | 600.00 | 50.00 | 500.00 | 50.00 | 500.00 | 35.00 | 350.00 | 30.00 | 300.00 | 170.00 | ABHISHEK ASSOCIATES
44.02 | 1 no. 15 Amp switch & 1 no. 15 Amp socket. | 50.00 | Each | 10.00 | 26.00 | 1300.00 | 125.00 | 6250.00 | 90.00 | 4500.00 | 150.00 | 7500.00 | 40.00 | 2000.00 | 25.00 | 1250.00 | 1250.00 | CIS ELECTRICALS PVT LTD
45.00 | PVC Channel of ISI marked heavy duty 1.6 mm thick of following sizes (one channel of 2 mtr. Length) :-
45.01 | 20 mm | 100.00 | Each | 100.00 | 38.00 | 3800.00 | 40.00 | 4000.00 | 22.00 | 2200.00 | 18.00 | 1800.00 | 40.00 | 4000.00 | 20.00 | 2000.00 | 1800.00 | S. N ELECTRICALS
46.00 | Supply of MCCB's of following rating:-
46.01 | 4 Pole 35 KA 160 Amp. | 1.00 | Each | 100.00 | 8900.00 | 8900.00 | 7000.00 | 7000.00 | 6600.00 | 6600.00 | 5500.00 | 5500.00 | 10.00 | 10.00 | 150.00 | 150.00 | 10.00 | ANAND AND COMPANTY
46.02 | 4 Pole 35 KA 125 Amp. | 1.00 | Each | 10.00 | 5700.00 | 5700.00 | 7500.00 | 7500.00 | 6100.00 | 6100.00 | 5500.00 | 5500.00 | 10.00 | 10.00 | 150.00 | 150.00 | 10.00 | ANAND AND COMPANTY
46.03 | 4 Pole 25 KA 63 Amp. | 1.00 | Each | 10.00 | 5400.00 | 5400.00 | 6000.00 | 6000.00 | 5800.00 | 5800.00 | 1190.00 | 1190.00 | 10.00 | 10.00 | 200.00 | 200.00 | 10.00 | ANAND AND COMPANTY
46.04 | 4 Pole 35 KA 250 Amp. | 2.00 | Each | 10.00 | 9950.00 | 19900.00 | 12500.00 | 25000.00 | 11000.00 | 22000.00 | 7800.00 | 15600.00 | 10.00 | 20.00 | 3000.00 | 6000.00 | 20.00 | ANAND AND COMPANTY
47.00 | Twin Twisted Flexible copper wire 23/76 (90 mtr length) | 4.00 | Each | 100.00 | 470.00 | 1880.00 | 700.00 | 2800.00 | 450.00 | 1800.00 | 850.00 | 3400.00 | 750.00 | 3000.00 | 260.00 | 1040.00 | 1040.00 | CIS ELECTRICALS PVT LTD
48.00 | 18 Watt LED T8 tube rod | 100.00 | Each | 100.00 | 250.00 | 25000.00 | 430.00 | 43000.00 | 220.00 | 22000.00 | 230.00 | 23000.00 | 400.00 | 40000.00 | 250.00 | 25000.00 | 22000.00 | SRS ENGINEERS
49.00 | LT Insulating Rubber Mate minimum 3 mm Thick ISI Mark ( Size : 1M x 2M) ( Make: Jyoti or equivelent) | 5.00 | Each | 10.00 | 5100.00 | 25500.00 | 3000.00 | 15000.00 | 12500.00 | 62500.00 | 1100.00 | 5500.00 | 1200.00 | 6000.00 | 100.00 | 500.00 | 500.00 | CIS ELECTRICALS PVT LTD
50.00 | Industrial plug Top 3 Pin, 20 amp | 5.00 | Each | 10.00 | 630.00 | 3150.00 | 180.00 | 900.00 | 60.00 | 300.00 | 120.00 | 600.00 | 125.00 | 625.00 | 40.00 | 200.00 | 200.00 | CIS ELECTRICALS PVT LTD
51.00 | Industrial Socket 3 Pin, 20 amp | 5.00 | Each | 10.00 | 630.00 | 3150.00 | 210.00 | 1050.00 | 60.00 | 300.00 | 150.00 | 750.00 | 125.00 | 625.00 | 40.00 | 200.00 | 200.00 | CIS ELECTRICALS PVT LTD
52.00 | 18 watt LED tubelight with fitting | 25.00 | Each | 10.00 | 450.00 | 11250.00 | 700.00 | 17500.00 | 655.00 | 16375.00 | 430.00 | 10750.00 | 500.00 | 12500.00 | 200.00 | 5000.00 | 5000.00 | CIS ELECTRICALS PVT LTD
53.00 | 3P MNX 32 power contractor | 1.00 | Each | 10.00 | 2530.00 | 2530.00 | 3200.00 | 3200.00 | 1950.00 | 1950.00 | 1650.00 | 1650.00 | 2000.00 | 2000.00 | 500.00 | 500.00 | 500.00 | CIS ELECTRICALS PVT LTD
54.00 | Overload relay
54.01 | Relay range 6-10 amp | 1.00 | Each | 10.00 | 1070.00 | 1070.00 | 600.00 | 600.00 | 250.00 | 250.00 | 500.00 | 500.00 | 700.00 | 700.00 | 30.00 | 30.00 | 30.00 | CIS ELECTRICALS PVT LTD
54.02 | Relay range 9-15 amp | 1.00 | Each | 10.00 | 2150.00 | 2150.00 | 600.00 | 600.00 | 300.00 | 300.00 | 850.00 | 850.00 | 700.00 | 700.00 | 40.00 | 40.00 | 40.00 | CIS ELECTRICALS PVT LTD
54.03 | Relay range 14-23 amp | 1.00 | Each | 10.00 | 2150.00 | 2150.00 | 600.00 | 600.00 | 500.00 | 500.00 | 1000.00 | 1000.00 | 800.00 | 800.00 | 40.00 | 40.00 | 40.00 | CIS ELECTRICALS PVT LTD
55.00 | Single Phase Preventor | 1.00 | Each | 100.00 | 770.00 | 770.00 | 900.00 | 900.00 | 300.00 | 300.00 | 1250.00 | 1250.00 | 450.00 | 450.00 | 45.00 | 45.00 | 45.00 | CIS ELECTRICALS PVT LTD
56.00 | 5 watt LED bulb (pin type) , | 50.00 | Each | 100.00 | 90.00 | 4500.00 | 110.00 | 5500.00 | 65.00 | 3250.00 | 110.00 | 5500.00 | 110.00 | 5500.00 | 40.00 | 2000.00 | 2000.00 | CIS ELECTRICALS PVT LTD
57.00 | 15/16 Amp One Way switch. | 25.00 | Each | 10.00 | 52.00 | 1300.00 | 120.00 | 3000.00 | 65.00 | 1625.00 | 75.00 | 1875.00 | 100.00 | 2500.00 | 40.00 | 1000.00 | 1000.00 | CIS ELECTRICALS PVT LTD
58.00 | 5 pin 15/16 Amp Shuttered Socket | 20.00 | Each | 10.00 | 53.00 | 1060.00 | 120.00 | 2400.00 | 75.00 | 1500.00 | 95.00 | 1900.00 | 150.00 | 3000.00 | 45.00 | 900.00 | 900.00 | CIS ELECTRICALS PVT LTD
59.00 | DOL Starters for 10 HP 3Phase motor | 1.00 | Each | 10.00 | 2275.00 | 2275.00 | 5400.00 | 5400.00 | 2000.00 | 2000.00 | 1840.00 | 1840.00 | 5.00 | 5.00 | 700.00 | 700.00 | 5.00 | ANAND AND COMPANTY
60.00 | Star Delta Starter for 15HP 3Phase motor | 1.00 | Each | 100.00 | 7590.00 | 7590.00 | 6900.00 | 6900.00 | 3900.00 | 3900.00 | 3530.00 | 3530.00 | 5.00 | 5.00 | 150.00 | 150.00 | 5.00 | ANAND AND COMPANTY
61.00 | 1x36/40 W FLT fixture, | 120.00 | Each | 100.00 | 400.00 | 48000.00 | 350.00 | 42000.00 | 500.00 | 60000.00 | 180.00 | 21600.00 | 250.00 | 30000.00 | 140.00 | 16800.00 | 16800.00 | CIS ELECTRICALS PVT LTD
62.00 | SS Cordless Electric Kettle | 10.00 | Each | 10.00 | 2155.00 | 21550.00 | 1500.00 | 15000.00 | 1600.00 | 16000.00 | 1350.00 | 13500.00 | 1800.00 | 18000.00 | 250.00 | 2500.00 | 2500.00 | CIS ELECTRICALS PVT LTD
63.00 | Heat Convector (Make: Bajaj, Model No.- RX19 or as Approved by EIC ) | 10.00 | Each | 10.00 | 3945.00 | 39450.00 | 2200.00 | 22000.00 | 1200.00 | 12000.00 | 2000.00 | 20000.00 | 2000.00 | 20000.00 | 1000.00 | 10000.00 | 10000.00 | CIS ELECTRICALS PVT LTD
64.00 | Room Heater double rod, (Make: Bajaj, Model No. Del or as Approved by EIC) | 10.00 | Each | 10.00 | 1590.00 | 15900.00 | 3000.00 | 30000.00 | 1000.00 | 10000.00 | 1350.00 | 13500.00 | 900.00 | 9000.00 | 500.00 | 5000.00 | 5000.00 | CIS ELECTRICALS PVT LTD
65.00 | Room Heater (oil type), (Make: Havells, Model No. GHROFADW290 or as Approved by EIC) | 4.00 | Each | 10.00 | 13945.00 | 55780.00 | 12800.00 | 51200.00 | 9500.00 | 38000.00 | 8500.00 | 34000.00 | 9500.00 | 38000.00 | 9000.00 | 36000.00 | 34000.00 | S. N ELECTRICALS
66.00 | Ceiling Fan 1200mm | 10.00 | Each | 10.00 | 1200.00 | 12000.00 | 1850.00 | 18500.00 | 1100.00 | 11000.00 | 2100.00 | 21000.00 | 1900.00 | 19000.00 | 700.00 | 7000.00 | 7000.00 | CIS ELECTRICALS PVT LTD
67.00 | Wall Fan 400mm | 10.00 | Each | 10.00 | 1650.00 | 16500.00 | 3800.00 | 38000.00 | 1500.00 | 15000.00 | 2350.00 | 23500.00 | 2150.00 | 21500.00 | 1200.00 | 12000.00 | 12000.00 | CIS ELECTRICALS PVT LTD
68.00 | Pedestal Fan 450mm | 5.00 | Each | 10.00 | 4400.00 | 22000.00 | 3600.00 | 18000.00 | 1700.00 | 8500.00 | 2540.00 | 12700.00 | 3800.00 | 19000.00 | 1200.00 | 6000.00 | 6000.00 | CIS ELECTRICALS PVT LTD
69.00 | Exhaust fan 220V-50Hz,200mm, Non metallic body | 10.00 | Each | 10.00 | 1350.00 | 13500.00 | 6500.00 | 65000.00 | 1250.00 | 12500.00 | 1150.00 | 11500.00 | 1400.00 | 14000.00 | 800.00 | 8000.00 | 8000.00 | CIS ELECTRICALS PVT LTD
70.00 | 15 Litre capacity vertical type water heater (Geyser), 5 star | 5.00 | Each | 10.00 | 12500.00 | 62500.00 | 12000.00 | 60000.00 | 7000.00 | 35000.00 | 8500.00 | 42500.00 | 7500.00 | 37500.00 | 6745.00 | 33725.00 | 33725.00 | CIS ELECTRICALS PVT LTD
71.00 | 12 watt surface mounted round type LED fitting (IP 54) | 100.00 | Each | 10.00 | 1250.00 | 125000.00 | 1200.00 | 120000.00 | 1590.00 | 159000.00 | 650.00 | 65000.00 | 850.00 | 85000.00 | 150.00 | 15000.00 | 15000.00 | CIS ELECTRICALS PVT LTD
72.00 | Exhaust Fan , 300 mm sweep, 1300 rpm, heavy duty type, meatl body | 10.00 | Each | 10.00 | 2650.00 | 26500.00 | 2800.00 | 28000.00 | 2100.00 | 21000.00 | 2430.00 | 24300.00 | 2200.00 | 22000.00 | 1200.00 | 12000.00 | 12000.00 | CIS ELECTRICALS PVT LTD
73.00 | Fan regulator, 450 watt, Modular type, double module | 20.00 | Each | 10.00 | 310.00 | 6200.00 | 350.00 | 7000.00 | 300.00 | 6000.00 | 265.00 | 5300.00 | 250.00 | 5000.00 | 70.00 | 1400.00 | 1400.00 | CIS ELECTRICALS PVT LTD
74.00 | Bell push button, modular type, single module | 10.00 | Each | 10.00 | 90.00 | 900.00 | 40.00 | 400.00 | 43.00 | 430.00 | 180.00 | 1800.00 | 100.00 | 1000.00 | 50.00 | 500.00 | 400.00 | Manish Electricals
75.00 | 3 core PVC insulated and PVC sheathed, round type 1.5 sq mm cable (100 | 200.00 | Meter | 10.00 | 35.00 | 7000.00 | 48.00 | 9600.00 | 33.00 | 6600.00 | 55.50 | 11100.00 | 50.00 | 10000.00 | 17.00 | 3400.00 | 3400.00 | CIS ELECTRICALS PVT LTD
76.00 | 3 core PVC insulated and PVC sheathed, round type 2.5 sq mm cable | 200.00 | Meter | 10.00 | 56.00 | 11200.00 | 85.00 | 17000.00 | 45.00 | 9000.00 | 34.40 | 6880.00 | 75.00 | 15000.00 | 17.00 | 3400.00 | 3400.00 | CIS ELECTRICALS PVT LTD
111.00 | SH-IV Misc. Electrical Works
112.00 | Execution of works as per CPWD schedule of work and specification as and when reqd. DSR- 2018 Item for Rs 3,00,000/- (Excluding GST) [NOTE: The rate may be quoted in the following manner- (i) If quoted Rate is Rs. 2,70,000/- then the Percentage will considered as 10% below DSR 2018. (ii) If quoted Rate is Rs. 3,00,000/- then Percentage will considered as 0% above /below DSR 2018. (iii) If quoted Rate is Rs. 3,30,000/- then Percentage will considered as 10% above DSR 2018. PLEASE NOTE THAT THE ITEMS SHALL BE EXECUTED FROM DSR-2018 RATE AT THE ABOVE QUOTED PERCENTAGE AS PER SITE REQUIREMENT . The Quoted Rates shall be EXCLUDING GST | 1.00 | Job | 10.00 | 240000.00 | 240000.00 | 240000.00 | 240000.00 | 270000.00 | 270000.00 | .70 | .70 | 150000.00 | 150000.00 | 140000.00 | 140000.00 | .70 | S. N ELECTRICALS
| Total in Figures |  |  |  |  | 18189397.00 |  | 19402766.00 |  | 18789300.00 |  | 18603093.70 |  | 17581520.00 |  | 16798220.00
Lowest Amount Quoted BY: CIS ELECTRICALS PVT LTD(16798220.00)

## BOQ Summary
BOQ Summary Details Tender Title: AMC of Int and Ext installation of INA Colony Tender ID: 2020_AAI_47277_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CIS ELECTRICALS PVT LTD | 16798220.00 | L1
| 2 | ANAND AND COMPANTY | 17581520.00 | L2
| 3 | ABHISHEK ASSOCIATES | 18189397.00 | L3
| 4 | S. N ELECTRICALS | 18603093.70 | L4
| 5 | SRS ENGINEERS | 18789300.00 | L5
| 6 | Manish Electricals | 19402766.00 | L6