## BoQ1
Government eProcurement System Created By: PADMA P Created Date/Time: 15-Jun-2020 03:25 PM Tender Title: Operation and Maintenance lf Electrical and Mechnaical Installations of Terminal Building, Technical Block, Residential Colony, Car Park, Street Lights, Water Supply, Fire fighting etc of Calicut International Airport during 2020-22 Tender ID: 2020_AAI_47284_1
Tender Inviting Authority: Asst. General Manager (E-E) - II
Name of Work: ARMO of E&M Installations at Calicut International Airport for the year 2020- 21. SH: Operation and Maintenance of Electrical & Mechanical Installations of Terminal Building, Technical block, Residential Colony, Car Park, Street Lights, Water Supply, Fire Fighting etc of Calicut International Airport during 2020-22
Ref No: AAI/CL/Engg(E)/2020-21/NIT-01
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | Blue Star Limited |  | Voltas Limited
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation and periodic maintenance of all Electrical and Mechanical installations at different buildings/installations of airport such as Terminal building, Residential Colony, Pump Houses including but not limited to: operation of pumps for water supply and firefighting, lift, escalator, different switchgears, Carpark/street lighting including rectifying defects/faults/breakdowns in round the clock shifts, on all days including Sundays, all Holidays including preparation & maintenance of associated log books and records etc, complete as required. | 24.00 | month |  | 834999.00 | 20039976.00 | 815700.00 | 19576800.00 | 997235.00 | 23933640.00 | 19576800.00 | Blue Star Limited
2.00 | Engaging of unskilled labour for carrying out casual/unspecified works like clearing of site, shifting of inventory, and other miscellaneous Electrical works as per instructions from Engineering in charge ( 1 man day = 8 hours of work). | 50.00 | Man Day |  | 549.00 | 27450.00 | 570.00 | 28500.00 | 810.00 | 40500.00 | 27450.00 | CHENNAI ENGINEERING SERVICES
3.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 1.5 sq. mm + 1 X 1.5 sq. mm earth wire | 750.00 | metre |  | 129.00 | 96750.00 | 118.00 | 88500.00 | 110.00 | 82500.00 | 82500.00 | Voltas Limited
4.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 2.5 sq. mm + 1 X 2.5 sq. mm earth wire | 150.00 | metre |  | 149.00 | 22350.00 | 160.00 | 24000.00 | 169.00 | 25350.00 | 22350.00 | CHENNAI ENGINEERING SERVICES
5.00 | Wiring for circuit/submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 4 sq. mm + 1 X 4 sq. mm earth wire. | 425.00 | metre |  | 169.00 | 71825.00 | 189.00 | 80325.00 | 175.00 | 74375.00 | 71825.00 | CHENNAI ENGINEERING SERVICES
6.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 2 X 6 sq. mm + 1 X 6 sq. mm earth wire | 150.00 | metre |  | 219.00 | 32850.00 | 330.00 | 49500.00 | 229.00 | 34350.00 | 32850.00 | CHENNAI ENGINEERING SERVICES
7.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 4 X 4 sq. mm + 2 X 4 sq. mm earth wire | 100.00 | metre |  | 279.00 | 27900.00 | 376.00 | 37600.00 | 229.00 | 22900.00 | 22900.00 | Voltas Limited
8.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed medium class PVC conduit as required. 4 X 6 sq. mm + 2 X 6 sq. mm earth wire | 75.00 | metre |  | 419.00 | 31425.00 | 489.00 | 36675.00 | 344.00 | 25800.00 | 25800.00 | Voltas Limited
9.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor,single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 1.5 sq. mm | 150.00 | metre |  | 69.00 | 10350.00 | 52.00 | 7800.00 | 200.00 | 30000.00 | 7800.00 | Blue Star Limited
10.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 1.5 sq. mm | 75.00 | metre |  | 89.00 | 6675.00 | 65.00 | 4875.00 | 200.00 | 15000.00 | 4875.00 | Blue Star Limited
11.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 2.5 sq. mm | 150.00 | metre |  | 109.00 | 16350.00 | 73.00 | 10950.00 | 205.00 | 30750.00 | 10950.00 | Blue Star Limited
12.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 4 sq. mm | 150.00 | metre |  | 149.00 | 22350.00 | 111.00 | 16650.00 | 195.00 | 29250.00 | 16650.00 | Blue Star Limited
13.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 4 sq. mm | 75.00 | metre |  | 189.00 | 14175.00 | 133.00 | 9975.00 | 229.00 | 17175.00 | 9975.00 | Blue Star Limited
14.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 3 x 6 sq. mm | 75.00 | metre |  | 219.00 | 16425.00 | 154.00 | 11550.00 | 250.00 | 18750.00 | 11550.00 | Blue Star Limited
15.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required. 4 x 6 sq. mm | 75.00 | metre |  | 279.00 | 20925.00 | 203.00 | 15225.00 | 252.00 | 18900.00 | 15225.00 | Blue Star Limited
16.00 | Supplying and fixing of following sizes of PVC conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. - 20 mm | 375.00 | metre |  | 29.00 | 10875.00 | 70.00 | 26250.00 | 48.00 | 18000.00 | 10875.00 | CHENNAI ENGINEERING SERVICES
17.00 | Supplying and fixing of following sizes of PVC conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required. - 25 mm | 150.00 | metre |  | 39.00 | 5850.00 | 82.00 | 12300.00 | 60.00 | 9000.00 | 5850.00 | CHENNAI ENGINEERING SERVICES
18.00 | Supply and fixing PVC casing capping of following sizes on surface as reqd. 20 mm x 12 mm | 25.00 | metre |  | 29.00 | 725.00 | 51.00 | 1275.00 | 145.00 | 3625.00 | 725.00 | CHENNAI ENGINEERING SERVICES
19.00 | Supply and fixing PVC casing capping of following sizes on surface as reqd. 25 mm x16 mm | 25.00 | metre |  | 39.00 | 975.00 | 72.00 | 1800.00 | 120.00 | 3000.00 | 975.00 | CHENNAI ENGINEERING SERVICES
20.00 | Supply and fixing PVC casing capping of following sizes on surface as reqd. 38 mm x16 mm | 25.00 | metre |  | 49.00 | 1225.00 | 94.00 | 2350.00 | 145.00 | 3625.00 | 1225.00 | CHENNAI ENGINEERING SERVICES
21.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required 1 or 2 Module (75mmX75mm) | 30.00 | Each |  | 69.00 | 2070.00 | 224.00 | 6720.00 | 195.00 | 5850.00 | 2070.00 | CHENNAI ENGINEERING SERVICES
22.00 | Supplying and fixing following size/ modules, GI box alongwith modular base &cover plate for modular switches in recess etc as required 3 Module (100mmX75mm) | 75.00 | Each |  | 89.00 | 6675.00 | 247.00 | 18525.00 | 205.00 | 15375.00 | 6675.00 | CHENNAI ENGINEERING SERVICES
23.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required 4 Module (100mmX75mm`) | 50.00 | Each |  | 99.00 | 4950.00 | 266.00 | 13300.00 | 206.00 | 10300.00 | 4950.00 | CHENNAI ENGINEERING SERVICES
24.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required 6 Module (200mmX75mm) | 30.00 | Each |  | 139.00 | 4170.00 | 309.00 | 9270.00 | 264.00 | 7920.00 | 4170.00 | CHENNAI ENGINEERING SERVICES
25.00 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. 3 Module | 70.00 | Each |  | 49.00 | 3430.00 | 118.00 | 8260.00 | 195.00 | 13650.00 | 3430.00 | CHENNAI ENGINEERING SERVICES
26.00 | Supplying and fixing following Modular base & cover plate on existing modular metal boxes etc. as required. 6 Module | 15.00 | Each |  | 79.00 | 1185.00 | 154.00 | 2310.00 | 229.00 | 3435.00 | 1185.00 | CHENNAI ENGINEERING SERVICES
27.00 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches in surface/recess etc as required. 1 or 2 Module | 5.00 | Each |  | 69.00 | 345.00 | 173.00 | 865.00 | 207.00 | 1035.00 | 345.00 | CHENNAI ENGINEERING SERVICES
28.00 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches in recess etc as required. 3 Module | 40.00 | Each |  | 89.00 | 3560.00 | 202.00 | 8080.00 | 184.00 | 7360.00 | 3560.00 | CHENNAI ENGINEERING SERVICES
29.00 | Supplying and fixing following size/ modules, PVC box alongwith modular base & cover plate for modular switches in recess etc as required. 4 Module | 50.00 | Each |  | 99.00 | 4950.00 | 228.00 | 11400.00 | 184.00 | 9200.00 | 4950.00 | CHENNAI ENGINEERING SERVICES
30.00 | Installation, testing and commissioning of pre-wired, fluorescent fitting / compact fluorescent fitting of all types, complete with all accessories and tube etc. directly on ceiling/ wall, including connection with 1.5 sq. mm FRLS PVC insulated, copper conductor, single core cable and earthing etc. as required. | 25.00 | Each |  | 99.00 | 2475.00 | 118.00 | 2950.00 | 287.00 | 7175.00 | 2475.00 | CHENNAI ENGINEERING SERVICES
31.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed medium class PVC conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. ( GROUP B) | 30.00 | Each |  | 399.00 | 11970.00 | 724.00 | 21720.00 | 964.00 | 28920.00 | 11970.00 | CHENNAI ENGINEERING SERVICES
32.00 | Supplying and fixing 20 amps, 415 volts, TPN industrial type, socket outlet, with 4 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, TPMCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet | 7.00 | Each |  | 999.00 | 6993.00 | 1564.00 | 10948.00 | 2710.00 | 18970.00 | 6993.00 | CHENNAI ENGINEERING SERVICES
33.00 | Supplying and fixing 20 amps, 240 volts, SPN industrial type, socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 amps “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 6.00 | Each |  | 1299.00 | 7794.00 | 990.00 | 5940.00 | 1865.00 | 11190.00 | 5940.00 | Blue Star Limited
34.00 | Providing and fixing M.V. danger notice plate of 200 mm X 150 mm, made of mild steel, at least 2 mm thick, and vitreous enameled white on both sides, and with inscription in single red colour on front side as required. | 10.00 | Each |  | 199.00 | 1990.00 | 210.00 | 2100.00 | 1800.00 | 18000.00 | 1990.00 | CHENNAI ENGINEERING SERVICES
35.00 | Supplying and fixing metal box of following sizes (nominal size) on surface or in recess with suitable size of phenolic laminated sheet cover in front including painting etc. as required. 150 mm X 75 mm X 60 mm deep | 10.00 | Each |  | 199.00 | 1990.00 | 152.00 | 1520.00 | 723.00 | 7230.00 | 1520.00 | Blue Star Limited
36.00 | Earthing with G.I. earth pipe 4.5 metre long, 40 mm dia including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe etc .with charcoal/ coke and salt as required. | 5.00 | SET |  | 3999.00 | 19995.00 | 4911.00 | 24555.00 | 3900.00 | 19500.00 | 19500.00 | Voltas Limited
37.00 | Earthing with G.I. earth plate 600 mm X 600 mm X 6 mm thick including accessories,and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 metre long etc. with charcoal/ coke and salt as required. | 5.00 | SET |  | 4999.00 | 24995.00 | 5750.00 | 28750.00 | 4590.00 | 22950.00 | 22950.00 | Voltas Limited
38.00 | Repairing of earth pit by demolishing the existing damaged brick work, making fresh brick work, plastering the same, providing and fixing MS hinged cover, numbering the earth pit with suitable paint etc as required. | 5.00 | SET |  | 1999.00 | 9995.00 | 1011.00 | 5055.00 | 1560.00 | 7800.00 | 5055.00 | Blue Star Limited
39.00 | Providing and fixing 6 SWG dia G.I. wire on surface or in recess for loop earthing along with existing surface/ recessed conduit/ submain wiring/ cable as required. | 100.00 | mtr |  | 19.00 | 1900.00 | 34.00 | 3400.00 | 96.00 | 9600.00 | 1900.00 | CHENNAI ENGINEERING SERVICES
40.00 | Providing and fixing 25 mm X 5 mm copper strip on surface or in recess for connections etc.as required. | 50.00 | mtr |  | 499.00 | 24950.00 | 933.00 | 46650.00 | 975.00 | 48750.00 | 24950.00 | CHENNAI ENGINEERING SERVICES
41.00 | Providing and fixing 25 mm X 5 mm G.I. strip on surface or in recess for connections etc. as required. | 100.00 | mtr |  | 99.00 | 9900.00 | 190.00 | 19000.00 | 300.00 | 30000.00 | 9900.00 | CHENNAI ENGINEERING SERVICES
42.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Upto 35 sq. mm (clamped with 1mm thick saddle) | 200.00 | mtr |  | 19.00 | 3800.00 | 36.00 | 7200.00 | 72.00 | 14400.00 | 3800.00 | CHENNAI ENGINEERING SERVICES
43.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on wall surface as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | mtr |  | 29.00 | 1450.00 | 96.00 | 4800.00 | 120.00 | 6000.00 | 1450.00 | CHENNAI ENGINEERING SERVICES
44.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Upto 35 sq.mm (clamped with 1mm thick saddle) | 100.00 | mtr |  | 39.00 | 3900.00 | 31.00 | 3100.00 | 60.00 | 6000.00 | 3100.00 | Blue Star Limited
45.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size on cable tray as required. Above 35 sq. mm and upto 95 sq. mm (clamped with 25x3mm MS flat clamp) | 50.00 | mtr |  | 49.00 | 2450.00 | 68.00 | 3400.00 | 120.00 | 6000.00 | 2450.00 | CHENNAI ENGINEERING SERVICES
46.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation and refilling the trench etc as required, but excluding sand cushioning and protective covering. Upto 35 sq. mm | 200.00 | mtr |  | 199.00 | 39800.00 | 299.00 | 59800.00 | 133.00 | 26600.00 | 26600.00 | Voltas Limited
47.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size direct in ground including excavation and refilling the trench etc as required, but excluding sand cushioning and protective covering. Above 35 sq. mm and upto 95 sq. mm | 100.00 | mtr |  | 229.00 | 22900.00 | 313.00 | 31300.00 | 120.00 | 12000.00 | 12000.00 | Voltas Limited
48.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Upto 35 sq. mm | 50.00 | mtr |  | 19.00 | 950.00 | 29.00 | 1450.00 | 96.00 | 4800.00 | 950.00 | CHENNAI ENGINEERING SERVICES
49.00 | Laying of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 KV grade of following size in the existing RCC/ HUME/ METAL pipe as required. Above 35 sq. mm and upto 95 sq. mm | 50.00 | mtr |  | 19.00 | 950.00 | 44.00 | 2200.00 | 120.00 | 6000.00 | 950.00 | CHENNAI ENGINEERING SERVICES
50.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 4 X 16 sq. mm | 2.00 | SET |  | 999.00 | 1998.00 | 1628.00 | 3256.00 | 2650.00 | 5300.00 | 1998.00 | CHENNAI ENGINEERING SERVICES
51.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 25 sq. mm | 2.00 | SET |  | 999.00 | 1998.00 | 1839.00 | 3678.00 | 3373.00 | 6746.00 | 1998.00 | CHENNAI ENGINEERING SERVICES
52.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 KV grade as required. 3½ X 35 sq. mm | 2.00 | SET |  | 999.00 | 1998.00 | 1839.00 | 3678.00 | 3373.00 | 6746.00 | 1998.00 | CHENNAI ENGINEERING SERVICES
53.00 | Excavation of the cable trenches in hard rock not exceeding 1.5 metres in width,m and lift upto 1.5 metres, including getting out the excavated soil and disposal of excavated soil as directed within a lead of 50 metres. | 20.00 | cum |  | 999.00 | 19980.00 | 937.00 | 18740.00 | 1325.00 | 26500.00 | 18740.00 | Blue Star Limited
54.00 | Providing and laying in position cement concrete 1:2:4 (1 cement : 2 coarse sand :4 graded stone aggregate 20 mm nominal size) including form work etc as required. | 10.00 | cum |  | 1499.00 | 14990.00 | 937.00 | 9370.00 | 7831.00 | 78310.00 | 9370.00 | Blue Star Limited
55.00 | Providing and laying in position cement concrete 1:3:6 (1 cement : 2 coarse sand : 6 graded stone aggregate 20 mm nominal size) including form work etc as required. | 10.00 | cum |  | 1499.00 | 14990.00 | 6327.00 | 63270.00 | 9030.00 | 90300.00 | 14990.00 | CHENNAI ENGINEERING SERVICES
56.00 | Spray painting with two or more coat of synthetic enamel paint of approved brand, manufacturer and colour to give an even shade for distribution boards,Fire hydrant Pipes, Internal & External Electrical panels/ Junction boxes/feeder pillars, etc. provided in the Terminal Buildings, Technical Block and other Ancillary Buildings including cleaning the surface, applying two or more coats of primer wherever necessary,removing, shifting of installations from existing site to a suitable site for painting where ever required.Scope also includes re-lettering / new lettering of various distribution boards/ panels wherever required. | 200.00 | Sq.m |  | 199.00 | 39800.00 | 96.00 | 19200.00 | 108.00 | 21600.00 | 19200.00 | Blue Star Limited
57.00 | Excavating trenches of required width for pipes, cables, etc, including excavation for sockets, depth upto 1.5 m, including getting out the excavated materials, returning the soil as required in layers not exceeding 20 cm in depth, including consolidating each deposited layers by ramming, watering etc., stacking serviceable material for measurements and disposal of unserviceable material as directed, within a lead of 50 m. (a) All kinds of soil Pipes, cables etc, not exceeding 80 mm dia. | 20.00 | cum |  | 999.00 | 19980.00 | 504.00 | 10080.00 | 1566.00 | 31320.00 | 10080.00 | Blue Star Limited
58.00 | Cutting road and making good the same including supply of extra quantities of materials i.e. aggregate, moorum screening, red bajri and labour required. bituminous portion | 20.00 | cum |  | 999.00 | 19980.00 | 798.00 | 15960.00 | 3012.00 | 60240.00 | 15960.00 | Blue Star Limited
59.00 | Replacing the damaged bearing of 25 HP jockey pump motor coupling including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required | 1.00 | JOB |  | 7499.00 | 7499.00 | 7979.00 | 7979.00 | 4819.00 | 4819.00 | 4819.00 | Voltas Limited
60.00 | Replacing the damaged bearing of 120 HP main fire pump motor coupling including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required | 1.00 | JOB |  | 9999.00 | 9999.00 | 19681.00 | 19681.00 | 8434.00 | 8434.00 | 8434.00 | Voltas Limited
61.00 | Replacing the damaged rubber bush of 120 HP main fire pump motor coupling including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required | 1.00 | JOB |  | 4999.00 | 4999.00 | 9043.00 | 9043.00 | 6020.00 | 6020.00 | 4999.00 | CHENNAI ENGINEERING SERVICES
62.00 | Replacing the damaged rubber bush of 25 HP jockey pump motor coupling including labour charges for dismantling the coupling, refixing the coupling , ensuring proper shaft alignment etc. as required | 1.00 | JOB |  | 3999.00 | 3999.00 | 4787.00 | 4787.00 | 4578.00 | 4578.00 | 3999.00 | CHENNAI ENGINEERING SERVICES
63.00 | Lifting and lowering of submersible pump along with the installed pipe from bore well ( up to 400 feet max) including dismantling the defective submersible motor, pump set and installing the serviceable motor pump set with the existing pipe, arranging T&P and necessary consumables etc complete as required Submersible pumps installed with HDPE/PVC Pipe | 2.00 | JOB |  | 14999.00 | 29998.00 | 3188.00 | 6376.00 | 7229.00 | 14458.00 | 6376.00 | Blue Star Limited
64.00 | Lifting and lowering of submersible pump along with the installed pipe from bore well ( up to 400 feet max) including dismantling the defective submersible motor, pump set and installing the serviceable motor pump set with the existing pipe, arranging T&P and necessary consumables etc complete as required Submersible pumps installed with GI pipe with Sockets/ Flanges | 2.00 | JOB |  | 19999.00 | 39998.00 | 10561.00 | 21122.00 | 6627.00 | 13254.00 | 13254.00 | Voltas Limited
65.00 | Lifting of defective submersible/ monoblock motor pump set from openwell/sump and dismantling the same and installing the serviceable motor pump set arranging T&P and necessary consumables including lifting and lowering into sump/openwell etc complete as required (Serviceable Motor will be provided by AAI). | 2.00 | JOB |  | 2999.00 | 5998.00 | 3719.00 | 7438.00 | 4819.00 | 9638.00 | 5998.00 | CHENNAI ENGINEERING SERVICES
66.00 | Rewinding of following type of motors with enameled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Borewell) Above 2 HP and up to 5 HP | 2.00 | JOB |  | 4999.00 | 9998.00 | 3995.00 | 7990.00 | 5542.00 | 11084.00 | 7990.00 | Blue Star Limited
67.00 | Rewinding of following type of motors with enameled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Borewell) Above 5 HP and up to 10 HP | 1.00 | JOB |  | 5999.00 | 5999.00 | 6279.00 | 6279.00 | 6627.00 | 6627.00 | 5999.00 | CHENNAI ENGINEERING SERVICES
68.00 | Rewinding of following type of motors with enameled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Borewell) Above 10 HP and upto 15 HP | 1.00 | JOB |  | 9999.00 | 9999.00 | 6847.00 | 6847.00 | 11687.00 | 11687.00 | 6847.00 | Blue Star Limited
69.00 | Rewinding of following type of motors with enameled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Borewell) Above 15 HP and upto 17.5 HP | 1.00 | JOB |  | 12999.00 | 12999.00 | 7853.00 | 7853.00 | 15060.00 | 15060.00 | 7853.00 | Blue Star Limited
70.00 | Rewinding of following type of motors with enameled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Openwell/sump) Above 2 HP and up to 5 HP | 4.00 | JOB |  | 4999.00 | 19996.00 | 2988.00 | 11952.00 | 5663.00 | 22652.00 | 11952.00 | Blue Star Limited
71.00 | Rewinding of following type of motors with enameled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Openwell/sump) Above 5 HP and up to 10 HP | 4.00 | JOB |  | 6999.00 | 27996.00 | 6359.00 | 25436.00 | 6867.00 | 27468.00 | 25436.00 | Blue Star Limited
72.00 | Rewinding of following type of motors with enameled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Submersible Motor (Openwell/sump) Above 10 HP and upto 15 HP | 1.00 | JOB |  | 9999.00 | 9999.00 | 7805.00 | 7805.00 | 11446.00 | 11446.00 | 7805.00 | Blue Star Limited
73.00 | Rewinding of following type of motors with enameled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Monoblock Pump Motor Above 2 HP and up to 5 HP | 1.00 | JOB |  | 4999.00 | 4999.00 | 856.00 | 856.00 | 5422.00 | 5422.00 | 856.00 | Blue Star Limited
74.00 | Rewinding of following type of motors with enameled/Teflon coated copper wire varnishing & baking along with gunmetal bushes, thrust bearing etc and including to&fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) Monoblock Pump Motor Above 5 HP and up to 10 HP | 4.00 | JOB |  | 5599.00 | 22396.00 | 1095.00 | 4380.00 | 6627.00 | 26508.00 | 4380.00 | Blue Star Limited
75.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 2 HP and up to 5 HP Thrust bearing | 1.00 | JOB |  | 999.00 | 999.00 | 999.00 | 999.00 | 2410.00 | 2410.00 | 999.00 | CHENNAI ENGINEERING SERVICES, Blue Star Limited
76.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 2 HP and up to 5 HP Bushes | 1.00 | JOB |  | 1999.00 | 1999.00 | 1420.00 | 1420.00 | 3614.00 | 3614.00 | 1420.00 | Blue Star Limited
77.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 2 HP and up to 5 HP Shaft sleeve | 1.00 | JOB |  | 999.00 | 999.00 | 568.00 | 568.00 | 3614.00 | 3614.00 | 568.00 | Blue Star Limited
78.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 2 HP and up to 5 HP Thrust plate | 1.00 | JOB |  | 999.00 | 999.00 | 1232.00 | 1232.00 | 3614.00 | 3614.00 | 999.00 | CHENNAI ENGINEERING SERVICES
79.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 5 HP and up to 10 HP Thrust bearing | 1.00 | JOB |  | 1199.00 | 1199.00 | 1178.00 | 1178.00 | 4819.00 | 4819.00 | 1178.00 | Blue Star Limited
80.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation . Submersible Motor (Openwell/Borewell/sump) Above 5 HP and up to 10 HP Bushes | 1.00 | JOB |  | 2999.00 | 2999.00 | 1259.00 | 1259.00 | 6024.00 | 6024.00 | 1259.00 | Blue Star Limited
81.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 5 HP and up to 10 HP Shaft sleeve | 1.00 | JOB |  | 999.00 | 999.00 | 1093.00 | 1093.00 | 6024.00 | 6024.00 | 999.00 | CHENNAI ENGINEERING SERVICES
82.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 5 HP and up to 10 HP Thrust plate | 1.00 | JOB |  | 999.00 | 999.00 | 1077.00 | 1077.00 | 4819.00 | 4819.00 | 999.00 | CHENNAI ENGINEERING SERVICES
83.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 10 HP and upto 15 HP Thrust bearing | 1.00 | JOB |  | 1299.00 | 1299.00 | 1196.00 | 1196.00 | 6747.00 | 6747.00 | 1196.00 | Blue Star Limited
84.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 10 HP and upto 15 HP Bushes | 1.00 | JOB |  | 3999.00 | 3999.00 | 1471.00 | 1471.00 | 6747.00 | 6747.00 | 1471.00 | Blue Star Limited
85.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 10 HP and upto 15 HP Shaft sleeve | 1.00 | JOB |  | 999.00 | 999.00 | 978.00 | 978.00 | 6747.00 | 6747.00 | 978.00 | Blue Star Limited
86.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Submersible Motor (Openwell/Borewell/sump) Above 10 HP and upto 15 HP Thrust plate | 1.00 | JOB |  | 999.00 | 999.00 | 1476.00 | 1476.00 | 6747.00 | 6747.00 | 999.00 | CHENNAI ENGINEERING SERVICES
87.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 2 HP and up to 5 HP Bearing | 1.00 | JOB |  | 799.00 | 799.00 | 809.00 | 809.00 | 3614.00 | 3614.00 | 799.00 | CHENNAI ENGINEERING SERVICES
88.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 2 HP and up to 5 HP Bushes | 1.00 | JOB |  | 999.00 | 999.00 | 639.00 | 639.00 | 3614.00 | 3614.00 | 639.00 | Blue Star Limited
89.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 2 HP and up to 5 HP Shaft sleeve | 1.00 | JOB |  | 899.00 | 899.00 | 941.00 | 941.00 | 4217.00 | 4217.00 | 899.00 | CHENNAI ENGINEERING SERVICES
90.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 5 HP and up to 10 HP Bearing | 1.00 | JOB |  | 1299.00 | 1299.00 | 1779.00 | 1779.00 | 5783.00 | 5783.00 | 1299.00 | CHENNAI ENGINEERING SERVICES
91.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 5 HP and up to 10 HP Bushes | 1.00 | JOB |  | 999.00 | 999.00 | 1245.00 | 1245.00 | 5900.00 | 5900.00 | 999.00 | CHENNAI ENGINEERING SERVICES
92.00 | Servicing of the following capacity submersible/mono block pumps including replacing the following components and refixing back complete as required and making the pump suitable for satisfactory operation. Monoblock Pump Motor Above 5 HP and up to 10 HP Shaft sleeve | 1.00 | JOB |  | 999.00 | 999.00 | 1187.00 | 1187.00 | 6627.00 | 6627.00 | 999.00 | CHENNAI ENGINEERING SERVICES
93.00 | Repairing of Soft starter (Make: L&T, Model : EMX3-0145B-V4-C1-H) used for fire fighting main electric pump, includingrepair/ replacement of any components like SCR, control card, display etc. including testing and commissioning of the same. The cost shall include to and fro transport of the soft starter to the service location of the specialized agency/L&T authorized centre as the case may be. | 1.00 | JOB |  | 1999.00 | 1999.00 | 60473.00 | 60473.00 | 4819.00 | 4819.00 | 1999.00 | CHENNAI ENGINEERING SERVICES
94.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 600mm. Sweep aircirculators | 5.00 | JOB |  | 999.00 | 4995.00 | 1334.00 | 6670.00 | 1200.00 | 6000.00 | 4995.00 | CHENNAI ENGINEERING SERVICES
95.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 450mm. Sweep aircirculators | 5.00 | JOB |  | 999.00 | 4995.00 | 1130.00 | 5650.00 | 960.00 | 4800.00 | 4800.00 | Voltas Limited
96.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 300/380mm. Sweep Exhaust fan 900rpm heavy duty | 5.00 | JOB |  | 599.00 | 2995.00 | 785.00 | 3925.00 | 720.00 | 3600.00 | 2995.00 | CHENNAI ENGINEERING SERVICES
97.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 300mm. Sweep Exhaust fan 1400 rpm light duty | 5.00 | JOB |  | 599.00 | 2995.00 | 680.00 | 3400.00 | 720.00 | 3600.00 | 2995.00 | CHENNAI ENGINEERING SERVICES
98.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 1200mm. Sweep ceiling fan | 5.00 | JOB |  | 499.00 | 2495.00 | 448.00 | 2240.00 | 720.00 | 3600.00 | 2240.00 | Blue Star Limited
99.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 400 mm. sweep wall mounting fan | 5.00 | JOB |  | 599.00 | 2995.00 | 431.00 | 2155.00 | 720.00 | 3600.00 | 2155.00 | Blue Star Limited
100.00 | Rewinding of following type of Air Circulators/ceiling fans/exhaust fans with enamelled copper wire, baking, varnishing, overhauling, greasing, refitting of motor etc and including to & fro transportation etc. complete as required (Burnt copper need not be returned to AAI. Rate shall be quoted accordingly) 400 mm. sweep pedestal fan | 5.00 | JOB |  | 599.00 | 2995.00 | 419.00 | 2095.00 | 480.00 | 2400.00 | 2095.00 | Blue Star Limited
101.00 | Maintenance of Addressable Fire Alarm System consisting of Fire Loop, Addressable Panel, Fire Alarm Repeater Panel, Photo Electric Smoke Detectors, Multi detectors, Heat detectors, Beam Detector, Manual Call Point, Response Indicator, Fault Isolator, Hooter / Sounder, Control Relay Module, Monitor Module etc. as complete installed at various locations as detailed in the inventory list, by monthly servicing and attending breakdown repairs including replacement of defective component/devices, Corrections, re-installation, repair, replacement, modification, programming of PC, device configuration and ID assigning, firmware configuration etc. complete as and when required, through specialist agency/ OEM/ manufacturer whenever required. The scope shall also include Comprehensive all inclusive (Hardware and OS) maintenance of computer system , installed with fire alarm detection and warning system including all connected devices such as CPU, keyboard, mouse, monitor, printer, UPS etc. ( Service for one month = 1 JOB) | 24.00 | JOB |  | 7999.00 | 191976.00 | 162162.00 | 3891888.00 | 21700.00 | 520800.00 | 191976.00 | CHENNAI ENGINEERING SERVICES
102.00 | Providing services for obtaining certificate of approval/ license for firefighting and alarm system at Calicut International airport, including liaisoning with the concerned state/central govt.department, preparation of all documents and drawings required, providing any expert support for preparation of the application form, follow up with the departments etc. as required till the issuance of the license/certificate by the concerned authority to AAI. | 1.00 | JOB |  | 99999.00 | 99999.00 | 10638.00 | 10638.00 | 14458.00 | 14458.00 | 10638.00 | Blue Star Limited
103.00 | Rectification of fire alarm system by checking all individual smoke/heat detectors/MCP/Beam detectors replacing the faulty ones, including making interconnections of the cable to the detectors, making all field devices of the fire alarm system serviceable in all respect, programming the fire alarm panel by including all devices which are not reflected in the panel, configuring the management software to show all new devices programmed, etc. to make the fire alarm system 100% serviceable and intact in all respect, complete to the satisfaction of the Engineer In Charge. The detectors/MCP/beam detectors/ cable for interconnection of detectors will be provided by AAI. | 1.00 | JOB |  | 44999.00 | 44999.00 | 215816.00 | 215816.00 | 16867.00 | 16867.00 | 16867.00 | Voltas Limited
104.00 | Supply, Installation, Testing & commissioning of UL / EN listed (latest version) intelligent addressable multi criteria detector {Smoke + heat } with inbuilt fault isolator / isolator base and with unique optical sensing chamber, visible LED, fully coated circuit board, superior RF / Transient protection suitable for 2 wires loop connection, complete with plug into common separate base & housing constructed of LEXAN (or polycarbonate) complete with connections etc. as required and to be installed below / above false ceiling roof and concealed space and as per enclosed specifications ,complete as required. (Cost of plug in common base shall deemed to be included in cost of detectors). The item shall be suitable for integration to Edwards EST fire alarm control panel. | 20.00 | Each |  | 3799.00 | 75980.00 | 2164.00 | 43280.00 | 3614.00 | 72280.00 | 43280.00 | Blue Star Limited
105.00 | Supplying, Installing, Testing and Commissioning of UL / EN listed (Latest Version) Addressable motorized auto align Beam detector with transmitter, receiver & control panel as per specification, complete as required. The item shall be suitable for integration to Edwards EST fire alarm control panel. | 5.00 | Each |  | 38999.00 | 194995.00 | 23440.00 | 117200.00 | 7229.00 | 36145.00 | 36145.00 | Voltas Limited
106.00 | Supply, installation, testing and commissioning of UL / EN listed (latest version) loop powered addressable Hooter-cum- strobe with inbuilt fault isolator / isolator module with adjustable sound level in the range of min. 90 dB to Max. 120 dB at 1M distance complete with termination etc. as required and as per enclosed specification. The item shall be suitable for integration to Edwards EST fire alarm control panel. | 5.00 | Each |  | 2799.00 | 13995.00 | 4507.00 | 22535.00 | 3614.00 | 18070.00 | 13995.00 | CHENNAI ENGINEERING SERVICES
107.00 | Supply and laying of 2 x 1.5 sq.mm. FRLS armoured cable, 600 / 1000V rated with annealed copper conductor, as per applicable IS standards, on surface / recess/ on channel/ cable tray/above false ceiling. | 250.00 | mtr. |  | 49.00 | 12250.00 | 131.00 | 32750.00 | 96.00 | 24000.00 | 12250.00 | CHENNAI ENGINEERING SERVICES
| Total in Figures |  |  |  |  | 21757633.00 |  | 25151786.00 |  | 26175437.00
Lowest Amount Quoted BY: CHENNAI ENGINEERING SERVICES(21757633.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance lf Electrical and Mechnaical Installations of Terminal Building, Technical Block, Residential Colony, Car Park, Street Lights, Water Supply, Fire fighting etc of Calicut International Airport during 2020-22 Tender ID: 2020_AAI_47284_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CHENNAI ENGINEERING SERVICES | 21757633.00 | L1
| 2 | Blue Star Limited | 25151786.00 | L2
| 3 | Voltas Limited | 26175437.00 | L3