## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 09-Jul-2020 12:50 PM Tender Title: RMO AC Equipment at NSCBI Airport Kolkata dg 2020 23 Sh Annual Maintenance contract of Window ACs, Split ACs, Ductable ACs Slim line ACs, Package AC for 3 years. Tender ID: 2020_AAI_47378_1
Tender Inviting Authority: AAI, NSCBI AIRPORT, KOLKATA
Name of Work:RMO AC Equipment at NSCBI Airport Kolkata dg. 2020-23. Sh:- Annual Maintenance contract of Window AC’s, Split AC’s, Ductable AC’s Slim line AC’s, Package AC for 3 years.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Zamzam Refrigeration and airconditioning |  | Sterling And Wilson Pvt. Ltd |  | M/s AGFA |  | SUVIDHA ENGINEERS INDIA PVT LTD |  | AIR Q SOLUTIONS
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH: I
2.00 | To carryout Day to day maintenance of Window AC, Split AC, Ductable AC of various capacity 1 Ph/3 Ph including all accessories & attending complaints / faults / breakdown , rectification and ensuring serviceability / satisfactory working condition and maintaining all records as per PMI schedule as per the special conditions of contract , throughout a year in general basis as per the instruction of the Engineer - in - charge or his authorized representative as per the requirement of works at various installations inside/outside operational area.
3.00 | a) For 1st Year | 1.00 | month |  | 220000.00 | 2640000.00 | 220000.00 | 2640000.00 | 230230.00 | 2762760.00 | 220863.00 | 2650356.00 | 194000.00 | 2328000.00 | 2328000.00 | AIR Q SOLUTIONS
4.00 | b) For 2nd Year | 1.00 | month |  | 220000.00 | 2640000.00 | 220000.00 | 2640000.00 | 231200.00 | 2774400.00 | 221636.00 | 2659632.00 | 130000.00 | 1560000.00 | 1560000.00 | AIR Q SOLUTIONS
5.00 | c) For 3rd Year | 1.00 | month |  | 220000.00 | 2640000.00 | 220000.00 | 2640000.00 | 232030.00 | 2784360.00 | 222033.00 | 2664396.00 | 105000.00 | 1260000.00 | 1260000.00 | AIR Q SOLUTIONS
6.00 | SH - I I
7.00 | Annual maintenance of 1.5 TR window type AC units including replacement of capacitors, Relays, Repairing of Compressors, & PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
8.00 | a) For 1st Year | 115.00 | Per machine per month |  | 335.00 | 462300.00 | 89.00 | 122820.00 | 81.00 | 111780.00 | 82.00 | 113160.00 | 167.00 | 230460.00 | 111780.00 | M/s AGFA
9.00 | b) For 2nd Year | 122.00 | Per machine per month |  | 335.00 | 490440.00 | 89.00 | 130296.00 | 86.00 | 125904.00 | 77.00 | 112728.00 | 100.00 | 146400.00 | 112728.00 | SUVIDHA ENGINEERS INDIA PVT LTD
10.00 | c) For 3rd Year | 122.00 | Per machine per month |  | 335.00 | 490440.00 | 89.00 | 130296.00 | 91.00 | 133224.00 | 89.00 | 130296.00 | 100.00 | 146400.00 | 130296.00 | SUVIDHA ENGINEERS INDIA PVT LTD, Sterling And Wilson Pvt. Ltd
11.00 | Annual maintenance of 1.5 TR Split type AC units including replacement of capacitors, Relays, Repairing of Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
12.00 | a) For 1st Year | 45.00 | Per machine per month |  | 375.00 | 202500.00 | 105.00 | 56700.00 | 89.00 | 48060.00 | 82.00 | 44280.00 | 167.00 | 90180.00 | 44280.00 | SUVIDHA ENGINEERS INDIA PVT LTD
13.00 | b) For 2nd Year | 49.00 | Per machine per month |  | 375.00 | 220500.00 | 105.00 | 61740.00 | 91.00 | 53508.00 | 77.00 | 45276.00 | 100.00 | 58800.00 | 45276.00 | SUVIDHA ENGINEERS INDIA PVT LTD
14.00 | c) For 3rd Year | 49.00 | Per machine per month |  | 375.00 | 220500.00 | 105.00 | 61740.00 | 94.00 | 55272.00 | 89.00 | 52332.00 | 100.00 | 58800.00 | 52332.00 | SUVIDHA ENGINEERS INDIA PVT LTD
15.00 | Annual maintenance of 2 TR Split type AC units including replacement of capacitors, Relays, Repairing of Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
16.00 | a) For 1st Year | 109.00 | Per machine per month |  | 375.00 | 490500.00 | 120.00 | 156960.00 | 111.00 | 145188.00 | 110.00 | 143880.00 | 167.00 | 218436.00 | 143880.00 | SUVIDHA ENGINEERS INDIA PVT LTD
17.00 | b) For 2nd Year | 136.00 | Per machine per month |  | 417.00 | 680544.00 | 120.00 | 195840.00 | 121.00 | 197472.00 | 103.00 | 168096.00 | 100.00 | 163200.00 | 163200.00 | AIR Q SOLUTIONS
18.00 | c) For 3rd Year | 136.00 | Per machine per month |  | 417.00 | 680544.00 | 120.00 | 195840.00 | 131.00 | 213792.00 | 119.00 | 194208.00 | 100.00 | 163200.00 | 163200.00 | AIR Q SOLUTIONS
19.00 | Annual maintenance of 2 TR Slim line Split type AC units including replacement of capacitors, Relays, Repairing of Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
20.00 | a) For 1st Year | 19.00 | Per machine per month |  | 375.00 | 85500.00 | 130.00 | 29640.00 | 111.00 | 25308.00 | 110.00 | 25080.00 | 167.00 | 38076.00 | 25080.00 | SUVIDHA ENGINEERS INDIA PVT LTD
21.00 | b) For 2nd Year | 36.00 | Per machine per month |  | 375.00 | 162000.00 | 130.00 | 56160.00 | 121.00 | 52272.00 | 103.00 | 44496.00 | 100.00 | 43200.00 | 43200.00 | AIR Q SOLUTIONS
22.00 | c) For 3rd Year | 36.00 | Per machine per month |  | 375.00 | 162000.00 | 130.00 | 56160.00 | 131.00 | 56592.00 | 119.00 | 51408.00 | 100.00 | 43200.00 | 43200.00 | AIR Q SOLUTIONS
23.00 | Annual maintenance of 3 TR Single Split type AC units including replacement of capacitors, Relays, Repairing of Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
24.00 | a) For 1st Year | 18.00 | Per machine per month |  | 375.00 | 81000.00 | 220.00 | 47520.00 | 170.00 | 36720.00 | 164.00 | 35424.00 | 190.00 | 41040.00 | 35424.00 | SUVIDHA ENGINEERS INDIA PVT LTD
25.00 | b) For 2nd Year | 18.00 | Per machine per month |  | 375.00 | 81000.00 | 220.00 | 47520.00 | 180.00 | 38880.00 | 155.00 | 33480.00 | 100.00 | 21600.00 | 21600.00 | AIR Q SOLUTIONS
26.00 | c) For 3rd Year | 18.00 | Per machine per month |  | 375.00 | 81000.00 | 220.00 | 47520.00 | 190.00 | 41040.00 | 178.00 | 38448.00 | 100.00 | 21600.00 | 21600.00 | AIR Q SOLUTIONS
27.00 | Annual maintenance of 3 TR Slim line Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
28.00 | a) For 1st Year | 13.00 | Per machine per month |  | 375.00 | 58500.00 | 250.00 | 39000.00 | 170.00 | 26520.00 | 164.00 | 25584.00 | 190.00 | 29640.00 | 25584.00 | SUVIDHA ENGINEERS INDIA PVT LTD
29.00 | b) For 2nd Year | 23.00 | Per machine per month |  | 375.00 | 103500.00 | 250.00 | 69000.00 | 180.00 | 49680.00 | 155.00 | 42780.00 | 100.00 | 27600.00 | 27600.00 | AIR Q SOLUTIONS
30.00 | c) For 3rd Year | 23.00 | Per machine per month |  | 375.00 | 103500.00 | 250.00 | 69000.00 | 195.00 | 53820.00 | 178.00 | 49128.00 | 100.00 | 27600.00 | 27600.00 | AIR Q SOLUTIONS
31.00 | Annual maintenance of 4 TR Slim line Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
32.00 | a) For 1st Year | 10.00 | Per machine per month |  | 375.00 | 45000.00 | 300.00 | 36000.00 | 230.00 | 27600.00 | 220.00 | 26400.00 | 190.00 | 22800.00 | 22800.00 | AIR Q SOLUTIONS
33.00 | b) For 2nd Year | 10.00 | Per machine per month |  | 375.00 | 45000.00 | 300.00 | 36000.00 | 245.00 | 29400.00 | 206.00 | 24720.00 | 100.00 | 12000.00 | 12000.00 | AIR Q SOLUTIONS
34.00 | c) For 3rd Year | 10.00 | Per machine per month |  | 375.00 | 45000.00 | 300.00 | 36000.00 | 260.00 | 31200.00 | 237.00 | 28440.00 | 100.00 | 12000.00 | 12000.00 | AIR Q SOLUTIONS
35.00 | Annual maintenance of 5 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
36.00 | a) For 1st Year | 2.00 | Per machine per month |  | 410.00 | 9840.00 | 310.00 | 7440.00 | 293.00 | 7032.00 | 274.00 | 6576.00 | 190.00 | 4560.00 | 4560.00 | AIR Q SOLUTIONS
37.00 | b) For 2nd Year | 2.00 | Per machine per month |  | 410.00 | 9840.00 | 310.00 | 7440.00 | 313.00 | 7512.00 | 258.00 | 6192.00 | 100.00 | 2400.00 | 2400.00 | AIR Q SOLUTIONS
38.00 | c) For 3rd Year | 2.00 | Per machine per month |  | 410.00 | 9840.00 | 310.00 | 7440.00 | 333.00 | 7992.00 | 297.00 | 7128.00 | 100.00 | 2400.00 | 2400.00 | AIR Q SOLUTIONS
39.00 | Annual maintenance of 5.5 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
40.00 | a) For 1st Year | 3.00 | Per machine per month |  | 410.00 | 14760.00 | 320.00 | 11520.00 | 323.00 | 11628.00 | 301.00 | 10836.00 | 661.00 | 23796.00 | 10836.00 | SUVIDHA ENGINEERS INDIA PVT LTD
41.00 | b) For 2nd Year | 3.00 | Per machine per month |  | 410.00 | 14760.00 | 320.00 | 11520.00 | 348.00 | 12528.00 | 284.00 | 10224.00 | 350.00 | 12600.00 | 10224.00 | SUVIDHA ENGINEERS INDIA PVT LTD
42.00 | c) For 3rd Year | 3.00 | Per machine per month |  | 410.00 | 14760.00 | 320.00 | 11520.00 | 373.00 | 13428.00 | 326.00 | 11736.00 | 350.00 | 12600.00 | 11520.00 | Sterling And Wilson Pvt. Ltd
43.00 | Annual maintenance of 7.5 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
44.00 | a) For 1st Year | 8.00 | Per machine per month |  | 410.00 | 39360.00 | 475.00 | 45600.00 | 448.00 | 43008.00 | 411.00 | 39456.00 | 661.00 | 63456.00 | 39360.00 | Zamzam Refrigeration and airconditioning
45.00 | b) For 2nd Year | 8.00 | Per machine per month |  | 410.00 | 39360.00 | 475.00 | 45600.00 | 478.00 | 45888.00 | 387.00 | 37152.00 | 350.00 | 33600.00 | 33600.00 | AIR Q SOLUTIONS
46.00 | c) For 3rd Year | 8.00 | Per machine per month |  | 410.00 | 39360.00 | 475.00 | 45600.00 | 508.00 | 48768.00 | 445.00 | 42720.00 | 350.00 | 33600.00 | 33600.00 | AIR Q SOLUTIONS
47.00 | Annual maintenance of 8.5 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
48.00 | a) For 1st Year | 4.00 | Per machine per month |  | 410.00 | 19680.00 | 550.00 | 26400.00 | 507.00 | 24336.00 | 219.00 | 10512.00 | 751.00 | 36048.00 | 10512.00 | SUVIDHA ENGINEERS INDIA PVT LTD
49.00 | b) For 2nd Year | 4.00 | Per machine per month |  | 410.00 | 19680.00 | 550.00 | 26400.00 | 552.00 | 26496.00 | 438.00 | 21024.00 | 350.00 | 16800.00 | 16800.00 | AIR Q SOLUTIONS
50.00 | c) For 3rd Year | 4.00 | Per machine per month |  | 410.00 | 19680.00 | 550.00 | 26400.00 | 582.00 | 27936.00 | 504.00 | 24192.00 | 350.00 | 16800.00 | 16800.00 | AIR Q SOLUTIONS
51.00 | Annual maintenance of 11 TR Ductable Split type AC units including replacement of capacitors, Relays , 3 Ph Contractors , Repairing of 3 Ph Compressors, PCB , Rewinding of Motors & Gas charging etc. as and when required basis including attending breakdown calls complete as required.
52.00 | a) For 1st Year | 3.00 | Per machine per month |  | 410.00 | 14760.00 | 1000.00 | 36000.00 | 657.00 | 23652.00 | 165.00 | 5940.00 | 850.00 | 30600.00 | 5940.00 | SUVIDHA ENGINEERS INDIA PVT LTD
53.00 | b) For 2nd Year | 3.00 | Per machine per month |  | 410.00 | 14760.00 | 1000.00 | 36000.00 | 687.00 | 24732.00 | 567.00 | 20412.00 | 350.00 | 12600.00 | 12600.00 | AIR Q SOLUTIONS
54.00 | c) For 3rd Year | 3.00 | Per machine per month |  | 410.00 | 14760.00 | 1000.00 | 36000.00 | 722.00 | 25992.00 | 652.00 | 23472.00 | 350.00 | 12600.00 | 12600.00 | AIR Q SOLUTIONS
55.00 | SH-III
56.00 | Dismantling of 1/1.5/2 TR Window AC from existing location and shifting the same in the store etc. as required.
57.00 | a) For 1st Year | 15.00 | Each |  | 800.00 | 12000.00 | 50.00 | 750.00 | 120.00 | 1800.00 | 685.00 | 10275.00 | 1.00 | 15.00 | 15.00 | AIR Q SOLUTIONS
58.00 | b) For 2nd Year | 15.00 | Each |  | 800.00 | 12000.00 | 50.00 | 750.00 | 125.00 | 1875.00 | 688.00 | 10320.00 | 1.00 | 15.00 | 15.00 | AIR Q SOLUTIONS
59.00 | c) For 3rd Year | 15.00 | Each |  | 800.00 | 12000.00 | 50.00 | 750.00 | 130.00 | 1950.00 | 689.00 | 10335.00 | 1.00 | 15.00 | 15.00 | AIR Q SOLUTIONS
60.00 | Dismantling of 1/1.5/2 TR Split AC from existing location and shifting the same in the store etc. as required.
61.00 | a) For 1st Year | 25.00 | Nos |  | 700.00 | 17500.00 | 50.00 | 1250.00 | 140.00 | 3500.00 | 914.00 | 22850.00 | 1.00 | 25.00 | 25.00 | AIR Q SOLUTIONS
62.00 | b) For 2nd Year | 25.00 | Nos |  | 700.00 | 17500.00 | 50.00 | 1250.00 | 145.00 | 3625.00 | 917.00 | 22925.00 | 1.00 | 25.00 | 25.00 | AIR Q SOLUTIONS
63.00 | c) For 3rd Year | 25.00 | Nos |  | 700.00 | 17500.00 | 50.00 | 1250.00 | 150.00 | 3750.00 | 918.00 | 22950.00 | 1.00 | 25.00 | 25.00 | AIR Q SOLUTIONS
64.00 | Dismantling of 3/4 TR Split AC from existing location and shifting the same in the store etc. as required.
65.00 | a) For 1st Year | 15.00 | Nos |  | 700.00 | 10500.00 | 120.00 | 1800.00 | 150.00 | 2250.00 | 1142.00 | 17130.00 | 1.00 | 15.00 | 15.00 | AIR Q SOLUTIONS
66.00 | b) For 2nd Year | 15.00 | Nos |  | 700.00 | 10500.00 | 120.00 | 1800.00 | 155.00 | 2325.00 | 1146.00 | 17190.00 | 1.00 | 15.00 | 15.00 | AIR Q SOLUTIONS
67.00 | c) For 3rd Year | 15.00 | Nos |  | 700.00 | 10500.00 | 120.00 | 1800.00 | 160.00 | 2400.00 | 1148.00 | 17220.00 | 1.00 | 15.00 | 15.00 | AIR Q SOLUTIONS
68.00 | Dismantling of 5/7.5 TR Split AC from existing location and shifting the same in the store etc. as required.
69.00 | a) For 1st Year | 5.00 | Nos |  | 500.00 | 2500.00 | 200.00 | 1000.00 | 170.00 | 850.00 | 1713.00 | 8565.00 | 1.00 | 5.00 | 5.00 | AIR Q SOLUTIONS
70.00 | b) For 2nd Year | 5.00 | Nos |  | 500.00 | 2500.00 | 200.00 | 1000.00 | 180.00 | 900.00 | 1719.00 | 8595.00 | 1.00 | 5.00 | 5.00 | AIR Q SOLUTIONS
71.00 | c) For 3rd Year | 5.00 | Nos |  | 500.00 | 2500.00 | 200.00 | 1000.00 | 190.00 | 950.00 | 1722.00 | 8610.00 | 1.00 | 5.00 | 5.00 | AIR Q SOLUTIONS
72.00 | Installation/testing and commissioning of 1.5/2 TR window AC with suitable wooden frame i/c making opening in the wall and making opening good with sand cement plaster etc as required.
73.00 | a) For 1st Year | 20.00 | Nos |  | 2000.00 | 40000.00 | 1600.00 | 32000.00 | 800.00 | 16000.00 | 5253.00 | 105060.00 | 1.00 | 20.00 | 20.00 | AIR Q SOLUTIONS
74.00 | b) For 2nd Year | 20.00 | Nos |  | 2000.00 | 40000.00 | 1600.00 | 32000.00 | 810.00 | 16200.00 | 5272.00 | 105440.00 | 1.00 | 20.00 | 20.00 | AIR Q SOLUTIONS
75.00 | c) For 3rd Year | 20.00 | Nos |  | 2000.00 | 40000.00 | 1600.00 | 32000.00 | 820.00 | 16400.00 | 5281.00 | 105620.00 | 1.00 | 20.00 | 20.00 | AIR Q SOLUTIONS
76.00 | Installation/testing and commissioning of 1.5/2 TR window AC including gas charging in the existing opening with suitable wooden etc as required.
77.00 | a) For 1st Year | 20.00 | Nos |  | 2000.00 | 40000.00 | 1200.00 | 24000.00 | 850.00 | 17000.00 | 1370.00 | 27400.00 | 1.00 | 20.00 | 20.00 | AIR Q SOLUTIONS
78.00 | b) For 2nd Year | 20.00 | Nos |  | 2000.00 | 40000.00 | 1200.00 | 24000.00 | 860.00 | 17200.00 | 1375.00 | 27500.00 | 1.00 | 20.00 | 20.00 | AIR Q SOLUTIONS
79.00 | C) For 3rd Year | 20.00 | Nos |  | 2000.00 | 40000.00 | 1200.00 | 24000.00 | 870.00 | 17400.00 | 1378.00 | 27560.00 | 1.00 | 20.00 | 20.00 | AIR Q SOLUTIONS
80.00 | Installation/testing and commissioning of 1/ 1.5/2 TR Split AC i/c dehydration ,leak,testing,pressure testing and gas charging etc as required.
81.00 | a) For 1st Year | 20.00 | Nos |  | 2500.00 | 50000.00 | 1800.00 | 36000.00 | 900.00 | 18000.00 | 1370.00 | 27400.00 | 1.00 | 20.00 | 20.00 | AIR Q SOLUTIONS
82.00 | b) For 2nd Year | 20.00 | Nos |  | 2500.00 | 50000.00 | 1800.00 | 36000.00 | 910.00 | 18200.00 | 1375.00 | 27500.00 | 1.00 | 20.00 | 20.00 | AIR Q SOLUTIONS
83.00 | c) For 3rd Year | 20.00 | Nos |  | 2500.00 | 50000.00 | 1800.00 | 36000.00 | 920.00 | 18400.00 | 1378.00 | 27560.00 | 1.00 | 20.00 | 20.00 | AIR Q SOLUTIONS
84.00 | Installation/testing and commissioning of 3/ 4 TR Split AC i/c dehydration ,leak,testing,pressure testing and gas charging etc as required.
85.00 | a) For 1st Year | 10.00 | Nos |  | 1000.00 | 10000.00 | 2200.00 | 22000.00 | 1400.00 | 14000.00 | 2512.00 | 25120.00 | 1.00 | 10.00 | 10.00 | AIR Q SOLUTIONS
86.00 | b) For 2nd Year | 10.00 | Nos |  | 1000.00 | 10000.00 | 2200.00 | 22000.00 | 1425.00 | 14250.00 | 2521.00 | 25210.00 | 1.00 | 10.00 | 10.00 | AIR Q SOLUTIONS
87.00 | c) For 3rd Year | 10.00 | Nos |  | 1000.00 | 10000.00 | 2200.00 | 22000.00 | 1450.00 | 14500.00 | 2526.00 | 25260.00 | 1.00 | 10.00 | 10.00 | AIR Q SOLUTIONS
88.00 | Installation/testing and commissioning of 5/7.5 TR ductable AC i/c dehydration ,leak,testing,pressure testing and gas charging etc as required.
89.00 | a) For 1st Year | 5.00 | Nos |  | 1000.00 | 5000.00 | 2392.00 | 11960.00 | 1800.00 | 9000.00 | 3654.00 | 18270.00 | 1.00 | 5.00 | 5.00 | AIR Q SOLUTIONS
90.00 | b) For 2nd Year | 5.00 | Nos |  | 1000.00 | 5000.00 | 2392.00 | 11960.00 | 1810.00 | 9050.00 | 3667.00 | 18335.00 | 1.00 | 5.00 | 5.00 | AIR Q SOLUTIONS
91.00 | c) For 3rd Year | 5.00 | Nos |  | 1000.00 | 5000.00 | 2392.00 | 11960.00 | 1820.00 | 9100.00 | 3674.00 | 18370.00 | 1.00 | 5.00 | 5.00 | AIR Q SOLUTIONS
92.00 | Supply and laying of 3x2.5 Sq.mm PVC insulated PVC sheathed unarmoured copper conductor cable on wall surface/recess etc as required and as per direction of Engineer-in-charge.
93.00 | a) For 1st Year | 100.00 | Mtr |  | 120.00 | 12000.00 | 180.00 | 18000.00 | 90.00 | 9000.00 | 286.00 | 28600.00 | 70.00 | 7000.00 | 7000.00 | AIR Q SOLUTIONS
94.00 | b) For 2nd Year | 100.00 | Mtr |  | 120.00 | 12000.00 | 180.00 | 18000.00 | 92.00 | 9200.00 | 287.00 | 28700.00 | 70.00 | 7000.00 | 7000.00 | AIR Q SOLUTIONS
95.00 | c) For 3rd Year | 100.00 | Mtr |  | 120.00 | 12000.00 | 180.00 | 18000.00 | 95.00 | 9500.00 | 287.00 | 28700.00 | 70.00 | 7000.00 | 7000.00 | AIR Q SOLUTIONS
96.00 | Supply and fixing of 1 "dia hard PVC pipe for drain line on wall surface/recess etc as required and as per direction of Engineer-in-charge.
97.00 | a) For 1st Year | 100.00 | Mtr |  | 50.00 | 5000.00 | 850.00 | 85000.00 | 55.00 | 5500.00 | 40.00 | 4000.00 | 70.00 | 7000.00 | 4000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
98.00 | b) For 2nd Year | 100.00 | Mtr |  | 50.00 | 5000.00 | 850.00 | 85000.00 | 60.00 | 6000.00 | 40.00 | 4000.00 | 70.00 | 7000.00 | 4000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
99.00 | c) For 3rd Year | 100.00 | Mtr |  | 50.00 | 5000.00 | 850.00 | 85000.00 | 65.00 | 6500.00 | 40.00 | 4000.00 | 70.00 | 7000.00 | 4000.00 | SUVIDHA ENGINEERS INDIA PVT LTD
100.00 | Supply and fixing following refrigerant piping with superlon insulation on wall surface /recess etc as required and as per direction of Engineer-in-charge.
101.00 | 3/8" copper pipe with superlon insulation
102.00 | a) For 1st Year | 100.00 | Mtr |  | 225.00 | 22500.00 | 720.00 | 72000.00 | 200.00 | 20000.00 | 160.00 | 16000.00 | 150.00 | 15000.00 | 15000.00 | AIR Q SOLUTIONS
103.00 | b) For 2nd Year | 100.00 | Mtr |  | 225.00 | 22500.00 | 720.00 | 72000.00 | 205.00 | 20500.00 | 160.00 | 16000.00 | 150.00 | 15000.00 | 15000.00 | AIR Q SOLUTIONS
104.00 | c) For 3rd Year | 100.00 | Mtr |  | 225.00 | 22500.00 | 720.00 | 72000.00 | 210.00 | 21000.00 | 161.00 | 16100.00 | 150.00 | 15000.00 | 15000.00 | AIR Q SOLUTIONS
105.00 | 5/8" copper pipe with superlon insulation
106.00 | a) For 1st Year | 100.00 | Mtr |  | 225.00 | 22500.00 | 773.00 | 77300.00 | 250.00 | 25000.00 | 280.00 | 28000.00 | 250.00 | 25000.00 | 22500.00 | Zamzam Refrigeration and airconditioning
107.00 | b) For 2nd Year | 100.00 | Mtr |  | 225.00 | 22500.00 | 773.00 | 77300.00 | 263.00 | 26300.00 | 281.00 | 28100.00 | 250.00 | 25000.00 | 22500.00 | Zamzam Refrigeration and airconditioning
108.00 | c) For 3rd Year | 100.00 | Mtr |  | 225.00 | 22500.00 | 773.00 | 77300.00 | 275.00 | 27500.00 | 281.00 | 28100.00 | 250.00 | 25000.00 | 22500.00 | Zamzam Refrigeration and airconditioning
109.00 | 1/4" copper pipe with superlon insulation
110.00 | a) For 1st Year | 100.00 | Mtr |  | 120.00 | 12000.00 | 653.00 | 65300.00 | 170.00 | 17000.00 | 106.00 | 10600.00 | 150.00 | 15000.00 | 10600.00 | SUVIDHA ENGINEERS INDIA PVT LTD
111.00 | b) For 2nd Year | 100.00 | Mtr |  | 120.00 | 12000.00 | 653.00 | 65300.00 | 175.00 | 17500.00 | 107.00 | 10700.00 | 150.00 | 15000.00 | 10700.00 | SUVIDHA ENGINEERS INDIA PVT LTD
112.00 | c) For 3rd Year | 100.00 | Mtr |  | 120.00 | 12000.00 | 653.00 | 65300.00 | 180.00 | 18000.00 | 107.00 | 10700.00 | 150.00 | 15000.00 | 10700.00 | SUVIDHA ENGINEERS INDIA PVT LTD
113.00 | 1/2" copper pipe with superlon insulation
114.00 | a) For 1st Year | 100.00 | Mtr |  | 120.00 | 12000.00 | 683.00 | 68300.00 | 230.00 | 23000.00 | 208.00 | 20800.00 | 175.00 | 17500.00 | 12000.00 | Zamzam Refrigeration and airconditioning
115.00 | b) For 2nd Year | 100.00 | Mtr |  | 120.00 | 12000.00 | 683.00 | 68300.00 | 240.00 | 24000.00 | 209.00 | 20900.00 | 175.00 | 17500.00 | 12000.00 | Zamzam Refrigeration and airconditioning
116.00 | c) For 3rd Year | 100.00 | Mtr |  | 120.00 | 12000.00 | 683.00 | 68300.00 | 250.00 | 25000.00 | 209.00 | 20900.00 | 175.00 | 17500.00 | 12000.00 | Zamzam Refrigeration and airconditioning
117.00 | supply of R- 22Reefrigent.
118.00 | a) For 1st Year | 90.00 | Kgs. |  | 600.00 | 54000.00 | 701.00 | 63090.00 | 580.00 | 52200.00 | 685.00 | 61650.00 | 600.00 | 54000.00 | 52200.00 | M/s AGFA
119.00 | b) For 2nd Year | 90.00 | Kgs. |  | 600.00 | 54000.00 | 701.00 | 63090.00 | 600.00 | 54000.00 | 688.00 | 61920.00 | 600.00 | 54000.00 | 54000.00 | Zamzam Refrigeration and airconditioning, M/s AGFA, AIR Q SOLUTIONS
120.00 | c) For 3rd Year | 90.00 | Mtr |  | 600.00 | 54000.00 | 701.00 | 63090.00 | 620.00 | 55800.00 | 689.00 | 62010.00 | 600.00 | 54000.00 | 54000.00 | Zamzam Refrigeration and airconditioning, AIR Q SOLUTIONS
121.00 | Supply of 7/8 Copper Pipe for 8.5 Tr.
122.00 | a) For 1st Year | 50.00 | Kgs. |  | 300.00 | 15000.00 | 1150.00 | 57500.00 | 415.00 | 20750.00 | 509.00 | 25450.00 | 750.00 | 37500.00 | 15000.00 | Zamzam Refrigeration and airconditioning
123.00 | b) For 2nd Year | 50.00 | Kgs. |  | 300.00 | 15000.00 | 1150.00 | 57500.00 | 422.00 | 21100.00 | 510.00 | 25500.00 | 750.00 | 37500.00 | 15000.00 | Zamzam Refrigeration and airconditioning
124.00 | c) For 3rd Year | 50.00 | Mtr |  | 300.00 | 15000.00 | 1150.00 | 57500.00 | 430.00 | 21500.00 | 511.00 | 25550.00 | 750.00 | 37500.00 | 15000.00 | Zamzam Refrigeration and airconditioning
| Total in Figures |  |  |  |  | 14233968.00 |  | 11894382.00 |  | 11012405.00 |  | 11057150.00 |  | 7613097.00
Lowest Amount Quoted BY: AIR Q SOLUTIONS(7613097.00)

## BOQ Summary
BOQ Summary Details Tender Title: RMO AC Equipment at NSCBI Airport Kolkata dg 2020 23 Sh Annual Maintenance contract of Window ACs, Split ACs, Ductable ACs Slim line ACs, Package AC for 3 years. Tender ID: 2020_AAI_47378_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | AIR Q SOLUTIONS | 7613097.00 | L1
| 2 | M/s AGFA | 11012405.00 | L2
| 3 | SUVIDHA ENGINEERS INDIA PVT LTD | 11057150.00 | L3
| 4 | Sterling And Wilson Pvt. Ltd | 11894382.00 | L4
| 5 | Zamzam Refrigeration and airconditioning | 14233968.00 | L5