## BoQ1
Government eProcurement System Created By: SINDHU P T Created Date/Time: 22-Jun-2020 01:22 PM Tender Title: Construction of DVOR building and other associated works including Electrical works at ACS station Bellary Tender ID: 2020_AAI_47601_1
Tender Inviting Authority: Asst. General Manager (Engg. – Civil), AAI, Hubballi
Name of Work: Construction of DVOR building and other associated works including Electrical works at ACS station Bellary
Contract No: 2020_AAI_47601_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | ARP ENTERPRISES |  | A CHINNAERANNA
[5 empty] | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | CIVIL WORKS Earth work in excavation by mechanical means (Hydraulic excavator) / manual means in foundation trenches or drains (not exceeding 1.5 m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soil as directed, within a lead of 50 m. In all Kinds of Soil. | 307.00 | Cum |  | 250.00 | 76750.00 | 193.00 | 59251.00 | 59251.00 | A CHINNAERANNA
2.00 | Excavation work by mechanical means (Hydraulic excavator)/ manual means in foundation trenches or drains (not exceeding 1.5m in width or 10 sqm on plan), including dressing of sides and ramming of bottoms, lift upto 1.5 m, including getting out the excavated soil and disposal of surplus excavated soils as directed, within a lead of 50 m. Ordinary rock | 100.00 | Cum |  | 600.00 | 60000.00 | 320.00 | 32000.00 | 32000.00 | A CHINNAERANNA
3.00 | Earth work in surface excavation not exceeding 30 cm in depth but exceeding 1.5 m in width as well as 10 sqm on plan including getting out and disposal of excavated earth upto 50 m and lift upto 1.5 m, as directed by Engineer-in-Charge All kinds of soil | 1500.00 | Sqm |  | 70.00 | 105000.00 | 61.48 | 92220.00 | 92220.00 | A CHINNAERANNA
4.00 | Excavating trenches of required width for pipes, cables, etc including excavation for sockets, and dressing of sides, ramming of bottoms, depth upto 1.5 m, including getting out the excavated soil, and then returning the soil as required, in layers not exceeding 20 cm in depth, including consolidating each deposited layer by ramming, watering, etc. and disposing of surplus excavated soil as directed, within a lead of 50 m : All kinds of soil Pipes, cables etc. exceeding 80 mm dia. but not exceeding 300 mm dia | 160.00 | Mtr |  | 350.00 | 56000.00 | 558.70 | 89392.00 | 56000.00 | ARP ENTERPRISES
5.00 | Extra for every additional lift of 1.5 m or part thereof in excavation / banking excavated or stacked materials. All kinds of soil | 70.00 | Cum |  | 100.00 | 7000.00 | 60.03 | 4202.10 | 4202.10 | A CHINNAERANNA
6.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level 1:5:10 (1 cement : 5 coarse sand (zone-III): 10 graded stone aggregate 40 mm nominal size). | 160.00 | Cum |  | 4500.00 | 720000.00 | 4883.00 | 781280.00 | 720000.00 | ARP ENTERPRISES
7.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : 1:2:4 (1 cement : 2 coarse sand (zone-III) : 4 graded stone aggregate 20 mm nominal size). | 126.00 | Cum |  | 6500.00 | 819000.00 | 7595.00 | 956970.00 | 819000.00 | ARP ENTERPRISES
8.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately). All works upto plinth level | 70.00 | Cum |  | 8500.00 | 595000.00 | 7499.00 | 524930.00 | 524930.00 | A CHINNAERANNA
9.00 | Providing and laying in position machine batched and machine mixed design mix M-25 grade cement concrete for reinforced cement concrete work, using cement content as per approved design mix, including pumping of concrete to site of laying but excluding the cost of centering, shuttering, finishing and reinforcement, including admixtures in recommended proportions as per IS: 9103 to accelerate, retard setting of concrete, improve workability without impairing strength and durability as per direction of Engineer-in-charge.“(Note :- Cement content considered in this item is @ 330 kg/cum.“Excess/ less cement used as per design mix is payable/recoverable separately). All works above plinth level upto floor V level | 30.00 | Cum |  | 9000.00 | 270000.00 | 8410.00 | 252300.00 | 252300.00 | A CHINNAERANNA
10.00 | Add for using extra cement in the items of design mix over and above the specified cement content therein | 40.00 | Qtl |  | 800.00 | 32000.00 | 780.40 | 31216.00 | 31216.00 | A CHINNAERANNA
11.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: Cement mortar 1:6 (1 cement : 6 coarse sand) | 25.00 | Cum |  | 7000.00 | 175000.00 | 5512.00 | 137800.00 | 137800.00 | A CHINNAERANNA
12.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level in all shapes and sizes in Cement mortar 1:6 (1 cement : 6 coarse sand) | 35.00 | Cum |  | 7500.00 | 262500.00 | 6476.00 | 226660.00 | 226660.00 | A CHINNAERANNA
13.00 | Half brick masonry with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in superstructure above plinth level up to floor V level. : cement mortar 1:4 (1 cement : 4 coarse sand) | 205.00 | sqm |  | 1200.00 | 246000.00 | 793.70 | 162708.50 | 162708.50 | A CHINNAERANNA
14.00 | Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m and lift upto 1.5 m. | 300.00 | Cum |  | 200.00 | 60000.00 | 145.90 | 43770.00 | 43770.00 | A CHINNAERANNA
15.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights Foundations, footings, bases of columns, etc. for mass concrete | 75.00 | Sqm |  | 500.00 | 37500.00 | 225.00 | 16875.00 | 16875.00 | A CHINNAERANNA
16.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights Columns, Pillars, Piers, Abutments, Posts and Struts | 170.00 | Sqm |  | 700.00 | 119000.00 | 542.70 | 92259.00 | 92259.00 | A CHINNAERANNA
17.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights Lintels, beams, plinth beams, girders, bressumers and cantilevers | 100.00 | Sqm |  | 700.00 | 70000.00 | 397.80 | 39780.00 | 39780.00 | A CHINNAERANNA
18.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights Suspended floors, roofs, landings, balconies and access platform | 105.00 | Sqm |  | 700.00 | 73500.00 | 577.00 | 60585.00 | 60585.00 | A CHINNAERANNA
19.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete upto plinth level Thermo-Mechanically Treated bars of grade Fe-500D or more | 8750.00 | Kg |  | 85.00 | 743750.00 | 65.66 | 574525.00 | 574525.00 | A CHINNAERANNA
20.00 | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete above plinth level. Thermo-Mechanically Treated bars of grade Fe-500 D or more | 3750.00 | Kg |  | 85.00 | 318750.00 | 65.66 | 246225.00 | 246225.00 | A CHINNAERANNA
21.00 | 12 mm cement plaster of mix : 1:6 (1 cement: 6 fine sand) | 240.00 | Sqm |  | 300.00 | 72000.00 | 186.00 | 44640.00 | 44640.00 | A CHINNAERANNA
22.00 | 15 mm cement plaster on the rough side of single or half brick wall of mix : 1:6 (1 cement: 6 fine sand) | 300.00 | Sqm |  | 400.00 | 120000.00 | 214.80 | 64440.00 | 64440.00 | A CHINNAERANNA
23.00 | 6 mm cement plaster of mix : 1:3 (1 cement : 3 fine sand) | 100.00 | Sqm |  | 250.00 | 25000.00 | 166.80 | 16680.00 | 16680.00 | A CHINNAERANNA
24.00 | Finishing walls with Acrylic Smooth exterior paint of required shade : New work (Two or more coat applied @ 1.67 ltr/10 sqm over and including priming coat of exterior primer applied @ 2.20 kg/10 sqm) | 300.00 | Sqm |  | 120.00 | 36000.00 | 111.40 | 33420.00 | 33420.00 | A CHINNAERANNA
25.00 | Wall painting with acrylic emulsion paint of approved brand and manufacture to give an even shade : Two or more coats on new work | 312.00 | Sqm |  | 80.00 | 24960.00 | 97.96 | 30563.52 | 24960.00 | ARP ENTERPRISES
26.00 | Providing and fixing tiled false ceiling of specified materials of size 595x595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanized steel sections ( galvanized @ 120 grams/ sqm, both side inclusive) consisting of main "T" runner with suitably spaced joints to get required length and of size 24x38 mm made from 0.30 mm thick (minimum) sheet, spaced at 1200 mm center to center and cross "T" of size 24x25 mm made of 0.30 mm thick (minimum) sheet, 1200 mm long spaced between main "T" at 600 mm center to center to form a grid of 1200x600 mm and secondary cross "T" of length 600 mm and size 24x25 mm made of 0.30 mm thick (minimum) sheet to be interlocked at middle of the 1200x600 mm panel to form grids of 600x600 mm and wall angle of size 24x24x0.3 mm and laying false ceiling tiles of approved texture in the grid including, required cutting/making, opening for services like diffusers, grills, light fittings, fixtures, smoke detectors etc. Main"T" runners to be suspended from ce iling using GI slotted cleats of size 27 x 37 x 25 x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm GI adjustable rods with galvanised butterfly level clips of size 85 x 30 x 0.8 mm spaced at 1200 mm center to center along main T, bottom exposed width of 24 mm of all T-sections shall be pre-painted with polyester paint, all complete for all heights as per specifications, drawings and as directed by Engineer-in-charge.12.5 mm thick square edge PVC Laminated Gypsum Tile of size 595x595 mm, made of Gypsum plasterboard, manufactured from natural gypsum as per IS 2095 part I and laminated with white 0.16mm thick fire retardant PVC film on the face side and 12micron metalized polyester on the back side with all edges sealed with the face side PVC film which goes around and wraps the edges and is bonded to the edges and the back side metalized polyester film so as to make the tile a completely sealed unit. | 20.00 | Sqm |  | 3000.00 | 60000.00 | 1152.00 | 23040.00 | 23040.00 | A CHINNAERANNA
27.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. Size of Tile 600x600 mm | 70.00 | Sqm |  | 1500.00 | 105000.00 | 1299.00 | 90930.00 | 90930.00 | A CHINNAERANNA
28.00 | Providing and fixing Ist quality ceramic glazed wall tiles conforming to IS: 15622 (thickness to be specified by the manufacturer), of approved make, in all colours, shades except burgundy, bottle green, black of any size as approved by Engineer-in-Charge, in skirting, risers of steps and dados, over 12 mm thick bed of cement mortar 1:3 (1 cement : 3 coarse sand) and jointing with grey cement slurry @ 3.3kg per sqm, including pointing in white cement mixed with pigment of matching shade complete. | 45.00 | Sqm |  | 1000.00 | 45000.00 | 864.00 | 38880.00 | 38880.00 | A CHINNAERANNA
29.00 | Providing and fixing pressed steel door frames conforming to IS: 4351, manufactured from commercial mild steel sheet of 1.60 mm thickness, including hinges, jamb, lock jamb, bead and if required angle threshold of mild steel angle of section 50x25 mm, or base ties of 1.60 mm, pressed mild steel welded or rigidly fixed together by mechanical means, including M.S. pressed butt hinges 2.5 mm thick with mortar guards, lock strike-plate and shock absorbers as specified and applying a coat of approved steel primer after pre-treatment of the surface as directed by Engineer-in-charge: Profile C , Fixing with adjustable lugs with split end tail to each jamb | 35.00 | Meter |  | 1500.00 | 52500.00 | 421.70 | 14759.50 | 14759.50 | A CHINNAERANNA
30.00 | Providing and fixing ISI marked flush door shutters conforming to IS : 2202 (Part I) non-decorative type, core of block board construction with frame of 1st class hard wood and well matched commercial 3 plyveneering with vertical grains or cross bands and face veneers on both faces of shutters: 35 mm thick including ISI marked Stainless Steel butt hinges with necessary screws | 12.00 | Sqm |  | 5000.00 | 60000.00 | 1809.00 | 21708.00 | 21708.00 | A CHINNAERANNA
31.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : For fixed portion Powder coated aluminium (minimum thickness of powder coating 50 micron) | 310.00 | Kg |  | 800.00 | 248000.00 | 516.10 | 159991.00 | 159991.00 | A CHINNAERANNA
32.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately) Powder coated aluminium (minimum thickness of powder coating 50 micron) | 50.00 | Kg |  | 800.00 | 40000.00 | 516.10 | 25805.00 | 25805.00 | A CHINNAERANNA
33.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of Engineer-in-charge. Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side | 10.00 | Sqm |  | 2500.00 | 25000.00 | 2805.00 | 28050.00 | 25000.00 | ARP ENTERPRISES
34.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 4.0 mm thickness | 8.00 | Sqm |  | 1500.00 | 12000.00 | 860.10 | 6880.80 | 6880.80 | A CHINNAERANNA
35.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in Charge.Concealed work, including cutting chases and making good the walls etc.15 mm nominal outer dia Pipes | 10.00 | Meter |  | 300.00 | 3000.00 | 285.60 | 2856.00 | 2856.00 | A CHINNAERANNA
36.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply, including all CPVC plain & brass threaded fittings, including fixing the pipe with clamps at 1.00 m spacing. This includes jointing of pipes & fittings with one step CPVC solvent cement and testing of joints complete as per direction of Engineer in ChargeP/F Gi pipes Internal work - Exposed on wallexposed on wall 20 mm nominal outer dia Pipes | 10.00 | Meter |  | 500.00 | 5000.00 | 330.40 | 3304.00 | 3304.00 | A CHINNAERANNA
37.00 | Providing and fixing Chlorinated Polyvinyl Chloride (CPVC) pipes, having thermal stability for hot & cold water supply including all CPVC plain & brass threaded fittings This includes jointing of pipes & fittings with one step CPVC solvent cement, trenching, refilling & testing of joints complete as per direction of Engineer in Charge. External work 40 mm nominal outer dia Pipes | 100.00 | Meter |  | 850.00 | 85000.00 | 372.50 | 37250.00 | 37250.00 | A CHINNAERANNA
38.00 | Providing and fixing white vitreous china pedestal type water closet (European type W.C. pan) with seat and lid, 10 litre low level white P.V.C. flushing cistern, including flush pipe, with manually controlled device (handle lever), conforming to IS : 7231, with all fittings and fixtures complete, including cutting and making good the walls and floors wherever required : W.C. pan with ISI marked white solid plastic seat and lid | 1.00 | Each |  | 5000.00 | 5000.00 | 3966.00 | 3966.00 | 3966.00 | A CHINNAERANNA
39.00 | Providing and fixing wash basin with C.I. brackets, 15 mm C.P. brass pillar taps, 32 mm C.P. brass waste of standard pattern, including painting of fittings and brackets, cutting and making good the walls wherever require: White Vitreous China Flat back wash basin size 550x 400 mm with single 15 mm C.P. brass pillar tap | 1.00 | Each |  | 5000.00 | 5000.00 | 2431.00 | 2431.00 | 2431.00 | A CHINNAERANNA
40.00 | Providing and fixing C.P. brass angle valve for basin mixer and geyser points of approved quality conforming to IS:8931 15mm nominal bore | 2.00 | Each |  | 1000.00 | 2000.00 | 551.80 | 1103.60 | 1103.60 | A CHINNAERANNA
41.00 | Providing and fixing C.P. brass bib cock of approved quality conforming to IS:8931 : 15 mm nominal bore | 1.00 | Each |  | 1000.00 | 1000.00 | 431.20 | 431.20 | 431.20 | A CHINNAERANNA
42.00 | Providing and fixing 600x450 mm beveled edge mirror of superior glass (of approved quality) complete with 6 mm thick hard board ground fixed to wooden cleats with C.P. brass screws and washers complete | 1.00 | Each |  | 2500.00 | 2500.00 | 948.80 | 948.80 | 948.80 | A CHINNAERANNA
43.00 | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treat ment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs. (c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge.e. d)Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test. All above operations to be done in order and as directed and specified by the Engineer-in-Charge : With average thickness of 120 mm and minimum thickness at khurra as 65 mm. | 70.00 | Sqm |  | 1500.00 | 105000.00 | 1200.00 | 84000.00 | 84000.00 | A CHINNAERANNA
44.00 | Providing and laying non-pressure NP2 class (light duty) R.C.C. pipes with collars jointed with stiff mixture of cement mortar in the proportion of 1:2 (1 cement : 2 fine sand) including testing of joints etc. complete : 150 mm dia. R.C.C. pipe | 160.00 | Meter |  | 1000.00 | 160000.00 | 413.80 | 66208.00 | 66208.00 | A CHINNAERANNA
45.00 | Providing and placing on terrace (at all floor levels) polyethylene water storage tank, IS : 12701 marked, with cover and suitable locking arrangement and making necessary holes for inlet, outlet and overflow pipes but without fittings and the base support for tank. Rectangular tank | 1000.00 | Per Ltr |  | 15.00 | 15000.00 | 8.41 | 8410.00 | 8410.00 | A CHINNAERANNA
46.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) : 20 mm nominal bore | 1.00 | Each |  | 2000.00 | 2000.00 | 460.00 | 460.00 | 460.00 | A CHINNAERANNA
47.00 | Providing and fixing ball valve (brass) of approved quality, High or low pressure, with plastic floats complete : 20 mm nominal bore | 1.00 | Each |  | 2000.00 | 2000.00 | 379.40 | 379.40 | 379.40 | A CHINNAERANNA
48.00 | Providing and fixing in wall lining flat pressed three layer (medium density) particle board or graded wood Pre-laminated one side decorative lamination and other side balancing lamination Grade I, Type II, IS : 12823 marked, including priming coat on unexposed surface, with necessary fixing arrangement and screws etc. complete :12 mm thick | 55.00 | Sqm |  | 2500.00 | 137500.00 | 1107.00 | 60885.00 | 60885.00 | A CHINNAERANNA
49.00 | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer all complete. Fixed to openings /wooden frames with rawl plugs screws etc. | 200.00 | Kg |  | 150.00 | 30000.00 | 130.40 | 26080.00 | 26080.00 | A CHINNAERANNA
50.00 | Providing 40x5 mm flat iron hold fast 40 cm long including fixing to frame with 10 mm diameter bolts, nuts and wooden plugs and embedding in cement concrete block 30x10x15cm 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 20mm nominal size). | 24.00 | Nos |  | 100.00 | 2400.00 | 9628.00 | 231072.00 | 2400.00 | ARP ENTERPRISES
51.00 | Providing and fixing aluminium extruded section body tubular type universal hydraulic door closer (having brand logo with IS : 3564, embossed on the body, door weight upto 36 kg to 80 kg and door width from 701 mm to 1000 mm), with double speed adjustment with necessary accessories and screws etc. complete. | 5.00 | Nos |  | 2500.00 | 12500.00 | 10440.00 | 52200.00 | 12500.00 | ARP ENTERPRISES
52.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : 250x16 mm | 6.00 | Nos |  | 300.00 | 1800.00 | 12992.00 | 77952.00 | 1800.00 | ARP ENTERPRISES
53.00 | Providing and fixing aluminium handles, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868) transparent or dyed to required colour or shade, with necessary screws etc. complete 125 mm | 12.00 | Nos |  | 150.00 | 1800.00 | 266.80 | 3201.60 | 1800.00 | ARP ENTERPRISES
54.00 | Providing, hoisting and fixing above plinth level up to floor five level precast reinforced cement concrete work in string courses, bands, copings, bed plates, anchor blocks, plain window sills and the like, including the cost of required centering, shuttering but, excluding cost of reinforcement, with 1:1.5:3 (1 cement : 1.5 coarse sand (zone-III) :3 graded stone aggregate 20 mm nominal size). | 2.00 | Cum |  | 15000.00 | 30000.00 | 8088.00 | 16176.00 | 16176.00 | A CHINNAERANNA
55.00 | Providing and laying damp-proof course 40mm thick with cement concrete 1:2:4 (1 cement : 2 coarse sand (zone-III): 4 graded stone aggregate 12.5mm nominal size) | 15.00 | Sqm |  | 350.00 | 5250.00 | 305.20 | 4578.00 | 4578.00 | A CHINNAERANNA
56.00 | Extra for providing and mixing water proofing material in cement concrete per 50 kg work in doses by weight of cement as per manufacturer's specification. | 52.00 | Per 50 Kg of cement |  | 100.00 | 5200.00 | 55.62 | 2892.24 | 2892.24 | A CHINNAERANNA
57.00 | Boring/drilling bore well of required dia for casing/ strainer pipe of 150 mm dia in all stratas by suitable method including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, upto 90 metre depth below ground level (Cost of Casing/strainer pipe shall be paid seperately) | 180.00 | Metre |  | 600.00 | 108000.00 | 991.90 | 178542.00 | 108000.00 | ARP ENTERPRISES
58.00 | Boring/drilling bore well of required dia for casing/ strainer pipe of 150 mm dia in all stratas by suitable method including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete as per direction of Engineer-in-charge, beyond 90 metre upto 150mm depth below ground level (Cost of Casing/strainer pipe shall be paid seperately) | 120.00 | Metre |  | 900.00 | 108000.00 | 1075.00 | 129000.00 | 108000.00 | ARP ENTERPRISES
59.00 | Supplying, assembling, lowering and fixing in vertical position in bore well, unplasticized PVC medium well casing (CM) pipe of required dia, conforming to IS: 12818, including required hire and labour charges, fittings & accessories etc. all complete, for all depths, as per direction of Engineer -in-charge. 150 mm nominal size dia | 180.00 | Meter |  | 1000.00 | 180000.00 | 663.90 | 119502.00 | 119502.00 | A CHINNAERANNA
60.00 | Development of tube well in accordance with IS : 2800 (part I) and IS: 11189, to establish maximum rate of usable water yield without sand content (beyond permissible limit), with required capacity air compressor, running the compressor for required time till well is fully developed, measuring yield of well by "V" notch method or any other approved method, measuring static level & draw down etc. by step draw down method, collecting water samples & getting tested in approved laboratory, i/c disinfection of tubewell, all complete, including hire & labour charges of air compressor, tools & accessories etc., all as per requirement and direction of Engineer-in-charge. | 6.00 | Hour |  | 3000.00 | 18000.00 | 629.00 | 3774.00 | 3774.00 | A CHINNAERANNA
61.00 | Providing and fixing suitable size threaded mild steel cap or spot welded plate to the top of bore well housing/ casing pipe, removable as per requirement, all complete for borewell of: 150 mm dia | 2.00 | Each |  | 2500.00 | 5000.00 | 212.20 | 424.40 | 424.40 | A CHINNAERANNA
62.00 | Providing and fixing M.S. clamp of required dia to the top of casing/ housing pipe of tubewell as per IS: 2800 (part I), including necessary bolts & nuts of required size complete. 150 mm clamp | 2.00 | Each |  | 2500.00 | 5000.00 | 1181.00 | 2362.00 | 2362.00 | A CHINNAERANNA
63.00 | Centering and shuttering including strutting, propping etc. and removal of form for all heights Walls (any thickness) including attached pilasters, butteresses, plinth and string courses etc. | 50.00 | Sqm |  | 600.00 | 30000.00 | 439.20 | 21960.00 | 21960.00 | A CHINNAERANNA
64.00 | Providing and Placing in position suitable PVC water stops conforming to IS:12200 for construction/ expansion joints between two RCC members and fixed to the reinforcement with binding wire before pouring concrete etc. complete : Dumb bell with central bulb (180 mm wide, 8 mm thick) | 14.00 | mtr |  | 800.00 | 11200.00 | 150.80 | 2111.20 | 2111.20 | A CHINNAERANNA
65.00 | Providing and fixing G.I. pipes complete with G.I. fittings including trenching and refilling etc. 50 mm dia nominal bore | 50.00 | Mtr |  | 1200.00 | 60000.00 | 397.50 | 19875.00 | 19875.00 | A CHINNAERANNA
66.00 | Providing and fixing gun metal gate valve with C.I. wheel of approved quality (screwed end) :50 mm dia nominal bore | 2.00 | each |  | 2000.00 | 4000.00 | 869.90 | 1739.80 | 1739.80 | A CHINNAERANNA
67.00 | Consolidation of Prepared sub grade with power road roller of 8 to 12 tonne capacity including making good the undulations etc. and re-rolling the sub grade as per direction of Engineer-In-charge | 1500.00 | Sqm |  | 20.00 | 30000.00 | 139.20 | 208800.00 | 30000.00 | ARP ENTERPRISES
68.00 | Providing and fixing 110mm dia PVC pipe(4Kg/Sqcm) for sewer line at required grade/level i/c finishing the MH holes etc.complete as per the directions of Engineer Incharge, | 100.00 | Mtr |  | 350.00 | 35000.00 | 464.00 | 46400.00 | 35000.00 | ARP ENTERPRISES
69.00 | Constructing brick masonry manhole in cement mortar 1:4 ( 1 cement : 4 coarse sand ) with R.C.C. top slab with 1:2:4 mix (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size), foundation concrete 1:4:8 mix (1 cement : 4 coarse sand : 8 graded stone aggregate 40 mm nominal size), inside plastering 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with floating coat of neat cement and making channels in cement concrete 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate 20 mm nominal size) finished with a floating coat of neat cement complete as per standard design :Inside size 90x80 cm and 45 cm deep including C.I. cover with frame (light duty) 455x610 mm internal dimensions, total weight of cover and frame to be not less than 38 kg (weight of cover 23 kg and weight of frame 15 kg) : With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 3.00 | Each |  | 15000.00 | 45000.00 | 10016.00 | 30048.00 | 30048.00 | A CHINNAERANNA
70.00 | Extra for depth for manholes : Size 90x80 cmWith common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Mtr |  | 5000.00 | 5000.00 | 6634.00 | 6634.00 | 5000.00 | ARP ENTERPRISES
71.00 | Providing and fixing square-mouth S.W. gully trap class SP-1 complete with C.I. grating brick masonry chamber with water tight C.I. cover with frame of 300 x300 mm size (inside) the weight of cover to be not less than 4.50 kg and frame to be not less than 2.70 kg as per standard design: 100x100 mm size P type With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each |  | 2500.00 | 2500.00 | 1859.00 | 1859.00 | 1859.00 | A CHINNAERANNA
72.00 | Making soak pit 2.5 m diameter 3.0 metre deep with 45 x 45 cm dry brick honey comb shaft with bricks and S.W. drain pipe 100 mm diameter, 1.8 m long complete as per standard design. 19.32.1 With common burnt clay F.P.S. (non modular) bricks of class designation 7.5 | 1.00 | Each |  | 30000.00 | 30000.00 | 23991.00 | 23991.00 | 23991.00 | A CHINNAERANNA
73.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete :150x10 mm each 64.30 | 2.00 | Each |  | 300.00 | 600.00 | 812.00 | 1624.00 | 600.00 | ARP ENTERPRISES
74.00 | Carrying out structural desIgn of the DVOR building and Sump including soil testing and submission of three sets of good for construction drawings . Note :- The structural design submitted by the agency shall be got vetted by AAI directly in any government Engineering college/NIT/IIT . The payment for the same also shall be made durectly by AAI to the college and the same shall be deducted from the agency under this item . The rate quoted by the agency shall be inclusive of all the above . | 1.00 | Per Job |  | 20000.00 | 20000.00 | 58000.00 | 58000.00 | 20000.00 | ARP ENTERPRISES
75.00 | ELECTRICAL WORKS SH - I : SUPPLY AND LAYING / INSTALLATION OF CABLES, LIGHT FIXTURES, AC UNITS ETC Supply of following size 1.1 kv grade, XLPE insulated and PVC inner sheathed Aluminum conductor armored power cable conforming to IS: 7098(Part 1)1988/ IS: 7098 (Part 1) with up to date amendments etc. complete as required
75.10 | 4 core x 25 sq.mm | 100.00 | Meters |  | 400.00 | 40000.00 | 62.10 | 6210.00 | 6210.00 | A CHINNAERANNA
75.20 | 3.5 core x 120 sq mm | 1000.00 | Meters |  | 750.00 | 750000.00 | 170.10 | 170100.00 | 170100.00 | A CHINNAERANNA
76.00 | Supply of recess mounting 36 to 40 watt LED 2ft x 2ft flat panel light fixture luminaire of reputed brands or makes with efficacy not less than 100lm/W, life of 50000 burning hours or more, having CRI rating 80 or more suitable for indoor operation, complete with heat resistant toughened glass lumaire on front, aluminium heat sink for high heat dissipation on the back, etc complete as per technical specifications. (5 years warantee shall be provided for complete fittings including driver/control gear, LED, etc from actual date of completion of work by manufacturer/ dealer in favour of AAI) | 6.00 | Each |  | 6000.00 | 36000.00 | 1814.00 | 10884.00 | 10884.00 | A CHINNAERANNA
77.00 | Supply of 18 watt Indoor decorative LED batten with extruded aluminium powder coated housing & opal diffuser of size 4ft complete with high efficiency LED, driver, wiring etc suitable for operation on 230V, 50hz AC supply etc as per tender specifications and complete as required.(5 years guarantee shall be provided for complete fittings by manufacturer/ dealer in favour of AAI) | 8.00 | Each |  | 2000.00 | 16000.00 | 1080.00 | 8640.00 | 8640.00 | A CHINNAERANNA
78.00 | Supply of 60 watt LED street light luminaire of Pressure die-cast Al housing or standard alloy having efficacy of 110 Lumens/W or more, 50000 hours or more burning hours, having CRI 70 or more for outdoor applications, IP 65 or higher protection & i/c necessary electronic driver, high power LED lamp suitable to operate on 230V, 50hz power supply with connector etc as per tender specifications complete as required. (5 years warantee shall be provided for complete fittings including driver/control gear, LED, etc from actual date of completion of work by manufacturer/ dealer in favour of AAI) | 5.00 | Each |  | 8000.00 | 40000.00 | 2959.00 | 14795.00 | 14795.00 | A CHINNAERANNA
79.00 | Supply of following sizes of 1200 mm sweep. 5 star rated ceiling fan, with double ball bearing, Aluminium pressure die cast body with Aluminium blades, canopies, hanging shackle, 30 cm down rod and without speed regulator suitable for 240V 50 HZ, AC supply (Make: Crompton: HB Plus-5 star or any other approved equivalent make). | 3.00 | Each |  | 3000.00 | 9000.00 | 1566.00 | 4698.00 | 4698.00 | A CHINNAERANNA
80.00 | Supply and installation of heavy duty 450mm 900rpm exhust fan suitable for operation on single phase 240V 50hz supply etc as required | 3.00 | Each |  | 6000.00 | 18000.00 | 2646.00 | 7938.00 | 7938.00 | A CHINNAERANNA
81.00 | Installation, testing and commissioning of Pre-wired LED fittings of all indoor/outdoor types, complete directly on ceiling/false ceiling /truss/wall, including necessary fixing arrangement,bracket, clamp & wiring with 1.5 sqmm FRLS PVC insulated copper comductor wire upto 1.5 mtr and earthing etc. as required as per site requirement as directed by Engg-In charge. | 19.00 | Each |  | 500.00 | 9500.00 | 11.07 | 210.33 | 210.33 | A CHINNAERANNA
82.00 | Supply, installation, testing and commissioning of following capacity, 5 star rated inverter type Hi-wall split type Airconditioner, consisting 1 No. indoor unit(fan coil) with cordless remote control and one number outdoor outdoor anti-corrosive copper condensing unit comprising with sealed rotary compressor, suitable for single Phase, 230 Volt, 50 HZ, AC supply, providing and making interconnections, refrigerant line between room unit and condensing unit upto length of 4 meters including first charge of refrigerant R 410 A/ R32 including suitable bracket/MS channel for fixing outdoor unit complete etc as required. (As per AAI Approved make List) Hi- Wall Split type - 1.5 TR (minimum 5 star Inverter type) (Equivalent to | 7.00 | Each |  | 50000.00 | 350000.00 | 30780.00 | 215460.00 | 215460.00 | A CHINNAERANNA
83.00 | Supply, installtions, testing and commissioning of wall mounting type, 4 KVA capacity, single phase, automatic line voltage stabilizer, suitable operation on 170 volts to 270 volts AC lnput, 200 volts lo 240 volts AC output, single phase, 50HZ AC power supply with built in time delay, high voltage cut off, and low voltage cut off at 145 volts and input / output / trip indications and suitable for operation of 1.5 Ton Air conditioning unit etc as required. | 7.00 | Each |  | 2000.00 | 14000.00 | 2435.00 | 17045.00 | 14000.00 | ARP ENTERPRISES
84.00 | Supply and fixing of Extra Refrigerant copper piping of suitable size for both suction and discharge along with suitable Nitrile Insulation and Electrical Cable of size 4 Core x 4 Sq. mm copper conductor for connection from indoor to outdoor unit and suitable necessary accessories for connection complete as required. (Note : Upto 4 Mtr. included in Item No.21) (Two length of suction and discharge piping and one length of copper wire shall be measured one meter for this item) | 35.00 | Meter |  | 1000.00 | 35000.00 | 72.90 | 2551.50 | 2551.50 | A CHINNAERANNA
85.00 | Supply and fixing of hard PVC drain pipe connection from indoor to outside of wall including bends necessary accessories for connection etc. complete as required. (Note : Upto 4 Mtr. included in Item No.21) | 35.00 | Meters |  | 100.00 | 3500.00 | 97.20 | 3402.00 | 3402.00 | A CHINNAERANNA
86.00 | Supply and fixing of dual AC Controller with seven segement display,protection of AC against under voltage,Over voltage,under load & over load,alarm for AC fail,power fail & high temprature and suitable for operating at 230V±10%, 50 Hz,Single Phase A.C.Supply. (Simillar to make Proton Power control pvt ltd,Model:-Dual AC Controller) | 3.00 | Each |  | 5000.00 | 15000.00 | 1026.00 | 3078.00 | 3078.00 | A CHINNAERANNA
87.00 | Supply of HDPE pipe of dia 75mm, PN4 grade, PE 63 confirming to IS standard etc complete as required | 1000.00 | Meters |  | 250.00 | 250000.00 | 35.10 | 35100.00 | 35100.00 | A CHINNAERANNA
88.00 | Laying of 75mm dia size HDPE pipe direct in ground (75 cm below ground level) including drawing of 1.1kV grade 3.5CX120sqmm armoured power cable in HDPE pipe (Excluding supply of HDPE pipe and power cable) including excavation of trench and refilling of trench etc complete as required | 450.00 | Meters |  | 200.00 | 90000.00 | 105.80 | 47610.00 | 47610.00 | A CHINNAERANNA
89.00 | Laying of one number additional 75mm dia size HDPE pipe in existing excavated trench in horizontal formation including drawing of 1.1kV grade 3.5CX120sqmm armoured power cable in HDPE pipe (Excluding supply of HDPE pipe and power cable). | 450.00 | Meters |  | 50.00 | 22500.00 | 102.60 | 46170.00 | 22500.00 | ARP ENTERPRISES
90.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required.
90.10 | Above 95 sq. mm and upto 185 sq. mm (clamped with 25/40x3mm MS flat clamp) | 100.00 | Meters |  | 100.00 | 10000.00 | 666.90 | 66690.00 | 10000.00 | ARP ENTERPRISES
91.00 | Supplying and making end termination with brass compression gland and aluminium lugs for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
91.10 | 3½ X 120 sq. mm (45 mm) | 4.00 | Each |  | 2500.00 | 10000.00 | 1072.00 | 4288.00 | 4288.00 | A CHINNAERANNA
92.00 | Supplying and making straight through joint with heat shrinkable kit including ferrules and other jointing materials for following size of PVC insulated and PVC sheathed / XLPE aluminium conductor cable of 1.1 kV grade as required.
92.10 | 3½ X 120 sq. mm | 2.00 | Each |  | 15000.00 | 30000.00 | 1072.00 | 2144.00 | 2144.00 | A CHINNAERANNA
93.00 | Supply and fixing of dust & jet water proof, corrosion insulated IP 66 Pole looping box with terminals of size 205 X 255 X 112 mm deep made of Thermoplastic Polycarbonate having metric knockouts to accommodate incoming and outgoing cables and fixing on wall with suitable clamps, providing 1 No 10 Amps “C” series SPN MCB in the box including end termination with suitable size syntec threaded cable glands of 2 Nos upto 4Cx25 sq. mm UG cable with lugs etc. complete as required.(Make: Hensel Model no:- DK 2500G) | 5.00 | Each |  | 3500.00 | 17500.00 | 254.90 | 1274.50 | 1274.50 | A CHINNAERANNA
94.00 | Desgin, Manufacturing, Supply, Installation, Testing and Commissioning of free standing floor mounted indoor type LT Panel of cubicle type made out of 14 SWG thick CRCA sheet, indoor compartmentalized, double door, suitable for operation on 3 phase and neutral, 415 volts, 50 hz, AC System with Bus bars, earth bar connections including internal wiring with suitable sizes wire/cable, interconnection, duly powder coated, painting etc.The panel shall have provision for bottom cable entry, including supply and installations of following switchgears, metering instruments such as Ammeter, Voltmeter, etc and accessories in the L.T.Panel and as per specifications. INCOMMER MCCBs & BUS COUPLER a) 80 amps 4pole MCCB thermal release, Breaking capacity 25KA (L & T/ABB make)-3Nos b) Interlocking (mechanical)-2 nos c) LED Indication Lamp- RYB-2 set, ON OFF- 3Set OUTGOING MCCBs a)63amps 4 pole, MCB - 2 Nos b) 32Amp 4 pole MCB - 4Nos c) Surge protector of Class C, 3P+1N,of 15KA at out goings of - 2Nos | 1.00 | Job |  | 150000.00 | 150000.00 | 16200.00 | 16200.00 | 16200.00 | A CHINNAERANNA
95.00 | Wiring for light point/ fan point/ exhaust fan point/ call bell point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm. FRLS PVC insulated copper conductor single core cable etc as required. Group C | 25.00 | Points |  | 2000.00 | 50000.00 | 29.70 | 742.50 | 742.50 | A CHINNAERANNA
96.00 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FRLS PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. 2x4.0 sq. mm + 1x4.0 sq. mm earth wire | 100.00 | Meter |  | 1000.00 | 100000.00 | 256.50 | 25650.00 | 25650.00 | A CHINNAERANNA
97.00 | Supplying and fixing following modular switch/ socket on the existing modular plate & switch box including connections but excluding modular plate etc. as required.
97.10 | 5/6 Amp switch | 10.00 | Each |  | 100.00 | 1000.00 | 51.30 | 513.00 | 513.00 | A CHINNAERANNA
97.20 | 3 pin 5/6 Amp socket outlet | 10.00 | Each |  | 150.00 | 1500.00 | 56.70 | 567.00 | 567.00 | A CHINNAERANNA
97.30 | 15/16 Amp switch | 15.00 | Each |  | 150.00 | 2250.00 | 62.10 | 931.50 | 931.50 | A CHINNAERANNA
97.40 | 6 pin 15/16 Amp socket outlet | 15.00 | Each |  | 250.00 | 3750.00 | 87.48 | 1312.20 | 1312.20 | A CHINNAERANNA
98.00 | Wiring for light/ power plug with 2X4 sq. mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwith 1 No 4 sq. mm FRLS PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Meters |  | 1000.00 | 100000.00 | 43.20 | 4320.00 | 4320.00 | A CHINNAERANNA
99.00 | Supplying and fixing following size/ modules, GI box alongwith modular base & cover plate for modular switches in recess etc as required.
99.10 | 6 Module (200mmX75mm) | 8.00 | Each |  | 100.00 | 800.00 | 94.50 | 756.00 | 756.00 | A CHINNAERANNA
99.20 | 8 Module (125mmX125mm) | 3.00 | Each |  | 150.00 | 450.00 | 108.00 | 324.00 | 324.00 | A CHINNAERANNA
100.00 | Supplying and fixing 20 A, 240 V, SPN Industrial type socket outlet, with 2 pole and earth, metal enclosed plug top alongwith 20 A, “C” curve, SP, MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 7.00 | Each |  | 2500.00 | 17500.00 | 129.60 | 907.20 | 907.20 | A CHINNAERANNA
101.00 | Supplying and fixing of following sizes of steel conduit along with accessories in surface/recess including painting in case of surface conduit, or cutting the wall and making good the same in case of recessed conduit as required.
101.10 | 25 mm | 30.00 | Meters |  | 500.00 | 15000.00 | 12.29 | 368.70 | 368.70 | A CHINNAERANNA
101.20 | 32 mm | 60.00 | Meters |  | 800.00 | 48000.00 | 17.39 | 1043.40 | 1043.40 | A CHINNAERANNA
102.00 | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the existing surface/ recessed steel/ PVC conduit as required.
102.10 | 3 x 2.5 sq. mm | 30.00 | Meters |  | 300.00 | 9000.00 | 24.30 | 729.00 | 729.00 | A CHINNAERANNA
102.20 | 3 x 6 sq. mm | 60.00 | Meters |  | 650.00 | 39000.00 | 47.25 | 2835.00 | 2835.00 | A CHINNAERANNA
103.00 | Supplying and fixing two module stepped type electronic fan regulator on the existing modular plate switch box including connections but excluding modular plate etc. as required. | 3.00 | Each |  | 500.00 | 1500.00 | 156.60 | 469.80 | 469.80 | A CHINNAERANNA
104.00 | Supplying, installation, testing and commissioning of surface/recess mounting, vertical type compartmentalised, 415 volts, TPN MCB metal distribution board double door type suitable for single/three phase outgoings with buit-in prewired phase changeover switch inclusive of all related accessories except MCB, RCCB, etc but including din bar for mounting MCB's, detachable gland/ knock out plate, and superior make terminal connectors for all incoming and outgiong circuits duly prewired with adequate size of PVC insulated copper conductor wires and ready for installation. 12 WAY (Simillar to Siemens 8GB31864RC / L&T DBPSR01254 or equivalent as per AAI approved makes list) | 1.00 | Each |  | 12000.00 | 12000.00 | 1756.00 | 1756.00 | 1756.00 | A CHINNAERANNA
105.00 | Supplying and fixing following way, horizontal type three pole and neutral, sheet steel, MCB distribution board, 415 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/ RCCB/ Isolator) 4 way (4 + 12), Double door | 1.00 | Each |  | 5000.00 | 5000.00 | 583.20 | 583.20 | 583.20 | A CHINNAERANNA
106.00 | Supplying and fixing following way, single pole and neutral, sheet steel, MCB distribution board, 240 V, on surface/ recess, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar, interconnections, powder painted including earthing etc. as required. (But without MCB/RCCB/Isolator) 8 way, Double door | 2.00 | Each |  | 2000.00 | 4000.00 | 648.00 | 1296.00 | 1296.00 | A CHINNAERANNA
107.00 | Supplying and fixing 5 A to 32 A rating, 240/415 V, 10 kA, “C” curve, miniature circuit breaker suitable for inductive load of following poles in the existing MCB DB complete with connections, testing and commissioning etc. as required.
107.10 | Single pole | 20.00 | Each |  | 200.00 | 4000.00 | 57.02 | 1140.40 | 1140.40 | A CHINNAERANNA
107.20 | Single pole and neutral | 10.00 | Each |  | 500.00 | 5000.00 | 261.40 | 2614.00 | 2614.00 | A CHINNAERANNA
108.00 | Supplying and fixing 63A, 10KA, C-Curve, four pole, 415 V, MCB in the existing MCB DB complete with connections, testing and commissioning etc. as required | 2.00 | Each |  | 1500.00 | 3000.00 | 826.20 | 1652.40 | 1652.40 | A CHINNAERANNA
109.00 | Earthing with copper earth plate 600 mm X 600 mm X 3 mm thick including accessories, and providing masonry enclosure with cover plate having locking arrangement and watering pipe of 2.7 meter long etc. with charcoal/ coke and salt as required. | 14.00 | Each |  | 25000.00 | 350000.00 | 5400.00 | 75600.00 | 75600.00 | A CHINNAERANNA
110.00 | Supplying and laying 25 mm X 5 mm copper strip at 0.50 meter below ground as strip earth electrode, including connection / terminating with nut, bolt, spring, washer etc. as required. (Jointing shall be done by overlapping and with 2 sets of brass nut bolt & spring washer spaced at 50 mm) | 168.00 | Meters |  | 500.00 | 84000.00 | 504.90 | 84823.20 | 84000.00 | ARP ENTERPRISES
111.00 | SH- III : PROVISION OF LIGHTNING ARRESTORS AND SURGE DIVERTERS Supply and Installation of Vertical air terminal 2.5m with mounting accessories, providing of Air terminals as per IS/IEC - 62305 part-3 16mm dia rod tapered to 10 mm dia Copper Bonded Steel Airterminal rod. Job includes supply and installation of base plate, mounting support rod for making the total height of the air terminal as 5.0m and complete with mounting accessories, etc as required. | 3.00 | Set |  | 50000.00 | 150000.00 | 3780.00 | 11340.00 | 11340.00 | A CHINNAERANNA
112.00 | Supply and Installation of 8 mm Copper Bonded Steel Round Conductor laid over counterpoise for interconnection between the air terminal and as down conductor from air terminal to earth electrode | 100.00 | Meters |  | 250.00 | 25000.00 | 5670.00 | 567000.00 | 25000.00 | ARP ENTERPRISES
113.00 | Supply and Installation of Test line for the down conductor | 3.00 | Each |  | 2500.00 | 7500.00 | 2700.00 | 8100.00 | 7500.00 | ARP ENTERPRISES
114.00 | Supply and Installation of Lightning Event Counter | 1.00 | Each |  | 5000.00 | 5000.00 | 5670.00 | 5670.00 | 5000.00 | ARP ENTERPRISES
115.00 | Providing & creating of earth pits using earth electrode made of copper bonded steel rod of 5/8” dia, 10ft (min) long, installed vertically or horizontally as per the site conditions complete with test links for cable connection / disconnection, flanges, bends and top cover with heavy duty inspection chamber including excavation and refilling, dully backfilled with Ground Enhancing Compound of 20kgs. (min) etc as required. | 3.00 | Each |  | 20000.00 | 60000.00 | 972.00 | 2916.00 | 2916.00 | A CHINNAERANNA
116.00 | Supply and Installation of 8mm Copper Bonded Steel Conductor for interconnection of earthing and treated with 2 Kgs Per Meter of GEM (Ground enhancement material). Job includes excavation and necessary refilling of the soil, etc complete as required. | 80.00 | Meters |  | 500.00 | 40000.00 | 270.00 | 21600.00 | 21600.00 | A CHINNAERANNA
117.00 | Supply, Installation, Testing & Commissioning of MOV based 100kA, 3 Phase Surge diverter with neutral protection with Type I + II protection (proction against direct and indirect lightning surges), etc as required to be installed at the main switch board panel in parallel mode of Power supply panel including interconnection suing appropriate copper conductor cables. Make: As per AAI approved makes list | 1.00 | Each |  | 50000.00 | 50000.00 | 8813.00 | 8813.00 | 8813.00 | A CHINNAERANNA
118.00 | SH:-IV PROVISION OF FIRE DETECTION AND ALARM SYSTEM Supply, installation, testing and commissioning of conventional UL listed Fire Alarm control panel having minimum of 2 zones suitable for connecting sensors, manual call points, Hooters and Response indicators operation on 230 Volts, 50 Hz power supply, LCD display to indicate fire and normal operation & power supply status, push button for accept and Reset, sealed leadacid batteries with minimum 24V DC backup on alarm mode & normal operation mode with battery charger etc., shall be complete as required. Panel shall have necessary provision for connecting and functioning with auto dialer etc as required. (Make: AAI approved makes list) | 1.00 | Each |  | 50000.00 | 50000.00 | 10800.00 | 10800.00 | 10800.00 | A CHINNAERANNA
119.00 | SITC of auto dialer with landline dialer capability complete with all necessary accessories including connections etc. as required. | 1.00 | Each |  | 50000.00 | 50000.00 | 2700.00 | 2700.00 | 2700.00 | A CHINNAERANNA
120.00 | Supply & fixing of indoor manual call point complete with all accessories including connections of etc. as required. (As per approved makes List) | 2.00 | Each |  | 5000.00 | 10000.00 | 1755.00 | 3510.00 | 3510.00 | A CHINNAERANNA
121.00 | SITC of Hooter with base plate etc as required. (As per approved makes List) | 2.00 | Each |  | 5000.00 | 10000.00 | 675.00 | 1350.00 | 1350.00 | A CHINNAERANNA
122.00 | Supply & fixing of Photoelectric, Multi sensor smoke detectors along with mounting base with unique optical sensing chamber, visible LED's fully coated circuit boards with RF/transient protection, complete with all accessories including connections etc. as required. (As per approved makes list) | 12.00 | Each |  | 3500.00 | 42000.00 | 1080.00 | 12960.00 | 12960.00 | A CHINNAERANNA
123.00 | SITC of Response Indicator is the existing false ceiling etc as required. | 6.00 | Each |  | 3500.00 | 21000.00 | 108.00 | 648.00 | 648.00 | A CHINNAERANNA
124.00 | Supply and laying of MS steel conduits ISI Marked red painted with all fittings and saddles for drawing detector control cables on surface /recess/above false ceiling/concealed space/wall concealed, etc of following sizes: 20 mm | 120.00 | Meters |  | 500.00 | 60000.00 | 37.80 | 4536.00 | 4536.00 | A CHINNAERANNA
125.00 | Supply and laying of following size PVC insulated FRLS 2Cx1.5sq.mm copper conductor cable through conduits/surface/recess/above false ceiling/concealed space/wall concealed, etc. for control cabling for Fire detection & alarm devices and interconnecting etc as required. (As per Approved makes list) | 120.00 | Meters |  | 350.00 | 42000.00 | 1674.00 | 200880.00 | 42000.00 | ARP ENTERPRISES
126.00 | Supply & laying of 20 mm dia GI flexible conduit pipe complete with couplers for wiring from slab to detectors below false ceiling complete etc as required. | 20.00 | Meters |  | 200.00 | 4000.00 | 27.00 | 540.00 | 540.00 | A CHINNAERANNA
127.00 | SH-IV: PROVISION OF RO WATER FILTER SITC of Hot, cold and normal water filter with inbuilt 5-stage RO + UV purification and including filter stages such as Particulate Filter, Pre Carbon Block Filter, Reverse Osmosis Membrane Filter, Post Carbon Filter and In Tank UV Purification with safety features such as – Leak Detection Sensor, Tank Level Detection Sensor, UV Sensor, etc and stainless steel storage tank inclusive of all accessories such as inlet pipe, drain pipe, outlet faucets, etc complete as required. [Make - Eureka Forbes Hot & Cold RO+UV / Bluestar Stella / LG WHD71RB4RP] | 2.00 | Each |  | 50000.00 | 100000.00 | 26460.00 | 52920.00 | 52920.00 | A CHINNAERANNA
128.00 | SH-V: PROVISION OF SUBMERSIBLE PUMP MOTOR SET AND ALLIED WORKS Supplying, assembling, lowering and fixing in vertical position in bore well, HDPE PE63 pipes of 50mm dia, including required hire & labour charges, fittings, suitable sized clamps & accessories, all complete, for all depths, as per direction of Engineer-in-charge. | 220.00 | Mtr. |  | 500.00 | 110000.00 | 121.50 | 26730.00 | 26730.00 | A CHINNAERANNA
129.00 | SITC of 3phase, 5HP, mutli-stage 4in dia submersible pump motor having discharge capacity of atleast 60lpm and head of atleast 150m, Including supply and installation of suitable rating fully automatic DOL starter in sheet steel enclosure. (As per AAI approved makes list) | 2.00 | set |  | 5000.00 | 10000.00 | 18360.00 | 36720.00 | 10000.00 | ARP ENTERPRISES
130.00 | Supply of 3Cx4sqmm flat PVC insulated and PVC sheathed industrial cable for submersible pump motor and laying the same in exisiting conduit pipe including proper glanding and terminations. | 220.00 | Mtr. |  | 300.00 | 66000.00 | 53.11 | 11684.20 | 11684.20 | A CHINNAERANNA
| Total in Figures |  |  |  |  | 10773710.00 |  | 8455007.69
Lowest Amount Quoted BY: A CHINNAERANNA(8455007.69)

## BOQ Summary
BOQ Summary Details Tender Title: Construction of DVOR building and other associated works including Electrical works at ACS station Bellary Tender ID: 2020_AAI_47601_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | A CHINNAERANNA | 8455007.69 | L1
| 2 | ARP ENTERPRISES | 10773710.00 | L2