## BoQ1
Government eProcurement System Created By: RAM MOHAN S Created Date/Time: 24-Jun-2020 12:24 PM Tender Title: Replacement of conventional taxiway light fittings with LED type fittings. SH- Supply of LED taxiway lights and isolation transformers at Mangaluru International Airport. Tender ID: 2020_AAI_47659_1
Tender Inviting Authority: Asst. Gen. Manager (Engg E), AAI Mangaluru, Airport.
Name of Work: Replacement of conventional taxiway light fittings with LED type fitting. SH:-Supply of LED taxiway lights and isolation transformers at Mangaluru International Airport.
Tender ID 2020_AAI_47659_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | AMA Private Limited |  | CREATIVE TRADING CO |  | Manish Electricals |  | Techno Electricals |  | Vardhman Airport Solutions Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of elevated, medium intensity, LED type taxi way edge light fittings suitable for taxi way edge lighting that uses LED with heat sink and driver unit ( intensity variation should be there in reference to CCR intensity steps), complete with omnidirectional blue lens, lens clamping & supporting mechanism, central column assembly, breakable coupling, gaskets, two pin secondary leads of 350mm in length, base plate with 6 Nos of holes matching to fix on standard airfield lighting transformer housing box, 6 nos of M-10 stainless steel bolts for fixing the base plate on the housing boxes, and other suitable accessories for the fitting etc. complete and ready to install as required, and confirming to ICAO aviation visual aid requirements as specified in Annex-14 amended up to date. (refer technical specification) | 142.00 | Nos | 0.00 | 4600.00 | 653200.00 | 6000.00 | 852000.00 | 6500.00 | 923000.00 | 4493.00 | 638006.00 | 4149.00 | 589158.00 | 589158.00 | Vardhman Airport Solutions Pvt Ltd
2.00 | Supply of 5 KV grade 50Hz series type isolating transformers of following capacity and type suitable for LED type taxiway fittings, encapsulated in polyester resin finally mould in neoprene type rubber with primary & secondary connections and ready to install etc. complete as required. (refer technical specification) a). 15 watts 6.6 / 6.6 amps | 123.00 | Nos | 0.00 | 2180.00 | 268140.00 | 2750.00 | 338250.00 | 2800.00 | 344400.00 | 2489.00 | 306147.00 | 2266.00 | 278718.00 | 268140.00 | AMA Private Limited
| Total in Figures |  |  |  |  | 921340.00 |  | 1190250.00 |  | 1267400.00 |  | 944153.00 |  | 867876.00
Lowest Amount Quoted BY: Vardhman Airport Solutions Pvt Ltd(867876.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of conventional taxiway light fittings with LED type fittings. SH- Supply of LED taxiway lights and isolation transformers at Mangaluru International Airport. Tender ID: 2020_AAI_47659_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Vardhman Airport Solutions Pvt Ltd | 867876.00 | L1
| 2 | AMA Private Limited | 921340.00 | L2
| 3 | Techno Electricals | 944153.00 | L3
| 4 | CREATIVE TRADING CO | 1190250.00 | L4
| 5 | Manish Electricals | 1267400.00 | L5