## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 25-Aug-2020 10:39 AM Tender Title: Annual Operation and Maintenance contract for the E and M Installations at Bhavnagar Airport for the year 2020-22 Tender ID: 2020_AAI_47716_1
Tender Inviting Authority: Sr. Manager (E-E)
Name of Work: “Operation & Maintenance contract for the E & M Installations at Bhavnagar Airport for the year 2020-22 "
Contract No: 2020_AAI_47716_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Power And Instrumentation Guj Ltd(GSTN-24AACCP4292Q1ZW) |  | Manish Electricals(GSTN-22ABLPM9012E1ZY) |  | M/s K.N.Construction(GSTN-20AAHFK7857Q1ZP) |  | Metropolitan Infrabuild Development And Services Pvt Ltd(GSTN-09AAHCM2436Q1ZW) |  | ABHISHEK ASSOCIATES(GSTN-24ADZPD4239Q1ZT) |  | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(GSTN-37AACCJ7269H1Z7) |  | Techno Electricals(GSTN-NA) |  | Freaquer Corporation Pvt Ltd(GSTN-NA) |  | Onix Structure Private Limited(GSTN-NA) |  | CENTRE TAP ENGINEERING(GSTN-NA) |  | S. N ELECTRICALS(GSTN-NA) |  | Ascent Electrification Engineers(GSTN-NA) |  | Adarsh electric works(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Operation and Maintenance of Electrical & Mechanical Installations of Terminal Building, Air side & city side area of Terminal building, Power House, Car parking area, Pump Rooms, GLF installations, Operational Area, AAI Residential Colony, attending complaints/faults/ breakdowns ensuring serviceability, satisfactory working condition of the system by carrying out preventive maintenance, maintaining records/ documents as per requirements etc on all days including Sundays and holidays on 3 (Three) shift basis by deployning manpower as specified in special condition of contract etc. as required. | 24.00 | Month |  | 349082.00 | 8377968.00 | 349000.00 | 8376000.00 | 325133.00 | 7803192.00 | 321196.19 | 7708708.56 | 346555.00 | 8317320.00 | 272000.00 | 6528000.00 | 335227.00 | 8045448.00 | 324670.00 | 7792080.00 | 325000.00 | 7800000.00 | 335000.00 | 8040000.00 | 318000.00 | 7632000.00 | 324321.00 | 7783704.00 | 362800.00 | 8707200.00 | 6528000.00 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
2.00 | Inspection, servicing and Testing of Crompton Greaves Make 11 KV VCB through OEM or authorized service provider of OEM and submission of reports etc complete all as required. | 6.00 | Job |  | 13440.00 | 80640.00 | 5000.00 | 30000.00 | 15000.00 | 90000.00 | 6600.00 | 39600.00 | 15000.00 | 90000.00 | 12000.00 | 72000.00 | 4200.00 | 25200.00 | 580.00 | 3480.00 | 16000.00 | 96000.00 | 5000.00 | 30000.00 | 9500.00 | 57000.00 | 4725.00 | 28350.00 | 4000.00 | 24000.00 | 3480.00 | Freaquer Corporation Pvt Ltd
3.00 | Inspection, servicing and Testing of Voltamp Make 500KVA, Transformer through OEM or authorized service Provider of OEM submission of reports etc complete all as required. | 4.00 | Job |  | 16800.00 | 67200.00 | 5000.00 | 20000.00 | 12000.00 | 48000.00 | 5500.00 | 22000.00 | 25000.00 | 100000.00 | 6000.00 | 24000.00 | 3250.00 | 13000.00 | 345.00 | 1380.00 | 7000.00 | 28000.00 | 5000.00 | 20000.00 | 12150.00 | 48600.00 | 3675.00 | 14700.00 | 4000.00 | 16000.00 | 1380.00 | Freaquer Corporation Pvt Ltd
4.00 | Filtration and dehydration of transformer oil of 500 KVA, 11KV/433V Distribution Transformers including testing the BDV and acidity before and after filtration and submission of test reports etc. as required | 4.00 | Job |  | 10584.00 | 42336.00 | 6000.00 | 24000.00 | 30000.00 | 120000.00 | 6600.00 | 26400.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 7525.00 | 30100.00 | 678.00 | 2712.00 | 10000.00 | 40000.00 | 15000.00 | 60000.00 | 9500.00 | 38000.00 | 2800.00 | 11200.00 | 4000.00 | 16000.00 | 2712.00 | Freaquer Corporation Pvt Ltd
5.00 | Suppling and toping up the transformer oil in 500 KVA, 11KV/433V Distribution Transformers etc complete all as required. | 200.00 | Ltr |  | 89.00 | 17800.00 | 140.00 | 28000.00 | 450.00 | 90000.00 | 140.00 | 28000.00 | 100.00 | 20000.00 | 140.00 | 28000.00 | 155.00 | 31000.00 | 120.00 | 24000.00 | 160.00 | 32000.00 | 200.00 | 40000.00 | 100.00 | 20000.00 | 135.00 | 27000.00 | 100.00 | 20000.00 | 17800.00 | Power And Instrumentation Guj Ltd
6.00 | Inspection, Servicing, Setting, Calibration and Testing of L&T make relays (Set of 2 over current plus 1 earth fault ) through OEM or authorised service provider of OEM I/c carrying out the following and submitting test reports. a) General inspection b) Wiring check c) IR value test d) Continuity of plug shifting taps and plug bridge shorting contacts e) Secondary injection test including pick up current of IDMT element etc. | 6.00 | Job |  | 1680.00 | 10080.00 | 2000.00 | 12000.00 | 16000.00 | 96000.00 | 1650.00 | 9900.00 | 6000.00 | 36000.00 | 10000.00 | 60000.00 | 1500.00 | 9000.00 | 134.00 | 804.00 | 10000.00 | 60000.00 | 5000.00 | 30000.00 | 4350.00 | 26100.00 | 1103.00 | 6618.00 | 4000.00 | 24000.00 | 804.00 | Freaquer Corporation Pvt Ltd
7.00 | Inspection, Servicing & Testing of 1250 Amp/1000 Amp/800 Amps L&T Make Air circuit breakers through OEM or authorized service provider of OEM i/c carrying out the following test and submission of the test reports. a) General inspection b) Wiring checking including control and indications c) IR test between poles, between pole to earth between male and female contacts d) Continuity of power contacts. e) Continuity of auxiliary contacts f) Resistance measurement of tripping coil g) Closing, tripping and inter- locking testing h) Tripping through relay operation i) Secondary injection test of In-built thermal and magnetic release and calibration of the same | 6.00 | Job |  | 5040.00 | 30240.00 | 4000.00 | 24000.00 | 7000.00 | 42000.00 | 3850.00 | 23100.00 | 8000.00 | 48000.00 | 10000.00 | 60000.00 | 2750.00 | 16500.00 | 650.00 | 3900.00 | 8000.00 | 48000.00 | 5000.00 | 30000.00 | 4350.00 | 26100.00 | 3675.00 | 22050.00 | 4000.00 | 24000.00 | 3900.00 | Freaquer Corporation Pvt Ltd
8.00 | Carrying out Calibration and Sensitivity of relay of following capacity NASU make Constant Current Regulator (CCR) by OEM and submission of reports etc., complete as required.
8.10 | 30 KW | 4.00 | Job |  | 14000.00 | 56000.00 | 5000.00 | 20000.00 | 3000.00 | 12000.00 | 37371.00 | 149484.00 | 5000.00 | 20000.00 | 8000.00 | 32000.00 | 4500.00 | 18000.00 | 1340.00 | 5360.00 | 5000.00 | 20000.00 | 5000.00 | 20000.00 | 16950.00 | 67800.00 | 1102.00 | 4408.00 | 4900.00 | 19600.00 | 4408.00 | Ascent Electrification Engineers
8.20 | 20 KW | 4.00 | Job |  | 10080.00 | 40320.00 | 4000.00 | 16000.00 | 2800.00 | 11200.00 | 37371.00 | 149484.00 | 5000.00 | 20000.00 | 7000.00 | 28000.00 | 4500.00 | 18000.00 | 1870.00 | 7480.00 | 4500.00 | 18000.00 | 4000.00 | 16000.00 | 14800.00 | 59200.00 | 1102.00 | 4408.00 | 4900.00 | 19600.00 | 4408.00 | Ascent Electrification Engineers
8.30 | 4 KW | 12.00 | Job |  | 2800.00 | 33600.00 | 4000.00 | 48000.00 | 1500.00 | 18000.00 | 37371.00 | 448452.00 | 5000.00 | 60000.00 | 5000.00 | 60000.00 | 4500.00 | 54000.00 | 1980.00 | 23760.00 | 3000.00 | 36000.00 | 3000.00 | 36000.00 | 9300.00 | 111600.00 | 1102.00 | 13224.00 | 4900.00 | 58800.00 | 13224.00 | Ascent Electrification Engineers
9.00 | Rewinding and servicing of ceiling fan/ wall fan/exhaust fan with copper wire of required size, replacement of defective bearing and bush i/c to and fro transportation etc. complete as required. (all the dismantle Material belongs to contractor)
9.10 | Ceiling Fan of all Size | 70.00 | Each |  | 336.00 | 23520.00 | 400.00 | 28000.00 | 500.00 | 35000.00 | 500.00 | 35000.00 | 300.00 | 21000.00 | 280.00 | 19600.00 | 350.00 | 24500.00 | 1980.00 | 138600.00 | 500.00 | 35000.00 | 300.00 | 21000.00 | 190.00 | 13300.00 | 600.00 | 42000.00 | 350.00 | 24500.00 | 13300.00 | S. N ELECTRICALS
9.20 | Wall Fan | 10.00 | Each |  | 336.00 | 3360.00 | 600.00 | 6000.00 | 400.00 | 4000.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 300.00 | 3000.00 | 350.00 | 3500.00 | 1890.00 | 18900.00 | 500.00 | 5000.00 | 300.00 | 3000.00 | 200.00 | 2000.00 | 450.00 | 4500.00 | 300.00 | 3000.00 | 2000.00 | S. N ELECTRICALS
9.30 | Exhaust Fan | 20.00 | Each |  | 280.00 | 5600.00 | 600.00 | 12000.00 | 700.00 | 14000.00 | 500.00 | 10000.00 | 300.00 | 6000.00 | 280.00 | 5600.00 | 350.00 | 7000.00 | 1980.00 | 39600.00 | 700.00 | 14000.00 | 300.00 | 6000.00 | 200.00 | 4000.00 | 4725.00 | 94500.00 | 300.00 | 6000.00 | 4000.00 | S. N ELECTRICALS
10.00 | Rewinding & servicing of the following capacity Submersible Motor pump sets with suitable gauge copper wire i/c varnishing, baking, replacement of faulty bush & bearing etc as required i/c transportation from site to contractor's workshop & back to site. (Dismantle Material belongs to contractor).
10.10 | 7.5HP | 3.00 | Job |  | 3920.00 | 11760.00 | 6000.00 | 18000.00 | 5500.00 | 16500.00 | 3000.00 | 9000.00 | 1000.00 | 3000.00 | 4000.00 | 12000.00 | 1500.00 | 4500.00 | 1890.00 | 5670.00 | 7000.00 | 21000.00 | 5000.00 | 15000.00 | 4500.00 | 13500.00 | 3500.00 | 10500.00 | 4000.00 | 12000.00 | 3000.00 | ABHISHEK ASSOCIATES
10.20 | 10 HP | 1.00 | Job |  | 4480.00 | 4480.00 | 7000.00 | 7000.00 | 8000.00 | 8000.00 | 5000.00 | 5000.00 | 1500.00 | 1500.00 | 7000.00 | 7000.00 | 1500.00 | 1500.00 | 1890.00 | 1890.00 | 10000.00 | 10000.00 | 8000.00 | 8000.00 | 6000.00 | 6000.00 | 4500.00 | 4500.00 | 4000.00 | 4000.00 | 1500.00 | Techno Electricals, ABHISHEK ASSOCIATES
11.00 | Rewinding and Servicing of the 1 HP Motor pump sets with suitable gauge copper wire i/c varnishing, baking replacement of faulty bearing and bushing etc as required i/c transportation from site to contractor's workshop & back to site. (Dismantle Material belongs to contractor | 1.00 | Job |  | 1680.00 | 1680.00 | 3000.00 | 3000.00 | 3500.00 | 3500.00 | 4000.00 | 4000.00 | 500.00 | 500.00 | 3000.00 | 3000.00 | 1000.00 | 1000.00 | 1890.00 | 1890.00 | 2500.00 | 2500.00 | 2000.00 | 2000.00 | 1200.00 | 1200.00 | 1500.00 | 1500.00 | 3000.00 | 3000.00 | 500.00 | ABHISHEK ASSOCIATES
12.00 | Painting of Street Light Pole of following height by applying 2 coats of Aluminium paint of approved make including pole boxes,brackets, cleaning of surface etc., as required including rewriting the Pole identification Serial Number etc complete all as required.
12.10 | Up to 3 Mtr | 40.00 | Nos |  | 280.00 | 11200.00 | 100.00 | 4000.00 | 1500.00 | 60000.00 | 500.00 | 20000.00 | 190.00 | 7600.00 | 200.00 | 8000.00 | 145.00 | 5800.00 | 2140.00 | 85600.00 | 400.00 | 16000.00 | 200.00 | 8000.00 | 150.00 | 6000.00 | 450.00 | 18000.00 | 300.00 | 12000.00 | 4000.00 | Manish Electricals
12.20 | Above 3 mtrs and upto 10 Mtr | 26.00 | Nos |  | 728.00 | 18928.00 | 300.00 | 7800.00 | 1700.00 | 44200.00 | 400.00 | 10400.00 | 590.00 | 15340.00 | 200.00 | 5200.00 | 200.00 | 5200.00 | 2140.00 | 55640.00 | 500.00 | 13000.00 | 500.00 | 13000.00 | 300.00 | 7800.00 | 850.00 | 22100.00 | 350.00 | 9100.00 | 5200.00 | Techno Electricals, JAYRAM INDUSTRIES INDIA PRIVATE LIMITED
12.30 | Perimeter lighting pole up to 3 Mtr | 101.00 | Nos |  | 504.00 | 50904.00 | 120.00 | 12120.00 | 1650.00 | 166650.00 | 400.00 | 40400.00 | 190.00 | 19190.00 | 200.00 | 20200.00 | 365.00 | 36865.00 | 2450.00 | 247450.00 | 400.00 | 40400.00 | 200.00 | 20200.00 | 190.00 | 19190.00 | 450.00 | 45450.00 | 300.00 | 30300.00 | 12120.00 | Manish Electricals
13.00 | Painting of HIRL / MIRL / SAPL fitting i/c base plate in installation position with two coats of synthetic enamel paint of yellow colour of approved make to given an even shade including, cleaning the surface with detergent, etc. removing old paints etc. as required. | 279.00 | Nos |  | 112.00 | 31248.00 | 50.00 | 13950.00 | 200.00 | 55800.00 | 300.00 | 83700.00 | 60.00 | 16740.00 | 200.00 | 55800.00 | 75.00 | 20925.00 | 2560.00 | 714240.00 | 250.00 | 69750.00 | 150.00 | 41850.00 | 125.00 | 34875.00 | 100.00 | 27900.00 | 100.00 | 27900.00 | 13950.00 | Manish Electricals
14.00 | Painting of following equpment by applying two coats of synthetic enamel paint of yellow colour of approved make to given an even shade including, cleaning the surface with detergent, etc. removing old paints etc. as required.
14.10 | PAPI Units i/c base plate | 8.00 | No |  | 308.00 | 2464.00 | 500.00 | 4000.00 | 400.00 | 3200.00 | 300.00 | 2400.00 | 500.00 | 4000.00 | 400.00 | 3200.00 | 450.00 | 3600.00 | 2134.00 | 17072.00 | 500.00 | 4000.00 | 4000.00 | 32000.00 | 400.00 | 3200.00 | 1000.00 | 8000.00 | 1500.00 | 12000.00 | 2400.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
14.20 | H Indicator i/c base plate | 1.00 | No |  | 308.00 | 308.00 | 2000.00 | 2000.00 | 400.00 | 400.00 | 250.00 | 250.00 | 500.00 | 500.00 | 400.00 | 400.00 | 1750.00 | 1750.00 | 2040.00 | 2040.00 | 1000.00 | 1000.00 | 5000.00 | 5000.00 | 420.00 | 420.00 | 2000.00 | 2000.00 | 1500.00 | 1500.00 | 250.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
15.00 | Painting of sheet metal enclosures of electrical equipments such as feeder pilars, distribution boards, electrical panel, frame etc. including cleaning the surface and two coats of grey or any other colour of approved make including rewritting/Marking the identification, Protecting and covering the electrical accessories during painting and removing after work is over etc., as required. | 100.00 | Sq.mtr |  | 168.00 | 16800.00 | 150.00 | 15000.00 | 60.00 | 6000.00 | 500.00 | 50000.00 | 50.00 | 5000.00 | 500.00 | 50000.00 | 145.00 | 14500.00 | 450.00 | 45000.00 | 260.00 | 26000.00 | 500.00 | 50000.00 | 125.00 | 12500.00 | 140.00 | 14000.00 | 140.00 | 14000.00 | 5000.00 | ABHISHEK ASSOCIATES
16.00 | Decoration of Terminal building and associated area on the following special occassions/nationally important days/festivals by providing LED serial lighting and RGB type colour changing LED light ,creating special effects as per the nature of occassion up to the satisfaction of EIC including providing and fixing of all the accessories, tools & plants, arranging manpower, transportation of materials complete as per the requirements shown below - (i) Minimum no. of LED serial lighting - not less than 5000 LED lights. (ii) RGB pattern colour changing LED lighting for pillars of terminal building and for creating special effect as per reqirement (iii) Pixel Chaser light batten (With minimum 12 colour combinations) running linearly on the top of the building for a length of not more than 200 m.
16.10 | On the occasion of Independence day/ Republic day Starting from 18.00 hrs on day before the occassion to 06.00 hrs on the day after the occasion. | 4.00 | Job |  | 89600.00 | 358400.00 | 21000.00 | 84000.00 | 20000.00 | 80000.00 | 9755.30 | 39021.20 | 20000.00 | 80000.00 | 50000.00 | 200000.00 | 17585.00 | 70340.00 | 455.00 | 1820.00 | 12000.00 | 48000.00 | 15000.00 | 60000.00 | 14000.00 | 56000.00 | 12500.00 | 50000.00 | 6000.00 | 24000.00 | 1820.00 | Freaquer Corporation Pvt Ltd
16.20 | On the occasion of Diwali Starting from 18.00 hrs. before 02 Days of Diwali till 06.00 hrs on day after Bhai dhooj i.e. minimum 04 days. | 2.00 | Job |  | 134400.00 | 268800.00 | 35000.00 | 70000.00 | 20000.00 | 40000.00 | 19510.60 | 39021.20 | 20000.00 | 40000.00 | 50000.00 | 100000.00 | 17252.00 | 34504.00 | 467.00 | 934.00 | 50000.00 | 100000.00 | 15000.00 | 30000.00 | 14000.00 | 28000.00 | 25000.00 | 50000.00 | 12000.00 | 24000.00 | 934.00 | Freaquer Corporation Pvt Ltd
16.30 | On the occasion of Christmas and New Year Starting from 18.00 hrs. of 24th December till 06:00 hours of 1st Januarary i.e minimum 07 days. | 2.00 | Job |  | 235200.00 | 470400.00 | 25000.00 | 50000.00 | 20000.00 | 40000.00 | 9755.30 | 19510.60 | 20000.00 | 40000.00 | 50000.00 | 100000.00 | 17252.00 | 34504.00 | 657.00 | 1314.00 | 60000.00 | 120000.00 | 15000.00 | 30000.00 | 14000.00 | 28000.00 | 35000.00 | 70000.00 | 21000.00 | 42000.00 | 1314.00 | Freaquer Corporation Pvt Ltd
17.00 | Tracing/Finding of cable fault of all type of 1.1 KV grade LT power cable of different sizes i.e. 3.5X25 sq.mm to 3.5X300 sq.mm Al cable by standard high precision cable fault locator machinen. The job also includes excavation of all type of soil to dig out the Cable for rectification of fault at the location of fault etc complete all as required | 5.00 | Job |  | 1680.00 | 8400.00 | 15000.00 | 75000.00 | 12000.00 | 60000.00 | 400.00 | 2000.00 | 9000.00 | 45000.00 | 45000.00 | 225000.00 | 7000.00 | 35000.00 | 765.00 | 3825.00 | 15000.00 | 75000.00 | 5000.00 | 25000.00 | 12000.00 | 60000.00 | 17500.00 | 87500.00 | 6900.00 | 34500.00 | 2000.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
18.00 | Calibration of PAPI Clinometer and submission of calibration certificate etc. complete as required. | 4.00 | Job |  | 11200.00 | 44800.00 | 9000.00 | 36000.00 | 21000.00 | 84000.00 | 400.00 | 1600.00 | 10000.00 | 40000.00 | 100000.00 | 400000.00 | 3250.00 | 13000.00 | 876.00 | 3504.00 | 5000.00 | 20000.00 | 10000.00 | 40000.00 | 16000.00 | 64000.00 | 12075.00 | 48300.00 | 7900.00 | 31600.00 | 1600.00 | Metropolitan Infrabuild Development And Services Pvt Ltd
19.00 | Testing, Servicing, Adjustment and calibration of different types measuring instruments such as Digital insulator tester/digital multimeter/ digital clamp meter/ digital varnier calipers/ Digital Earth Resistance Testing Meter/Digital Thermometer/Digital Lux Meter and Submission of calibration certificate for each instrument etc. complete as required. | 14.00 | Job |  | 1288.00 | 18032.00 | 1000.00 | 14000.00 | 10000.00 | 140000.00 | 1000.00 | 14000.00 | 1000.00 | 14000.00 | 10000.00 | 140000.00 | 750.00 | 10500.00 | 356.00 | 4984.00 | 1000.00 | 14000.00 | 2000.00 | 28000.00 | 1500.00 | 21000.00 | 1523.00 | 21322.00 | 1500.00 | 21000.00 | 4984.00 | Freaquer Corporation Pvt Ltd
20.00 | Execution of Complete items of CPWD Delhi schedule of rates (E&M) 2018.[Up to a Ceiling limit of Rs. 1,00,000 without GST]. The materials used for executing the DSR items shall be as per the approved make list of AAI, as enclosed with the tender document. | 100000.00 | Excess (+) |  | .20 | 80000.00 | .20 | 80000.00 | .49 | 51000.00 | .01 | 101100.00 | .20 | 80000.00 | .10 | 110000.00 | .20 | 80000.00 | .15 | 115000.00 | .10 | 90000.00 | 0.00 | 100000.00 | .20 | 80000.00 | .35 | 65000.00 | .10 | 90000.00 | 51000.00 | M/s K.N.Construction
| Total in Figures |  |  |  |  | 10187268.00 |  | 9139870.00 |  | 9242642.00 |  | 9096531.56 |  | 9173690.00 |  | 8400000.00 |  | 8668736.00 |  | 9369929.00 |  | 8902650.00 |  | 8860050.00 |  | 8547385.00 |  | 8602734.00 |  | 9355600.00
Lowest Amount Quoted BY: JAYRAM INDUSTRIES INDIA PRIVATE LIMITED(8400000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Operation and Maintenance contract for the E and M Installations at Bhavnagar Airport for the year 2020-22 Tender ID: 2020_AAI_47716_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | JAYRAM INDUSTRIES INDIA PRIVATE LIMITED | 8400000.00 | L1
| 2 | S. N ELECTRICALS | 8547385.00 | L2
| 3 | Ascent Electrification Engineers | 8602734.00 | L3
| 4 | Techno Electricals | 8668736.00 | L4
| 5 | CENTRE TAP ENGINEERING | 8860050.00 | L5
| 6 | Onix Structure Private Limited | 8902650.00 | L6
| 7 | Metropolitan Infrabuild Development And Services Pvt Ltd | 9096531.56 | L7
| 8 | Manish Electricals | 9139870.00 | L8
| 9 | ABHISHEK ASSOCIATES | 9173690.00 | L9
| 10 | M/s K.N.Construction | 9242642.00 | L10
| 11 | Adarsh electric works | 9355600.00 | L11
| 12 | Freaquer Corporation Pvt Ltd | 9369929.00 | L12
| 13 | Power And Instrumentation Guj Ltd | 10187268.00 | L13