## BoQ1
Government eProcurement System Created By: MD Sadrul Huda Created Date/Time: 17-Aug-2020 05:24 PM Tender Title: Operation and Maintenance contract for the E and M Installations including supply of spares for day to day maintenance at C.A. Kandla for the year 2020 22 Tender ID: 2020_AAI_47718_1
Tender Inviting Authority: Sr. Manager (E-E)
Name of Work: “Operation & Maintenance contract for the E & M Installations i/c supply of spares for day to day maintenance at C.A. Kandla for the year 2020-22"
Contract No: 2020_AAI_47718_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals(GSTN-NA) |  | ABHISHEK ASSOCIATES(GSTN-NA) |  | S. N ELECTRICALS(GSTN-NA) |  | Onix Structure Private Limited(GSTN-NA) |  | Manish Electricals(GSTN-NA) |  | Freaquer Corporation Pvt Ltd(GSTN-NA)
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Annual Periodical Maintenance of Electrical & Mechanical Installations including Operation & Maintenance of Electrical & Mechanical Installations at Terminal Building,power House & other ancillary buildings, AAI residential colony including operation of DG sets, pumps, Operation and maintenance of all GLF system comprising runway edge,taxiways,apron edge lighting,approach lighting,PAPI system,CCR panels and apron high mast lighting and minor repairing as per specification & conditions attached to provide uninterrupted power supply and deputing manpower round the clock in three shifts/General shift including attending to complaints/faults/breakdowns ensuring serviceability, satisfactory working condition of the system,preventive maintnenance,upkeeping maintenance records/documentation etc.,on all working days including Sundays and holidays and also as & when required basis etc as required. | 24.00 | Month |  | 237303.00 | 5695272.00 | 227666.00 | 5463984.00 | 227000.00 | 5448000.00 | 250000.00 | 6000000.00 | 217860.00 | 5228640.00 | 247980.00 | 5951520.00 | 5228640.00 | Manish Electricals
2.00 | Annual Comprehensive maintenance contract including repair/replacement of all parts of voltas/LG/Lloyd/Hitachi/Carrier make A/c units at different locations in Airport premises complete as required as per site requirement for following capacity & following type (Each one Set/Job per month).
2.10 | 1.5 Ton Split type (1-Ø,50Hz) (21 Nos.X 24 months = 504 jobs.) | 504.00 | Job |  | 150.00 | 75600.00 | 200.00 | 100800.00 | 150.00 | 75600.00 | 300.00 | 151200.00 | 300.00 | 151200.00 | 570.00 | 287280.00 | 75600.00 | Techno Electricals, S. N ELECTRICALS
2.20 | 1.5 Ton Window type (1-Ø,50Hz) (1 Nos. X 24 months = 24 jobs.) | 24.00 | Job |  | 150.00 | 3600.00 | 200.00 | 4800.00 | 150.00 | 3600.00 | 500.00 | 12000.00 | 250.00 | 6000.00 | 570.00 | 13680.00 | 3600.00 | Techno Electricals, S. N ELECTRICALS
2.30 | 2 Ton Split type (1-Ø,50Hz) (21 Nos.X 24 months = 504 jobs.) | 504.00 | Job |  | 150.00 | 75600.00 | 225.00 | 113400.00 | 200.00 | 100800.00 | 300.00 | 151200.00 | 350.00 | 176400.00 | 570.00 | 287280.00 | 75600.00 | Techno Electricals
2.40 | 2 Ton Cassette type (1-Ø,50Hz) (2 nos. X 24 months = 48 jobs.) | 48.00 | Job |  | 150.00 | 7200.00 | 300.00 | 14400.00 | 350.00 | 16800.00 | 500.00 | 24000.00 | 500.00 | 24000.00 | 570.00 | 27360.00 | 7200.00 | Techno Electricals
2.50 | 2.5 Ton Tower type (1-Ø,50Hz) (4 nos. X 24 months = 96 jobs.) | 96.00 | Job |  | 200.00 | 19200.00 | 300.00 | 28800.00 | 350.00 | 33600.00 | 500.00 | 48000.00 | 700.00 | 67200.00 | 570.00 | 54720.00 | 19200.00 | Techno Electricals
3.00 | Annual comprehensive maintenance contract including repair/replacement of all parts for Voltas/Usha make water Cooler at different locations in airport premises complete as per site requirement for following capacity & make (Each one Set/Job per month).
3.10 | 40/80 ltrs water Cooler (Voltas make) (7 Nos. x 24 months= 168 JOB) | 168.00 | Job |  | 239.00 | 40152.00 | 200.00 | 33600.00 | 450.00 | 75600.00 | 500.00 | 84000.00 | 450.00 | 75600.00 | 670.00 | 112560.00 | 33600.00 | ABHISHEK ASSOCIATES
3.20 | 60/120 ltrs water Cooler (Usha make) (2 Nos. x 16 months= 32 JOB) | 32.00 | Job |  | 363.00 | 11616.00 | 250.00 | 8000.00 | 500.00 | 16000.00 | 800.00 | 25600.00 | 525.00 | 16800.00 | 670.00 | 21440.00 | 8000.00 | ABHISHEK ASSOCIATES
4.00 | Annual Comprehensive maintenance contract including consumable items and all spare parts i/c. membrane etc. of ION-Exchange/Kent/ORG make RO unit at different locations in airport premises complete as per site requirement for following capacity & make (Each Job per month)
4.10 | 25 LPH RO unit (make-ION-Exchange/Kent/ORG) (7 Nos. x 24 months = 168 JOB) | 168.00 | Job |  | 300.00 | 50400.00 | 300.00 | 50400.00 | 300.00 | 50400.00 | 1000.00 | 168000.00 | 350.00 | 58800.00 | 560.00 | 94080.00 | 50400.00 | Techno Electricals, S. N ELECTRICALS, ABHISHEK ASSOCIATES
4.20 | 50 LPH RO unit (make-ORG, Model-Green) (2 Nos. x 16 months = 32 JOB) | 32.00 | Job |  | 400.00 | 12800.00 | 400.00 | 12800.00 | 450.00 | 14400.00 | 1500.00 | 48000.00 | 550.00 | 17600.00 | 560.00 | 17920.00 | 12800.00 | Techno Electricals, ABHISHEK ASSOCIATES
5.00 | Dismantling, Shifting & Reinstallation of 1.5 / 2.0 / 2.5 Ton Capacity of Voltas/LG/Lloyd/Hitachi/Carrier make Airconditioner unit in airport premises (Job i/c piping work upto 2 feet, Gas charging etc complete as required ). | 8.00 | Job |  | 1000.00 | 8000.00 | 2000.00 | 16000.00 | 1000.00 | 8000.00 | 1500.00 | 12000.00 | 2500.00 | 20000.00 | 560.00 | 4480.00 | 4480.00 | Freaquer Corporation Pvt Ltd
6.00 | Servicing, repairing, rewinding and replacement of defective part like bearings, bushing etc. and also transporting from site to contractors workshop & back to site, testing and commissioning etc. complete as per site requirement for the following motors ( Dismantle material belongs to Contractor)
6.10 | Ceiling Fan/Wall Fan (1-Phase, 50Hz, 240V AC) | 25.00 | Job |  | 150.00 | 3750.00 | 250.00 | 6250.00 | 150.00 | 3750.00 | 200.00 | 5000.00 | 400.00 | 10000.00 | 430.00 | 10750.00 | 3750.00 | Techno Electricals, S. N ELECTRICALS
6.20 | Exhaust fan Up to 450 mm (1-Phase, 50Hz,240V AC ) | 10.00 | Job |  | 200.00 | 2000.00 | 250.00 | 2500.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 500.00 | 5000.00 | 430.00 | 4300.00 | 1500.00 | S. N ELECTRICALS
6.30 | 3 HP/ 2.2 KW pump motor sets (3-Phase, 50Hz,415V AC ) | 2.00 | Job |  | 1200.00 | 2400.00 | 1000.00 | 2000.00 | 150.00 | 300.00 | 3000.00 | 6000.00 | 700.00 | 1400.00 | 430.00 | 860.00 | 300.00 | S. N ELECTRICALS
7.00 | Servicing, repairing and replacement of defective part like Relay, PCB etc. of Electronic voltage stabilizer for AC units including transportation from site to contractor's workshop & back to site. (Dismantle Material belongs to contractor). | 10.00 | Job |  | 500.00 | 5000.00 | 1500.00 | 15000.00 | 250.00 | 2500.00 | 4000.00 | 40000.00 | 2800.00 | 28000.00 | 430.00 | 4300.00 | 2500.00 | S. N ELECTRICALS
8.00 | Calibration of CCR & Sensitivity of relay on 4 KW to 20 KW CCR of NASU make CCR including submitting reports etc., complete as required. | 20.00 | Job |  | 3000.00 | 60000.00 | 4000.00 | 80000.00 | 5000.00 | 100000.00 | 5000.00 | 100000.00 | 2000.00 | 40000.00 | 430.00 | 8600.00 | 8600.00 | Freaquer Corporation Pvt Ltd
9.00 | Calibration of PAPI Clinometer etc. complete as required. | 4.00 | Job |  | 1500.00 | 6000.00 | 10000.00 | 40000.00 | 10000.00 | 40000.00 | 10000.00 | 40000.00 | 8000.00 | 32000.00 | 430.00 | 1720.00 | 1720.00 | Freaquer Corporation Pvt Ltd
10.00 | Inspection, servicing, setting, testing, adjustment, calibration and submission of calibration certificate of following instruments including minor repairs etc. Complete as per site requirement.
10.10 | Electronic IDMT Relay (Make:L&T MRP 11) | 4.00 | Job |  | 1325.00 | 5300.00 | 1500.00 | 6000.00 | 500.00 | 2000.00 | 5000.00 | 20000.00 | 2500.00 | 10000.00 | 260.00 | 1040.00 | 1040.00 | Freaquer Corporation Pvt Ltd
10.20 | Voltmeter Digital suitable for AC supply. | 24.00 | Job |  | 475.00 | 11400.00 | 700.00 | 16800.00 | 500.00 | 12000.00 | 500.00 | 12000.00 | 500.00 | 12000.00 | 124.00 | 2976.00 | 2976.00 | Freaquer Corporation Pvt Ltd
10.30 | Ammeter Digital suitable for AC supply. | 28.00 | Job |  | 475.00 | 13300.00 | 700.00 | 19600.00 | 500.00 | 14000.00 | 500.00 | 14000.00 | 500.00 | 14000.00 | 132.00 | 3696.00 | 3696.00 | Freaquer Corporation Pvt Ltd
10.40 | Digital Power Factor (Cos Ø) Meter | 16.00 | Job |  | 500.00 | 8000.00 | 1000.00 | 16000.00 | 500.00 | 8000.00 | 500.00 | 8000.00 | 500.00 | 8000.00 | 165.00 | 2640.00 | 2640.00 | Freaquer Corporation Pvt Ltd
11.00 | Supply & filling of NOVEC™1230, HFC gas in the existing seamleass storage cylinder of capacity 80kg including removal of cylinder from site and transportation to the same to refilling station and re-intstallation of cylinder at site etc. complete as required as per site requirement. | 1.00 | Job |  | 30269.00 | 30269.00 | 170000.00 | 170000.00 | 85000.00 | 85000.00 | 150000.00 | 150000.00 | 135000.00 | 135000.00 | 230.00 | 230.00 | 230.00 | Freaquer Corporation Pvt Ltd
12.00 | Painting of perimeter light poles (of diameter 9 cm. and height not more than 1.40 meter, with single arm of diameter 4.8 cm and length not more than 0.35 meter) with aluminium paint of (2 coats) of approved brand and manufacturer, along with one coat of primer, including cleaning the surface as required. Painting of each pole will be treated as one job. | 355.00 | Job |  | 115.00 | 40825.00 | 200.00 | 71000.00 | 100.00 | 35500.00 | 500.00 | 177500.00 | 220.00 | 78100.00 | 156.00 | 55380.00 | 35500.00 | S. N ELECTRICALS
13.00 | Decoration of Terminal building facia with LED serial lighting and RGB pattern lighting on special occasions/nationally important days/festivals as per the requirements shown below - (i) Minimum no. of LED serial lighting - not less than 5000 LED lights. (ii) Pixel Chaser light batten running linearly on the top of the building, ATC tower, entry gate walls for a length of not more than 350 m. (iii) Halogen focus lights (Green or Yellow) for trees around terminal building - 10 Nos. Type of Decoration will be as per the theme of occasions and upto the statisfaction of the Engineer In-charge/Airport Director.
13.10 | Independence day /Republic day / AAI foundation day / Christmas / New Year (Starting from 18.00 hrs. on the Day before the Occasions to till 06.00 hrs on the day after the Occasions) Each occasion in an year shall be treated as one Job. | 8.00 | Job |  | 35452.00 | 283616.00 | 18000.00 | 144000.00 | 20000.00 | 160000.00 | 100000.00 | 800000.00 | 18000.00 | 144000.00 | 6000.00 | 48000.00 | 48000.00 | Freaquer Corporation Pvt Ltd
13.20 | Diwali (Four days - Starting from 18.00 hrs. before 02 Days of Diwali, Diwali day, Gujarati New year day and Bhai dhooj day, till 06.00 hrs on day after Bhai dhooj day) Each occasion in an year shall be treated as one Job. | 2.00 | Job |  | 45254.00 | 90508.00 | 18000.00 | 36000.00 | 20000.00 | 40000.00 | 100000.00 | 200000.00 | 21000.00 | 42000.00 | 6000.00 | 12000.00 | 12000.00 | Freaquer Corporation Pvt Ltd
14.00 | Execution of Complete items of CPWD Delhi schedule of rates (E&M) 2018.[Up to a Ceiling limit of Rs. 80,000 without GST]. The materials used for executing the DSR items shall be as per the approved make list of AAI, as enclosed with the tender document. | 80000.00 | Excess (+) |  | 0.00 | 80000.00 | .30 | 56000.00 | 0.00 | 80000.00 | 0.00 | 80000.00 | .20 | 64000.00 | .17 | 93600.00 | 56000.00 | ABHISHEK ASSOCIATES
15.00 | Supply of 1.5 sq. mm (Single Core FRLS) copper conductor PVC insulated flexible, heat resistant flame retardant low smoke (FRLS) grade wires suitable for domestic and industrial purpose. | 800.00 | Mtr |  | 11.00 | 8800.00 | 12.00 | 9600.00 | 8.00 | 6400.00 | 12.00 | 9600.00 | 12.00 | 9600.00 | 76.00 | 60800.00 | 6400.00 | S. N ELECTRICALS
16.00 | Supply of 2.5 sq. mm (Single Core FRLS) copper conductor PVC insulated flexible, heat resistant flame retardant low smoke (FRLS) grade wires suitable for domestic and industrial purpose. | 300.00 | Mtr |  | 14.00 | 4200.00 | 19.00 | 5700.00 | 12.80 | 3840.00 | 21.00 | 6300.00 | 22.00 | 6600.00 | 76.00 | 22800.00 | 3840.00 | S. N ELECTRICALS
17.00 | Supply of 4 sq. mm (Single Core FRLS) copper conductor PVC insulated flexible, heat resistant flame retardant low smoke (FRLS) grade wires suitable for domestic and industrial purpose. | 400.00 | Mtr |  | 28.00 | 11200.00 | 26.00 | 10400.00 | 20.00 | 8000.00 | 30.00 | 12000.00 | 35.00 | 14000.00 | 76.00 | 30400.00 | 8000.00 | S. N ELECTRICALS
18.00 | Supply of stranded copper conductor PVC insulated flexible PVC sheathed of 3C x 4 sq.mm Copper Cable | 100.00 | Mtr |  | 78.00 | 7800.00 | 98.00 | 9800.00 | 78.52 | 7852.00 | 145.00 | 14500.00 | 98.00 | 9800.00 | 76.00 | 7600.00 | 7600.00 | Freaquer Corporation Pvt Ltd
19.00 | Supply of 5/6 Amp one way modular Switch suitable for 230 Volt, 50 Hz single phase AC supply etc. as required | 40.00 | Each |  | 40.00 | 1600.00 | 32.00 | 1280.00 | 35.00 | 1400.00 | 18.00 | 720.00 | 35.00 | 1400.00 | 30.00 | 1200.00 | 720.00 | Onix Structure Private Limited
20.00 | Supply of 15/16 Amp one way modular Switch suitable for 230 Volt, 50 Hz single phase AC supply etc. as required | 15.00 | Each |  | 90.00 | 1350.00 | 81.00 | 1215.00 | 85.00 | 1275.00 | 64.00 | 960.00 | 70.00 | 1050.00 | 82.00 | 1230.00 | 960.00 | Onix Structure Private Limited
21.00 | Supply of 3 pin 5/6 A Modular socket outlet shuttered suitable for 230 Volt, 50 Hz single phase AC supply etc. as required | 10.00 | Each |  | 90.00 | 900.00 | 84.00 | 840.00 | 45.00 | 450.00 | 64.00 | 640.00 | 60.00 | 600.00 | 65.00 | 650.00 | 450.00 | S. N ELECTRICALS
22.00 | Supply of 6 pin 15/16 A modular socket outlet shuttered suitable for 230 Volt, 50 Hz single phase AC supply etc. as required | 15.00 | Each |  | 145.00 | 2175.00 | 142.00 | 2130.00 | 85.00 | 1275.00 | 120.00 | 1800.00 | 110.00 | 1650.00 | 120.00 | 1800.00 | 1275.00 | S. N ELECTRICALS
23.00 | Supply of Supply of 5/6 Amp one way Switch suitable for 230 Volt, 50 Hz single phase AC supply etc. as required | 100.00 | Each |  | 30.00 | 3000.00 | 12.00 | 1200.00 | 35.00 | 3500.00 | 15.00 | 1500.00 | 15.00 | 1500.00 | 35.00 | 3500.00 | 1200.00 | ABHISHEK ASSOCIATES
24.00 | Supply of Supply of 15/16 Amp one way Piano type switch suitable for 230 Volt, 50 Hz single phase AC supply etc. as required | 25.00 | Each |  | 65.00 | 1625.00 | 61.00 | 1525.00 | 85.00 | 2125.00 | 70.00 | 1750.00 | 70.00 | 1750.00 | 170.00 | 4250.00 | 1525.00 | ABHISHEK ASSOCIATES
25.00 | Supply of 3 pin 5/6 A socket outlet suitable for 230 Volt, 50 Hz single phase AC supply etc. as required | 50.00 | Each |  | 60.00 | 3000.00 | 23.00 | 1150.00 | 45.00 | 2250.00 | 30.00 | 1500.00 | 25.00 | 1250.00 | 67.00 | 3350.00 | 1150.00 | ABHISHEK ASSOCIATES
26.00 | Supply of 6 pin 15/16 A socket outlet suitable for 230 Volt, 50 Hz single phase AC supply etc. as required | 20.00 | Each |  | 65.00 | 1300.00 | 64.00 | 1280.00 | 85.00 | 1700.00 | 70.00 | 1400.00 | 60.00 | 1200.00 | 67.00 | 1340.00 | 1200.00 | Manish Electricals
27.00 | supply of 1 module piono type rotary step Electronic Fan regulator (make-Anchor, Model No.-14501 or equivalent) | 50.00 | Each |  | 258.00 | 12900.00 | 142.00 | 7100.00 | 180.00 | 9000.00 | 180.00 | 9000.00 | 220.00 | 11000.00 | 325.00 | 16250.00 | 7100.00 | ABHISHEK ASSOCIATES
28.00 | Supply of ceiling fan regulators stepped type electronic fan regulator suitable to operate on 120/280 V, 50 Hz single phase AC supply. (2 Module Modular type) | 10.00 | Each |  | 325.00 | 3250.00 | 162.00 | 1620.00 | 275.00 | 2750.00 | 255.00 | 2550.00 | 200.00 | 2000.00 | 140.00 | 1400.00 | 1400.00 | Freaquer Corporation Pvt Ltd
29.00 | Supply of ISI marked PVC casing and capping of size 25X12 mm | 200.00 | Mtr |  | 25.00 | 5000.00 | 19.00 | 3800.00 | 25.00 | 5000.00 | 15.00 | 3000.00 | 30.00 | 6000.00 | 56.00 | 11200.00 | 3000.00 | Onix Structure Private Limited
30.00 | Supply of ISI markedPVC casing and capping of Size 20 X 12 mm | 200.00 | Mtr |  | 19.00 | 3800.00 | 17.00 | 3400.00 | 35.00 | 7000.00 | 10.00 | 2000.00 | 20.00 | 4000.00 | 56.00 | 11200.00 | 2000.00 | Onix Structure Private Limited
31.00 | Supply of ISI marked 20 mm sizes of medium class PVC conduit pipe | 200.00 | Mtr |  | 17.00 | 3400.00 | 23.00 | 4600.00 | 45.00 | 9000.00 | 45.00 | 9000.00 | 20.00 | 4000.00 | 80.00 | 16000.00 | 3400.00 | Techno Electricals
32.00 | Supply of ISI marked 25 mm sizes of medium class PVC conduit pipe | 200.00 | Mtr |  | 27.00 | 5400.00 | 24.00 | 4800.00 | 55.00 | 11000.00 | 55.00 | 11000.00 | 25.00 | 5000.00 | 80.00 | 16000.00 | 4800.00 | ABHISHEK ASSOCIATES
33.00 | Supply of 3 Module (100mmX75mm) Modular G.I. box | 15.00 | Each |  | 125.00 | 1875.00 | 41.00 | 615.00 | 30.00 | 450.00 | 43.00 | 645.00 | 40.00 | 600.00 | 75.00 | 1125.00 | 450.00 | S. N ELECTRICALS
34.00 | Supply of 6 Module (200mmX75mm) Modular G.I. box | 5.00 | Each |  | 150.00 | 750.00 | 67.00 | 335.00 | 65.00 | 325.00 | 72.00 | 360.00 | 60.00 | 300.00 | 85.00 | 425.00 | 300.00 | Manish Electricals
35.00 | Supply of 8 Module (125mmX125mm) Modular G.I. box | 10.00 | Each |  | 185.00 | 1850.00 | 86.00 | 860.00 | 80.00 | 800.00 | 93.00 | 930.00 | 90.00 | 900.00 | 95.00 | 950.00 | 800.00 | S. N ELECTRICALS
36.00 | Supply of 12 Module (200mmX150mm) Modular G.I. box | 5.00 | Each |  | 200.00 | 1000.00 | 106.00 | 530.00 | 85.00 | 425.00 | 114.00 | 570.00 | 120.00 | 600.00 | 115.00 | 575.00 | 425.00 | S. N ELECTRICALS
37.00 | Supply of 3 Module size Modular base & cover plate | 20.00 | Each |  | 45.00 | 900.00 | 58.00 | 1160.00 | 110.00 | 2200.00 | 61.00 | 1220.00 | 60.00 | 1200.00 | 79.00 | 1580.00 | 900.00 | Techno Electricals
38.00 | Supply of 6 Module size Modular base & cover plate | 8.00 | Each |  | 65.00 | 520.00 | 102.00 | 816.00 | 115.00 | 920.00 | 100.00 | 800.00 | 90.00 | 720.00 | 155.00 | 1240.00 | 520.00 | Techno Electricals
39.00 | Supply of 8 Module size Modular base & cover plate | 15.00 | Each |  | 65.00 | 975.00 | 123.00 | 1845.00 | 125.00 | 1875.00 | 130.00 | 1950.00 | 120.00 | 1800.00 | 185.00 | 2775.00 | 975.00 | Techno Electricals
40.00 | Supply of 12 Module size Modular base & cover plate | 5.00 | Each |  | 150.00 | 750.00 | 162.00 | 810.00 | 135.00 | 675.00 | 157.00 | 785.00 | 150.00 | 750.00 | 210.00 | 1050.00 | 675.00 | S. N ELECTRICALS
41.00 | Supply of surface mounting modular PVC box for modular base & cover plate of size 3 Module | 5.00 | Each |  | 100.00 | 500.00 | 25.00 | 125.00 | 65.00 | 325.00 | 42.00 | 210.00 | 50.00 | 250.00 | 90.00 | 450.00 | 125.00 | ABHISHEK ASSOCIATES
42.00 | Supply of surface mounting modular PVC box for modular base & cover plate of size 6 Module | 3.00 | Each |  | 125.00 | 375.00 | 54.00 | 162.00 | 70.00 | 210.00 | 80.00 | 240.00 | 80.00 | 240.00 | 155.00 | 465.00 | 162.00 | ABHISHEK ASSOCIATES
43.00 | supply of surface mounting modular PVC box for modular base & cover plate of size 8 Module | 5.00 | Each |  | 125.00 | 625.00 | 74.00 | 370.00 | 70.00 | 350.00 | 99.00 | 495.00 | 100.00 | 500.00 | 187.00 | 935.00 | 350.00 | S. N ELECTRICALS
44.00 | Supply of modular blanking plate for the existing modular plate & switch b | 30.00 | Each |  | 20.00 | 600.00 | 17.00 | 510.00 | 5.00 | 150.00 | 15.00 | 450.00 | 10.00 | 300.00 | 205.00 | 6150.00 | 150.00 | S. N ELECTRICALS
45.00 | Supply of PVC switch board boxes complete as required of size 4X4 inch | 10.00 | Each |  | 35.00 | 350.00 | 25.00 | 250.00 | 15.00 | 150.00 | 25.00 | 250.00 | 30.00 | 300.00 | 45.00 | 450.00 | 150.00 | S. N ELECTRICALS
46.00 | Supply of PVC switch board boxes complete as required of size 4X7 inch | 10.00 | Each |  | 45.00 | 450.00 | 38.00 | 380.00 | 15.00 | 150.00 | 50.00 | 500.00 | 40.00 | 400.00 | 55.00 | 550.00 | 150.00 | S. N ELECTRICALS
47.00 | Supply of PVC switch board boxes complete as required of 6X8 inc | 10.00 | Each |  | 55.00 | 550.00 | 67.00 | 670.00 | 15.00 | 150.00 | 65.00 | 650.00 | 50.00 | 500.00 | 65.00 | 650.00 | 150.00 | S. N ELECTRICALS
48.00 | Supply of PVC switch board boxes complete as required of size 8 X 10 inch | 10.00 | Each |  | 85.00 | 850.00 | 87.00 | 870.00 | 15.00 | 150.00 | 85.00 | 850.00 | 75.00 | 750.00 | 75.00 | 750.00 | 150.00 | S. N ELECTRICALS
49.00 | Supply of 25 Amp rating, double pole, (single phase and neutral), 240 V, residual current circuit breaker (RCCB), having a sensitivity current 30 mA. | 12.00 | Each |  | 250.00 | 3000.00 | 1634.00 | 19608.00 | 1450.00 | 17400.00 | 1080.00 | 12960.00 | 1800.00 | 21600.00 | 3490.00 | 41880.00 | 3000.00 | Techno Electricals
50.00 | Supply of 40 A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA | 4.00 | Each |  | 1000.00 | 4000.00 | 2037.00 | 8148.00 | 1570.00 | 6280.00 | 1425.00 | 5700.00 | 3000.00 | 12000.00 | 3590.00 | 14360.00 | 4000.00 | Techno Electricals
51.00 | Supply of 63 A rating, four pole, (three phase and neutral), 415 volts, residual current circuit breaker (RCCB), having a sensitivity current 30 mA | 10.00 | Each |  | 1000.00 | 10000.00 | 2146.00 | 21460.00 | 1860.00 | 18600.00 | 1595.00 | 15950.00 | 3200.00 | 32000.00 | 3790.00 | 37900.00 | 10000.00 | Techno Electricals
52.00 | Supply of AC MCB having fixed time/current characteristics for use on 240 V / 415 V 50 Hz, AC supply etc. as required SP MCB 5-32 AMP,10KA (C series) rating | 50.00 | Each |  | 100.00 | 5000.00 | 109.00 | 5450.00 | 110.00 | 5500.00 | 105.00 | 5250.00 | 155.00 | 7750.00 | 180.00 | 9000.00 | 5000.00 | Techno Electricals
53.00 | Supply of AC MCB having fixed time/current characteristics for use on 240 V / 415 V 50 Hz, AC supply etc. as required DP MCB 20 AMP,10KA (C series) rating | 8.00 | Each |  | 200.00 | 1600.00 | 319.00 | 2552.00 | 348.00 | 2784.00 | 305.00 | 2440.00 | 460.00 | 3680.00 | 180.00 | 1440.00 | 1440.00 | Freaquer Corporation Pvt Ltd
54.00 | Supply of AC MCB having fixed time/current characteristics for use on 240 V / 415 V 50 Hz, AC supply etc. as required DP MCB 32 AMP,10KA (C series) rating | 6.00 | Each |  | 200.00 | 1200.00 | 319.00 | 1914.00 | 348.00 | 2088.00 | 305.00 | 1830.00 | 460.00 | 2760.00 | 180.00 | 1080.00 | 1080.00 | Freaquer Corporation Pvt Ltd
55.00 | Supply of AC MCB having fixed time/current characteristics for use on 240 V / 415 V 50 Hz, AC supply etc. as required DP MCB 40 AMP,10KA (C series) rating | 6.00 | Each |  | 200.00 | 1200.00 | 556.00 | 3336.00 | 560.00 | 3360.00 | 510.00 | 3060.00 | 680.00 | 4080.00 | 180.00 | 1080.00 | 1080.00 | Freaquer Corporation Pvt Ltd
56.00 | Supply of AC MCB having fixed time/current characteristics for use on 240 V / 415 V 50 Hz, AC supply etc. as required DP MCB 63 AMP,10KA (C series) rating | 4.00 | Each |  | 200.00 | 800.00 | 601.00 | 2404.00 | 560.00 | 2240.00 | 510.00 | 2040.00 | 750.00 | 3000.00 | 180.00 | 720.00 | 720.00 | Freaquer Corporation Pvt Ltd
57.00 | Supply of AC MCB having fixed time/current characteristics for use on 240 V / 415 V 50 Hz, AC supply etc. as required FP MCB 32 AMP,10KA (C series) rating | 5.00 | Each |  | 500.00 | 2500.00 | 808.00 | 4040.00 | 768.00 | 3840.00 | 660.00 | 3300.00 | 900.00 | 4500.00 | 180.00 | 900.00 | 900.00 | Freaquer Corporation Pvt Ltd
58.00 | Supply of AC MCB having fixed time/current characteristics for use on 240 V / 415 V 50 Hz, AC supply etc. as required FP MCB 40 AMP,10KA (C series) rating | 10.00 | Each |  | 500.00 | 5000.00 | 1079.00 | 10790.00 | 1100.00 | 11000.00 | 950.00 | 9500.00 | 1000.00 | 10000.00 | 180.00 | 1800.00 | 1800.00 | Freaquer Corporation Pvt Ltd
59.00 | Supply of AC MCB having fixed time/current characteristics for use on 240 V / 415 V 50 Hz, AC supply etc. as required FP MCB 63 AMP,10KA (C series) rating | 10.00 | Each |  | 500.00 | 5000.00 | 1132.00 | 11320.00 | 1100.00 | 11000.00 | 950.00 | 9500.00 | 1200.00 | 12000.00 | 180.00 | 1800.00 | 1800.00 | Freaquer Corporation Pvt Ltd
60.00 | Supply of AC MCB having fixed time/current characteristics for use on 240 V / 415 V 50 Hz, AC supply etc. as required FP MCB 100 AMP,10KA (C series) rating | 4.00 | Each |  | 1000.00 | 4000.00 | 4704.00 | 18816.00 | 3500.00 | 14000.00 | 5660.00 | 22640.00 | 5500.00 | 22000.00 | 180.00 | 720.00 | 720.00 | Freaquer Corporation Pvt Ltd
61.00 | Supply of 4 Pole, 400 Amp current rating Power Contactor (Make-L&T, Model-MCX 43 | 1.00 | Each |  | 5000.00 | 5000.00 | 38615.00 | 38615.00 | 22850.00 | 22850.00 | 37305.00 | 37305.00 | 32000.00 | 32000.00 | 38900.00 | 38900.00 | 5000.00 | Techno Electricals
62.00 | Supplying of 6 Way, double door single pole and neutral, sheet steel, MCB distribution board, 240 V, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar with acrylic door etc. as required. | 2.00 | Each |  | 745.00 | 1490.00 | 1259.00 | 2518.00 | 1100.00 | 2200.00 | 735.00 | 1470.00 | 1100.00 | 2200.00 | 290.00 | 580.00 | 580.00 | Freaquer Corporation Pvt Ltd
63.00 | Supplying of 8 Way, double door single pole and neutral, sheet steel, MCB distribution board, 240 V, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar with acrylic door etc. as required. | 1.00 | Each |  | 885.00 | 885.00 | 1435.00 | 1435.00 | 850.00 | 850.00 | 840.00 | 840.00 | 1500.00 | 1500.00 | 290.00 | 290.00 | 290.00 | Freaquer Corporation Pvt Ltd
64.00 | Supplying of 12 way , double door single pole and neutral, sheet steel, MCB distribution board, 240 V, complete with tinned copper bus bar, neutral bus bar, earth bar, din bar with acrylic door etc. as required. | 1.00 | Each |  | 1150.00 | 1150.00 | 1737.00 | 1737.00 | 1300.00 | 1300.00 | 1010.00 | 1010.00 | 1600.00 | 1600.00 | 290.00 | 290.00 | 290.00 | Freaquer Corporation Pvt Ltd
65.00 | Supply of HT insulation tape roll of size 19mmX 0.9mm of length not less then 9 Mtr | 3.00 | Each |  | 1500.00 | 4500.00 | 527.00 | 1581.00 | 250.00 | 750.00 | 30.00 | 90.00 | 300.00 | 900.00 | 267.00 | 801.00 | 90.00 | Onix Structure Private Limited
66.00 | Supply of LT insulation tape roll of colour red,green,blue and black of length not less then 9 Mtr per roll | 20.00 | Each |  | 20.00 | 400.00 | 15.00 | 300.00 | 3.00 | 60.00 | 10.00 | 200.00 | 10.00 | 200.00 | 155.00 | 3100.00 | 60.00 | S. N ELECTRICALS
67.00 | Supply of loop in loop out box for Perimeter light poles (Hensel make) including suitable connector with terminal and DIN rail for mounting of MCBs/connectors, making interconnections as required i/c suitable clamp for fixing. | 100.00 | Each |  | 1250.00 | 125000.00 | 2875.00 | 287500.00 | 300.00 | 30000.00 | 1760.00 | 176000.00 | 900.00 | 90000.00 | 130.00 | 13000.00 | 13000.00 | Freaquer Corporation Pvt Ltd
68.00 | Supply of 3 pin, 6 A ISI mark plug top suitable to operate 230 V, 50 Hz AC supply | 15.00 | Each |  | 33.00 | 495.00 | 39.00 | 585.00 | 41.00 | 615.00 | 35.00 | 525.00 | 30.00 | 450.00 | 32.00 | 480.00 | 450.00 | Manish Electricals
69.00 | Supply of 3 pin, 16 A ISI mark plug top suitable to operate 230 V, 50 Hz AC supply | 15.00 | Each |  | 50.00 | 750.00 | 52.00 | 780.00 | 61.00 | 915.00 | 85.00 | 1275.00 | 48.00 | 720.00 | 32.00 | 480.00 | 480.00 | Freaquer Corporation Pvt Ltd
70.00 | Supply of Call bell remote controlled suitable for 230V, 50 Hz single phase AC supply. | 2.00 | Each |  | 450.00 | 900.00 | 454.00 | 908.00 | 180.00 | 360.00 | 350.00 | 700.00 | 380.00 | 760.00 | 450.00 | 900.00 | 360.00 | S. N ELECTRICALS
71.00 | Supply of Multi function Meter (make-conzerv, Model No-EM 6436) | 5.00 | Each |  | 3500.00 | 17500.00 | 4709.00 | 23545.00 | 3500.00 | 17500.00 | 5100.00 | 25500.00 | 9000.00 | 45000.00 | 240.00 | 1200.00 | 1200.00 | Freaquer Corporation Pvt Ltd
72.00 | Supply of 6 SWG dia G.I. Wire for loop earthing | 200.00 | Mtr |  | 20.00 | 4000.00 | 18.00 | 3600.00 | 20.00 | 4000.00 | 11.00 | 2200.00 | 15.00 | 3000.00 | 290.00 | 58000.00 | 2200.00 | Onix Structure Private Limited
73.00 | Supply of 6A, Angle holder as per Cat. No. 39527 of Anchor make or Equivalent approved make . | 20.00 | Each |  | 22.00 | 440.00 | 24.00 | 480.00 | 15.00 | 300.00 | 28.00 | 560.00 | 25.00 | 500.00 | 80.00 | 1600.00 | 300.00 | S. N ELECTRICALS
74.00 | Supply of 6A Ceiling rose as per Cat. No. 39040 of Anchor make or Equivalent approved make . | 30.00 | Each |  | 20.00 | 600.00 | 22.00 | 660.00 | 10.00 | 300.00 | 25.00 | 750.00 | 20.00 | 600.00 | 110.00 | 3300.00 | 300.00 | S. N ELECTRICALS
75.00 | Supply of 9 W LED bulb suitable for operation on 230 V, 50Hz, AC AC supply complete etc as required. (Make: Havells, Code: LHLDEUHEML8R009 or Equivalent) | 20.00 | Each |  | 150.00 | 3000.00 | 106.00 | 2120.00 | 85.00 | 1700.00 | 100.00 | 2000.00 | 185.00 | 3700.00 | 342.00 | 6840.00 | 1700.00 | S. N ELECTRICALS
76.00 | Supply Of 200 W 6.6 A bipin runway halogen lamp | 50.00 | Each |  | 485.00 | 24250.00 | 492.00 | 24600.00 | 650.00 | 32500.00 | 600.00 | 30000.00 | 400.00 | 20000.00 | 556.00 | 27800.00 | 20000.00 | Manish Electricals
77.00 | Supply Of Lamp holder for runway/taxiway halogen lamps | 50.00 | Each |  | 175.00 | 8750.00 | 293.00 | 14650.00 | 150.00 | 7500.00 | 500.00 | 25000.00 | 400.00 | 20000.00 | 120.00 | 6000.00 | 6000.00 | Freaquer Corporation Pvt Ltd
78.00 | Supply of Clear lens suitable for AMA MK-III PAPI Unit (Make- AMA) | 6.00 | Each |  | 1250.00 | 7500.00 | 2574.00 | 15444.00 | 1500.00 | 9000.00 | 3200.00 | 19200.00 | 5200.00 | 31200.00 | 230.00 | 1380.00 | 1380.00 | Freaquer Corporation Pvt Ltd
79.00 | Supply of Red filter suitable for AMA MK-III PAPI Unit (Make- AMA) | 6.00 | Each |  | 3500.00 | 21000.00 | 3510.00 | 21060.00 | 1500.00 | 9000.00 | 3100.00 | 18600.00 | 6000.00 | 36000.00 | 230.00 | 1380.00 | 1380.00 | Freaquer Corporation Pvt Ltd
80.00 | Supply of Aluminium Reflector suitable for AMA MK-III PAPI Unit (Make- AMA) | 12.00 | Each |  | 1252.00 | 15024.00 | 1170.00 | 14040.00 | 1500.00 | 18000.00 | 3000.00 | 36000.00 | 3200.00 | 38400.00 | 230.00 | 2760.00 | 2760.00 | Freaquer Corporation Pvt Ltd
81.00 | Supply of Air Filter suitable for AMA MK-III PAPI Unit (Make- AMA) | 8.00 | Each |  | 1500.00 | 12000.00 | 1170.00 | 9360.00 | 1500.00 | 12000.00 | 2000.00 | 16000.00 | 2000.00 | 16000.00 | 230.00 | 1840.00 | 1840.00 | Freaquer Corporation Pvt Ltd
82.00 | Supply of Upper Breakable Coupling (Upper Breakable Point + Upper Leg Plate) suitable for AMA MK-III PAPI Unit (Make- AMA) | 12.00 | Each |  | 1250.00 | 15000.00 | 1404.00 | 16848.00 | 1500.00 | 18000.00 | 1900.00 | 22800.00 | 2500.00 | 30000.00 | 230.00 | 2760.00 | 2760.00 | Freaquer Corporation Pvt Ltd
83.00 | Supply of Lower breakable coupling for AMA make PAPI | 12.00 | Each |  | 1250.00 | 15000.00 | 761.00 | 9132.00 | 1500.00 | 18000.00 | 900.00 | 10800.00 | 750.00 | 9000.00 | 230.00 | 2760.00 | 2760.00 | Freaquer Corporation Pvt Ltd
84.00 | Supply of Upper leg pipe (LH threaded) for AMA make PAPI | 12.00 | Each |  | 1250.00 | 15000.00 | 2340.00 | 28080.00 | 1500.00 | 18000.00 | 1400.00 | 16800.00 | 1200.00 | 14400.00 | 230.00 | 2760.00 | 2760.00 | Freaquer Corporation Pvt Ltd
85.00 | Supply of Lower Leg Pipe for AMA make PAPI | 12.00 | Each |  | 1250.00 | 15000.00 | 2340.00 | 28080.00 | 1500.00 | 18000.00 | 1400.00 | 16800.00 | 1200.00 | 14400.00 | 230.00 | 2760.00 | 2760.00 | Freaquer Corporation Pvt Ltd
86.00 | Supply of Locking Nut for upper pipe (RH threaded) for AMA make PAPI | 12.00 | Each |  | 150.00 | 1800.00 | 293.00 | 3516.00 | 1500.00 | 18000.00 | 425.00 | 5100.00 | 600.00 | 7200.00 | 230.00 | 2760.00 | 1800.00 | Techno Electricals
87.00 | Supply of Locking Nut for lower pipe(LH threaded) for AMA make PAPI | 12.00 | Each |  | 150.00 | 1800.00 | 293.00 | 3516.00 | 1500.00 | 18000.00 | 425.00 | 5100.00 | 600.00 | 7200.00 | 230.00 | 2760.00 | 1800.00 | Techno Electricals
88.00 | Supply of Threaded adjustment sleeves (Middle Nut) for AMA make PAPI | 10.00 | Each |  | 1000.00 | 10000.00 | 936.00 | 9360.00 | 1500.00 | 15000.00 | 4500.00 | 45000.00 | 2500.00 | 25000.00 | 230.00 | 2300.00 | 2300.00 | Freaquer Corporation Pvt Ltd
89.00 | Supply of TDS meter | 1.00 | Each |  | 1000.00 | 1000.00 | 878.00 | 878.00 | 1000.00 | 1000.00 | 400.00 | 400.00 | 400.00 | 400.00 | 530.00 | 530.00 | 400.00 | Onix Structure Private Limited, Manish Electricals
90.00 | Supply of Digital Clamp Meter/ Tongtester suitable for DC/AC/TRMS (Make-Meco, Model-1080-TRMS) | 1.00 | Each |  | 2000.00 | 2000.00 | 4037.00 | 4037.00 | 2000.00 | 2000.00 | 3720.00 | 3720.00 | 3500.00 | 3500.00 | 670.00 | 670.00 | 670.00 | Freaquer Corporation Pvt Ltd
91.00 | Supply of Digital Insulation Tester with DC test voltage-500 V, 0-200 M ohms Range, and Resolution-0.1 M ohms (Make-Meco, Model-DIT 99C) | 1.00 | Each |  | 2000.00 | 2000.00 | 1697.00 | 1697.00 | 1850.00 | 1850.00 | 1410.00 | 1410.00 | 2000.00 | 2000.00 | 140.00 | 140.00 | 140.00 | Freaquer Corporation Pvt Ltd
92.00 | Supply of Earth Tester set | 1.00 | Each |  | 2000.00 | 2000.00 | 2984.00 | 2984.00 | 1850.00 | 1850.00 | 6000.00 | 6000.00 | 5000.00 | 5000.00 | 230.00 | 230.00 | 230.00 | Freaquer Corporation Pvt Ltd
93.00 | Supply of driver for existing LED signage board Suitable to operate inbuilt dual circuit having variable current 2.8 A to 6.6 Amp with auto changeover facility. The driver should be able to drive LED strips of 0.5 Watts Osram LED's assembled on aluminium PCB of size 700mm X 20mm and having 11 LED's per PCB for boards. from 5 strips to 20 strips. | 10.00 | Each |  | 2000.00 | 20000.00 | 9477.00 | 94770.00 | 2250.00 | 22500.00 | 8100.00 | 81000.00 | 6500.00 | 65000.00 | 6700.00 | 67000.00 | 20000.00 | Techno Electricals
94.00 | Supply of LED strip with high luminous long life typically 50,000 hrs type, 0.5 watts Osram LED's assembled on aluminum PCB of size 700mm X 20mm X 2mm and having 11 LED's per PCB for boards. (make- Poshdecor) At one end single non-reversible jack to be provided for easy replacement of LED without tools at site. | 100.00 | Each |  | 693.00 | 69300.00 | 843.00 | 84300.00 | 1100.00 | 110000.00 | 720.00 | 72000.00 | 1100.00 | 110000.00 | 230.00 | 23000.00 | 23000.00 | Freaquer Corporation Pvt Ltd
95.00 | Supply of loop wire with non-reversible male jack of length 1 Mtr each for LED strips. | 25.00 | Each |  | 100.00 | 2500.00 | 702.00 | 17550.00 | 450.00 | 11250.00 | 600.00 | 15000.00 | 500.00 | 12500.00 | 230.00 | 5750.00 | 2500.00 | Techno Electricals
96.00 | Supply of 1000 W Halogen Lamp for High mast | 10.00 | Each |  | 100.00 | 1000.00 | 94.00 | 940.00 | 40.00 | 400.00 | 110.00 | 1100.00 | 100.00 | 1000.00 | 980.00 | 9800.00 | 400.00 | S. N ELECTRICALS
97.00 | Supply of 12 V, 180 Ah SMF lead acid batteries for DG Set | 2.00 | Each |  | 6500.00 | 13000.00 | 13455.00 | 26910.00 | 14500.00 | 29000.00 | 12500.00 | 25000.00 | 18000.00 | 36000.00 | 18700.00 | 37400.00 | 13000.00 | Techno Electricals
| Total in Figures |  |  |  |  | 7219762.00 |  | 7517836.00 |  | 7093114.00 |  | 9296050.00 |  | 7380950.00 |  | 7800483.00
Lowest Amount Quoted BY: S. N ELECTRICALS(7093114.00)

## BOQ Summary
BOQ Summary Details Tender Title: Operation and Maintenance contract for the E and M Installations including supply of spares for day to day maintenance at C.A. Kandla for the year 2020 22 Tender ID: 2020_AAI_47718_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | S. N ELECTRICALS | 7093114.00 | L1
| 2 | Techno Electricals | 7219762.00 | L2
| 3 | Manish Electricals | 7380950.00 | L3
| 4 | ABHISHEK ASSOCIATES | 7517836.00 | L4
| 5 | Freaquer Corporation Pvt Ltd | 7800483.00 | L5
| 6 | Onix Structure Private Limited | 9296050.00 | L6