## BoQ1
Government eProcurement System Created By: ANILDAS BEKAL Created Date/Time: 25-Jun-2020 02:36 PM Tender Title: Provision of AC Units, RO water purifier with inbuilt water cooler for new installations at MSSR station Bellary Tender ID: 2020_AAI_47958_1
Tender Inviting Authority: Asst. General Manager (Engg. – Electrical), AAI, Hubballi
Name of Work: Provision of AC Units, RO water purifier with inbuilt water cooler for new installations at MSSR station Bellary
Contract No: 2020_AAI_47958_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | CHENNAI ENGINEERING SERVICES |  | Manish Electricals |  | M K ENTERPRISES |  | VOLKS ENERGIE PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing and Commissioning of 1.5TR Inverter type 5 star rated Split Air-conditioner of wall mounting type with indoor unit made of low smoke, non-flammable material, consisting of non-ductable type room units (fan coil) with cord less LCD type remote control and one number out door condensing unite suitable for operation on single phase, 230 +/- 10% volts, 50HZ, AC supply including fixing the outdoor unit on a fabricated MS stand/wall Bracket/Brick foundation as per the site requirement and fixing of Indoor room unit. Providing and making interconnections between room unit and condensing unit upto a length of 05 mtrs. Comprising of the following including first charge of refrigerent etc, as required. (Note: as per AAI approved make) a) 1/2" dia. Insulated copper pipe - Liquid line b) 1/4" dia. Insulated copper pipe - Suction line c) 4 x2.5sqmm copper conductor cable between indoor and outdoor units. d) 1" drain PVC pipe e) Suitable size of PVC flexible pipe for covering the refrigerant line of above (a) , (b) & (c) | 7.00 | Each |  | 41999.00 | 293993.00 | 39500.00 | 276500.00 | 43000.00 | 301000.00 | 42000.00 | 294000.00 | 276500.00 | Manish Electricals
2.00 | Supply and fixing additional set of 1/2'' and 1/4'' copper pipe line and 4X2.5 Sqmm PVC insulated PVC sheathed copper conductor cable from the indoor units to outdoor on the wall surface/cable tray using suitable clamp etc. complete as required. | 35.00 | Mtr. |  | 999.00 | 34965.00 | 650.00 | 22750.00 | 900.00 | 31500.00 | 600.00 | 21000.00 | 21000.00 | VOLKS ENERGIE PVT LTD
3.00 | Supplying,installations, Testing and commissioning of wall mounting type , 4 KVA capacity ,single phase ,automatic line volatage stablizer sutable for operation on 170 volts to 270 volts AC Input,200 to 240 Volts AC out put single phase, 50Hz AC power supply with built in time delay , cut off and low voltage cut off, input/out put/trip indications and suitable for operation of 1.5 Ton Air conditioning Unit etc as required. | 7.00 | Each |  | 2999.00 | 20993.00 | 6500.00 | 45500.00 | 6000.00 | 42000.00 | 2000.00 | 14000.00 | 14000.00 | VOLKS ENERGIE PVT LTD
4.00 | Supply of RO water purifier (RO+UV+UF) Domestic model with 45litre per hour filtering capacity and having 10-12 litre water storage capacity . with inbuilt water cooler with Hot, Cold and Normal Water Dispenser Suitable for operation on 240 V AC, 50HZ and recommended to use for Municipal water, Borewell water, Water from tankers (Make:Aquaguard Hot & Cold RO+UV Water Purifier/ or equivalent ) | 2.00 | Each |  | 41999.00 | 83998.00 | 42500.00 | 85000.00 | 40000.00 | 80000.00 | 38000.00 | 76000.00 | 76000.00 | VOLKS ENERGIE PVT LTD
5.00 | Supplying and fixing 20 Amps., 240 volts, SPN industrial type, socket outlet, with 2 pole and earth metal enclosed plug top alongwith 20 Amps., 'C' Series, SP MCB, in sheet steel enclosure, on surface or in recess, with chained metal cover for the socket outlet, and complete with connections, testing and commissioning etc. as required. (Note: as per AAI approved make) | 7.00 | Each |  | 1999.00 | 13993.00 | 1050.00 | 7350.00 | 500.00 | 3500.00 | 2000.00 | 14000.00 | 3500.00 | M K ENTERPRISES
6.00 | Wiring for light / power plug with 2x4 sq.mm FRLS PVC insulated copper conductor single core cable in surface/ recessed steel conduit alongwuth 1no. 4 sq.mm FRLC PVC insulated copper conductor single core cable for loop earthing as required. | 100.00 | Mtr. |  | 259.00 | 25900.00 | 210.00 | 21000.00 | 90.00 | 9000.00 | 250.00 | 25000.00 | 9000.00 | M K ENTERPRISES
| Total in Figures |  |  |  |  | 473842.00 |  | 458100.00 |  | 467000.00 |  | 444000.00
Lowest Amount Quoted BY: VOLKS ENERGIE PVT LTD(444000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Provision of AC Units, RO water purifier with inbuilt water cooler for new installations at MSSR station Bellary Tender ID: 2020_AAI_47958_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VOLKS ENERGIE PVT LTD | 444000.00 | L1
| 2 | Manish Electricals | 458100.00 | L2
| 3 | M K ENTERPRISES | 467000.00 | L3
| 4 | CHENNAI ENGINEERING SERVICES | 473842.00 | L4