## BoQ1
Government eProcurement System Created By: Amit Kumar Created Date/Time: 25-Jun-2020 12:22 PM Tender Title: Renovation of Arrival Lounge and Replacement of Roof Sheets of Fire Station Parking Shed and Other Miscellaneous Works at Ludhiana Airport, Ludhiana. Tender ID: 2020_AAI_48091_1
Tender Inviting Authority: Senior Manager (Civil), AAI, Adampur Airport, Jalandhar.
Name of Work: Renovation of Arrival Lounge and Replacement Of Roof Sheets of Fire Station Parking Shed and Other Miscellaneous Works at Ludhiana Airport, Ludhiana.
Contract No: 2020_AAI_48091_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | S S BUILDERS |  | ANUJ ABROL CONTRACTOR |  | sandeep singh rana |  | buoyant industries private limited
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Providing and fixing precoated galvanised iron profile sheets (size, shape and pitch of corrugation as approved by Engineer-in-charge) 0.50 mm (+ 0.05 %) total coated thickness with zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns. Sheet should have protective guard film of 25 microns minimum to avoid scratches during transportation and should be supplied in single length upto 12 metre or as desired by Engineerin- charge. The sheet shall be fixed using self drilling /self tapping screws of size (5.5x 55 mm) with EPDM seal, complete upto any pitch in horizontal/ vertical or curved surfaces, excluding the cost of purlins, rafters and trusses and including cutting to size and shape wherever required. | 945.00 | Sqm |  | 560.00 | 529200.00 | 650.00 | 614250.00 | 530.00 | 500850.00 | 721.68 | 681987.60 | 500850.00 | sandeep singh rana
2.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+ 0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Gutter .(600 mm over all girth) | 95.00 | Mtr |  | 530.00 | 50350.00 | 650.00 | 61750.00 | 650.00 | 61750.00 | 423.89 | 40269.55 | 40269.55 | buoyant industries private limited
3.00 | Providing and fixing precoated galvanised steel sheet roofing accessories 0.50 mm (+ 0.05 %) total coated thickness, Zinc coating 120 grams per sqm as per IS: 277, in 240 mpa steel grade, 5-7 microns epoxy primer on both side of the sheet and polyester top coat 15-18 microns using self drilling/ self tapping screws complete : Ridges plain (500 - 600mm). | 46.00 | Mtr |  | 530.00 | 24380.00 | 650.00 | 29900.00 | 310.00 | 14260.00 | 478.75 | 22022.50 | 14260.00 | sandeep singh rana
4.00 | Providing and fixing thermal insulation of ceiling (under deck insulation) with Resin Bonded Rockwool conforming to IS: 8183, density 48 kg/ m3, 50 mm thick, wrapped in 200 G Virgin Polythene bags fixed to ceiling with metallic cleats (50x50x3 mm) @ 60 cm and wire mesh of 12.5mm x 24 gauge wire mesh, for top most ceiling of building. | 255.00 | sqm |  | 360.00 | 91800.00 | 150.00 | 38250.00 | 180.00 | 45900.00 | 628.36 | 160231.80 | 38250.00 | ANUJ ABROL CONTRACTOR
5.00 | Providing and Fixing 15 mm thick densified tegular edged eco friendly light weight calcium silicate false ceiling tiles of approved texture of size 595 x 595 mm in true horizontal level, suspended on inter locking metal grid of hot dipped galvanised steel sections (galvanising @ 120 grams per sqm including both side) consisting of main ‘T’ runner suitably spaced at joints to get required length and of size 24x38 mm made from 0.33 mm thick (minimum) sheet, spaced 1200 mm centre to centre, and cross “T” of size 24x28 mm made out of 0.33 mm (Minimum) sheet, 1200 mm long spaced between main’T’ at 600 mm centre to centre to form a grid of 1200x600 mm and secondary cross ‘T’ of length 600 mm and size 24 x28 mm made of 0.33 mm thick (Minimum) sheet to be inter locked at middle of the 1200x 600 mm panel to from grid of size 600x600 mm, resting on periphery walls /partitions on a Perimeter wall angle pre-coated steel of size(24x24X3000 mm made of 0.40 mm thick (minimum) sheet with the help of rawl plugs at 450 mm centre to centre with 25 mm long dry wall screws @ 230 mm interval and laying 15 mm thick densified edges calicum silicate ceiling tiles of approved texture in the grid, including, cutting/ making opening“for services like diffusers, grills, light fittings, fixtures, smoke detectors etc., wherever required. Main ‘T’ runners to be suspended from ceiling using G.I. slotted cleats of size 25x35x1.6 mm fixed to ceiling with 12.5 mm dia and 50 mm long dash fasteners, 4 mm G.I. adjustable rods with galvanised steel level clips of size 85 x 30 x 0.8 mm, spaced at 1200 mm centre to centre along main ‘T’, bottom exposed with 24 mm of all Tsections shall be pre-painted with polyster baked paint, for all heights, as per specifications, drawings and as directed by Engineer-in-Charge. Note :- Only calcium silicate false ceiling area will be measured from wall to wall. No deduction shall be made for exposed frames/ opening (cut outs) having area less than 0.30 sqm.The calcium silicate ceiling tile shall have NRC value of 0.50 (Minimum), light reflection > 85%, non- combustible as per B.S. 476 part IV, 100% humidity resistance and also having thermal conductivity <0.043 w/mK. | 195.00 | Sqm |  | 1300.00 | 253500.00 | 1500.00 | 292500.00 | 950.00 | 185250.00 | 1890.55 | 368657.25 | 185250.00 | sandeep singh rana
6.00 | 12 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 51.00 | sqm |  | 200.00 | 10200.00 | 100.00 | 5100.00 | 140.00 | 7140.00 | 306.88 | 15650.88 | 5100.00 | ANUJ ABROL CONTRACTOR
7.00 | 15 mm cement plaster of mix : 1:4 (1 cement: 4 fine sand) | 50.00 | sqm |  | 200.00 | 10000.00 | 100.00 | 5000.00 | 160.00 | 8000.00 | 354.08 | 17704.00 | 5000.00 | ANUJ ABROL CONTRACTOR
8.00 | Repairs to plaster of thickness 12 mm to 20 mm in patches of area 2.5 sq. meters and under, including cutting the patch in proper shape, raking out joints and preparing and plastering the surface of the walls complete, including disposal of rubbish to the dumping ground, all complete as per directions of Engineer-In-Charge. With cement mortar 1:4 (1 cement : 4 fine sand) | 101.00 | sqm |  | 220.00 | 22220.00 | 100.00 | 10100.00 | 220.00 | 22220.00 | 480.47 | 48527.47 | 10100.00 | ANUJ ABROL CONTRACTOR
9.00 | Removing dry or oil bound distemper, water proofing cement paint and the like by scrapping, sand papering and preparing the surface smooth including necessary repairs to scratches etc. complete. | 253.00 | sqm |  | 15.00 | 3795.00 | 20.00 | 5060.00 | 5.00 | 1265.00 | 20.99 | 5310.47 | 1265.00 | sandeep singh rana
10.00 | Providing and applying white cement based putty of average thickness 1 mm, of approved brand and manufacturer, over the plastered wall surface to prepare the surface even and smooth complete. | 507.00 | sqm |  | 80.00 | 40560.00 | 18.00 | 9126.00 | 50.00 | 25350.00 | 132.43 | 67142.01 | 9126.00 | ANUJ ABROL CONTRACTOR
11.00 | Finishing with Deluxe Multi surface paint system for interiors and exteriors using Primer as per manufacturers specifications : ... Two or more coats applied on walls @ 1.25 ltr/10 sqm over and including one coat of Special primer applied @ 0.75 ltr /10 sqm | 507.00 | sqm |  | 95.00 | 48165.00 | 70.00 | 35490.00 | 60.00 | 30420.00 | 163.53 | 82909.71 | 30420.00 | sandeep singh rana
12.00 | Dismantling roofing including ridges, hips, valleys and gutters etc., and stacking the material within 50 metres lead of: ... Asbestos Sheet | 580.00 | Sqm |  | 40.00 | 23200.00 | 5.00 | 2900.00 | 25.00 | 14500.00 | 65.44 | 37955.20 | 2900.00 | ANUJ ABROL CONTRACTOR
13.00 | Dismantling doors, windows and clerestory windows (steel or wood) shutter including chowkhats, architrave, holdfasts etc. complete and stacking within 50 metres lead : … Of area 3 sq. metres and below | 25.00 | each |  | 200.00 | 5000.00 | 60.00 | 1500.00 | 100.00 | 2500.00 | 315.68 | 7892.00 | 1500.00 | ANUJ ABROL CONTRACTOR
14.00 | Dismantling aluminium/ Gypsum partitions, doors, windows, fixed glazing and false ceiling including disposal of unserviceable surplus material and stacking of serviceable material with in 50 meters lead as directed by Engineer-in-charge. | 200.00 | sqm |  | 20.00 | 4000.00 | 10.00 | 2000.00 | 20.00 | 4000.00 | 48.30 | 9660.00 | 2000.00 | ANUJ ABROL CONTRACTOR
15.00 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading,transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 10.00 | cum |  | 200.00 | 2000.00 | 100.00 | 1000.00 | 80.00 | 800.00 | 159.68 | 1596.80 | 800.00 | sandeep singh rana
16.00 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge. … In cement mortar | 5.00 | cum |  | 600.00 | 3000.00 | 80.00 | 400.00 | 500.00 | 2500.00 | 1690.39 | 8451.95 | 400.00 | ANUJ ABROL CONTRACTOR
17.00 | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level : … 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size). | 45.00 | cum |  | 4000.00 | 180000.00 | 3000.00 | 135000.00 | 3200.00 | 144000.00 | 6658.04 | 299611.80 | 135000.00 | ANUJ ABROL CONTRACTOR
18.00 | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer all complete. | 3386.00 | Kg |  | 80.00 | 270880.00 | 70.00 | 237020.00 | 65.00 | 220090.00 | 117.02 | 396229.72 | 220090.00 | sandeep singh rana
19.00 | Steel work in built up tubular (round, square or rectangular hollow tubes etc.) trusses etc., including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer, including welding and bolted with special shaped washers etc. complete. Electric resistance or induction butt welded tubes | 460.00 | Kg |  | 90.00 | 41400.00 | 70.00 | 32200.00 | 80.00 | 36800.00 | 148.75 | 68425.00 | 32200.00 | ANUJ ABROL CONTRACTOR
20.00 | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 in foundation and plinth in: … Cement mortar 1:6 (1 cement : 6 coarse sand) | 5.00 | cum |  | 4500.00 | 22500.00 | 4500.00 | 22500.00 | 4000.00 | 20000.00 | 7081.07 | 35405.35 | 20000.00 | sandeep singh rana
21.00 | Providing and laying vitrified floor tiles in different sizes (thickness to be specified by the manufacturer) with water absorption less than 0.08% and conforming to IS: 15622, of approved make, in all colours and shades, laid on 20mm thick cement mortar 1:4 (1 cement : 4 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joints with white cement and matching pigments etc., complete. ... Size of Tile 600x600 mm | 180.00 | sqm |  | 870.00 | 156600.00 | 800.00 | 144000.00 | 750.00 | 135000.00 | 1725.63 | 310613.40 | 135000.00 | sandeep singh rana
22.00 | Providing and laying Vitrified tiles in different sizes (thickness to be specified by manufacturer), with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make, in all colours & shade, in skirting, riser of steps, over 12 mm thick bed of cement mortar 1:3 (1 cement: 3 coarse sand), jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete. ... Size of Tile 600x600 mm | 15.00 | sqm |  | 900.00 | 13500.00 | 800.00 | 12000.00 | 800.00 | 12000.00 | 1777.73 | 26665.95 | 12000.00 | sandeep singh rana, ANUJ ABROL CONTRACTOR
23.00 | Deduct for not grouting the joints with white cement and matching pigment in the items of fixing of vitrified tiles. | 195.00 | sqm |  | 20.00 | 3900.00 | 5.00 | 975.00 | 2.00 | 390.00 | 12.65 | 2466.75 | 390.00 | sandeep singh rana
24.00 | Grouting the joints of flooring tiles having joints of 3 mm width, using epoxy grout mix of 0.70 kg of organic coated filler of desired shade (0.10 kg of hardener and 0.20 kg of resin per kg), including filling / grouting and finishing complete as per direction of Engineer-in-charge. ... Size of Tile 600x600 mm sqm | 195.00 | sqm |  | 120.00 | 23400.00 | 10.00 | 1950.00 | 100.00 | 19500.00 | 277.67 | 54145.65 | 1950.00 | ANUJ ABROL CONTRACTOR
25.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : ... For fixed portion. ... Powder coated aluminium (minimum thickness of powder coating 50 micron) | 733.00 | kg |  | 360.00 | 263880.00 | 450.00 | 329850.00 | 280.00 | 205240.00 | 524.75 | 384641.75 | 205240.00 | sandeep singh rana
26.00 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/ appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/ neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass / stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : ... For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). ... Powder coated aluminium (minimum thickness of powder coating 50 micron). | 538.00 | kg |  | 380.00 | 204440.00 | 450.00 | 242100.00 | 290.00 | 156020.00 | 628.30 | 338025.40 | 156020.00 | sandeep singh rana
27.00 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of Engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): With float glass panes of 5.50 mm thickness. | 45.00 | sqm |  | 880.00 | 39600.00 | 2500.00 | 112500.00 | 700.00 | 31500.00 | 1620.50 | 72922.50 | 31500.00 | sandeep singh rana
28.00 | Providing and fixing 12 mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS: 12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. Pre-laminated particle board with decorative lamination on both sides | 15.00 | sqm |  | 800.00 | 12000.00 | 1500.00 | 22500.00 | 650.00 | 9750.00 | 1203.94 | 18059.10 | 9750.00 | sandeep singh rana
29.00 | Providing and fixing 12 mm thick frameless toughened glass door shutter of approved brand and manufacture, including providing and fixing top & bottom pivot & spring type fixing arrangement and making necessary holes etc. for fixing required door fittings, all complete as per direction of Engineer-in-charge (Door handle, lock and stopper etc.to be paid separately). | 9.00 | sqm |  | 4000.00 | 36000.00 | 4000.00 | 36000.00 | 3800.00 | 34200.00 | 5115.09 | 46035.81 | 34200.00 | sandeep singh rana
30.00 | Providing and fixing aluminium sliding door bolts, ISI marked anodised (anodic coating not less than grade AC 10 as per IS : 1868), transparent or dyed to required colour or shade, with nuts and screws etc. complete : :: 300x16 mm | 6.00 | each |  | 200.00 | 1200.00 | 300.00 | 1800.00 | 180.00 | 1080.00 | 295.72 | 1774.32 | 1080.00 | sandeep singh rana
31.00 | Providing and fixing aluminium tower bolts, ISI marked, anodised (anodic coating not less than grade AC 10 as per IS : 1868 ) transparent or dyed to required colour or shade, with necessary screws etc. complete : :: 200x10 mm | 12.00 | each |  | 60.00 | 720.00 | 50.00 | 600.00 | 60.00 | 720.00 | 103.50 | 1242.00 | 600.00 | ANUJ ABROL CONTRACTOR
32.00 | Deduct for taking away disposal Quantity of PVC sheet/gypsum sheet/plysheet & aluminium Tee, Angle section etc. of falseceiling as available on site. | 170.00 | sqm |  | 20.00 | -3400.00 | 2.00 | -340.00 | 10.00 | -1700.00 | 2.00 | -340.00 | -3400.00 | S S BUILDERS
33.00 | Deduct for taking away disposal Quantity of Old dismentaled wooden members of falseceiling frame etc. as available on site. | 186.00 | Kg. |  | 20.00 | -3720.00 | 5.00 | -930.00 | 2.00 | -372.00 | 10.00 | -1860.00 | -3720.00 | S S BUILDERS
34.00 | Deduct for taking away of disposal quantity of corrugate Asbestos sheet of Arrival Lounge/Airside / Canopy chajja (varanda) & Fire Station Building Shed Area etc. as available on site. | 550.00 | sqm |  | 35.00 | -19250.00 | 10.00 | -5500.00 | 10.00 | -5500.00 | 5.00 | -2750.00 | -19250.00 | S S BUILDERS
35.00 | Deduct for taking away disposal Quantity of aluminium and MS door and windows, ventilators in cluding glass panes and other fixtures Angle section etc. as available on site. | 61.04 | sqm |  | 100.00 | -6104.00 | 40.00 | -2441.60 | 10.00 | -610.40 | 20.00 | -1220.80 | -6104.00 | S S BUILDERS
| Total in Figures |  |  |  |  | 2358916.00 |  | 2436109.40 |  | 1944812.60 |  | 3626062.89
Lowest Amount Quoted BY: sandeep singh rana(1944812.60)

## BOQ Summary
BOQ Summary Details Tender Title: Renovation of Arrival Lounge and Replacement of Roof Sheets of Fire Station Parking Shed and Other Miscellaneous Works at Ludhiana Airport, Ludhiana. Tender ID: 2020_AAI_48091_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | sandeep singh rana | 1944812.60 | L1
| 2 | S S BUILDERS | 2358916.00 | L2
| 3 | ANUJ ABROL CONTRACTOR | 2436109.40 | L3
| 4 | buoyant industries private limited | 3626062.89 | L4