## BoQ1
Government eProcurement System Created By: Mousumi Dey Created Date/Time: 13-Jul-2020 05:43 PM Tender Title: Comprehensive Maintenance Contract for entire HVAC Installation at Old ITB and DTB at NSCBI Airport Kolkata for 2 Years. Tender ID: 2020_AAI_48216_1
Tender Inviting Authority:
Name of Work:Comprehensive Maintenance Contract for entire HVAC Installatiopn at Old ITB and DTB at NSCBI Airport Kolkarta for 2 Years.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Voltas Limited
[5 empty] | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Comprehensive Maintenance Contract of HVAC equipments installed at APC Substation Plant room (High Side) complete with Air -Cooled Screw Chiller Chilled Water Pumps, Cooling Towers, associated Electrical Power supply panels, Starter Panels & Control panels with all it’s control and switchgear i/c VFDs and associated power and control cables, piping & valves with and without insulation, Strainers, Flow meters, ,pressure gauges, temperature gauges, earthing connector complete etc, as required and as per enclosed specifications with all related/associated equipments works at locations as per the enclosed inventory of “Annexure-A” and as installed covering the scope of activities given in special conditions of contract and technical specifications, attending faults and free supply, replacement of defective components of same rating and make, ensuring serviceability/satisfactory working condition of the systems, i/c attending preventive & breakdown maintenance complete etc. as required and as specified.
2.00 | a) For 1st Year | 12.00 | Months |  | 187500.00 | 2250000.00 | 2250000.00 | Voltas Limited
3.00 | b) For 2nd Year | 12.00 | Months |  | 187500.00 | 2250000.00 | 2250000.00 | Voltas Limited
4.00 | Comprehensive Maintenance Contract of HVAC equipments installed at Old Terminal Building (Old ITB & DTB )(Low Side) complete with AHUs and associated Electrical panels, complete with associated cables i/c VFD, valves with and without insulation, Strainers, VFDs, complete etc, as required and as per enclosed specifications with all related/associated equipments works at locations as per the enclosed inventory of “Annexure-A” and as installed covering the scope of activities given in special conditions of contract and technical specifications, attending faults and free supply, replacement of defective components of same rating and make, ensuring serviceability/satisfactory working condition of the systems, i/c attending preventive & breakdown maintenance complete etc. as required and as specified.
5.00 | a) For 1st Year | 12.00 | Months |  | 75000.00 | 900000.00 | 900000.00 | Voltas Limited
6.00 | b) For 2nd Year | 12.00 | Months |  | 75000.00 | 900000.00 | 900000.00 | Voltas Limited
| Total in Figures |  |  |  |  | 6300000.00
Lowest Amount Quoted BY: Voltas Limited(6300000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Comprehensive Maintenance Contract for entire HVAC Installation at Old ITB and DTB at NSCBI Airport Kolkata for 2 Years. Tender ID: 2020_AAI_48216_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Voltas Limited | 6300000.00 | L1