## BoQ1
Government eProcurement System Created By: Mayank Gaur Created Date/Time: 23-Jun-2020 03:00 PM Tender Title: Annual upkeep of E and M installtion at Bijwasan Tender ID: 2020_AAI_48326_1
Tender Inviting Authority: Senior Manager (Engg.-E), AAI, DATS Complex, IGI Airport, New Delhi.
Name of Work: ARMO of 11KV Sub-station, Electrical Installation, DG sets and lifts at ARSR Bijwasan, New Delhi.(2020-21) SH: Annual Upkeep of E&M Installations.
Contract No: 2020_AAI_48326_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NATIONAL SAFETY ENGINEERS |  | SRS ENGINEERS |  | ANAND AND COMPANTY |  | Welcome Engineers |  | CIS ELECTRICALS PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | SH:I Upkeeping of 11 KV Sub-station, 2x250 KVA DG Sets i/c AMF panel and other electrical installations at ARSR Bijwasan on all working days i/c Sunday & holidays including provision of engaging manpower as specified in the Special Conditions of Contract. Note : Contractor has to re-engage all 15 nos. workmen categorized as per the special conditions of contract who are protected by the stay / Status Quo order by Hon'ble high Court of Delhi and subject to outcome of WPC 4564/2019 and WPC 1462/2020. | 12.00 | Month | 100.00 | 319000.00 | 3828000.00 | 383354.00 | 4600248.00 | 325000.00 | 3900000.00 | 320000.00 | 3840000.00 | 307000.00 | 3684000.00 | 3684000.00 | CIS ELECTRICALS PVT LTD
2.00 | SH:II Execution of works as per CPWD schedule of rates and specification for amount of Rs. 3,00,000/- as and when required during contract period. Rates for the items under DSR shall be taken as under: Item rate as per DSR-2018 = X Basic rate (on which percentage above or below to be quoted)= Y = X / 1.18 (ex. GST) Example: if rate of an item as per DSR-2018 = 118.00 Basic rate (on which percentage above or below to be quoted) = 118 / 1.18 = 100 If contractor is quoting Rs. 4,00,000/- againts Rs. 5,00,000 i.e. 20 % below it means Rs. 80.00 (ex GST) shall be paid for that item against Rs. 118.00 (as per DSR-2018) | 1.00 | Job | 10.00 | 255000.00 | 255000.00 | 225000.00 | 225000.00 | 150000.00 | 150000.00 | 225000.00 | 225000.00 | 150000.00 | 150000.00 | 150000.00 | ANAND AND COMPANTY, CIS ELECTRICALS PVT LTD
3.00 | SH:III Supply of following Electrical spares complete as required at site.
3.01 | 3 pin Plug top 6 Amp, 230 V AC | 10.00 | Nos | 10.00 | 35.00 | 350.00 | 35.00 | 350.00 | 30.00 | 300.00 | 90.00 | 900.00 | 55.00 | 550.00 | 300.00 | ANAND AND COMPANTY
3.02 | 3 Pin Plug top 16 Amp, 230 V AC | 10.00 | Nos | 10.00 | 50.00 | 500.00 | 50.00 | 500.00 | 50.00 | 500.00 | 90.00 | 900.00 | 45.00 | 450.00 | 450.00 | CIS ELECTRICALS PVT LTD
4.00 | Supply of desert cooler pump of ISI marked suitable for 220 volt AC. | 2.00 | Each | 10.00 | 300.00 | 600.00 | 180.00 | 360.00 | 450.00 | 900.00 | 600.00 | 1200.00 | 200.00 | 400.00 | 360.00 | SRS ENGINEERS
5.00 | Supply of HRC fuse link of following rating, 80 KA breaking capacity 415 V suitable for existing panels
5.01 | 2 Amp. (HF type) | 5.00 | Each | 10.00 | 15.00 | 75.00 | 20.00 | 100.00 | 80.00 | 400.00 | 10.00 | 50.00 | 20.00 | 100.00 | 50.00 | Welcome Engineers
5.02 | 4 Amp. (HF type) | 5.00 | Each | 10.00 | 20.00 | 100.00 | 20.00 | 100.00 | 80.00 | 400.00 | 10.00 | 50.00 | 25.00 | 125.00 | 50.00 | Welcome Engineers
5.03 | 6 Amp. (HF type) | 5.00 | Each | 10.00 | 25.00 | 125.00 | 20.00 | 100.00 | 80.00 | 400.00 | 10.00 | 50.00 | 27.00 | 135.00 | 50.00 | Welcome Engineers
5.04 | 10 Amp. (HF type) | 5.00 | Each | 10.00 | 30.00 | 150.00 | 30.00 | 150.00 | 80.00 | 400.00 | 20.00 | 100.00 | 30.00 | 150.00 | 100.00 | Welcome Engineers
6.00 | Supply of following sizes PVC insulated, heavy duty Al. conductor 1.1 KV grade, armoured MV cable as required generally confirming to IS: 7098 (Part-I) 1988 with upto date amendment as reqd. (1.1 KV grade, standard & strip armoured)
6.01 | 4 x 25 sq.mm. | 150.00 | Meter | 10.00 | 150.00 | 22500.00 | 125.00 | 18750.00 | 220.00 | 33000.00 | 144.00 | 21600.00 | 200.00 | 30000.00 | 18750.00 | SRS ENGINEERS
6.02 | 3 x 10 sq.mm. | 100.00 | Meter | 10.00 | 100.00 | 10000.00 | 95.00 | 9500.00 | 125.00 | 12500.00 | 144.00 | 14400.00 | 150.00 | 15000.00 | 9500.00 | SRS ENGINEERS
7.00 | Supply of cooler pads suitable for standard size desert cooler as installed at site. | 10.00 | Set | 10.00 | 200.00 | 2000.00 | 150.00 | 1500.00 | 200.00 | 2000.00 | 450.00 | 4500.00 | 90.00 | 900.00 | 900.00 | CIS ELECTRICALS PVT LTD
8.00 | Supply of following digital measuring meters with accuracy operated on 5 Amp. CT secondary :
8.01 | AC voltmeter 3-Phase (Digital), (with built in selector switch) with measuring range 0-500 V, size 96 x 96 mm, accuracy Class-1, | 1.00 | Each | 10.00 | 1000.00 | 1000.00 | 250.00 | 250.00 | 500.00 | 500.00 | 1800.00 | 1800.00 | 1000.00 | 1000.00 | 250.00 | SRS ENGINEERS
8.02 | AC ammeter 3-Phase (Digital) (with built in selector switch) size 96 x 96 mm, accuracy Class-1. | 1.00 | Each | 10.00 | 1100.00 | 1100.00 | 250.00 | 250.00 | 500.00 | 500.00 | 1800.00 | 1800.00 | 1000.00 | 1000.00 | 250.00 | SRS ENGINEERS
8.03 | Frequency meter 1-Phase (Digital), 4 digit with range 30-99.99 Hz with built in transducer, size 96 x 96 mm, accuracy Class-1 | 1.00 | Each | 10.00 | 1200.00 | 1200.00 | 250.00 | 250.00 | 500.00 | 500.00 | 1800.00 | 1800.00 | 700.00 | 700.00 | 250.00 | SRS ENGINEERS
9.00 | Supply of Silica gel for breather for 500 KVA Transformer. | 2.00 | Kg | 10.00 | 500.00 | 1000.00 | 750.00 | 1500.00 | 300.00 | 600.00 | 500.00 | 1000.00 | 500.00 | 1000.00 | 600.00 | ANAND AND COMPANTY
10.00 | Supply of PVC insulated & PVC sheathed copper conductor round Flexible Cable of size 3 core, 1.5 sq.mm of grade 1100 V confirming to IS 694 with uptodate ammendments. (100Mtr Coil each) | 1.00 | Roll | 10.00 | 4500.00 | 4500.00 | 1300.00 | 1300.00 | 4500.00 | 4500.00 | 2000.00 | 2000.00 | 1700.00 | 1700.00 | 1300.00 | SRS ENGINEERS
11.00 | SH:IV Re-painting of L.T. panels, chequered plate, electrical installations etc. with approved quality enamel paint of required colour in one or more coat with spray gun i/c scrapping & cleaning the surface complete as per site requirement and direction of E-I-C. | 50.00 | Sqr. Meter | 10.00 | 120.00 | 6000.00 | 120.00 | 6000.00 | 250.00 | 12500.00 | 300.00 | 15000.00 | 150.00 | 7500.00 | 6000.00 | NATIONAL SAFETY ENGINEERS, SRS ENGINEERS
12.00 | Re-painting of street light poles of height upto 12 mtr. i/c loop in loop out box with 2 coat of approved quality synthetic enamel silver paint i/c scraping, applying primer paint, foundation painting, cleaning & numbering the poles complete etc. as reqd. | 150.00 | Each | 10.00 | 350.00 | 52500.00 | 450.00 | 67500.00 | 250.00 | 37500.00 | 225.00 | 33750.00 | 700.00 | 105000.00 | 33750.00 | Welcome Engineers
13.00 | Rewinding of following fans as per original characteristics with super enameled copper wire and `E' class insulation material, repairing the worn out bearing etc. as required i/c dismantling, making arrangment for transportation to workshop and reinstallation of the same at site, making supply connection, providing and fixing of necessary nut & bolts etc. (To be carried out as & when required). (The dismantled material will be taken by the contractor).
13.01 | Exhaust fan | 10.00 | Each | 10.00 | 450.00 | 4500.00 | 650.00 | 6500.00 | 200.00 | 2000.00 | 300.00 | 3000.00 | 525.00 | 5250.00 | 2000.00 | ANAND AND COMPANTY
13.02 | Ceiling fan/kit fan | 4.00 | Each | 10.00 | 400.00 | 1600.00 | 400.00 | 1600.00 | 200.00 | 800.00 | 400.00 | 1600.00 | 300.00 | 1200.00 | 800.00 | ANAND AND COMPANTY
13.03 | Wall mounted fan | 4.00 | Each | 10.00 | 500.00 | 2000.00 | 350.00 | 1400.00 | 200.00 | 800.00 | 400.00 | 1600.00 | 350.00 | 1400.00 | 800.00 | ANAND AND COMPANTY
14.00 | Complete servicing of following rating & makes of H.T. oil circuit breaker and connected accessories/switching controls at site by the authorised service centre/reputed agency including replacements of defective parts with departmentally supplied sapare parts and performance testing after servicing & testing and making proper connection of control wiring. Comissioning of the H.T. OCB complete and submission of service reports in triplicate etc as reqd.
14.01 | 400 Amp 11 KV OCB Crompton & Greaves make | 3.00 | Job | 10.00 | 9000.00 | 27000.00 | 5000.00 | 15000.00 | 8000.00 | 24000.00 | 3500.00 | 10500.00 | 6000.00 | 18000.00 | 10500.00 | Welcome Engineers
15.00 | Dehydration / centrifuging of transformer oil of 500 KVA kirloskar make and checking its di-electric strength before and after the test inclusive of submission of test report for physical and electrical properties before and after the test as per relevant IS standards as at site up to the satisfaction of EIC. | 2.00 | Job | 10.00 | 9000.00 | 18000.00 | 6000.00 | 12000.00 | 6000.00 | 12000.00 | 6500.00 | 13000.00 | 8000.00 | 16000.00 | 12000.00 | ANAND AND COMPANTY, SRS ENGINEERS
16.00 | Complete servicing of Air Circuit Breaker of L&T make or equivalent make installed in LT panel of rating 800 Amp. To 1600 Amp. by authorised dealer and submission of service reports in triplicate etc as reqd. | 10.00 | Job | 10.00 | 5000.00 | 50000.00 | 5000.00 | 50000.00 | 3200.00 | 32000.00 | 6000.00 | 60000.00 | 3000.00 | 30000.00 | 30000.00 | CIS ELECTRICALS PVT LTD
17.00 | Calibaration of electromechanical type relays ( Earth Fault relay = 12 , Over current relay = 24) installed at ARSR bijwasan by the authorised service centre/reputed agency complete as required and submission of service reports in triplicate etc as reqd. | 1.00 | Job | 10.00 | 7000.00 | 7000.00 | 17500.00 | 17500.00 | 15000.00 | 15000.00 | 6000.00 | 6000.00 | 20000.00 | 20000.00 | 6000.00 | Welcome Engineers
| Total in Figures |  |  |  |  | 4296800.00 |  | 5037708.00 |  | 4244000.00 |  | 4261600.00 |  | 4091560.00
Lowest Amount Quoted BY: CIS ELECTRICALS PVT LTD(4091560.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual upkeep of E and M installtion at Bijwasan Tender ID: 2020_AAI_48326_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | CIS ELECTRICALS PVT LTD | 4091560.00 | L1
| 2 | ANAND AND COMPANTY | 4244000.00 | L2
| 3 | Welcome Engineers | 4261600.00 | L3
| 4 | NATIONAL SAFETY ENGINEERS | 4296800.00 | L4
| 5 | SRS ENGINEERS | 5037708.00 | L5