## BoQ1
Government eProcurement System Created By: SACHIN KUMAR MITTAL Created Date/Time: 17-Jun-2020 01:56 PM Tender Title: Upgradation of Indoor Air Quality for safe operation of Central Air-Conditioning System during Spread of COVID-19 at Rajiv Gandhi Bhawan, Safdarjung Airport, Delhi Tender ID: 2020_AAI_48597_1
Tender Inviting Authority: AGM (Engg.-Elect.)-II, IMU, CHQ, Rajiv Gandhi Bhawan, New Delhi-110003
Name of Work: Upgradation of Indoor Air Quality for safe operation of Central Air-Conditioning System during Spread of COVID-19 at Rajiv Gandhi Bhawan, Safdarjung Airport, Delhi.
Contract No: 2020_AAI_48597_1
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | SNOWMEX ENGINEERS LIMITED |  | Airef Engineers Pvt Ltd |  | Weartech Engineers Pvt Ltd |  | KRISHNA REFRIGERATION |  | VOLTAS LIMITED |  | VISION CONTROL PRODUCTS PVT LTD |  | Aircon Engineers Pvt Ltd
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply, Installation, Testing & commissioning of hybrid air purification system with central air cleaner to achieve the IAQ parmaters by reducing harmful pollutants i.e. particulate matter (PMx), PM 2.5, allergens, pollen, smoke, bacteria, pathogens virus, VOC's, odor etc. based on trap & kill technology. The unit shall be in a powder coated steel casing and self contained. Unit shall be BMS compatible. It should be a customized product as per the filter dimensions of AHUs. Unit shall be monobloc structured type specifically designed for integration in Return Air path to centrally capture and kill germs. It shall be three working principles. Unit shall be suitable for the air quantity similar to AHUs. It should have pre-filter, polarizer grid, e-filter, run hour meter, clogging indicator light for filters. CAC shall be suitable for operation on 220±10 % volts, 50 Hz,1 phase AC power supply. Pressure drop should not be more than 5mmWG. The e-filter/collector should be washable type . In filter assembly Activated carbon filters (Minimum 1 Carbon filter per 1000 CFM) to be provided for removal of TVOCs & CO. Pressure drop should not be more than 3mmWG. Job also includes dismantling of existing filters and transporting the same to AAI store within the quoted cost. Agency has to study local ambient air data and quality of air before proposing & finalizing air cleaner. Unit should be suitable to meet all IAQ parameters i.e. PM 2.5, PM-10 etc. as per ASHRAE/ANSI/ NEA & OSHA etc.
1.01 | For 9500 CFM AHU | 3.00 | Nos |  | 217000.00 | 651000.00 | 391720.00 | 1175160.00 | 343177.50 | 1029532.50 | 253333.00 | 759999.00 | 344304.00 | 1032912.00 | 254499.00 | 763497.00 | 256440.00 | 769320.00 | 651000.00 | SNOWMEX ENGINEERS LIMITED
1.02 | For 12,500 CFM AHU | 3.00 | Nos |  | 431600.00 | 1294800.00 | 534366.00 | 1603098.00 | 500992.50 | 1502977.50 | 333333.00 | 999999.00 | 450633.00 | 1351899.00 | 315722.00 | 947166.00 | 352596.00 | 1057788.00 | 947166.00 | VISION CONTROL PRODUCTS PVT LTD
1.03 | For 10,500 CFM AHU | 5.00 | Nos |  | 230000.00 | 1150000.00 | 431222.00 | 2156110.00 | 394762.50 | 1973812.50 | 280000.00 | 1400000.00 | 384810.00 | 1924050.00 | 268104.00 | 1340520.00 | 288467.00 | 1442335.00 | 1150000.00 | SNOWMEX ENGINEERS LIMITED
1.04 | For 10,800 CFM AHU | 4.00 | Nos |  | 230000.00 | 920000.00 | 431222.00 | 1724888.00 | 395550.00 | 1582200.00 | 288000.00 | 1152000.00 | 388860.00 | 1555440.00 | 268104.00 | 1072416.00 | 288467.00 | 1153868.00 | 920000.00 | SNOWMEX ENGINEERS LIMITED
1.05 | For 13,500 CFM AHU | 1.00 | Nos |  | 301000.00 | 301000.00 | 534366.00 | 534366.00 | 503617.50 | 503617.50 | 360000.00 | 360000.00 | 486076.00 | 486076.00 | 349735.00 | 349735.00 | 384623.00 | 384623.00 | 301000.00 | SNOWMEX ENGINEERS LIMITED
1.06 | For 12,000 CFM AHU | 7.00 | Nos |  | 260000.00 | 1820000.00 | 431222.00 | 3018554.00 | 398700.00 | 2790900.00 | 320000.00 | 2240000.00 | 430379.00 | 3012653.00 | 281709.00 | 1971963.00 | 352596.00 | 2468172.00 | 1820000.00 | SNOWMEX ENGINEERS LIMITED
1.07 | For 7330 CFM AHU | 1.00 | Nos |  | 173500.00 | 173500.00 | 288575.00 | 288575.00 | 264041.25 | 264041.25 | 195467.00 | 195467.00 | 267341.00 | 267341.00 | 206881.00 | 206881.00 | 192312.00 | 192312.00 | 173500.00 | SNOWMEX ENGINEERS LIMITED
1.08 | For 13000 CFM AHU | 1.00 | Nos |  | 305500.00 | 305500.00 | 534366.00 | 534366.00 | 502305.00 | 502305.00 | 346667.00 | 346667.00 | 465822.00 | 465822.00 | 315722.00 | 315722.00 | 352596.00 | 352596.00 | 305500.00 | SNOWMEX ENGINEERS LIMITED
1.09 | For 12,300 CFM AHU | 1.00 | Nos |  | 431000.00 | 431000.00 | 534366.00 | 534366.00 | 500467.50 | 500467.50 | 328000.00 | 328000.00 | 444557.00 | 444557.00 | 315722.00 | 315722.00 | 352596.00 | 352596.00 | 315722.00 | VISION CONTROL PRODUCTS PVT LTD
1.10 | For 19294 CFM AHU | 1.00 | Nos |  | 432000.00 | 432000.00 | 780158.00 | 780158.00 | 702426.75 | 702426.75 | 514507.00 | 514507.00 | 692476.00 | 692476.00 | 492590.00 | 492590.00 | 480778.00 | 480778.00 | 432000.00 | SNOWMEX ENGINEERS LIMITED
1.11 | For 14,000 CFM AHU | 2.00 | Nos |  | 430000.00 | 860000.00 | 585939.00 | 1171878.00 | 504930.00 | 1009860.00 | 373333.00 | 746666.00 | 501266.00 | 1002532.00 | 329327.00 | 658654.00 | 384623.00 | 769246.00 | 658654.00 | VISION CONTROL PRODUCTS PVT LTD
1.12 | For 17,000 CFM AHU | 1.00 | Nos |  | 386700.00 | 386700.00 | 645192.00 | 645192.00 | 595425.00 | 595425.00 | 453333.00 | 453333.00 | 607595.00 | 607595.00 | 410959.00 | 410959.00 | 448751.00 | 448751.00 | 386700.00 | SNOWMEX ENGINEERS LIMITED
1.13 | For 6,117 CFM Ceiling Suspended AHU | 3.00 | Nos |  | 132600.00 | 397800.00 | 288575.00 | 865725.00 | 260857.00 | 782571.00 | 163120.00 | 489360.00 | 226339.00 | 679017.00 | 172868.00 | 518604.00 | 160285.00 | 480855.00 | 397800.00 | SNOWMEX ENGINEERS LIMITED
1.14 | For 7059 CFM AHU | 1.00 | Nos |  | 175500.00 | 175500.00 | 288575.00 | 288575.00 | 263330.00 | 263330.00 | 188240.00 | 188240.00 | 260020.00 | 260020.00 | 138855.00 | 138855.00 | 192312.00 | 192312.00 | 138855.00 | VISION CONTROL PRODUCTS PVT LTD
1.15 | For 14,716 CFM AHU | 1.00 | Nos |  | 322400.00 | 322400.00 | 585939.00 | 585939.00 | 506809.50 | 506809.50 | 392427.00 | 392427.00 | 528081.00 | 528081.00 | 363340.00 | 363340.00 | 384623.00 | 384623.00 | 322400.00 | SNOWMEX ENGINEERS LIMITED
1.16 | For 10511 CFM AHU | 1.00 | Nos |  | 230000.00 | 230000.00 | 431222.00 | 431222.00 | 394791.00 | 394791.00 | 280293.00 | 280293.00 | 380081.00 | 380081.00 | 268104.00 | 268104.00 | 288467.00 | 288467.00 | 230000.00 | SNOWMEX ENGINEERS LIMITED
1.17 | For 16,000 CFM AHU | 1.00 | Nos |  | 386600.00 | 386600.00 | 573869.00 | 573869.00 | 531600.00 | 531600.00 | 426667.00 | 426667.00 | 572152.00 | 572152.00 | 376946.00 | 376946.00 | 384623.00 | 384623.00 | 376946.00 | VISION CONTROL PRODUCTS PVT LTD
1.18 | For 3000 CFM Ceiling Suspended AHU | 2.00 | Nos |  | 67600.00 | 135200.00 | 126178.00 | 252356.00 | 102735.00 | 205470.00 | 80000.00 | 160000.00 | 111392.00 | 222784.00 | 125249.00 | 250498.00 | 80143.00 | 160286.00 | 135200.00 | SNOWMEX ENGINEERS LIMITED
1.19 | For 1.5 TR Fan Coil Units | 13.00 | Nos |  | 48000.00 | 624000.00 | 54854.00 | 713102.00 | 87255.00 | 1134315.00 | 16000.00 | 208000.00 | 101266.00 | 1316458.00 | 25183.00 | 327379.00 | 76759.00 | 997867.00 | 208000.00 | KRISHNA REFRIGERATION
1.20 | For 2.0 TR Fan Coil Units | 15.00 | Nos |  | 48000.00 | 720000.00 | 54854.00 | 822810.00 | 126030.00 | 1890450.00 | 21333.00 | 319995.00 | 101266.00 | 1518990.00 | 25183.00 | 377745.00 | 76759.00 | 1151385.00 | 319995.00 | KRISHNA REFRIGERATION
1.21 | For 2.5 TR Fan Coil Units | 5.00 | Nos |  | 48000.00 | 240000.00 | 106427.00 | 532135.00 | 88305.00 | 441525.00 | 26667.00 | 133335.00 | 101266.00 | 506330.00 | 30013.00 | 150065.00 | 76759.00 | 383795.00 | 133335.00 | KRISHNA REFRIGERATION
1.22 | For 3.0 TR Fan Coil Units | 2.00 | Nos |  | 48000.00 | 96000.00 | 106427.00 | 212854.00 | 127080.00 | 254160.00 | 32000.00 | 64000.00 | 101266.00 | 202532.00 | 53124.00 | 106248.00 | 76759.00 | 153518.00 | 64000.00 | KRISHNA REFRIGERATION
1.23 | For 2000 CFM Inline Fan | 29.00 | Nos |  | 25000.00 | 725000.00 | 74605.00 | 2163545.00 | 51150.00 | 1483350.00 | 53333.00 | 1546657.00 | 75949.00 | 2202521.00 | 43618.00 | 1264922.00 | 45927.00 | 1331883.00 | 725000.00 | SNOWMEX ENGINEERS LIMITED
1.24 | For 1000 CFM Inline Fan | 10.00 | Nos |  | 25000.00 | 250000.00 | 54854.00 | 548540.00 | 48525.00 | 485250.00 | 26667.00 | 266670.00 | 58734.00 | 587340.00 | 30013.00 | 300130.00 | 31587.00 | 315870.00 | 250000.00 | SNOWMEX ENGINEERS LIMITED
2.00 | Supply, installation , testing & Commissioning of AHU coil mounted UV system for maintaining Indoor Air Quality through coil microbe disinfection & cleaning without the need for regular chemical cleaning. UV modules should factory fabricated support. UV system supplied must be in strict conformity with the specifications.( tenderers are requested to see the technical specifications before quoting the rate)
2.01 | For 9500 CFM AHU | 3.00 | Nos |  | 95000.00 | 285000.00 | 66931.00 | 200793.00 | 62550.00 | 187650.00 | 126667.00 | 380001.00 | 42405.00 | 127215.00 | 52850.00 | 158550.00 | 67836.00 | 203508.00 | 127215.00 | VOLTAS LIMITED
2.02 | For 12500 CFM AHU | 3.00 | Nos |  | 125000.00 | 375000.00 | 71578.00 | 214734.00 | 125100.00 | 375300.00 | 166667.00 | 500001.00 | 42405.00 | 127215.00 | 52850.00 | 158550.00 | 67836.00 | 203508.00 | 127215.00 | VOLTAS LIMITED
2.03 | For 10500 CFM AHU | 5.00 | Nos |  | 108000.00 | 540000.00 | 68867.00 | 344335.00 | 62550.00 | 312750.00 | 140000.00 | 700000.00 | 42405.00 | 212025.00 | 52850.00 | 264250.00 | 67836.00 | 339180.00 | 212025.00 | VOLTAS LIMITED
2.04 | For 10800 CFM AHU | 4.00 | Nos |  | 108000.00 | 432000.00 | 68867.00 | 275468.00 | 62550.00 | 250200.00 | 144000.00 | 576000.00 | 42405.00 | 169620.00 | 52850.00 | 211400.00 | 67836.00 | 271344.00 | 169620.00 | VOLTAS LIMITED
2.05 | For 13500 CFM AHU | 1.00 | Nos |  | 135000.00 | 135000.00 | 46502.00 | 46502.00 | 125100.00 | 125100.00 | 180000.00 | 180000.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 67836.00 | 67836.00 | 42405.00 | VOLTAS LIMITED
2.06 | For 12000 CFM AHU | 7.00 | Nos |  | 110000.00 | 770000.00 | 71578.00 | 501046.00 | 125100.00 | 875700.00 | 160000.00 | 1120000.00 | 42405.00 | 296835.00 | 52850.00 | 369950.00 | 67836.00 | 474852.00 | 296835.00 | VOLTAS LIMITED
2.07 | For 7330 CFM AHU | 1.00 | Nos |  | 110000.00 | 110000.00 | 46502.00 | 46502.00 | 62550.00 | 62550.00 | 97733.00 | 97733.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 67836.00 | 67836.00 | 42405.00 | VOLTAS LIMITED
2.08 | For 13000 CFM AHU | 1.00 | Nos |  | 135000.00 | 135000.00 | 71578.00 | 71578.00 | 125100.00 | 125100.00 | 173333.00 | 173333.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 67836.00 | 67836.00 | 42405.00 | VOLTAS LIMITED
2.09 | For Ceiling Suspended AHU 3000 CFM | 2.00 | Nos |  | 38000.00 | 76000.00 | 39822.00 | 79644.00 | 62550.00 | 125100.00 | 40000.00 | 80000.00 | 42405.00 | 84810.00 | 52850.00 | 105700.00 | 38452.00 | 76904.00 | 76000.00 | SNOWMEX ENGINEERS LIMITED
2.10 | For 12300 CFM AHU | 1.00 | Nos |  | 135000.00 | 135000.00 | 71578.00 | 71578.00 | 125100.00 | 125100.00 | 164000.00 | 164000.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 67836.00 | 67836.00 | 42405.00 | VOLTAS LIMITED
2.11 | For 19294 CFM AHU | 1.00 | Nos |  | 195000.00 | 195000.00 | 95008.00 | 95008.00 | 125100.00 | 125100.00 | 257253.00 | 257253.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 134090.00 | 134090.00 | 42405.00 | VOLTAS LIMITED
2.12 | For 14000 CFM AHU | 2.00 | Nos |  | 122000.00 | 244000.00 | 71578.00 | 143156.00 | 125100.00 | 250200.00 | 186667.00 | 373334.00 | 42405.00 | 84810.00 | 52850.00 | 105700.00 | 67836.00 | 135672.00 | 84810.00 | VOLTAS LIMITED
2.13 | For 17000 CFM AHU | 1.00 | Nos |  | 190000.00 | 190000.00 | 91620.00 | 91620.00 | 125100.00 | 125100.00 | 226667.00 | 226667.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 116165.00 | 116165.00 | 42405.00 | VOLTAS LIMITED
2.14 | For Ceiling Suspended AHU 6117 CFM | 3.00 | Nos |  | 62000.00 | 186000.00 | 45824.00 | 137472.00 | 62550.00 | 187650.00 | 81560.00 | 244680.00 | 42405.00 | 127215.00 | 52850.00 | 158550.00 | 67836.00 | 203508.00 | 127215.00 | VOLTAS LIMITED
2.15 | For 7059 CFM AHU | 1.00 | Nos |  | 85000.00 | 85000.00 | 46502.00 | 46502.00 | 62550.00 | 62550.00 | 94120.00 | 94120.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 67836.00 | 67836.00 | 42405.00 | VOLTAS LIMITED
2.16 | For 14716 CFM AHU | 1.00 | Nos |  | 145000.00 | 145000.00 | 71578.00 | 71578.00 | 125100.00 | 125100.00 | 196213.00 | 196213.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 67836.00 | 67836.00 | 42405.00 | VOLTAS LIMITED
2.17 | For 10511 CFM AHU | 1.00 | Nos |  | 110000.00 | 110000.00 | 68867.00 | 68867.00 | 62550.00 | 62550.00 | 140147.00 | 140147.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 67836.00 | 67836.00 | 42405.00 | VOLTAS LIMITED
2.18 | For 16000 CFM AHU | 1.00 | Nos |  | 180000.00 | 180000.00 | 90942.00 | 90942.00 | 125100.00 | 125100.00 | 213333.00 | 213333.00 | 42405.00 | 42405.00 | 52850.00 | 52850.00 | 116165.00 | 116165.00 | 42405.00 | VOLTAS LIMITED
2.19 | For 1.5 TR Fan Coil Units | 13.00 | Nos |  | 21000.00 | 273000.00 | 18521.00 | 240773.00 | 40500.00 | 526500.00 | 8000.00 | 104000.00 | 42405.00 | 551265.00 | 52850.00 | 687050.00 | 10018.00 | 130234.00 | 104000.00 | KRISHNA REFRIGERATION
2.20 | For 2.0 TR Fan Coil Units | 15.00 | Nos |  | 21000.00 | 315000.00 | 18521.00 | 277815.00 | 40500.00 | 607500.00 | 10667.00 | 160005.00 | 42405.00 | 636075.00 | 52850.00 | 792750.00 | 10018.00 | 150270.00 | 150270.00 | Aircon Engineers Pvt Ltd
2.21 | For 2.5 TR Fan Coil Units | 5.00 | Nos |  | 21000.00 | 105000.00 | 18521.00 | 92605.00 | 40500.00 | 202500.00 | 13333.00 | 66665.00 | 42405.00 | 212025.00 | 52850.00 | 264250.00 | 13005.00 | 65025.00 | 65025.00 | Aircon Engineers Pvt Ltd
2.22 | For 3.0 TR Fan Coil Units | 2.00 | Nos |  | 21000.00 | 42000.00 | 18521.00 | 37042.00 | 40500.00 | 81000.00 | 16000.00 | 32000.00 | 42405.00 | 84810.00 | 52850.00 | 105700.00 | 13005.00 | 26010.00 | 26010.00 | Aircon Engineers Pvt Ltd
3.00 | Supply, Installation, Testing & Commissioning of circular/rectangular inline fans with EC Motor , complete with sheet metal casing, direct driven centrifugal fan, motor with proper protection and inspection door as per the specifications. Fan should be suitable for operation on 415±10% volts, 50 Hz, three phase OR 240 ±10 %, 50 Hz, single phase AC power supply as required.
3.01 | 950 CFM | 3.00 | Nos |  | 35000.00 | 105000.00 | 14461.00 | 43383.00 | 51045.00 | 153135.00 | 11600.00 | 34800.00 | 41086.00 | 123258.00 | 35442.00 | 106326.00 | 34913.00 | 104739.00 | 34800.00 | KRISHNA REFRIGERATION
3.02 | 1250 CFM | 3.00 | Nos |  | 36000.00 | 108000.00 | 32930.00 | 98790.00 | 53700.00 | 161100.00 | 12933.00 | 38799.00 | 41086.00 | 123258.00 | 35442.00 | 106326.00 | 34913.00 | 104739.00 | 38799.00 | KRISHNA REFRIGERATION
3.03 | 1050 CFM | 6.00 | Nos |  | 37000.00 | 222000.00 | 32930.00 | 197580.00 | 53700.00 | 322200.00 | 11600.00 | 69600.00 | 41086.00 | 246516.00 | 35442.00 | 212652.00 | 34913.00 | 209478.00 | 69600.00 | KRISHNA REFRIGERATION
3.04 | 1080 CFM | 4.00 | Nos |  | 38000.00 | 152000.00 | 32930.00 | 131720.00 | 53700.00 | 214800.00 | 11600.00 | 46400.00 | 41086.00 | 164344.00 | 35442.00 | 141768.00 | 34913.00 | 139652.00 | 46400.00 | KRISHNA REFRIGERATION
3.05 | 1350 CFM | 1.00 | Nos |  | 42000.00 | 42000.00 | 32930.00 | 32930.00 | 53700.00 | 53700.00 | 12933.00 | 12933.00 | 41086.00 | 41086.00 | 35442.00 | 35442.00 | 34913.00 | 34913.00 | 12933.00 | KRISHNA REFRIGERATION
3.06 | 1200 CFM | 7.00 | Nos |  | 32000.00 | 224000.00 | 32930.00 | 230510.00 | 53700.00 | 375900.00 | 12933.00 | 90531.00 | 41086.00 | 287602.00 | 35442.00 | 248094.00 | 34913.00 | 244391.00 | 90531.00 | KRISHNA REFRIGERATION
3.07 | 750 CFM | 1.00 | Nos |  | 16000.00 | 16000.00 | 14461.00 | 14461.00 | 25952.00 | 25952.00 | 11600.00 | 11600.00 | 19962.00 | 19962.00 | 37544.00 | 37544.00 | 33074.00 | 33074.00 | 11600.00 | KRISHNA REFRIGERATION
3.08 | 1300 CFM | 1.00 | Nos |  | 41500.00 | 41500.00 | 32930.00 | 32930.00 | 53700.00 | 53700.00 | 12933.00 | 12933.00 | 41086.00 | 41086.00 | 35442.00 | 35442.00 | 34913.00 | 34913.00 | 12933.00 | KRISHNA REFRIGERATION
3.09 | 300 CFM | 2.00 | Nos |  | 8400.00 | 16800.00 | 11485.00 | 22970.00 | 21909.00 | 43818.00 | 4000.00 | 8000.00 | 16559.00 | 33118.00 | 35442.00 | 70884.00 | 33074.00 | 66148.00 | 8000.00 | KRISHNA REFRIGERATION
3.10 | 1230 CFM | 1.00 | Nos |  | 32500.00 | 32500.00 | 32930.00 | 32930.00 | 53700.00 | 53700.00 | 12933.00 | 12933.00 | 41086.00 | 41086.00 | 35442.00 | 35442.00 | 34913.00 | 34913.00 | 12933.00 | KRISHNA REFRIGERATION
3.11 | 1950 CFM | 1.00 | Nos |  | 55000.00 | 55000.00 | 34894.00 | 34894.00 | 53700.00 | 53700.00 | 17333.00 | 17333.00 | 49525.00 | 49525.00 | 35442.00 | 35442.00 | 45187.00 | 45187.00 | 17333.00 | KRISHNA REFRIGERATION
3.12 | 1400 CFM | 2.00 | Nos |  | 35500.00 | 71000.00 | 32930.00 | 65860.00 | 53700.00 | 107400.00 | 16000.00 | 32000.00 | 41086.00 | 82172.00 | 37544.00 | 75088.00 | 34913.00 | 69826.00 | 32000.00 | KRISHNA REFRIGERATION
3.13 | 1700 CFM | 1.00 | Nos |  | 41000.00 | 41000.00 | 34894.00 | 34894.00 | 53700.00 | 53700.00 | 16000.00 | 16000.00 | 43320.00 | 43320.00 | 21227.00 | 21227.00 | 36819.00 | 36819.00 | 16000.00 | KRISHNA REFRIGERATION
3.14 | 615 CFM | 3.00 | Nos |  | 10500.00 | 31500.00 | 14461.00 | 43383.00 | 21909.00 | 65727.00 | 8667.00 | 26001.00 | 16559.00 | 49677.00 | 21227.00 | 63681.00 | 34913.00 | 104739.00 | 26001.00 | KRISHNA REFRIGERATION
3.15 | 705 CFM | 1.00 | Nos |  | 16500.00 | 16500.00 | 14461.00 | 14461.00 | 25952.00 | 25952.00 | 8667.00 | 8667.00 | 19962.00 | 19962.00 | 21227.00 | 21227.00 | 33074.00 | 33074.00 | 8667.00 | KRISHNA REFRIGERATION
3.16 | 1480 CFM | 1.00 | Nos |  | 38500.00 | 38500.00 | 32930.00 | 32930.00 | 53700.00 | 53700.00 | 16000.00 | 16000.00 | 41086.00 | 41086.00 | 21227.00 | 21227.00 | 34913.00 | 34913.00 | 16000.00 | KRISHNA REFRIGERATION
3.17 | 1600 CFM | 1.00 | Nos |  | 42500.00 | 42500.00 | 34894.00 | 34894.00 | 53700.00 | 53700.00 | 16000.00 | 16000.00 | 43320.00 | 43320.00 | 37386.00 | 37386.00 | 36819.00 | 36819.00 | 16000.00 | KRISHNA REFRIGERATION
4.00 | Supply of 2x1.5 sqmm armoured copper conductor control cable conforming to IS 7098 (Pt-1) 1988 for control wiring between UV lamps and Inline fans etc. as required. | 400.00 | Meter |  | 120.00 | 48000.00 | 52.00 | 20800.00 | 140.00 | 56000.00 | 81.00 | 32400.00 | 92.00 | 36800.00 | 109.00 | 43600.00 | 96.00 | 38400.00 | 20800.00 | Airef Engineers Pvt Ltd
5.00 | SITC of GI Mixing Box suitable for above AHUs to install ESP filters as per site requirement and as per drawing approved by EIC. | 39.00 | Nos |  | 25000.00 | 975000.00 | 1838.00 | 71682.00 | 6500.00 | 253500.00 | 8667.00 | 338013.00 | 3522.00 | 137358.00 | 5750.00 | 224250.00 | 19344.00 | 754416.00 | 71682.00 | Airef Engineers Pvt Ltd
6.00 | Supply, installation, balancing and commissioning of fabricated GSS sheet metal rectangular/round ducting complete with neoprene rubber gaskets, elbows, splitter dampers, vanes, hangers, supports etc. as per approved drawings and specifications of following sheet thickness complete as required. (NOTE:- Pre-fabricated duct may also be accept, nothing extra shall be payble).
6.01 | SITC of Fabricated GSS Sheet metal rectangular ducting as per IS 655-2006 for 0.63 mm Thick | 75.00 | Sqm |  | 650.00 | 48750.00 | 715.00 | 53625.00 | 1250.00 | 93750.00 | 867.00 | 65025.00 | 838.00 | 62850.00 | 1360.00 | 102000.00 | 727.00 | 54525.00 | 48750.00 | SNOWMEX ENGINEERS LIMITED
6.02 | SITC of Fabricated GSS Sheet metal rectangular ducting as per IS 655-2006 for 0.8 mm Thick | 75.00 | Sqm |  | 700.00 | 52500.00 | 819.00 | 61425.00 | 1450.00 | 108750.00 | 1200.00 | 90000.00 | 938.00 | 70350.00 | 1446.00 | 108450.00 | 835.00 | 62625.00 | 52500.00 | SNOWMEX ENGINEERS LIMITED
7.00 | Supply , Installation,Testing and Commissioning of thermal insulated flexible duct of 200 mm dia duly supported at regular interval as per site requirement etc. complete as required as per specifications. | 50.00 | Sqm |  | 450.00 | 22500.00 | 432.00 | 21600.00 | 450.00 | 22500.00 | 1600.00 | 80000.00 | 2292.00 | 114600.00 | 413.00 | 20650.00 | 537.00 | 26850.00 | 20650.00 | VISION CONTROL PRODUCTS PVT LTD
8.00 | Supplying and fixing of 19 mm thickness duly laminated aluminum foil of mat finish closed sell Nitrile rubber (Class"O") insulation on existing duct after applying suitable adhesive ofr Nitrile rubber. The joints shall be sealed with 50 mm wide and 3 mm thick self adhsive Nitrile rubber tape insulation complete as per specifications and as required. | 150.00 | Sqm |  | 550.00 | 82500.00 | 529.00 | 79350.00 | 760.00 | 114000.00 | 580.00 | 87000.00 | 498.00 | 74700.00 | 525.00 | 78750.00 | 727.00 | 109050.00 | 74700.00 | VOLTAS LIMITED
9.00 | Laying and fixing of one number PVC insulated and PVC sheathed / XLPE power cable of 1.1 kV grade of following size on wall surface as required.
9.01 | Upto 35 sq. mm (clamped with 1mm thick saddle) | 200.00 | Meter |  | 50.00 | 10000.00 | 44.00 | 8800.00 | 100.00 | 20000.00 | 33.00 | 6600.00 | 57.00 | 11400.00 | 721.00 | 144200.00 | 44.00 | 8800.00 | 6600.00 | KRISHNA REFRIGERATION
10.00 | Laying of one number PVC insulated and PVC sheathed I XLPE power cable of 1.1 kV grade of following size in the existing open surface/ RCC/ HUME/ METAL pipe as required.
10.01 | Upto 35 sq. mm | 200.00 | Meter |  | 50.00 | 10000.00 | 55.00 | 11000.00 | 150.00 | 30000.00 | 33.00 | 6600.00 | 70.00 | 14000.00 | 721.00 | 144200.00 | 54.00 | 10800.00 | 6600.00 | KRISHNA REFRIGERATION
11.00 | SITC of Carbon Filters for Inline fans as per specification enclosed complete etc. as required. | 68.00 | Each |  | 20000.00 | 1360000.00 | 2742.00 | 186456.00 | 5000.00 | 340000.00 | 8667.00 | 589356.00 | 9810.00 | 667080.00 | 6625.00 | 450500.00 | 2625.00 | 178500.00 | 178500.00 | Aircon Engineers Pvt Ltd
| Total in Figures |  |  |  |  | 21956050.00 |  | 27017201.00 |  | 29286971.00 |  | 21817291.00 |  | 27597145.00 |  | 19821359.00 |  | 21831459.00
Comparative Chart(eAuction)
Sl.No | Bidder Name | Auction Start Price | Quoted Rate in Figures and Words
|  |  | Bidder Price | Amount in Words
1 | SNOWMEX ENGINEERS LIMITED | 19821359 | 12021359.00 | One Crore Twenty Lakh Twenty One Thousand Three Hundred and Fifty Nine
2 | Airef Engineers Pvt Ltd | 19821359 | Not Quoted | Not Quoted
3 | Weartech Engineers Pvt Ltd | 19821359 | 12221359.00 | One Crore Twenty Two Lakh Twenty One Thousand Three Hundred and Fifty Nine
4 | KRISHNA REFRIGERATION | 19821359 | Not Quoted | Not Quoted
5 | VOLTAS LIMITED | 19821359 | Not Quoted | Not Quoted
6 | VISION CONTROL PRODUCTS PVT LTD | 19821359 | 17621359.00 | One Crore Seventy Six Lakh Twenty One Thousand Three Hundred and Fifty Nine
7 | Aircon Engineers Pvt Ltd | 19821359 | 13021359.00 | One Crore Thirty Lakh Twenty One Thousand Three Hundred and Fifty Nine
Lowest Amount Quoted BY: SNOWMEX ENGINEERS LIMITED(1.2021359E7)

## BOQ Summary
BOQ Summary Details Tender Title: Upgradation of Indoor Air Quality for safe operation of Central Air-Conditioning System during Spread of COVID-19 at Rajiv Gandhi Bhawan, Safdarjung Airport, Delhi Tender ID: 2020_AAI_48597_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | VISION CONTROL PRODUCTS PVT LTD | 19821359.00 | L1
| 2 | KRISHNA REFRIGERATION | 21817291.00 | L2
| 3 | Aircon Engineers Pvt Ltd | 21831459.00 | L3
| 4 | SNOWMEX ENGINEERS LIMITED | 21956050.00 | L4
| 5 | Airef Engineers Pvt Ltd | 27017201.00 | L5
| 6 | VOLTAS LIMITED | 27597145.00 | L6
| 7 | Weartech Engineers Pvt Ltd | 29286971.00 | L7