## BoQ1
Government eProcurement System Created By: RAJEEV GUPTA Created Date/Time: 22-Jun-2020 12:15 PM Tender Title: Annual Running Maintenance and Operation of Sewage Treatment Plant at Srinagar Intl Airport, Srinagar. (for the year 2020-21 and 2021-22) Tender ID: 2020_AAI_48634_1
Tender Inviting Authority: Asstt.Gen. Manager (Engg.-Elect.)-I AAI, Srinagar International Airport, Srinagar, J&K-190007.
Name of work:- Annual Running Maintenance & Operation of Sewage Treatment Plant at Srinagar Int’l Airport, Srinagar. (for the year 2020-21 & 2021-22)
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | NATIONAL SAFETY ENGINEERS |  | SAWEN CONSULTANCY SERVICES PVT. LTD. |  | M/s Standard Enterprises |  | Oxybee Solutions
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Operation & maintenance of sewage treatment Plant Operation & maintenance of sewage treatment plant on round the clock (24 Hours) basis of capacity 150 KLD, based on Fludised Aerobic Bio-Reactor Technology (FABR) consists of 2 nos sewage lifting pumps, 2 nos. sludge recycling pump set, 2 nos air blowers, air diffuser grid set, centrifugal type filter feed pumps, monoblock self priming pumps, dosing tank with plunger pump, solution doser FRP tank of 100 ltrs.capacity, skid mounted vertical MSRL filters and MSRL activated carbon filter, water softner, fluidizied bed reactor, with pipe lines, valves, sockets, elbows, reducers, supports, 2 nos treated water pumpsets, motor control panel comprising of starters, circuit breakers, indicating lights, selector switches, relays, cabling and earthing from motor control panel etc. including periodical cleaning of all tanks like collection tank & sludge tank etc as & when required complete as required by deploying 01 operator in one shift for Three Shifts on all working days including Saturday,Sundays & holidays (with one weekly off) by providing below mentioned manpower (including reliever). (a) STP operator( Skilled) -4 Nos. | 24.00 | Months | 0.00 | 89250.00 | 2142000.00 | 82000.00 | 1968000.00 | 80000.00 | 1920000.00 | 97578.00 | 2341872.00 | 1920000.00 | M/s Standard Enterprises
2.00 | Rewinding & repairing of following capacity pump motors i/c replacement of bearing, damaged windings, varnishing etc. complete all as required. For STP.
2.10 | 7.5 HP/ 5.5 KW, 3 phase STP filter feed pump motor. | 2.00 | JOB | 0.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 1500.00 | 3000.00 | 8190.00 | 16380.00 | 3000.00 | M/s Standard Enterprises
2.20 | 7.5 HP / 5.5 KW, 3 phase STP blower motor. | 2.00 | JOB | 0.00 | 10000.00 | 20000.00 | 5000.00 | 10000.00 | 1500.00 | 3000.00 | 7605.00 | 15210.00 | 3000.00 | M/s Standard Enterprises
2.30 | 3 HP / 2.2 KW, 3 phase STP transfer pump motor. | 2.00 | JOB | 0.00 | 7000.00 | 14000.00 | 5000.00 | 10000.00 | 1000.00 | 2000.00 | 5265.00 | 10530.00 | 2000.00 | M/s Standard Enterprises
2.40 | 1.5HP / 1.1 KW, 3 phase STP sludge pump motor. | 2.00 | JOB | 0.00 | 4000.00 | 8000.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 2340.00 | 4680.00 | 1000.00 | M/s Standard Enterprises
2.50 | 1.5HP / 1.1 KW, 1 phase submerssible sewage pump motor. | 2.00 | JOB | 0.00 | 5000.00 | 10000.00 | 5000.00 | 10000.00 | 500.00 | 1000.00 | 2340.00 | 4680.00 | 1000.00 | M/s Standard Enterprises
3.00 | Evacuating of dirt sand anually from 4nos. storage tank of STP and disposing the same at a distance not less than 5 KM from AAI premises and refill the same with fresh coarse sand upto suitable level in each tank (Approx.3Cu. Mtr.) complete all as required.(After Six months from the taken over the site). | 2.00 | Job | 0.00 | 8000.00 | 16000.00 | 20000.00 | 40000.00 | 10000.00 | 20000.00 | 4680.00 | 9360.00 | 9360.00 | Oxybee Solutions
4.00 | Painting of metal surfaces with synthetic enamelled paint by spray/ brush painting by applying one or more coats including scraping, cleaning of surfaces etc. complete as required. | 80.00 | Sq. Mtr. | 0.00 | 80.00 | 6400.00 | 75.00 | 6000.00 | 100.00 | 8000.00 | 152.10 | 12168.00 | 6000.00 | SAWEN CONSULTANCY SERVICES PVT. LTD.
5.00 | Supply of bleaching powder. | 80.00 | Kg | 0.00 | 30.00 | 2400.00 | 35.00 | 2800.00 | 100.00 | 8000.00 | 23.40 | 1872.00 | 1872.00 | Oxybee Solutions
6.00 | Supply of Gearoil for airblower. | 50.00 | Liter | 0.00 | 450.00 | 22500.00 | 100.00 | 5000.00 | 300.00 | 15000.00 | 234.00 | 11700.00 | 5000.00 | SAWEN CONSULTANCY SERVICES PVT. LTD.
7.00 | Supply of suitable media filter for activated carbon filter (ACF) and softner. | 150.00 | Kg | 0.00 | 120.00 | 18000.00 | 130.00 | 19500.00 | 200.00 | 30000.00 | 7.02 | 1053.00 | 1053.00 | Oxybee Solutions
8.00 | Supply of liquid clorine suitable for STP | 100.00 | Liter | 0.00 | 60.00 | 6000.00 | 15.00 | 1500.00 | 50.00 | 5000.00 | 17.55 | 1755.00 | 1500.00 | SAWEN CONSULTANCY SERVICES PVT. LTD.
| Total in Figures |  |  |  |  | 2285300.00 |  | 2092800.00 |  | 2016000.00 |  | 2431260.00
Lowest Amount Quoted BY: M/s Standard Enterprises(2016000.00)

## BOQ Summary
BOQ Summary Details Tender Title: Annual Running Maintenance and Operation of Sewage Treatment Plant at Srinagar Intl Airport, Srinagar. (for the year 2020-21 and 2021-22) Tender ID: 2020_AAI_48634_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | M/s Standard Enterprises | 2016000.00 | L1
| 2 | SAWEN CONSULTANCY SERVICES PVT. LTD. | 2092800.00 | L2
| 3 | NATIONAL SAFETY ENGINEERS | 2285300.00 | L3
| 4 | Oxybee Solutions | 2431260.00 | L4