## BoQ1
Government eProcurement System Created By: VIVEK KUMAR SINGH Created Date/Time: 22-Jun-2020 05:19 PM Tender Title: Replacement of Split AC, Water coolers at JPNI Airport, Patna Tender ID: 2020_AAI_48650_1
Tender Inviting Authority: Airport Authority of India, JPNI Airport Patna
Name of Work: Replacement of Split AC, Water coolers at JPNI Airport, Patna.
Contract No:
SCHEDULE OF WORK / ITEM(S)
Sl.No | Description of Work / Item(s) | No.of Qty | Units | Estimated Rate | Techno Electricals |  | SAURABH ENTERPRISES |  | Supertech Engineers |  | Industrial Traders |  | Tirupati Balaji Refrigeration and Electricals |  | Bijendra Sharma |  | VOLKS ENERGIE PVT LTD
[5 empty] | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | Rate | Amount | L1 Amount | L1 Vendor
1.00 | Supply of 4 Ton vertical tower type split AC unit, 3 phase complete with copper condenser coil of outdoor unit, cordless remote fitted with scroll compressor, Non CFC refrigerant suitable for operation on 415V,50 HZ Ac Supply etc complete as required and capable of performing cooling, dehumidifying, air circulating, filtering and ventilation etc. as required. | 6.00 | Each |  | 83497.00 | 500982.00 | 94062.00 | 564372.00 | 115000.00 | 690000.00 | 116500.00 | 699000.00 | 99950.00 | 599700.00 | 104000.00 | 624000.00 | 93000.00 | 558000.00 | 500982.00 | Techno Electricals
2.00 | Supply of energy efficient 5 star rating inverter type, hi-wall mounted type 1.5 TR split air-conditioner with rotary compressor, with copper condenser coil of outdoor unit, cordless remote, suitable for operation on 230 Volts +/- 10%, 50 Hz, single phase AC supply; capable of performing cooling, dehumidifying, air circulating, filtering and ventilation etc. The job includes refrigerant piping, piping insulation & cabling work up to 3.0 Mtrs etc. as required. | 11.00 | Each |  | 32143.00 | 353573.00 | 37520.00 | 412720.00 | 43700.00 | 480700.00 | 37300.00 | 410300.00 | 34500.00 | 379500.00 | 41000.00 | 451000.00 | 36000.00 | 396000.00 | 353573.00 | Techno Electricals
3.00 | Supply of energy efficient 5 star rating inverter type, hi-wall mounted type 2.0 TR split air-conditioner with rotary compressor, with copper condenser coil of outdoor unit, cordless remote, suitable for operation on 230 Volts +/- 10%, 50 Hz, single phase AC supply; capable of performing cooling, dehumidifying, air circulating, filtering and ventilation etc. The job includes refrigerant piping, piping insulation & cabling work up to 3.0 Mtrs etc. as required. | 13.00 | Each |  | 42368.00 | 550784.00 | 52500.00 | 682500.00 | 56925.00 | 740025.00 | 43500.00 | 565500.00 | 45550.00 | 592150.00 | 60000.00 | 780000.00 | 42000.00 | 546000.00 | 546000.00 | VOLKS ENERGIE PVT LTD
4.00 | ITC of 3.0/4.0 Ton vertical tower type/Cassate type/ split AC unit,3 phase complete with outdoor unit including supply and fixing of MS angle structure base frame (including painting) for Indoor & outdoor units, top up refrigerant i/c necessary Civil works complete as required. | 10.00 | Each |  | 2500.00 | 25000.00 | 500.00 | 5000.00 | 2500.00 | 25000.00 | 1500.00 | 15000.00 | 3800.00 | 38000.00 | 5000.00 | 50000.00 | 9000.00 | 90000.00 | 5000.00 | SAURABH ENTERPRISES
5.00 | ITC of 1.5 / 2.0 Ton Split inverter A/C i/c supply & fixing of Iron Angle structure stand suitable for outdoor unit, makeup interconnection, painting i/c necessary Civil works complete as required. | 24.00 | Each |  | 1850.00 | 44400.00 | 500.00 | 12000.00 | 1500.00 | 36000.00 | 1250.00 | 30000.00 | 2350.00 | 56400.00 | 1500.00 | 36000.00 | 3500.00 | 84000.00 | 12000.00 | SAURABH ENTERPRISES
6.00 | Supply & fixing of refrigerant copper tubing of suitable size for both suction and discharge along with nitrile/polythene foam insulation for tubing covering and electrical cable of suitable size copper conductor and communication cable from indoor to outdoor suitable for 3.0/4.0 TR Air conditioner i/c laying/clamping on surface, chiselling & making good of wall etc connection complete as per requirement of site. | 125.00 | Mtr |  | 747.00 | 93375.00 | 700.00 | 87500.00 | 1050.00 | 131250.00 | 1200.00 | 150000.00 | 2850.00 | 356250.00 | 600.00 | 75000.00 | 700.00 | 87500.00 | 75000.00 | Bijendra Sharma
7.00 | Supply & fixing of extra refrigerant copper tubing of suitable size for both suction and discharge along with nitrile/polythene foam insulation for tubing covering and electrical cable of suitable size copper conductor from indoor to outdoor suitable for 1.5 TR / 2.0 TR Air conditioner laying/clamping on surface, chiselling & making good of wall etc connection complete as per requirement of site. | 150.00 | Mtr |  | 649.00 | 97350.00 | 700.00 | 105000.00 | 650.00 | 97500.00 | 1000.00 | 150000.00 | 2600.00 | 390000.00 | 350.00 | 52500.00 | 680.00 | 102000.00 | 52500.00 | Bijendra Sharma
8.00 | Supply and installation of 20 mm dia hard PVC drain pipe with all accessories like bends, couplers, tees i/c chiselling, making good of wall or laying on surface etc as per site requirement complete as required. | 200.00 | Mtr |  | 150.00 | 30000.00 | 100.00 | 20000.00 | 75.00 | 15000.00 | 100.00 | 20000.00 | 85.00 | 17000.00 | 80.00 | 16000.00 | 130.00 | 26000.00 | 15000.00 | Supertech Engineers
9.00 | Supply and fixing of 20 amps, 240 volts, SPN modular type, socket outlet, enclosed plug top along with 20 amps "C" curve, SP, MCB, in sheet steel enclosure on surface or in recess etc complete with connections, testing and commissioning etc. as required. | 10.00 | Each |  | 1250.00 | 12500.00 | 700.00 | 7000.00 | 1050.00 | 10500.00 | 600.00 | 6000.00 | 1650.00 | 16500.00 | 1100.00 | 11000.00 | 1200.00 | 12000.00 | 6000.00 | Industrial Traders
10.00 | Supplying and fixing 20 amps, 415 volts, TPN industrial Modular type, socket outlet, with 3 pole and earth, metal enclosed plug top along with 20 amps “C” curve, TPMCB, in sheet steel enclosure, on surface or in recess, with metal cover for the socket out let and complete with connections, testing and commissioning etc. as required. | 5.00 | Each |  | 2750.00 | 13750.00 | 2140.00 | 10700.00 | 1470.00 | 7350.00 | 600.00 | 3000.00 | 2350.00 | 11750.00 | 3000.00 | 15000.00 | 2800.00 | 14000.00 | 3000.00 | Industrial Traders
11.10 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (a) 2 X 4 sq. mm + 1 X 4 sq. mm earth wire. | 150.00 | Mtr |  | 237.00 | 35550.00 | 175.78 | 26367.00 | 115.00 | 17250.00 | 220.00 | 33000.00 | 225.00 | 33750.00 | 50.00 | 7500.00 | 219.00 | 32850.00 | 7500.00 | Bijendra Sharma
11.20 | Wiring for circuit/ submain wiring alongwith earth wire with the following sizes of FR PVC insulated copper conductor, single core cable in surface/ recessed steel conduit as required. (b) 4 X 6 sq. mm + 1 X 6 sq. mm earth wire. | 120.00 | Mtr |  | 303.00 | 36360.00 | 200.00 | 24000.00 | 170.00 | 20400.00 | 250.00 | 30000.00 | 325.00 | 39000.00 | 40.00 | 4800.00 | 340.00 | 40800.00 | 4800.00 | Bijendra Sharma
12.00 | SITC of wall mounted drinking water cooler having touch free sensor based operation & bi- level drinking water fountain system along with manually activated Aqua Pointe bottle Filler, UV & sediment filter,100 micron strainer, online chiller, top-up with R-134-A refrigerant having cooling capacity of 8.0 GPH with adjustable thermostat control & water fountain/spout (one high & other low height with manually activated bottle filler spot respectively), made of S.S body along with mat finish & S.S. bubbler ,valves, inter connecting water & drain piping with suitable size, extension of electric power along with all required accessories/hardware etc and suitable for operation at 230 v(+,-10%),single phase,50 Hz, AC supply etc complete as required as per site condition.Model:PG8SBFSLY,Make:Oasis. | 3.00 | Each |  | 128868.00 | 386604.00 | 110480.00 | 331440.00 | 72000.00 | 216000.00 | 99000.00 | 297000.00 | 59900.00 | 179700.00 | 110000.00 | 330000.00 | 130000.00 | 390000.00 | 179700.00 | Tirupati Balaji Refrigeration and Electricals
13.00 | Providing and fixing of 20 mm size CPVC Pressure Pipes. ISI marked, having thermal stability for hot & cold water supply along with all accessories i.e elbows, tees, reducers, couplers, solvent & connectors etc. along with fixing on wall surface with suitable clamp i/c chiselling the wall, grooves cutting on tiles/wall surface and making good of groves by filling cement etc as per site requirement as directed by EIC. | 180.00 | meter |  | 169.00 | 30420.00 | 330.00 | 59400.00 | 95.00 | 17100.00 | 170.00 | 30600.00 | 375.00 | 67500.00 | 200.00 | 36000.00 | 250.00 | 45000.00 | 17100.00 | Supertech Engineers
14.00 | Supply and Fixing of ACP sheet (4 mm thickness) along with Aluminium framing for covering the existing drinking water fountains along with making good of ACP sheets covered with Fountain stickers etc. as per the requirement of site or as directed by Engineer-in-charge. | 200.00 | Sq. ft. |  | 327.00 | 65400.00 | 760.00 | 152000.00 | 95.00 | 19000.00 | 85.00 | 17000.00 | 185.00 | 37000.00 | 200.00 | 40000.00 | 500.00 | 100000.00 | 17000.00 | Industrial Traders
| Total in Figures |  |  |  |  | 2276048.00 |  | 2499999.00 |  | 2523075.00 |  | 2456400.00 |  | 2814200.00 |  | 2528800.00 |  | 2524150.00
Lowest Amount Quoted BY: Techno Electricals(2276048.00)

## BOQ Summary
BOQ Summary Details Tender Title: Replacement of Split AC, Water coolers at JPNI Airport, Patna Tender ID: 2020_AAI_48650_1
Sheet Name | Sl.No | Bidder Name | Amount | Bid Rank
BoQ1 | 1 | Techno Electricals | 2276048.00 | L1
| 2 | Industrial Traders | 2456400.00 | L2
| 3 | SAURABH ENTERPRISES | 2499999.00 | L3
| 4 | Supertech Engineers | 2523075.00 | L4
| 5 | VOLKS ENERGIE PVT LTD | 2524150.00 | L5
| 6 | Bijendra Sharma | 2528800.00 | L6
| 7 | Tirupati Balaji Refrigeration and Electricals | 2814200.00 | L7